Unofficial Comment Form for Relay Loadability Order (No. 733) (Project 2010-13)

Please DO NOT use this form.  Please use the electronic form located at the link below to submit FORMAL comments on the proposed second version of the Relay Loadability Standard PRC-023-2 that includes the applicability test in Attachment B.  The electronic comment form must be completed by December 16, 2010.

If you have questions please contact Joe Bucciero at joe.bucciero@gmail.com or by telephone at 267-981-5445.

### Background Information

NERC Standard PRC-023-1 – Transmission Relay Loadability was approved by FERC as mandatory and enforceable in March 2010, with direction that NERC make a number of changes.

The Standard Drafting Team made changes to PRC-023-1 to address the following directives from Order 733

• p. 60 . . . modify PRC-023-1 to apply an “add in” approach to sub-100 kV facilities that are owned or operated by currently-Registered Entities or entities that become Registered Entities in the future, and are associated with a facility that is included on a critical facilities list defined by the Regional Entity.

• p. 186 . . . require that transmission owners, generator owners, and distribution providers give their transmission operators a list of transmission facilities that implement sub-requirement R1.2.

• p. 203 . . . modify sub-requirement R1.10 so that it requires entities to verify that the limiting piece of equipment is capable of sustaining the anticipated overload for the longest clearing time associated with the fault.

• p. 224 . . . make available for review to users, owners and operators of the Bulk-Power System, by request, a list of those facilities that have protective relays set pursuant to sub-requirement R1.12.

• p. 237 . . . modify the Reliability Standard to add the Regional Entity to the list of entities that receive the critical facilities list. [sub-requirement R3.3]

• p. 244 . . . include section 2 of Attachment A in the modified Reliability Standard as an additional Requirement with the appropriate violation risk factor and violation severity level.

• p. 264 . . . revise section 1 of Attachment A to include supervising relay elements on the list of relays and protection systems that are specifically subject to the Reliability Standard.

• p. 283 . . . modify the Reliability Standard to include an implementation plan for sub-100 kV facilities.

• p. 284 . . . remove the exceptions footnote from the “Effective Dates” section.

The Standard Drafting Team posted the proposed changes for informal industry comment from August 19, 2010 to September 19, 2010. The proposed changes did NOT include Attachment B to the standard as it was still a work in progress at that time. Attachment B contains the applicability test that the Planning Coordinators must use to determine whether a sub-200kV facility must comply with PRC-023. The inclusion of a test is a directive in Order No. 733:

• p. 69 . . . modify Requirement R3 of the Reliability Standard to specify the test that planning coordinators must use to determine whether a sub-200 kV facility is critical to the reliability of the Bulk-Power System.

Requirement R6 of the draft PRC-023-2 standard (formerly Requirement R3 of PRC-023-1) states:

R6. Each Planning Coordinator shall apply the criteria in Attachment B to an assessment conducted at least once each calendar year, with no more than 15 months between assessments, to determine which transmission Elements must comply with this standard. The Planning Coordinator shall:

[Violation Risk Factor: High] [Time Horizon: Long Term Planning]

6.1	Apply the criteria to transmission lines that are operated at 100 kV to 200 kV and transformers with low voltage terminals connected at 100 kV to 200 kV.

6.2	Apply the criteria to transmission lines operated below 100 kV and transformers with low voltage terminal connections below 100 kV, if the Regional Entity has identified either of these Element types as critical facilities for the purposes of the Compliance Registry and they are in its Planning Coordinator Area.

6.3	Maintain a list of facilities determined according to the process described in Requirement R6.

6.4	Include on the list the year studied for which criterion B4 in Attachment B first applies when a facility is added and only criterion B4 is applicable.

6.5	Provide a list of facilities to all Regional Entities, Reliability Coordinators, Transmission Owners, Generator Owners, and Distribution Providers within its Planning Coordinator Area within 30 calendar days of the establishment of the initial list and within 30 calendar days of any changes to that list.

In response to comments during the informal posting the SDT has replaced the phrase “critical to reliability of the bulk electric system” with “must comply with this standard.”  The SDT notes that although the phrase “critical to reliability of the bulk electric system” appears in the approved PRC-023-1 and is used in Order No. 733, the SDT recognizes that use of the same or similar terms in multiple standards will result in confusion.

Use of the phrase “critical to reliability of the Bulk Electric System” in PRC-023 is intended to have meaning specific to the issue of relay loadability; specifically to identify facilities, that if they trip due to relay loadability following an initiating event, may contribute to undesirable system performance similar to what occurred during the August 2003 blackout.  Reliability is adequately addressed in Attachment B since it identifies all of the facilities that must be subject to this standard to maintain reliability of the Bulk Electric System.

A Blue Ribbon Panel was formed by NERC to develop that required Attachment B to PRC-023-2, which was separately posted for informal industry comment from September 23, 2010 to October 12, 2010.

Applicability Testing Criteria

NERC Reliability Standard PRC-023 — Transmission Relay Loadability was developed in answer to relay loadability problems highlighted during the blackout of 2003.  Relay loadability has been either causal or contributory to a majority of major system disturbances dating back to the 1965 blackout and beyond.  The proposed Standard is intended to prevent circuits from prematurely tripping due to relay loadability when thermally overloaded.  The concept is to allow some time for system operators to intervene and alleviate the overloads.

If any circuit trips under adverse conditions, even if the loss of that circuit does not itself cause a cascade, the resultant weakened transmission system leaves the bulk electric system more exposed to possible cascading outages.  Therefore, applicability of PRC-023 should not only be for operationally significant circuits that could cause a cascade, but also for circuits that are prone to overloads (relievable through operator action) during contingencies.

Planning coordinators test for conformance with the TPL standards through various contingency analyses that should prevent critical circuits from becoming overloaded.  The TPL criteria contingencies studied normally screen for susceptibility to cascading and system instability.  However, overloading of circuits for short periods of time is permissible, and assumes operator action can alleviate such overloads in a timely fashion.  Although the planning tests are fairly rigorous, they are usually limited to N-1 or N-2 level contingencies.  However, it is for the unforeseen combinations of outages that assurance is necessary that circuits would not trip for relay loadability reasons.

The recommendations stemming from the 2003 blackout called for review of circuits 200 kV and above.  Logically, all circuits, including those below 200 kV, that are operationally significant to the reliability of the bulk electric system (BES) should be tested for susceptibility.

System studies go to great lengths to determine transfer capabilities on critical transmission interfaces.  Planning and operational studies are routinely conducted to determine the transfer capabilities of circuits such as those that are part of interconnection reliability operating limits (IROLs), flowgates in the Eastern Interconnection, major transfer paths in the Western Interconnection, or comparable monitored elements in the Texas Interconnection or Québec Interconnection.  Any circuit that is important enough to reliability to be actively managed to prevent overloads should also be important enough to prevent it from inadvertently tripping due to relay loadability for combinations of outages that are not normally tested.

Note: The criteria included in Attachment B define the family of circuits operated below 200 kV that must comply with PRC-023.  If the protection systems on these circuits comply with the Requirements of PRC-023, no further action is necessary.  Any protection systems that do not comply would require mitigation.

Implementation Timeframes

Requirement R1: the first day of the first calendar quarter after applicable regulatory approvals or in those jurisdictions where no regulatory approval is required, the first calendar quarter after Board of Trustees adoption except as noted below.

- For the addition to Requirement R1, criterion 10, to set transformer fault protection relays and transmission line relays on transmission lines terminated only with a transformer such that the protection settings do not expose the transformer to fault level and duration that exceeds its mechanical withstand capability, the first day of the first calendar quarter 12 months after applicable regulatory approvals or in those jurisdictions where no regulatory approval is required, the first day of the first calendar quarter 12 months after Board of Trustees adoption.

- For supervisory elements as described in PRC-023 - Attachment A, section 1.6, the first day of the first calendar quarter 24 months after applicable regulatory approvals or in those jurisdictions where no regulatory approval is required, the first day of the first calendar quarter 24 months after Board of Trustees adoption.

Requirements R2 and R3: the first day of the first calendar quarter after applicable regulatory approvals or in those jurisdictions where no regulatory approval is required, the first day of the first calendar quarter after Board of Trustees adoption.

Requirements R4 and R5: the first day of the first calendar quarter six months after applicable regulatory approvals or in those jurisdictions where no regulatory approval is required the first day of the first calendar quarter six months after Board of Trustees adoption.

Requirement R6: the first day of the first calendar quarter 18 months after applicable regulatory approvals or in those jurisdictions where no regulatory approval is required the first day of the first calendar quarter 18 months after Board of Trustees adoption.

Requirement R7: the first day of the first calendar quarter after applicable regulatory approvals or in those jurisdictions where no regulatory approval is required, the first day of the first calendar quarter after Board of Trustees adoption.

Questions

The SDT has considered all of the industry comments submitted during the informal comment period, and has revised and updated the PRC-023-2 standard to incorporate the comments received in this posting of the complete standard.  Your responses to the following questions will assist the SDT for Project 2010-13 Relay Loadability Order 733 in finalizing the work for PRC-023-2 relative to the proposed modifications summarized above.

For each question, please indicate whether or not you agree with the requirement being proposed.  If you disagree with the changes to the proposed requirement, please explain why you disagree and provide as much detail as possible regarding your disagreement including any suggestions for altering the proposed requirement that would eliminate or minimize your disagreement.  The SDT would appreciate responses to as many of these questions as you are willing to supply.

- Requirement R1 defines the criteria for any specific circuit terminal to prevent its phase protective relay settings from limiting transmission system loadability while maintaining reliable protection of the BES for all fault conditions.  Criterion 10 of Requirement R1 was modified to ensure that protection settings do not expose transformers to fault level and duration that exceeds their mechanical withstand capability.  Do you agree with the modification to criterion 10 in Requirement R1?  If not, please explain and provide specific suggestions for improvement.

Yes

No

Comments:

- Requirement R2 requires the evaluation of out-of-step blocking schemes to verify that the out-of-step blocking elements allow tripping of phase protective relays for faults that occur during the loading conditions used to verify transmission line relay loadability per Requirement R1.  Note this new Requirement R2 does not add a new obligation on Transmission Owners, Generator Owners, and Distribution Providers; it only explicitly states in PRC-023-2 an obligation that presently is included in Attachment A, section 2 of PRC-023-1.  Do you agree with the requirement included in Requirement R2?  If not, please explain and provide specific suggestions for improvement.

Yes

No

Comments:

- Requirement R4 requires the Registered Entities that choose to utilize Requirement R1 criterion 2 as the basis for verifying transmission line relay loadability to provide the Planning Coordinator, Transmission Operator, and Reliability Coordinator with a list of facilities associated with those transmission line relays at least once each calendar year, with no more than 15 months between reports.  Do you agree with the requirement included in Requirement R4?  If not, please explain and provide specific suggestions for improvement.

Yes

No

Comments:

- Requirement R5 requires the Registered Entities that set transmission line relays according to Requirement R1 criterion 12 to provide a list of the facilities associated with those relays to the Regional Entity at least once each calendar year, with no more than 15 months between reports.  Do you agree with the requirement included in Requirement R5?  If not, please explain and provide specific suggestions for improvement.

Yes

No

Comments:

- Requirement R6 requires each Planning Coordinator to apply the criteria in Attachment B to determine which transmission Elements must comply with this standard.  Do you agree with the requirement included in Requirement R6?  If not, please explain and provide specific suggestions for improvement.

Yes

No

Comments:

- "Requirement R7 requires the Registered Entities to implement Requirement R1, Requirement R2, Requirement R3, Requirement R4, and Requirement R5 for each facility that the Planning Coordinator added to the list of facilities that must comply with this standard (per Requirement R6) by certain dates following notification by the Planning Coordinator.  Do you agree with the requirement included in Requirement R7?  If not, please explain and provide specific suggestions for improvement.

Yes

No

Comments:

- Attachment A, section 1.6 has been revised to avoid unintended negative impact on reliability associated with referring to “Protective functions that supervise operation of other protective functions.”  Section 1.6 has been revised to “Supervisory elements associated with current-based, communication-assisted schemes where the scheme is capable of tripping for loss of communications” to be more specific to the concern stated in Order No. 733.  Do you agree that this is an acceptable and effective method of meeting this directive?  If not, please explain and provide specific suggestions for improvement.

Yes

No

Comments:

- Attachment B contains the test that the Planning Coordinators must use to determine which transmission elements (transmission lines operated below 200 kV and transformers with low voltage terminals connected below 200 kV) must comply with this standard. Do you agree that the method proposed in Attachment B is a technically sound approach?  If not, please explain and provide specific suggestions for improvement.

Yes

No

Comments: