Unofficial Comment Form
Project 2007-02.0 - Operating Personnel Coomunication ProtocolsCOM-002-4 Operating Personnel Communications Protocols

Please DO NOT use this form.  Please use the electronic comment form to submit comments on the proposed draft COM-002-4 Operating Personnel Communications Protocols standard.  Comments must be submitted by November 4, 2013.  If you have questions please contact Stephen Eldridge or by telephone at 404-446-9686.

http://www.nerc.com/pa/Stand/Pages/Op_Comm_Protocol_Project_2007-02.aspx

### Background Information:

Effective communication is critical for Bulk Electric System (BES) operations.  Failure to successfully communicate clearly can create misunderstandings resulting in improper operations increasing the potential for failure of the BES.  The seventh posting of Project 2007-02 combines COM-002-3 and COM-003-1 into one standard titled COM-002-4 that addresses communications protocols for operating personnel in Emergency, alert, and non-emergency situations.

The Standard Authorization Request (SAR) for this project was initiated on March 1, 2007 and approved by the Standards Committee on June 8, 2007.  It established the scope of work for Project 2007-02 Operating Personnel Communications Protocols (OPCP).  The scope described in the SAR is to establish essential elements of communications protocols and communications paths such that operators and users of the North American BES will efficiently convey information and ensure mutual understanding.  The August 2003 Blackout Report, Recommendation Number 26, calls for a tightening of communications protocols.  Federal Energy Regulatory Commission (FERC) Order 693 paragraph 532 reiterates this need. This proposed standard’s goal is to ensure that effective communication is practiced and delivered in clear and consistent language.

The standard will be applicable to Transmission Operators, Balancing Authorities, Reliability Coordinators, Generator Operators, and Distribution Providers.  These requirements ensure that communications include essential elements such that information is efficiently conveyed and mutually understood for communicating Operating Instructions.

The Purpose statement of COM-002-4 states: “To tighten communications for the issuance of Operating Instructions with predefined communications protocols to reduce the possibility of miscommunication that could lead to action or inaction harmful to the reliability of the Bulk Electric System.”

- New NERC Glossary term: The OPCP Standards Drafting Team (SDT) revised the definition of Operating Instructions from its previous drafts.  The definition states that a Reliability Directive is a type of Operating Instruction.  The proposed term differentiates the class of communications that deal with changing or altering the state of the BES from general discussions of options or alternatives. Changes to the BES operating state with unclear communications create increased opportunities for events that could place the BES at an unacceptable risk of instability, separation, or cascading failures.  This term is proposed for addition to the North American Electric Reliability Corporation (NERC) Glossary to establish meaning and usage within the electricity industry.

- Project 2007-02, Posting 7 combines COM-002-3 and COM-003-1 into COM-002-4. The OPCP SDT combined COM-002-3 and COM-003-1 into one standard in order to simplify communications protocols for operating personnel.  The OPCP SDT determined that one communications protocols standard that addresses Emergency, alert, and non-emergency situations will improve communications because system operators will not need to refer to a different set of protocols during an emergency situation.  The OPCP SDT believed this will improve consistency of communications and mitigate confusion during stressful emergency situations.  Similarly, the Independent Experts Review Panel and NERC management recommended a single standard that addresses emergency and non-emergency communications protocols. The OPCP SDT decided to combine the standards under the title COM-002-4 to further reduce confusion.  The COM-002-4 title keeps the numbering of COM standards consecutive (e.g., COM-001, COM-002).

- Project 2007-02, Posting 7 features 5 requirements. The The OPCP SDT developed the requirement structure and language in posting 7 to incorporate Emergency, alert, and non-emergency communications protocols. The language in COM-002-4, Requirement R1 permits applicable entities flexibility to develop their communication protocols but requires a set of minimum elements in the communications protocols.  Requirement R1 requires communications protocols to include the following elements:

  - Reliability Directive Identification: Requirement R1, Part 1.1 – Require the issuer of a Reliability Directive to identify the action as a Reliability Directive to the receiver.

  - English Language: Requirement R1, Part 1.2 – Require the issuer and receiver of an oral or written Operating Instruction to use the English language, unless agreed to otherwise.  An alternate language may be used for internal operations.

  - Three-part Communication for Oral Operating Instructions:  Requirement R1, Parts 1.3 and 1.4 – Require three-part communication for issuers and receivers of oral two-party, person-to-person Operating Instructions.

  - One-way Burst Message Receipt Confirmation and Clarification:  Requirement R1, Parts 1.5 and 1.6 – Require the issuer of an oral Operating Instruction to verbally or electronically confirm receipt by at least one receiver when issuing the Operating Instruction through a one-way burst messaging system used to communicate a common message to multiple parties in a short time period (e.g., an all call system).  Require receiver to request clarification if not understood.

  - Time Identification: Requirement R1, Part 1.7 – Specify the instances that require time identification when issuing an oral or written Operating Instruction and the format for that time identification.

  - Transmission Interface Elements and Facilities Nomenclature:  Requirement R1, Part 1.8 – Specify the nomenclature for Transmission interface Elements and Transmission interface Facilities when issuing an oral or written Operating Instruction.

  - Alpha-numeric Clarifiers:  Requirement R1, Part 1.9 – Specify the instances where alpha-numeric clarifiers are required when issuing an oral Operating Instruction and the format for those clarifiers.

- Requirement R2 establishes minimum requirements in communications protocols for entities that typically only receive Operating Instructions.  Requirement R2 requires Generator Operators and Distribution Providers to include the following elements in their communications protocols:

- English Language:  Requirement R2, Part 2.1 – Require the receiver of an oral or written Operating Instruction to respond using the English language, unless agreed to otherwise.  An alternate language may be used for internal operations.

- Three-part Communication for Oral Operating Instructions:  Requirement R2, Part 2.2 – Require the receiver of an oral two-party, person-to-person Operating Instruction to either repeat the Operating Instruction and receive confirmation from the issuer or request the issuer to reissue the Operating Instruction.

- One-way Burst Message Receipt Clarification:  Requirement R2, Part 2.3 – Require the receiver of an oral Operating Instruction to request clarification from the issuer if the communication is not understood when receiving the Operating Instruction through a one-way burst messaging system used to communicate a common message to multiple parties in a short time period (e.g., an all call system).

- Requirements R3 and R4 require entities to implement the communications protocols in Requirements R1 and R2.  The OPCP SDT included these requirements to ensure that entities would include COM-002-4 in their training programs under PER-005-1.  Finally, Requirement R5 requires each Balancing Authority, Reliability Coordinator, and Transmission Operator to assess personnel’s adherence to communications protocols to provide feedback to issuers and receivers of Operating Instructions and to assess the effectiveness of the communications protocols.

The OPCP SDT is posting the standard for industry comment for a 15-day comment period.  The OPCP SDT received a waiver of the 45-day comment period required in the NERC Standards Processes Manual from the NERC Standards Committee.  Accordingly, we request that you include your comments on the electronic form by November 4, 2013.

Questions

- The OPCP SDT combined COM-002-3 and COM-003-1 into the COM-002-4 standard.  Do you agree that COM-002-4 addresses the August 2003 Blackout Report Recommendation number 26, FERC Order 693, and the COM-003-1 SAR? If not, please explain in the comment area of the last question.

Yes

No

Comments:

- Do you agree with the VRFs and VSLs for Requirements R1, R2, R3, R4, and R5?  If not, please explain.

Yes

No

Comments:

- Do you have any additional comments?  Please provide them here.

Yes

No

Comments: