Unofficial Comment Form

Project 2016-04 Modifications to PRC-025-1
Standards Authorization Request (SAR)

**Do not** use this form for submitting comments. Use the [electronic form](https://sbs.nerc.net/) to submit comments on the **Project 2016-04 Modifications to PRC-025-1 (Generator Relay Loadability) SAR**. The electronic form must be submitted by **8 p.m. Eastern, Tuesday, October 18, 2016.
m. Eastern, Thursday, August 20, 2015**

Additional information is available on the [project page](http://www.nerc.com/pa/Stand/Pages/Project-2016-04-Modifications-to-PRC-025-1.aspx). If you have questions, contact Senior Standards Developer, Scott Barfield-McGinnis (via email), or at 404-446-9689.

## Background

Reliability Standard PRC-025-1 (Generator Relay Loadability), which was approved by the Federal Energy Regulatory Commission in Order No. 799 issued on July 17, 2014, became effective on October 1, 2014. Under the phased implementation plan, applicable entities have between five and seven years to become compliant with the standard depending on the scope of work required by the Generator Owner. In the course of implementing the standard, four specific issues have been identified.

**Summary**

The SAR proposes that the PRC-025-1 standard be revised to provide: (1) an alternative loadability margin for dispersed generation resources; (2) an inclusion or exclusion of the 50 overcurrent element, (3) clarification on whether the Elements in the “Application” column of Table 1 of PRC-025-1 that have two applications separated by an “or” conjunction should both be included or may one or the other be selected; and (4) alternative or additional Option(s) (e.g., calculation or method) for determining loadability settings for relays that are directional toward the transmission.

## Questions

1. Do you agree with the scope and objectives of the four items raised in the SAR? If not, please explain why you do not agree and provide specific detail referencing the applicable SAR item that would make it acceptable to you. Please identify additional scoping items in the next question.

[ ]  Yes

[ ]  No

Comments:

1. Do you have any additional items not scoped in this SAR? If so, please explain the technical rationale for the additional items.

[ ]  Yes

[ ]  No

Comments:

1. If you have any other comments on this SAR that you haven’t already mentioned above, please provide them here:

Comments: