## Public Non-CIP SNOP Posting
Region | Registered Entity Name | NCR | NERC Violation ID | Notice of Confirmed Violation or Settlement Agreement | Description of the Violation | Reliability Standard | Req. | Violation Risk Factor | Violation Severity Level | Risk Assessment | Violation Start Date | Violation End Date | Total Penalty or Sanction ($) | Method of Discovery | Description of Mitigation Activity | Mitigation Completion Date | Date Regional Entity Verified Completion of Mitigation | "Admits," "Agrees/Stipulates," "Neither Admits nor Denies," or "Does Not Contest" | Other Factors Affecting the Penalty Determination, including Compliance History, Internal Compliance Program and Compliance Culture
ReliabilityFirst Corporation (ReliabilityFirst) | AEP Generation Resources Inc. (AEPGR) | NCR11401 | RFC2015014789 | Settlement Agreement | On March 31, 2015, AEPGR submitted a Self-Certification stating that, as a Generator Owner, it was in violation of PRC-005-1.1b R2. On January 12, 2016 AEPGR submitted two Self-Reports to ReliabilityFirst stating that, as a Generator Owner, it was in violation of PRC-005-1.1b R2. During 2014 and through 2015, AEP identified 192 devices, including relays, batteries, chargers and DC control circuits, for which maintenance and testing was not performed within the defined intervals in violation of PRC-005-1.1b, PRC-005-1a, and PRC-008-0 R2 (the PRC Instances). The PRC Instances were self-reported under the following Violation IDs: RFC2016015621, RFC2016015445, RFC2015014616, RFC2015014789, RFC2016015459, and RFC2015014615. However, ReliabilityFirst combined the PRC Instances for purposes of analyzing the root causes, potential risk, mitigation, and penalty. The PRC Instances occurred in both AEP’s generation and transmission business units and, although some of the PRC Instances involved short durations (as short as one day), some of the instances date back to June 18, 2007, the first date of compliance. Despite the multiple violations, the PRC Instances are not indicative of a systemic issue with AEP’s testing and maintenance program. Rather, the PRC Instances involved less than one half of one percent (only 0.19 percent) of AEP’s total batteries, chargers, and relays in the Regions’ footprints and stem from a variety of causes. Additionally, multiple instances were detected through controls AEP implemented in response to previous PRC issues. Although AEP mitigated the PRC Instances upon identification, AEP conducted an extensive review of its PRC program and the PRC Instances to identify patterns so that it could implement holistic improvements to prevent recurrence. After its review, AEP attributed the PRC Instances to eight contributing causes. Inadequate configuration management processes was the cause of the largest number of PRC Instances. More specifically, new equipment was not appropriately tracked in AEP’s asset management database during the commissioning process, which resulted in testing and maintenance outside of the defined interval. Ninety-nine of the 192 devices involved new construction or equipment being installed, and then not being updated in the asset management database, or something was missed during commissioning. Periodic maintenance inspections on newly-installed batteries and chargers were missed most frequently because of their shorter maintenance cycle. This resulted in exceeding maintenance intervals. Additionally, relating to asset and configuration management, old equipment was not in AEP’s database for fourteen devices. This occurred as a result of confusion surrounding a corrective action of barcoding devices from a 2011 analysis of inadequately documented relays. AEP Transmission uses barcoding to mark devices in its asset database and had inconsistently executed this across its footprint. The second most frequent contributing cause was inadequate prioritization of testing and maintenance, which resulted in testing and maintenance outside of the defined interval for fifty devices. Supervisors were inconsistent regarding verification of the employee’s adherence to the maintenance schedules, which resulted in part from the variety of groups being charged with maintenance and testing. | PRC-005-1.1b | R2 | High | Lower | This violation posed a moderate risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The risk of not performing scheduled maintenance and testing on batteries, chargers, relays, and DC control circuits is that an entity would not identify an issue with the devices and that issue would cause the devices to not function as intended. However, the risk posed by the foregoing facts and circumstances was mitigated by the following factors. Regarding the overall risk posed by the PRC Instances, first, AEP identified only 192 out of 99,358 devices that were incorrectly tested, tested outside of the defined interval, or had no previous test record, which affected less than one half of a percent (0.19%) of AEP’s total device count. in the Regions’ footprints. The violation does not indicate a systemic issue with AEP’s testing and maintenance program as indicated by the small percentage of devices at issue and the fact that there were multiple differing contributing causes associated with the issue as opposed to an overall ineffective poor maintenance and testing program. Second, there is no indication that a failure of the devices at issue (which could have possibly been prevented by testing and maintenance) would lead to widespread or cascading outages. Rather, the potential harm from any incident identified would be limited to localized loss of load or generation, especially because the facilities involved were all 345kV and below, wind farms, or individual generating units. This is, at least in part, due to AEP’s bar coding project, which was prioritized to focus first on EHV facilities. Thus, this decreased the likelihood that devices or equipment on EHV facilities were not tested and maintained. Thus, AEP had detective controls in place that resulted in AEP self-identifying the issues, thus reducing the likelihood that the issues would have gone undetected for a significant period of time. Additionally, the facts and circumstances involved in the individual instances support the moderate risk determination. Many of the PRC Instances involved short durations. Also, for some PRC Instances involving batteries and chargers, AEP monitored those batteries and chargers through its Supervisory Control and Data Acquisition (SCADA) system, and would have received alarms for their failure or abnormal voltage. Also, for one PRC Instance, although AEP was missing test records, AEP believes the charger likely was tested because it would have been tested at the same time an associated charger was tested (and AEP had test records for that associated charger). | 2/28/2014 (when AEPGR failed to complete testing and maintenance) | 10/13/2015 (when AEPGR completed the outstanding maintenance and testing activities) | $50,000 (for RFC2016015621, RFC2016015445, RFC2015014616, RFC2015014789, RFC2016015459, and RFC2015014615) | Self-Certification | To mitigate this violation, AEP Service: 1) corrected the issue for the next scheduled battery test; 2) developed an Internal Spot Check Date Review Policy & Procedure document for new Assets; 3) created a report within the asset management database to identify new PRC-005 applicable assets that are added to the database; 4) raised awareness at retiring facilities of testing obligations (extent of condition) through the distribution of a detailed email notification; 5) implemented a process to communicate policy changes to the generation fleet; 6) developed and began use of a Capital Checklist; 7) performed an assessment on existing training curriculum to ensure quality and focus of compliance responsibilities associated with battery and charger maintenance; 8) conducted IPS-Energy workshops for generation Fleet. This training initiative implements the comprehensive asset management application as the definitive source of record for PRC-005 compliance obligations through engagement and instruction of plant staff on the methods to record maintenance activities utilizing the wide array of functional capabilities of the software; 9) reviewed all plants for similar data issues (extent of condition); 10) performed an assessment of station assets/labor resources; 11) changed Program Documentation to align to PRC-005-2; 12) created and managed a decommissioning checklist & process; 13) standardized testing equipment across generation fleet; 14) implemented IPS-Energy as a tool to manage Generation relay settings. This allows plant staff to utilize IPS-Energy to access relay settings and confirm that appropriate settings are issued prior to placing the in-kind device in-service; 15) reviewed all ARC Flash Projects for potential NERC PRC impacts (extent of condition); 16) conducted an independent verification of the generator protection device review process utilizing Generation subject matter experts, compliance staff, and fleet plant personnel. The implementation of this initiative will serve as an additional process control to combat deficiencies in reviewer experience levels; 17) integrated IP change management to identify new batteries and confirm proper test protocol; 18) developed an online reference module for proper battery equipment; and 19) performed a complete evaluation to determine applicability of the battery to PRC-005 and the plant resumed inspection activities on the next quarterly cycle. | 2017-05-11 | 2017-08-09 | Stipulates | The Regions reviewed AEP’s internal compliance program and considered it to be a mitigating factor in the penalty determination. AEP self-identified and reported the violation due to the effective execution of its compliance program and the installation of internal controls that yielded identification of the issues. As a result, the Regions seek to encourage this type of self-reporting, characterized by timely detection and correction unconnected to a pending regional compliance monitoring action, by awarding significant mitigation credit. Many of the PRC Instances involved short durations (as short as one day) and were not considered repeats of prior violations, making them otherwise suitable for Compliance Exception treatment. Nevertheless, ReliabilityFirst determined that a penalty was appropriate because there was a small number of PRC Instances that were longer in duration or a repeat of a prior noncompliance. AEP established the Reliability Compliance Committee (RCC) and NERC Compliance Steering Committee (NCSC) to develop and oversee the implementation of the AEP compliance program to ensure continuous compliance with applicable NERC Standards. The RCC is a cross-functional team of executives from business units within AEP. The RCC is responsible for ensuring the implementation and oversight of AEP’s program to comply with the NERC Standards, which includes periodic approval of AEP’s reliability compliance plans, policies, and procedures. AEP’s Executive Vice President, External Affairs is the single compliance manager and single officer for AEP with direct access to the Chairman, President, and Chief Executive Officer and the Board of Directors. AEP’s Executive Vice President, External Affairs leads a broad representative compliance team. The Executive Vice President, External Affairs is the Chair of the RCC and is responsible for leading and managing submissions to the ERO. AEP’s strong compliance program was apparent with the current Violation, as the PRC Instances were self-identified, and, in response to identifying the PRC Instances, AEP voluntarily competed an extensive review of its PRC program and the PRC Instances, and quickly implemented an effective mitigation solution. The Regions considered AEP’s cooperation during the Settlement Agreement process and awarded mitigating credit. AEP was proactive in working with the Regions once it identified the violation and kept the Regions informed as it was conducting its extensive review of its PRC program and the PRC Instances to identify patterns in contributing causes. AEP also worked closely with the Regions when developing its mitigation strategy. AEP voluntarily provided the Regions with an abundance of information regarding the Violation in a manner that was detailed, thorough, and timely. AEP has been open with the Regions regarding its violations, processes, systems, and organization and this insight has allowed the Regions to better analyze the violation. The Regions awarded a mitigating credit to encourage this sort of response by AEP and other Registered Entities in the future. When assessing the penalty for the violation, the Regions considered whether the facts of the violation constitute repetitive infractions. AEP has prior violations of PRC-005-1 R2 that are arguably similar to the current violation in that the prior violations involved multiple instances of missed testing and maintenance in AEP’s transmission and generation business units. Some of the current PRC Instances were discovered as a result of controls, such as a barcoding effort, that AEP implemented in response to its previous violations. However, some of the current PRC Incidents indicate that some of AEP’s prior identified weaknesses still remain, including, for example, delay in inputting new equipment into AEP’s asset database. Accordingly, the Regions determined that AEP’s compliance history is an aggravating factor in the penalty determination. AEP’s relevant prior noncompliances with PRC-005-1 R2 include: a. RFC200800074 and SPP200800061. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-125-000 on February 23, 2011. On March 25, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. b. SPP200900168. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-198-000 on May 26, 2011. On June 24, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. c. RFC2012010261. A Settlement Agreement covering a violation of PRC-005-1 R2 was filed with FERC under NP14-4-000 on October 30, 2013. On November 29, 2013, FERC issued an order stating it would not engage in further review of the Notice of Penalty. d. RFC200800074. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-125-000 on February 23, 2011. On March 25, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. e. RFC200900182. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-164-000 on April 29, 2011. On May 27, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. f. RFC201000668. A Settlement Agreement covering a violation of PRC-005-1 R2 was filed with FERC under NP12-30-000 on May 30, 2012. On June 29, 2012, FERC issued an order stating it would not engage in further review of the Notice of Penalty. g. RFC201000331. A Settlement Agreement covering a violation of PRC-005-0 R2 was filed with FERC under NP12-30-000 on May 30, 2012. On June 29, 2012, FERC issued an order stating it would not engage in further review of the Notice of Penalty.
ReliabilityFirst Corporation (ReliabilityFirst) | American Electric Power Service Corporation as agent for Appalachian Power Company, Indiana Michigan Power Company, Kentucky Power Company, Kingsport Power Company, Ohio Power Company, Wheeling Power Company, AEP Ohio Transmission Company, AEP Appalachian Transmission Company, AEP West Virginia Transmission Company, AEP Indiana Michigan Transmission Company, and AEP Kentucky Transmission Company, Inc. (AEP Service) | NCR00682 | RFC2016015621 | Settlement Agreement | On March 22, 2016, AEP Service (AEP) submitted a Self-Report to ReliabilityFirst stating that, as a Transmission Owner, it was in violation of PRC-005-1 R2. During 2014 and through 2015, AEP identified 192 devices, including relays, batteries, chargers and DC control circuits, for which maintenance and testing was not performed within the defined intervals in violation of PRC-005-1.1b, PRC-005-1a, and PRC-008-0 R2 (the PRC Instances). The PRC Instances were self-reported under the following Violation IDs: RFC2016015621, RFC2016015445, RFC2015014616, RFC2015014789, RFC2016015459, and RFC2015014615. However, ReliabilityFirst combined the PRC Instances for purposes of analyzing the root causes, potential risk, mitigation, and penalty. The PRC Instances occurred in both AEP’s generation and transmission business units and, although some of the PRC Instances involved short durations (as short as one day), some of the instances date back to June 18, 2007, the first date of compliance. Despite the multiple violations, the PRC Instances are not indicative of a systemic issue with AEP’s testing and maintenance program. Rather, the PRC Instances involved less than one half of one percent (only 0.19 percent) of AEP’s total batteries, chargers, and relays in the Regions’ footprints and stem from a variety of causes. Additionally, multiple instances were detected through controls AEP implemented in response to previous PRC issues. Although AEP mitigated the PRC Instances upon identification, AEP conducted an extensive review of its PRC program and the PRC Instances to identify patterns so that it could implement holistic improvements to prevent recurrence. After its review, AEP attributed the PRC Instances to eight contributing causes. Inadequate configuration management processes was the cause of the largest number of PRC Instances. More specifically, new equipment was not appropriately tracked in AEP’s asset management database during the commissioning process, which resulted in testing and maintenance outside of the defined interval. Ninety-nine of the 192 devices involved new construction or equipment being installed, and then not being updated in the asset management database, or something was missed during commissioning. Periodic maintenance inspections on newly-installed batteries and chargers were missed most frequently because of their shorter maintenance cycle. This resulted in exceeding maintenance intervals. Additionally, relating to asset and configuration management, old equipment was not in AEP’s database for fourteen devices. This occurred as a result of confusion surrounding a corrective action of barcoding devices from a 2011 analysis of inadequately documented relays. AEP Transmission uses barcoding to mark devices in its asset database and had inconsistently executed this across its footprint. The second most frequent contributing cause was inadequate prioritization of testing and maintenance, which resulted in testing and maintenance outside of the defined interval for fifty devices. Supervisors were inconsistent regarding verification of the employee’s adherence to the maintenance schedules, which resulted in part from the variety of groups being charged with maintenance and testing. | PRC-005-1 | R2 | High | Lower | This violation posed a moderate risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The risk of not performing scheduled maintenance and testing on batteries, chargers, relays, and DC control circuits is that an entity would not identify an issue with the devices and that issue would cause the devices to not function as intended. However, the risk posed by the foregoing facts and circumstances was mitigated by the following factors. Regarding the overall risk posed by the PRC Instances, first, AEP identified only 192 out of 99,358 devices that were incorrectly tested, tested outside of the defined interval, or had no previous test record, which affected less than one half of a percent (0.19%) of AEP’s total device count in the Regions’ footprints. The violation does not indicate a systemic issue with AEP’s testing and maintenance program as indicated by the small percentage of devices at issue and the fact that there were multiple differing contributing causes associated with the issue as opposed to an overall ineffective poor maintenance and testing program. Second, there is no indication that a failure of the devices at issue (which could have possibly been prevented by testing and maintenance) would lead to widespread or cascading outages. Rather, the potential harm from any incident identified would be limited to localized loss of load or generation, especially because the facilities involved were all 345kV and below, wind farms, or individual generating units. This is, at least in part, due to AEP’s bar coding project, which was prioritized to focus first on extra high-voltage (EHV) facilities. Thus, this decreased the likelihood that devices or equipment on EHV facilities were not tested and maintained. Thus, AEP had detective controls in place that resulted in AEP self-identifying the issues, thus reducing the likelihood that the issues would have gone undetected for a significant period of time. Additionally, the facts and circumstances involved in the individual instances support the moderate risk determination. Many of the PRC Instances involved short durations. Also, for some PRC Instances involving batteries and chargers, AEP monitored those batteries and chargers through its Supervisory Control and Data Acquisition (SCADA) system, and would have received alarms for their failure or abnormal voltage. Also, for one PRC Instance, although AEP was missing test records, AEP believes the charger likely was tested because it would have been tested at the same time an associated charger was tested (and AEP had test records for that associated charger). | 6/18/2007 (when the Standard became mandatory and enforceable on AEP Service) | 5/29/2015 (when AEP Service completed the outstanding maintenance and testing activities) | $50,000 (for RFC2016015621, RFC2016015445, RFC2015014616, RFC2015014789, RFC2016015459, and RFC2015014615) | Self-Report | To mitigate this violation, AEP Service: 1) corrected the issue for the next scheduled battery test; 2) developed an Internal Spot Check Date Review Policy & Procedure document for new Assets; 3) created a report within the asset management database to identify new PRC-005 applicable assets that are added to the database; 4) raised awareness at retiring facilities of testing obligations (extent of condition) through the distribution of a detailed email notification; 5) implemented a process to communicate policy changes to the generation fleet; 6) developed and began use of a Capital Checklist; 7) performed an assessment on existing training curriculum to ensure quality and focus of compliance responsibilities associated with battery and charger maintenance; 8) conducted IPS-Energy workshops for generation Fleet. This training initiative implements the comprehensive asset management application as the definitive source of record for PRC-005 compliance obligations through engagement and instruction of plant staff on the methods to record maintenance activities utilizing the wide array of functional capabilities of the software; 9) reviewed all plants for similar data issues (extent of condition); 10) performed an assessment of station assets/labor resources; 11) changed Program Documentation to align to PRC-005-2; 12) created and managed a decommissioning checklist & process; 13) standardized testing equipment across generation fleet; 14) implemented IPS-Energy as a tool to manage Generation relay settings. This allows plant staff to utilize IPS-Energy to access relay settings and confirm that appropriate settings are issued prior to placing the in-kind device in-service; 15) reviewed all ARC Flash Projects for potential NERC PRC impacts (extent of condition); 16) conducted an independent verification of the generator protection device review process utilizing Generation subject matter experts, compliance staff, and fleet plant personnel. The implementation of this initiative will serve as an additional process control to combat deficiencies in reviewer experience levels; 17) integrated IP change management to identify new batteries and confirm proper test protocol; and 18) developed an online reference module for proper battery equipment. | 2017-05-11 | 2017-08-09 | Stipulates | The Regions reviewed AEP’s internal compliance program and considered it to be a mitigating factor in the penalty determination. AEP self-identified and reported the violation due to the effective execution of its compliance program and the installation of internal controls that yielded identification of the issues. As a result, the Regions seek to encourage this type of self-reporting, characterized by timely detection and correction unconnected to a pending regional compliance monitoring action, by awarding significant mitigation credit. Many of the PRC Instances involved short durations (as short as one day) and were not considered repeats of prior violations, making them otherwise suitable for Compliance Exception treatment. Nevertheless, ReliabilityFirst determined that a penalty was appropriate because there was a small number of PRC Instances that were longer in duration or a repeat of a prior noncompliance. AEP established the Reliability Compliance Committee (RCC) and NERC Compliance Steering Committee (NCSC) to develop and oversee the implementation of the AEP compliance program to ensure continuous compliance with applicable NERC Standards. The RCC is a cross-functional team of executives from business units within AEP. The RCC is responsible for ensuring the implementation and oversight of AEP’s program to comply with the NERC Standards, which includes periodic approval of AEP’s reliability compliance plans, policies, and procedures. AEP’s Executive Vice President, External Affairs is the single compliance manager and single officer for AEP with direct access to the Chairman, President, and Chief Executive Officer and the Board of Directors. AEP’s Executive Vice President, External Affairs leads a broad representative compliance team. The Executive Vice President, External Affairs is the Chair of the RCC and is responsible for leading and managing submissions to the ERO. AEP’s strong compliance program was apparent with the current Violation, as the PRC Instances were self-identified, and, in response to identifying the PRC Instances, AEP voluntarily competed an extensive review of its PRC program and the PRC Instances, and quickly implemented an effective mitigation solution. The Regions considered AEP’s cooperation during the Settlement Agreement process and awarded mitigating credit. AEP was proactive in working with the Regions once it identified the violation and kept the Regions informed as it was conducting its extensive review of its PRC program and the PRC Instances to identify patterns in contributing causes. AEP also worked closely with the Regions when developing its mitigation strategy. AEP voluntarily provided the Regions with an abundance of information regarding the Violation in a manner that was detailed, thorough, and timely. AEP has been open with the Regions regarding its violations, processes, systems, and organization and this insight has allowed the Regions to better analyze the violation. The Regions awarded a mitigating credit to encourage this sort of response by AEP and other Registered Entities in the future. When assessing the penalty for the violation, the Regions considered whether the facts of the violation constitute repetitive infractions. AEP has prior violations of PRC-005-1 R2 that are similar to the current violation in that the prior violations involved multiple instances of missed testing and maintenance in AEP’s transmission and generation business units. Some of the current PRC Instances were discovered as a result of controls, such as a barcoding effort, that AEP implemented in response to its previous violations. However, some of the current PRC Incidents indicate that some of AEP’s prior identified weaknesses still remain, including, for example, delay in inputting new equipment into AEP’s asset database. Accordingly, the Regions determined that AEP’s compliance history is an aggravating factor in the penalty determination. AEP’s relevant prior noncompliances with PRC-005-1 R2 include: a. RFC200800074 and SPP200800061. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-125-000 on February 23, 2011. On March 25, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. b. SPP200900168. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-198-000 on May 26, 2011. On June 24, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. c. RFC2012010261. A Settlement Agreement covering a violation of PRC-005-1 R2 was filed with FERC under NP14-4-000 on October 30, 2013. On November 29, 2013, FERC issued an order stating it would not engage in further review of the Notice of Penalty. d. RFC200800074. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-125-000 on February 23, 2011. On March 25, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. e. RFC200900182. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-164-000 on April 29, 2011. On May 27, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. f. RFC201000668. A Settlement Agreement covering a violation of PRC-005-1 R2 was filed with FERC under NP12-30-000 on May 30, 2012. On June 29, 2012, FERC issued an order stating it would not engage in further review of the Notice of Penalty. g. RFC201000331. A Settlement Agreement covering a violation of PRC-005-0 R2 was filed with FERC under NP12-30-000 on May 30, 2012. On June 29, 2012, FERC issued an order stating it would not engage in further review of the Notice of Penalty.
ReliabilityFirst Corporation (ReliabilityFirst) | American Electric Power Service Corporation as agent for Appalachian Power Company, Indiana Michigan Power Company, Kentucky Power Company, Kingsport Power Company, Ohio Power Company, Wheeling Power Company, AEP Ohio Transmission Company, AEP Appalachian Transmission Company, AEP West Virginia Transmission Company, AEP Indiana Michigan Transmission Company, and AEP Kentucky Transmission Company, Inc. (AEP Service) | NCR00682 | RFC2016015445 | Settlement Agreement | On December 22, 2015, AEP Service (AEP) submitted a Self-Report to ReliabilityFirst stating that, as a Transmission Owner, it was in violation of PRC-005-1a R2. During 2014 and through 2015, AEP identified 192 devices, including relays, batteries, chargers and DC control circuits, for which maintenance and testing was not performed within the defined intervals in violation of PRC-005-1.1b, PRC-005-1a, and PRC-008-0 R2 (the PRC Instances). The PRC Instances were self-reported under the following Violation IDs: RFC2016015621, RFC2016015445, RFC2015014616, RFC2015014789, RFC2016015459, and RFC2015014615. However, ReliabilityFirst combined the PRC Instances for purposes of analyzing the root causes, potential risk, mitigation, and penalty. The PRC Instances occurred in both AEP’s generation and transmission business units and, although some of the PRC Instances involved short durations (as short as one day), some of the instances date back to June 18, 2007, the first date of compliance. Despite the multiple violations, the PRC Instances are not indicative of a systemic issue with AEP’s testing and maintenance program. Rather, the PRC Instances involved less than one half of one percent (only 0.19 percent) of AEP’s total batteries, chargers, and relays in the Regions’ footprints and stem from a variety of causes. Additionally, multiple instances were detected through controls AEP implemented in response to previous PRC issues. Although AEP mitigated the PRC Instances upon identification, AEP conducted an extensive review of its PRC program and the PRC Instances to identify patterns so that it could implement holistic improvements to prevent recurrence. After its review, AEP attributed the PRC Instances to eight contributing causes. Inadequate configuration management processes was the cause of the largest number of PRC Instances. More specifically, new equipment was not appropriately tracked in AEP’s asset management database during the commissioning process, which resulted in testing and maintenance outside of the defined interval. Ninety-nine of the 192 devices involved new construction or equipment being installed, and then not being updated in the asset management database, or something was missed during commissioning. Periodic maintenance inspections on newly-installed batteries and chargers were missed most frequently because of their shorter maintenance cycle. This resulted in exceeding maintenance intervals. Additionally, relating to asset and configuration management, old equipment was not in AEP’s database for fourteen devices. This occurred as a result of confusion surrounding a corrective action of barcoding devices from a 2011 analysis of inadequately documented relays. AEP Transmission uses barcoding to mark devices in its asset database and had inconsistently executed this across its footprint. The second most frequent contributing cause was inadequate prioritization of testing and maintenance, which resulted in testing and maintenance outside of the defined interval for fifty devices. Supervisors were inconsistent regarding verification of the employee’s adherence to the maintenance schedules, which resulted in part from the variety of groups being charged with maintenance and testing. | PRC-005-1a | R2 | High | Lower | This violation posed a moderate risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The risk of not performing scheduled maintenance and testing on batteries, chargers, relays, and DC control circuits is that an entity would not identify an issue with the devices and that issue would cause the devices to not function as intended. However, the risk posed by the foregoing facts and circumstances was mitigated by the following factors. Regarding the overall risk posed by the PRC Instances, first, AEP identified only 192 out of 99,358 devices that were incorrectly tested, tested outside of the defined interval, or had no previous test record, which affected less than one half of a percent (0.19%) of AEP’s total device count. in the Regions’ footprints. The violation does not indicate a systemic issue with AEP’s testing and maintenance program as indicated by the small percentage of devices at issue and the fact that there were multiple differing contributing causes associated with the issue as opposed to an overall ineffective poor maintenance and testing program. Second, there is no indication that a failure of the devices at issue (which could have possibly been prevented by testing and maintenance) would lead to widespread or cascading outages. Rather, the potential harm from any incident identified would be limited to localized loss of load or generation, especially because the facilities involved were all 345kV and below, wind farms, or individual generating units. This is, at least in part, due to AEP’s bar coding project, which was prioritized to focus first on EHV facilities. Thus, this decreased the likelihood that devices or equipment on EHV facilities were not tested and maintained. Thus, AEP had detective controls in place that resulted in AEP self-identifying the issues, thus reducing the likelihood that the issues would have gone undetected for a significant period of time. Additionally, the facts and circumstances involved in the individual instances support the moderate risk determination. Many of the PRC Instances involved short durations. Also, for some PRC Instances involving batteries and chargers, AEP monitored those batteries and chargers through its Supervisory Control and Data Acquisition (SCADA) system, and would have received alarms for their failure or abnormal voltage. Also, for one PRC Instance, although AEP was missing test records, AEP believes the charger likely was tested because it would have been tested at the same time an associated charger was tested (and AEP had test records for that associated charger). | 1/1/2012 (when the relays and DC control circuits should have been tested) | 3/3/2015 (when AEP Service completed the outstanding maintenance and testing activities) | $50,000 (for RFC2016015621, RFC2016015445, RFC2015014616, RFC2015014789, RFC2016015459, and RFC2015014615) | Self-Report | To mitigate this violation, AEP Service: 1) corrected the issue for the next scheduled battery test; 2) developed an Internal Spot Check Date Review Policy & Procedure document for new Assets; 3) created a report within the asset management database to identify new PRC-005 applicable assets that are added to the database; 4) raised awareness at retiring facilities of testing obligations (extent of condition) through the distribution of a detailed email notification; 5) implemented a process to communicate policy changes to the generation fleet; 6) developed and began use of a Capital Checklist; 7) performed an assessment on existing training curriculum to ensure quality and focus of compliance responsibilities associated with battery and charger maintenance; 8) conducted IPS-Energy workshops for generation Fleet. This training initiative implements the comprehensive asset management application as the definitive source of record for PRC-005 compliance obligations through engagement and instruction of plant staff on the methods to record maintenance activities utilizing the wide array of functional capabilities of the software; 9) reviewed all plants for similar data issues (extent of condition); 10) performed an assessment of station assets/labor resources; 11) changed Program Documentation to align to PRC-005-2; 12) created and managed a decommissioning checklist & process; 13) standardized testing equipment across generation fleet; 14) implemented IPS-Energy as a tool to manage Generation relay settings. This allows plant staff to utilize IPS-Energy to access relay settings and confirm that appropriate settings are issued prior to placing the in-kind device in-service; 15) reviewed all ARC Flash Projects for potential NERC PRC impacts (extent of condition); 16) conducted an independent verification of the generator protection device review process utilizing Generation subject matter experts, compliance staff, and fleet plant personnel. The implementation of this initiative will serve as an additional process control to combat deficiencies in reviewer experience levels; 17) integrated IP change management to identify new batteries and confirm proper test protocol; 18) developed an online reference module for proper battery equipment; 19) maintained the DC system at Crockett Station; 20) calibrated the relays at Weatherford Wind Farm and tested the DC control paths; and 21) updated the asset management database. | 2017-05-11 | 2017-08-09 | Stipulates | The Regions reviewed AEP’s internal compliance program and considered it to be a mitigating factor in the penalty determination. AEP self-identified and reported the violation due to the effective execution of its compliance program and the installation of internal controls that yielded identification of the issues. As a result, the Regions seek to encourage this type of self-reporting, characterized by timely detection and correction unconnected to a pending regional compliance monitoring action, by awarding significant mitigation credit. Many of the PRC Instances involved short durations (as short as one day) and were not considered repeats of prior violations, making them otherwise suitable for Compliance Exception treatment. Nevertheless, ReliabilityFirst determined that a penalty was appropriate because there was a small number of PRC Instances that were longer in duration or a repeat of a prior noncompliance. AEP established the Reliability Compliance Committee (RCC) and NERC Compliance Steering Committee (NCSC) to develop and oversee the implementation of the AEP compliance program to ensure continuous compliance with applicable NERC Standards. The RCC is a cross-functional team of executives from business units within AEP. The RCC is responsible for ensuring the implementation and oversight of AEP’s program to comply with the NERC Standards, which includes periodic approval of AEP’s reliability compliance plans, policies, and procedures. AEP’s Executive Vice President, External Affairs is the single compliance manager and single officer for AEP with direct access to the Chairman, President, and Chief Executive Officer and the Board of Directors. AEP’s Executive Vice President, External Affairs leads a broad representative compliance team. The Executive Vice President, External Affairs is the Chair of the RCC and is responsible for leading and managing submissions to the ERO. AEP’s strong compliance program was apparent with the current Violation, as the PRC Instances were self-identified, and, in response to identifying the PRC Instances, AEP voluntarily competed an extensive review of its PRC program and the PRC Instances, and quickly implemented an effective mitigation solution. The Regions considered AEP’s cooperation during the Settlement Agreement process and awarded mitigating credit. AEP was proactive in working with the Regions once it identified the violation and kept the Regions informed as it was conducting its extensive review of its PRC program and the PRC Instances to identify patterns in contributing causes. AEP also worked closely with the Regions when developing its mitigation strategy. AEP voluntarily provided the Regions with an abundance of information regarding the Violation in a manner that was detailed, thorough, and timely. AEP has been open with the Regions regarding its violations, processes, systems, and organization and this insight has allowed the Regions to better analyze the violation. The Regions awarded a mitigating credit to encourage this sort of response by AEP and other Registered Entities in the future. When assessing the penalty for the violation, the Regions considered whether the facts of the violation constitute repetitive infractions. AEP has prior violations of PRC-005-1 R2 that are arguably similar to the current violation in that the prior violations involved multiple instances of missed testing and maintenance in AEP’s transmission and generation business units. Some of the current PRC Instances were discovered as a result of controls, such as a barcoding effort, that AEP implemented in response to its previous violations. However, some of the current PRC Incidents indicate that some of AEP’s prior identified weaknesses still remain, including, for example, delay in inputting new equipment into AEP’s asset database. Accordingly, the Regions determined that AEP’s compliance history is an aggravating factor in the penalty determination. AEP’s relevant prior noncompliances with PRC-005-1 R2 include: a. RFC200800074 and SPP200800061. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-125-000 on February 23, 2011. On March 25, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. b. SPP200900168. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-198-000 on May 26, 2011. On June 24, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. c. RFC2012010261. A Settlement Agreement covering a violation of PRC-005-1 R2 was filed with FERC under NP14-4-000 on October 30, 2013. On November 29, 2013, FERC issued an order stating it would not engage in further review of the Notice of Penalty. d. RFC200800074. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-125-000 on February 23, 2011. On March 25, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. e. RFC200900182. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-164-000 on April 29, 2011. On May 27, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. f. RFC201000668. A Settlement Agreement covering a violation of PRC-005-1 R2 was filed with FERC under NP12-30-000 on May 30, 2012. On June 29, 2012, FERC issued an order stating it would not engage in further review of the Notice of Penalty. g. RFC201000331. A Settlement Agreement covering a violation of PRC-005-0 R2 was filed with FERC under NP12-30-000 on May 30, 2012. On June 29, 2012, FERC issued an order stating it would not engage in further review of the Notice of Penalty.
ReliabilityFirst Corporation (ReliabilityFirst) | American Electric Power Service Corporation as agent for Appalachian Power Company, Indiana Michigan Power Company, Kentucky Power Company, Kingsport Power Company, Ohio Power Company, Wheeling Power Company, AEP Ohio Transmission Company, AEP Appalachian Transmission Company, AEP West Virginia Transmission Company, AEP Indiana Michigan Transmission Company, and AEP Kentucky Transmission Company, Inc. (AEP Service) | NCR00682 | RFC2015014616 | Settlement Agreement | On February 2, 2015, December 22, 2015, and March 22, 2016, AEP Service (AEP) submitted Self-Reports stating that, as a Transmission Owner, it was in violation of PRC-005-1 R2. On February 2, 2015 and April 19, 2016, American Electric Power Corp. as Agent for AEP Oklahoma Transmission Company, Public Service Company of Oklahoma, and Southwestern Electric Power Company submitted Self-Reports to Southwest Power Pool RE (SPP RE) stating that, as a Transmission Owner, it was in violation of PRC-005-1 R2 and PRC-005-2(i) R3. SPP RE forwarded the Self-Reports to ReliabilityFirst under an existing multi-region registred entity agreement with AEP Service. During 2014 and through 2015, AEP identified 192 devices, including relays, batteries, chargers and DC control circuits, for which maintenance and testing was not performed within the defined intervals in violation of PRC-005-1.1b, PRC-005-1a, and PRC-008-0 R2 (the PRC Instances). The PRC Instances were self-reported under the following Violation IDs: RFC2016015621, RFC2016015445, RFC2015014616, RFC2015014789, RFC2016015459, and RFC2015014615. However, ReliabilityFirst combined the PRC Instances for purposes of analyzing the root causes, potential risk, mitigation, and penalty. The PRC Instances occurred in both AEP’s generation and transmission business units and, although some of the PRC Instances involved short durations (as short as one day), some of the instances date back to June 18, 2007, the first date of compliance. Despite the multiple violations, the PRC Instances are not indicative of a systemic issue with AEP’s testing and maintenance program. Rather, the PRC Instances involved less than half of one percent (only 0.19 percent) of AEP’s total batteries, chargers, and relays in the Regions’ footprints and stem from a variety of causes. Additionally, multiple instances were detected through controls AEP implemented in response to previous PRC issues. Although AEP mitigated the PRC Instances upon identification, AEP conducted an extensive review of its PRC program and the PRC Instances to identify patterns so that it could implement holistic improvements to prevent recurrence. After its review, AEP attributed the PRC Instances to eight contributing causes. Inadequate configuration management processes was the cause of the largest number of PRC Instances. More specifically, new equipment was not appropriately tracked in AEP’s asset management database during the commissioning process, which resulted in testing and maintenance outside of the defined interval. Ninety-nine of the 192 devices involved new construction or equipment being installed, and then not being updated in the asset management database, or something was missed during commissioning. Periodic maintenance inspections on newly-installed batteries and chargers were missed most frequently because of their shorter maintenance cycle. This resulted in exceeding maintenance intervals. Additionally, relating to asset and configuration management, old equipment was not in AEP’s database for fourteen devices. This occurred as a result of confusion surrounding a corrective action of barcoding devices from a 2011 analysis of inadequately documented relays. AEP Transmission uses barcoding to mark devices in its asset database and had inconsistently executed this across its footprint. The second most frequent contributing cause was inadequate prioritization of testing and maintenance, which resulted in testing and maintenance outside of the defined interval for fifty devices. Supervisors were inconsistent regarding verification of the employee’s adherence to the maintenance schedules, which resulted in part from the variety of groups being charged with maintenance and testing. | PRC-005-1 | R2 | High | Lower | This violation posed a moderate risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The risk of not performing scheduled maintenance and testing on batteries, chargers, relays, and DC control circuits is that an entity would not identify an issue with the devices and that issue would cause the devices to not function as intended. However, the risk posed by the foregoing facts and circumstances was mitigated by the following factors. Regarding the overall risk posed by the PRC Instances, first, AEP identified only 192 out of 99,358 devices that were incorrectly tested, tested outside of the defined interval, or had no previous test record, which affected less than one half of a percent (0.19%) of AEP’s total device count. in the Regions’ footprints. The violation does not indicate a systemic issue with AEP’s testing and maintenance program as indicated by the small percentage of devices at issue and the fact that there were multiple differing contributing causes associated with the issue as opposed to an overall ineffective poor maintenance and testing program. Second, there is no indication that a failure of the devices at issue (which could have possibly been prevented by testing and maintenance) would lead to widespread or cascading outages. Rather, the potential harm from any incident identified would be limited to localized loss of load or generation, especially because the facilities involved were all 345kV and below, wind farms, or individual generating units. This is, at least in part, due to AEP’s bar coding project, which was prioritized to focus first on EHV facilities. Thus, this decreased the likelihood that devices or equipment on EHV facilities were not tested and maintained. Thus, AEP had detective controls in place that resulted in AEP self-identifying the issues, thus reducing the likelihood that the issues would have gone undetected for a significant period of time. Additionally, the facts and circumstances involved in the individual instances support the moderate risk determination. Many of the PRC Instances involved short durations. Also, for some PRC Instances involving batteries and chargers, AEP monitored those batteries and chargers through its Supervisory Control and Data Acquisition (SCADA) system, and would have received alarms for their failure or abnormal voltage. Also, for one PRC Instance, although AEP was missing test records, AEP believes the charger likely was tested because it would have been tested at the same time an associated charger was tested (and AEP had test records for that associated charger). | 6/18/2007 (when the Standard became mandatory and enforceable on AEP Service) | 10/20/2015 (when AEP Service completed the outstanding maintenance and testing activities) | $50,000 (for RFC2016015621, RFC2016015445, RFC2015014616, RFC2015014789, RFC2016015459, and RFC2015014615) | Self-Report | To mitigate this violation, AEP Service: 1) corrected the issue for the next scheduled battery test; 2) developed an Internal Spot Check Date Review Policy & Procedure document for new Assets; 3) created a report within the asset management database to identify new PRC-005 applicable assets that are added to the database; 4) raised awareness at retiring facilities of testing obligations (extent of condition) through the distribution of a detailed email notification; 5) implemented a process to communicate policy changes to the generation fleet; 6) developed and began use of a Capital Checklist; 7) performed an assessment on existing training curriculum to ensure quality and focus of compliance responsibilities associated with battery and charger maintenance; 8) conducted IPS-Energy workshops for generation Fleet. This training initiative implements the comprehensive asset management application as the definitive source of record for PRC-005 compliance obligations through engagement and instruction of plant staff on the methods to record maintenance activities utilizing the wide array of functional capabilities of the software; 9) reviewed all plants for similar data issues (extent of condition); 10) performed an assessment of station assets/labor resources; 11) changed Program Documentation to align to PRC-005-2; 12) created and managed a decommissioning checklist & process; 13) standardized testing equipment across generation fleet; 14) implemented IPS-Energy as a tool to manage Generation relay settings. This allows plant staff to utilize IPS-Energy to access relay settings and confirm that appropriate settings are issued prior to placing the in-kind device in-service; 15) reviewed all ARC Flash Projects for potential NERC PRC impacts (extent of condition); 16) conducted an independent verification of the generator protection device review process utilizing Generation subject matter experts, compliance staff, and fleet plant personnel. The implementation of this initiative will serve as an additional process control to combat deficiencies in reviewer experience levels; 17) integrated IP change management to identify new batteries and confirm proper test protocol; 18) developed an online reference module for proper battery equipment; 19) detailed inspection (18 month interval) of the station battery was completed; 20) the batteries at Ohio Central received their first 90 day test; 21) the DC system was maintained and the charger was added to the asset management database; and 22) maintenance was performed for the battery that missed the required 540 day maintenance. | 2017-05-11 | 2017-08-09 | Stipulates | The Regions reviewed AEP’s internal compliance program and considered it to be a mitigating factor in the penalty determination. AEP self-identified and reported the violation due to the effective execution of its compliance program and the installation of internal controls that yielded identification of the issues. As a result, the Regions seek to encourage this type of self-reporting, characterized by timely detection and correction unconnected to a pending regional compliance monitoring action, by awarding significant mitigation credit. Many of the PRC Instances involved short durations (as short as one day) and were not considered repeats of prior violations, making them otherwise suitable for Compliance Exception treatment. Nevertheless, ReliabilityFirst determined that a penalty was appropriate because there was a small number of PRC Instances that were longer in duration or a repeat of a prior noncompliance. AEP established the Reliability Compliance Committee (RCC) and NERC Compliance Steering Committee (NCSC) to develop and oversee the implementation of the AEP compliance program to ensure continuous compliance with applicable NERC Standards. The RCC is a cross-functional team of executives from business units within AEP. The RCC is responsible for ensuring the implementation and oversight of AEP’s program to comply with the NERC Standards, which includes periodic approval of AEP’s reliability compliance plans, policies, and procedures. AEP’s Executive Vice President, External Affairs is the single compliance manager and single officer for AEP with direct access to the Chairman, President, and Chief Executive Officer and the Board of Directors. AEP’s Executive Vice President, External Affairs leads a broad representative compliance team. The Executive Vice President, External Affairs is the Chair of the RCC and is responsible for leading and managing submissions to the ERO. AEP’s strong compliance program was apparent with the current Violation, as the PRC Instances were self-identified, and, in response to identifying the PRC Instances, AEP voluntarily competed an extensive review of its PRC program and the PRC Instances, and quickly implemented an effective mitigation solution. The Regions considered AEP’s cooperation during the Settlement Agreement process and awarded mitigating credit. AEP was proactive in working with the Regions once it identified the violation and kept the Regions informed as it was conducting its extensive review of its PRC program and the PRC Instances to identify patterns in contributing causes. AEP also worked closely with the Regions when developing its mitigation strategy. AEP voluntarily provided the Regions with an abundance of information regarding the Violation in a manner that was detailed, thorough, and timely. AEP has been open with the Regions regarding its violations, processes, systems, and organization and this insight has allowed the Regions to better analyze the violation. The Regions awarded a mitigating credit to encourage this sort of response by AEP and other Registered Entities in the future. When assessing the penalty for the violation, the Regions considered whether the facts of the violation constitute repetitive infractions. AEP has prior violations of PRC-005-1 R2 that are arguably similar to the current violation in that the prior violations involved multiple instances of missed testing and maintenance in AEP’s transmission and generation business units. Some of the current PRC Instances were discovered as a result of controls, such as a barcoding effort, that AEP implemented in response to its previous violations. However, some of the current PRC Incidents indicate that some of AEP’s prior identified weaknesses still remain, including, for example, delay in inputting new equipment into AEP’s asset database. Accordingly, the Regions determined that AEP’s compliance history is an aggravating factor in the penalty determination. AEP’s relevant prior noncompliances with PRC-005-1 R2 include: a. RFC200800074 and SPP200800061. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-125-000 on February 23, 2011. On March 25, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. b. SPP200900168. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-198-000 on May 26, 2011. On June 24, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. c. RFC2012010261. A Settlement Agreement covering a violation of PRC-005-1 R2 was filed with FERC under NP14-4-000 on October 30, 2013. On November 29, 2013, FERC issued an order stating it would not engage in further review of the Notice of Penalty. d. RFC200800074. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-125-000 on February 23, 2011. On March 25, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. e. RFC200900182. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-164-000 on April 29, 2011. On May 27, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. f. RFC201000668. A Settlement Agreement covering a violation of PRC-005-1 R2 was filed with FERC under NP12-30-000 on May 30, 2012. On June 29, 2012, FERC issued an order stating it would not engage in further review of the Notice of Penalty. g. RFC201000331. A Settlement Agreement covering a violation of PRC-005-0 R2 was filed with FERC under NP12-30-000 on May 30, 2012. On June 29, 2012, FERC issued an order stating it would not engage in further review of the Notice of Penalty.
ReliabilityFirst Corporation (ReliabilityFirst) | American Electric Power Service Corporation as agent for Appalachian Power Company, Indiana Michigan Power Company, Kentucky Power Company, Kingsport Power Company, Ohio Power Company, Wheeling Power Company, AEP Ohio Transmission Company, AEP Appalachian Transmission Company, AEP West Virginia Transmission Company, AEP Indiana Michigan Transmission Company, and AEP Kentucky Transmission Company, Inc. (AEP Service) | NCR00682 | RFC2016015459 | Settlement Agreement | On January 12, 2016, AEP submitted five Self-Reports to ReliabilityFirst stating that, as a Generator Owner, it was in violation of PRC-005-1b R2. During 2014 and through 2015, AEP identified 192 devices, including relays, batteries, chargers and DC control circuits, for which maintenance and testing was not performed within the defined intervals in violation of PRC-005-1.1b, PRC-005-1a, and PRC-008-0 R2 (the PRC Instances). The PRC Instances were self-reported under the following Violation IDs: RFC2016015621, RFC2016015445, RFC2015014616, RFC2015014789, RFC2016015459, and RFC2015014615. However, ReliabilityFirst combined the PRC Instances for purposes of analyzing the root causes, potential risk, mitigation, and penalty. The PRC Instances occurred in both AEP’s generation and transmission business units and, although some of the PRC Instances involved short durations (as short as one day), some of the instances date back to June 18, 2007, the first date of compliance. The PRC Instances did not involve misoperations, except in one instance, reported under RFC2016015459, where a unit tripped at 56 MW as a result of AEP installing a relay without first verifying the settings. More specifically, on July 18, 2014, AEP uninstalled an in-kind device from Unit 4 (because Unit 4 was inoperative) and installed it in Unit 3 without fully performing all commissioning activities to ensure the device would operate as intended for Unit 3. Although the device was physically identical to the relay AEP was replacing in Unit 3, AEP did not verify that the relay settings were correct for Unit 3. This resulted in a relay misoperation while attempting to return Unit 3 to service. Unit 3 tripped at approximately 56 MW of load and had a Net Capacity rating of 145 MW. The Misoperation had no negative impact to the BES. The unit was not considered essential for BES reliability and has since been retired. Despite the multiple violations, the PRC Instances are not indicative of a systemic issue with AEP’s testing and maintenance program. Rather, the PRC Instances involved in less than one half of one percent (only 0.19 percent) of AEP’s total batteries, chargers, and relays in the Regions’ footprints and stem from a variety of causes. Additionally, multiple instances were detected through controls AEP implemented in response to previous PRC issues. Although AEP mitigated the PRC Instances upon identification, AEP conducted an extensive review of its PRC program and the PRC Instances to identify patterns so that it could implement holistic improvements to prevent recurrence. After its review, AEP attributed the PRC Instances to eight contributing causes. Inadequate configuration management processes was the cause of the largest number of PRC Instances. More specifically, new equipment was not appropriately tracked in AEP’s asset management database during the commissioning process, which resulted in testing and maintenance outside of the defined interval. Ninety-nine of the 192 devices involved new construction or equipment being installed, and then not being updated in the asset management database, or something was missed during commissioning. Periodic maintenance inspections on newly-installed batteries and chargers were missed most frequently because of their shorter maintenance cycle. This resulted in exceeding maintenance intervals. Additionally, relating to asset and configuration management, old equipment was not in AEP’s database for fourteen devices. This occurred as a result of confusion surrounding a corrective action of barcoding devices from a 2011 analysis of inadequately documented relays. AEP Transmission uses barcoding to mark devices in its asset database and had inconsistently executed this across its footprint. The second most frequent contributing cause was inadequate prioritization of testing and maintenance, which resulted in testing and maintenance outside of the defined interval for fifty devices. Supervisors were inconsistent regarding verification of the employee’s adherence to the maintenance schedules, which resulted in part from the variety of groups being charged with maintenance and testing. | PRC-005-1b | R2 | High | Lower | This violation posed a moderate risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The risk of not performing scheduled maintenance and testing on batteries, chargers, relays, and DC control circuits is that an entity would not identify an issue with the devices and that issue would cause the devices to not function as intended. However, the risk posed by the foregoing facts and circumstances was mitigated by the following factors. Regarding the overall risk posed by the PRC Instances, first, AEP identified only 192 out of 99,358 devices that were incorrectly tested, tested outside of the defined interval, or had no previous test record, which affected less than one half of a percent (0.19%) of AEP’s total device count. in the Regions’ footprints. The violation does not indicate a systemic issue with AEP’s testing and maintenance program as indicated by the small percentage of devices at issue and the fact that there were multiple differing contributing causes associated with the issue as opposed to an overall ineffective poor maintenance and testing program. Second, there is no indication that a failure of the devices at issue (which could have possibly been prevented by testing and maintenance) would lead to widespread or cascading outages. Rather, the potential harm from any incident identified would be limited to localized loss of load or generation, especially because the facilities involved were all 345kV and below, wind farms, or individual generating units. This is, at least in part, due to AEP’s bar coding project, which was prioritized to focus first on EHV facilities. Thus, this decreased the likelihood that devices or equipment on EHV facilities were not tested and maintained. Thus, AEP had detective controls in place that resulted in AEP self-identifying the issues, thus reducing the likelihood that the issues would have gone undetected for a significant period of time. Additionally, the facts and circumstances involved in the individual instances support the moderate risk determination. Many of the PRC Instances involved short durations. Also, for some PRC Instances involving batteries and chargers, AEP monitored those batteries and chargers through its Supervisory Control and Data Acquisition (SCADA) system, and would have received alarms for their failure or abnormal voltage. Also, for one PRC Instance, although AEP was missing test records, AEP believes the charger likely was tested because it would have been tested at the same time an associated charger was tested (and AEP had test records for that associated charger). | 11/22/2013 (when AEP failed to complete testing and maintenance) | 9/15/2014 (when AEP Service completed the outstanding maintenance and testing activities) | $50,000 (for RFC2016015621, RFC2016015445, RFC2015014616, RFC2015014789, RFC2016015459, and RFC2015014615) | Self-Report | To mitigate this violation, AEP Service: 1) corrected the issue for the next scheduled battery test; 2) developed an Internal Spot Check Date Review Policy & Procedure document for new Assets; 3) created a report within the asset management database to identify new PRC-005 applicable assets that are added to the database; 4) raised awareness at retiring facilities of testing obligations (extent of condition) through the distribution of a detailed email notification; 5) implemented a process to communicate policy changes to the generation fleet; 6) developed and began use of a Capital Checklist; 7) performed an assessment on existing training curriculum to ensure quality and focus of compliance responsibilities associated with battery and charger maintenance; 8) conducted IPS-Energy workshops for generation Fleet. This training initiative implements the comprehensive asset management application as the definitive source of record for PRC-005 compliance obligations through engagement and instruction of plant staff on the methods to record maintenance activities utilizing the wide array of functional capabilities of the software; 9) reviewed all plants for similar data issues (extent of condition); 10) performed an assessment of station assets/labor resources; 11) changed Program Documentation to align to PRC-005-2; 12) created and managed a decommissioning checklist & process; 13) standardized testing equipment across generation fleet; 14) implemented IPS-Energy as a tool to manage Generation relay settings. This allows plant staff to utilize IPS-Energy to access relay settings and confirm that appropriate settings are issued prior to placing the in-kind device in-service; 15) reviewed all ARC Flash Projects for potential NERC PRC impacts (extent of condition); 16) conducted an independent verification of the generator protection device review process utilizing Generation subject matter experts, compliance staff, and fleet plant personnel. The implementation of this initiative will serve as an additional process control to combat deficiencies in reviewer experience levels; 17) integrated IP change management to identify new batteries and confirm proper test protocol; 18) developed an online reference module for proper battery equipment; 19) Electrical Engineering Services held a meeting with the plants to discuss proper configuration and settings to use for testing each particular battery; 20) added columns to the quarterly inspection tracking sheets for the inspection reports to include the number of inter-cell connections per battery; and 21) corrected each plant at issue specific issue at the net quarterly inspection submittal. | 2017-05-11 | 2017-08-09 | Stipulates | The Regions reviewed AEP’s internal compliance program and considered it to be a mitigating factor in the penalty determination. AEP self-identified and reported the violation due to the effective execution of its compliance program and the installation of internal controls that yielded identification of the issues. As a result, the Regions seek to encourage this type of self-reporting, characterized by timely detection and correction unconnected to a pending regional compliance monitoring action, by awarding significant mitigation credit. Many of the PRC Instances involved short durations (as short as one day) and were not considered repeats of prior violations, making them otherwise suitable for Compliance Exception treatment. Nevertheless, ReliabilityFirst determined that a penalty was appropriate because there was a small number of PRC Instances that were longer in duration or a repeat of a prior noncompliance. AEP established the Reliability Compliance Committee (RCC) and NERC Compliance Steering Committee (NCSC) to develop and oversee the implementation of the AEP compliance program to ensure continuous compliance with applicable NERC Standards. The RCC is a cross-functional team of executives from business units within AEP. The RCC is responsible for ensuring the implementation and oversight of AEP’s program to comply with the NERC Standards, which includes periodic approval of AEP’s reliability compliance plans, policies, and procedures. AEP’s Executive Vice President, External Affairs is the single compliance manager and single officer for AEP with direct access to the Chairman, President, and Chief Executive Officer and the Board of Directors. AEP’s Executive Vice President, External Affairs leads a broad representative compliance team. The Executive Vice President, External Affairs is the Chair of the RCC and is responsible for leading and managing submissions to the ERO. AEP’s strong compliance program was apparent with the current Violation, as the PRC Instances were self-identified, and, in response to identifying the PRC Instances, AEP voluntarily competed an extensive review of its PRC program and the PRC Instances, and quickly implemented an effective mitigation solution. The Regions considered AEP’s cooperation during the Settlement Agreement process and awarded mitigating credit. AEP was proactive in working with the Regions once it identified the violation and kept the Regions informed as it was conducting its extensive review of its PRC program and the PRC Instances to identify patterns in contributing causes. AEP also worked closely with the Regions when developing its mitigation strategy. AEP voluntarily provided the Regions with an abundance of information regarding the Violation in a manner that was detailed, thorough, and timely. AEP has been open with the Regions regarding its violations, processes, systems, and organization and this insight has allowed the Regions to better analyze the violation. The Regions awarded a mitigating credit to encourage this sort of response by AEP and other Registered Entities in the future. When assessing the penalty for the violation, the Regions considered whether the facts of the violation constitute repetitive infractions. AEP has prior violations of PRC-005-1 R2 that are arguably similar to the current violation in that the prior violations involved multiple instances of missed testing and maintenance in AEP’s transmission and generation business units. Some of the current PRC Instances were discovered as a result of controls, such as a barcoding effort, that AEP implemented in response to its previous violations. However, some of the current PRC Incidents indicate that some of AEP’s prior identified weaknesses still remain, including, for example, delay in inputting new equipment into AEP’s asset database. Accordingly, the Regions determined that AEP’s compliance history is an aggravating factor in the penalty determination. AEP’s relevant prior noncompliances with PRC-005-1 R2 include: a. RFC200800074 and SPP200800061. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-125-000 on February 23, 2011. On March 25, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. b. SPP200900168. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-198-000 on May 26, 2011. On June 24, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. c. RFC2012010261. A Settlement Agreement covering a violation of PRC-005-1 R2 was filed with FERC under NP14-4-000 on October 30, 2013. On November 29, 2013, FERC issued an order stating it would not engage in further review of the Notice of Penalty. d. RFC200800074. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-125-000 on February 23, 2011. On March 25, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. e. RFC200900182. A Settlement Agreement covering a violation of PRC-005-1 R2.1 was filed with FERC under NP11-164-000 on April 29, 2011. On May 27, 2011, FERC issued an order stating it would not engage in further review of the Notice of Penalty. f. RFC201000668. A Settlement Agreement covering a violation of PRC-005-1 R2 was filed with FERC under NP12-30-000 on May 30, 2012. On June 29, 2012, FERC issued an order stating it would not engage in further review of the Notice of Penalty. g. RFC201000331. A Settlement Agreement covering a violation of PRC-005-0 R2 was filed with FERC under NP12-30-000 on May 30, 2012. On June 29, 2012, FERC issued an order stating it would not engage in further review of the Notice of Penalty.
ReliabilityFirst Corporation (ReliabilityFirst) | American Electric Power Service Corporation as agent for Appalachian Power Company, Indiana Michigan Power Company, Kentucky Power Company, Kingsport Power Company, Ohio Power Company, Wheeling Power Company, AEP Ohio Transmission Company, AEP Appalachian Transmission Company, AEP West Virginia Transmission Company, AEP Indiana Michigan Transmission Company, and AEP Kentucky Transmission Company, Inc. (AEP Service) | NCR00682 | RFC2015014615 | Settlement Agreement | On February 2, 2015, AEP submitted a Self-Report stating that, as a Transmission Owner, it was in violation of PRC-008-0 R2. On February 2, 2015, American Electric Power Corp. as Agent for AEP Oklahoma Transmission Company, Public Service Company of Oklahoma, and Southwestern Electric Power Company submitted a Self-Report to Southwest Power Pool RE (SPP RE) stating that, as a Transmission Owner, it was in violation of PRC-008-0 R2. AEP failed to implement its Underfrequency Load Shedding (UFLS) equipment maintenance and testing program and provide the results within 30 days. SPP RE forwarded the Self-Report to ReliabilityFirst under an existing multi-region registred entity agreement with AEP Service. During 2014 and through 2015, AEP identified 192 devices, including relays, batteries, chargers and DC control circuits, for which maintenance and testing was not performed within the defined intervals in violation of PRC-005-1.1b, PRC-005-1a, and PRC-008-0 R2 (the PRC Instances). The PRC Instances were self-reported under the following Violation IDs: RFC2016015621, RFC2016015445, RFC2015014616, RFC2015014789, RFC2016015459, and RFC2015014615. However, ReliabilityFirst combined the PRC Instances for purposes of analyzing the root causes, mitigation, and penalty. The PRC Instances occurred in both AEP’s generation and transmission business units and, although some of the PRC Instances involved short durations (as short as one day), some of the instances date back to June 18, 2007, the first date of compliance. Four instances involved UFLS equipment. In the first instance involving UFLS equipment, at Senecaville, a battery and its charger did not have the necessary records to verify that maintenance was completed. This was a non-common battery/charger combination designed to support a single distribution feeder where no station battery is utilized. This design does not allow for traditional battery and battery charger maintenance. To remedy the violation, on August 19, 2014, AEP removed this single distribution feeder from the UFLS plan and updated relay settings. In the second instance, at North Mineola, as part of ongoing mitigation activities from a prior violation, AEP discovered one relay was missing from the asset tracking database. Upon discovery, AEP added the asset to the database and the asset was tested as of July 3, 2013. Further reviews from the addition of this relay led to the discovery of an associated control circuit, which was also tested on July 3, 2014. Third, at Lieberman, as part of ongoing mitigation activities from a prior violation, AEP discovered a Control Circuit that was not included in AEP’s asset tracking database. This path was tested on December 7, 2012. Fourth, at Fern Street, upon completing annual reviews, AEP discovered a battery that was beyond its 540 day interval by 15 days. The battery was required to be tested on January 24, 2013, but was not tested until February 8, 2013. These instances are not indicative of a systemic issue with AEP’s testing and maintenance program. Rather, the instances involved less than half of one percent of AEP’s total batteries, chargers, and relays in the Regions’ footprints and stem from a variety of causes, including an oversight while inputting old equipment in AEP's asset database and lack of familiarity regarding unique equipment design. Additionally, multiple instances were detected through controls AEP implemented in response to previous PRC issues. Although AEP mitigated the instances upon identification, AEP conducted an extensive review of its PRC program to identify patterns so that it could implement holistic improvements to prevent recurrence. After its review, AEP attributed these instances and the instances relating to PRC-005 to eight contributing causes. Inadequate configuration management processes was the cause of the largest number of PRC Instances. More specifically, new equipment was not appropriately tracked in AEP’s asset management database during the commissioning process, which resulted in testing and maintenance outside of the defined interval. Ninety-nine of the 192 devices involved new construction or equipment being installed, and then not being updated in the asset management database, or something was missed during commissioning. Periodic maintenance inspections on newly-installed batteries and chargers were missed most frequently because of their shorter maintenance cycle. This resulted in exceeding maintenance intervals. Additionally, relating to asset and configuration management, old equipment was not in AEP’s database for fourteen devices. This occurred as a result of confusion surrounding a corrective action of barcoding devices from a 2011 analysis of inadequately documented relays. AEP Transmission uses barcoding to mark devices in its asset database and had inconsistently executed this across its footprint. The second most frequent contributing cause was inadequate prioritization of testing and maintenance, which resulted in testing and maintenance outside of the defined interval for fifty devices. Supervisors were inconsistent regarding verification of the employee’s adherence to the maintenance schedules, which resulted in part from the variety of groups being charged with maintenance and testing. | PRC-008-0 | R2 | Medium | Lower | This violation posed a moderate risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The risk of not performing scheduled maintenance and testing on UFLS equipment is that an entity would not identify an issue with the devices and that issue would cause the devices to not function as intended when necessary to preserve system reliability. However, the risk posed by the foregoing facts and circumstances was mitigated by the following factors. There there were only four instances regarding UFLS equipment and AEP’s program includes significantly more load than is required. Thus, even if the equipment at issue did not operate at intended during a UFLS event, there are other relays in place to shed the required load. Additionaly, in all four instances, the devices were properly alarmed and being monitored via SCADA. | 6/18/2007 (when the Standard became mandatory and enforceable on AEP Service) | 8/19/2014 (when AEP Service completed the outstanding maintenance and testing activities) | $50,000 (for RFC2016015621, RFC2016015445, RFC2015014616, RFC2015014789, RFC2016015459, and RFC2015014615) | Self-Report | To mitigate this violation, AEP Service: 1) corrected the issue for the next scheduled battery test; 2) developed an Internal Spot Check Date Review Policy & Procedure document for new Assets; 3) raised awareness at retiring facilities of testing obligations (extent of condition) through the distribution of a detailed email notification; 4) implemented a process to communicate policy changes to the generation fleet; 5) developed and began use of a Capital Checklist; 6) performed an assessment on existing training curriculum to ensure quality and focus of compliance responsibilities associated with battery and charger maintenance; 7) reviewed all plants for similar data issues (extent of condition); 8 performed an assessment of station assets/labor resources; 9) created and managed a decommissioning checklist & process; 10) standardized testing equipment across generation fleet; 11) implemented IPS-Energy as a tool to manage Generation relay settings. This allows plant staff to utilize IPS-Energy to access relay settings and confirm that appropriate settings are issued prior to placing the in-kind device in-service; 12) reviewed all ARC Flash Projects for potential NERC PRC impacts (extent of condition); 13) conducted an independent verification of the generator protection device review process utilizing Generation subject matter experts, compliance staff, and fleet plant personnel. The implementation of this initiative will serve as an additional process control to combat deficiencies in reviewer experience levels; 14) integrated IP change management to identify new batteries and confirm proper test protocol; 15) developed an online reference module for proper battery equipment; and 16) relay settings were issued to disable the automatic UFLS function for the single distribution feeder (removing it from the UFLS plan). | 2017-05-11 | 2017-08-09 | Stipulates | The Regions reviewed AEP’s internal compliance program and considered it to be a mitigating factor in the penalty determination. AEP self-identified and reported the violation due to the effective execution of its compliance program and the installation of internal controls that yielded identification of the issues. As a result, the Regions seek to encourage this type of self-reporting, characterized by timely detection and correction unconnected to a pending regional compliance monitoring action, by awarding significant mitigation credit. Many of the PRC Instances involved short durations (as short as one day) and were not considered repeats of prior violations, making them otherwise suitable for Compliance Exception treatment. Nevertheless, ReliabilityFirst determined that a penalty was appropriate because there was a small number of PRC Instances that were longer in duration or a repeat of a prior noncompliance. AEP established the Reliability Compliance Committee (RCC) and NERC Compliance Steering Committee (NCSC) to develop and oversee the implementation of the AEP compliance program to ensure continuous compliance with applicable NERC Standards. The RCC is a cross-functional team of executives from business units within AEP. The RCC is responsible for ensuring the implementation and oversight of AEP’s program to comply with the NERC Standards, which includes periodic approval of AEP’s reliability compliance plans, policies, and procedures. AEP’s Executive Vice President, External Affairs is the single compliance manager and single officer for AEP with direct access to the Chairman, President, and Chief Executive Officer and the Board of Directors. AEP’s Executive Vice President, External Affairs leads a broad representative compliance team. The Executive Vice President, External Affairs is the Chair of the RCC and is responsible for leading and managing submissions to the ERO. AEP’s strong compliance program was apparent with the current Violation, as the PRC Instances were self-identified, and, in response to identifying the PRC Instances, AEP voluntarily competed an extensive review of its PRC program and the PRC Instances, and quickly implemented an effective mitigation solution. The Regions considered AEP’s cooperation during the Settlement Agreement process and awarded mitigating credit. AEP was proactive in working with the Regions once it identified the violation and kept the Regions informed as it was conducting its extensive review of its PRC program and the PRC Instances to identify patterns in contributing causes. AEP also worked closely with the Regions when developing its mitigation strategy. AEP voluntarily provided the Regions with an abundance of information regarding the violation in a manner that was detailed, thorough, and timely. AEP has been open with the Regions regarding its violation, processes, systems, and organization and this insight has allowed the Regions to better analyze the violation. The Regions awarded a mitigating credit to encourage this sort of response by AEP and other Registered Entities in the future. When assessing the penalty for the violation, the Regions considered whether the facts of the violation constitute repetitive infractions. AEP has a prior violation of PRC-008-0 R2 that is arguably similar to the current violation in that the prior violation involved multiple instances of missed testing and maintenance in AEP’s transmission and generation business units. Some of the current PRC Instances were discovered as a result of controls, such as a barcoding effort, that AEP implemented in response to its previous violations. However, some of the current PRC Incidents indicate that some of AEP’s prior identified weaknesses still remain, including, for example, delay in inputting new equipment into AEP’s asset database. Accordingly, the Regions determined that AEP’s compliance history is an aggravating factor in the penalty determination. AEP’s relevant prior noncompliances with PRC-008-0 R2 include: RFC2012011193 and SPP2012010130. A Settlement Agreement covering a violation of PRC-008-0 R2 was filed with FERC under NP13-51-000 on August 30, 2013. On September 27, 2013, FERC issued an order stating it would not engage in further review of the Notice of Penalty.
ReliabilityFirst Corporation (ReliabilityFirst) | Exelon Generation Company, LLC-Exelon Nuclear (Exelon Nuclear) | NCR00778 | RFC2016015585 | Settlement Agreement | On February 25, 2016, ReliabilityFirst identified a Violation of PRC-005-1.1b R2 as a result of a Spot Check of Exelon Nuclear, as a Generator Owner, conducted from October 29, 2015 through February 25, 2016 for the period covering January 1, 2013 to September 3, 2015. There are two separate instances of this violation. First, Exelon Nuclear did not provide the Spot Check monitoring team with maintenance and testing records for two sets of current transformers (CTs) (each set has three phases, meaning 6 CTs total were affected) associated with the two Main Generator Output breakers at Three Mile Island. At Three Mile Island, 6 out of a total of 117 CTs were affected. The Protection System Maintenance Program for Three Mile Island that was in effect during the beginning of the Spot Check period set an eight-year periodicity, which indicates that Exelon Nuclear should have performed the maintenance and testing on these two sets of CTs in 2015 (eight years from 2007). Exelon Nuclear was unable to provide any maintenance and testing records for the two sets of CTs at Three Mile Island as required by PRC-005-1.1b R2. Second, the Spot Check team also identified a testing discrepancy for one single phase CT associated with the neutral of the generator at Peach Bottom Unit 2. For Peach Bottom Unit 2, one out of 60 total CTs was affected. Specifically, the maintenance and testing performed on the one single phase CT at Peach Bottom Unit 2 was not consistent with all of the maintenance and testing requirements in Exelon Nuclear’s Protection System Maintenance Program. Peach Bottom’s records demonstrated that Exelon Nuclear’s 2015 maintenance and testing of the one CT at Peach Bottom Unit 2 only consisted of obtaining the neutral current for that CT despite the fact that Exelon Nuclear’s Protection System Maintenance Program also requires a visual inspection of the CTs. The root causes of this violation involve the management practices of grid maintenance, verification, and asset and configuration management. Grid maintenance is involved because Exelon Nuclear failed to follow Exelon Nuclear’s Protection System Maintenance Program for maintaining and testing CTs. Verification is involved because Exelon Nuclear did not ensure that Three Mile Island and Peach Bottom were following all of the requirements for maintaining and testing CTs in accordance with its Protection System Maintenance Program. A contributing cause of this failure to verify is Exelon's use of two different databases for tracking maintenance and testing for different plants in the Exelon Nuclear Fleet. Asset and configuration management is also involved because Exelon Nuclear did not ensure that all CTs were properly maintained and tested. | PRC-005-1.1b | R2 | High | Lower | This violation posed a moderate risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). Failure to maintain and test CTs could cause an unmaintained CT to fail and cause a relay to misoperate or a generating unit to trip offline. ReliabilityFirst also considered that Exelon Nuclear has a past noncompliance with PRC-005-1b R2, involving a failure to provide evidence of maintenance and testing on voltage and current sensing devices in accordance with Exelon Nuclear’s Protection System Maintenance Program. In addition, Exelon Nuclear did not find the current violation through its own detective controls. ReliabilityFirst identified the current violation during a Spot Check of Exelon Nuclear. The risk posed to the BPS by the foregoing facts and circumstances was mitigated by the following factors. One of the two sets of CTs at issue at Three Mile Island inputs into an ammeter that is routinely monitored by operators during daily rounds. The data from these activities is monitored and trended to assess health and long-term trends, which reduces the risk because this monitoring could indirectly identify issues with the one set of CTs. The other CT set at issue at Three Mile Island inputs into the differential circuit which is constantly monitored and routinely tested which reduces the risk because Exelon Nuclear would be made aware of a failed CT through its monitoring of the differential circuit because the CT’s failure would cause operation of the differential relay protection. Exelon Nuclear Operators also visually monitor breaker internals and perform other recurring preventative maintenance on the Main Generator Output Breakers which also reduces the risk because CT issues can be indirectly identified by monitoring breaker internals. Exelon Nuclear also reviewed the operating experience of the CTs at Three Mile Island as well as the operating experience of the same type of breakers and CTs across the industry, which confirmed the absence of any failures or observable adverse trends in performance. This reduced the risk because it shows that the CTs in use and at issue had a history of high performance. For the CT at Peach Bottom, the risk was mitigated by the fact that Exelon Nuclear did perform some testing on the CT by measuring the neutral current. No harm is known to have occurred. | 5/22/2015 (the date Three Mile Island's two sets of CTs should have been tested using an eight year periodicity) | 10/18/2017 (Mitigation Plan completion) | 25000 | Spot Check | To mitigate this violation, Exelon Nuclear: 1) revised its Peach Bottom procedure to align with the current PRC-005-1.1b maintenance and testing program at Peach Bottom, as reflected in the Protection System Maintenance Program stored in an electronic database; and 2) rescheduled the maintenance and testing activity for the Three Mile Island Main Generator Output Breaker CTs to meet the more stringent requirements of PRC-005-6, Table 1-3, to occur on the next feasible opportunity in 2017 (in conjunction with the next Three Mile Island refueling outage). In addition to the activities described above, Exelon Nuclear’s senior management issued a fleet-wide event report, in coordination with the Vice President of Nuclear Engineering, to the entire Exelon Nuclear fleet on December 5, 2016 emphasizing the need for increased station ownership of the Protection System Maintenance Program. The report stressed the need to: (1) carefully review site documentation to identify components covered by PRC-005; (2) ensure that maintenance and testing requirements and associated intervals (frequencies) for performing the maintenance and testing requirements have been established for all components covered by the Program; (3) ensure that the components are maintained and tested in accordance with the Program requirements; and (4) ensure that the records accurately reflect the maintenance and testing performed and dates on which such activities were performed. Importantly, the event report requires a series of fleet-wide actions to increase awareness of standard requirements, revise templates to specifically address Sensing Devices, DC Circuitry and associated Communication Systems, and improve proper adherence to the Protection System Maintenance Program for in-scope components. Each station is required to perform a line-by-line review of all site drawings, designs, and documentation to ensure all components are appropriately scoped within the PRC-005 Maintenance and Testing program. Separate from this station level review, Corporate Electrical Engineering retained an outside firm to independently validate the results of the site line-by-line reviews. Exelon Nuclear has incurred $68,000 in costs for the independent review to date, with an estimated total cost for the review of $130,000. Actions required by this event report are projected for completion by December 31, 2017. As part of these actions, Exelon Nuclear will promptly disclose any identified issues that it determines present potential non-compliance with PRC-005 through the self-reporting process of the applicable NERC Regional Entity. | 2017-10-18 | 2017-10-27 | Neither Admits nor Denies | Exelon Nuclear has taken and committed to actions that exceed what is required to mitigate the Violation, and which ReliabilityFirst therefore considers worthy of credit as Above and Beyond action items. 1. Exelon Nuclear has completed a $23M project to retire its historical electronic database (PIMS) and replace it with PassPort. This will promote consistency in the implementation of and compliance with various regulatory requirements and standards, including PRC-005-1.1b and PRC-005-6, by aligning the maintenance and testing processes and generation of work orders to drive more consistency across these Exelon Nuclear stations and by minimizing programmatic silos across business units. 2. Exelon Nuclear has also agreed to a PRC-005-6 Implementation Plan to accelerate the transition to PRC-005-6. This will result in Exelon Nuclear incorporating the more stringent Protection System maintenance requirements into its Protection System Maintenance Program for its voltage and current sensing devices four years earlier than otherwise would be required. Exelon Nuclear will undertake reasonable efforts to timely meet its accelerated compliance schedule. Exelon Nuclear’s failure to achieve 100% compliance with PRC-005-6 Table 1-3 maintenance tasks on or before April 1, 2023 shall not be deemed a violation of this Agreement. Exelon Nuclear will provide RF semi-annual updates on the status of its accelerated compliance with the applicable requirements in PRC-005-6 including a description of any required delay as described in this Agreement. ReliabilityFirst considered Exelon Nuclear's internal compliance (ICP) and considered it to be a mitigating factor in the penalty determination. ReliabilityFirst considered certain aspects of Exelon Nuclear’s compliance program and awarded mitigating credit. NERC compliance at Exelon Nuclear is accomplished through a shared structure that relies on both a corporate level function with dedicated governance, oversight and support to all Exelon business units (including Exelon Nuclear) and a business unit function that provides governance and implementation within Exelon Nuclear. At the corporate level, there is an Exelon NERC compliance officer, a NERC steering committee comprised of executive/senior management representatives from each business unit (including Exelon Nuclear) and senior managers from Corporate Legal, Ethics/Governance, HR and Information Technology. A NERC Compliance Management Team (CMT) provides oversight and support to all Exelon NERC registered business units and is responsible for the day-to-day implementation of the corporate level program. The corporate program is designed to assure continuous improvement to prevent reoccurrence of any actual or potential violations. The Exelon NERC CMT and the business unit implementation personnel accomplish this objective through the process of evaluating implementation efforts and compliance status and the setting of goals around program improvements. At the business unit level, the overall responsibility for NERC Compliance at Exelon Nuclear resides with the Registered Officer who is the Vice President of Licensing and Regulatory Affairs and a member of the Exelon NERC Steering Committee. Day-to-day NERC compliance at Exelon Nuclear is managed by designated compliance contacts, who work with other personnel to manage all aspects of the business unit’s compliance requirements. The compliance contact provides oversight of and coordinates with the responsible subject matter experts throughout the organization. ReliabilityFirst considered Exelon Nuclear’s cooperation during the Settlement Agreement process and awarded mitigating credit. Exelon Nuclear has been cooperative throughout the entire enforcement process. Following the Spot Check, Exelon Nuclear met and communicated with ReliabilityFirst on a regular basis, including one in-person meeting at ReliabilityFirst to discuss the violation, the mitigation, and the proposed Above and Beyond actions. Throughout the enforcement process, Exelon Nuclear voluntarily provided ReliabilityFirst with an abundance of information regarding the violation in a manner that was detailed and timely. ReliabilityFirst considered Exelon Nuclear’s PRC-005 R2 compliance history in determining the penalty and disposition track. Exelon Nuclear’s relevant prior noncompliance with PRC-005-1.1b R2 includes: RFC2012011357. ReliabilityFirst considered Exelon Nuclear’s PRC-005 R2 compliance history to be an aggravating factor in the penalty determination.
SERC Reliability Corporation (SERC) | Tennessee Valley Authority (TVA) | NCR01151 | SERC2016016137 | Settlement Agreement | On September 7, 2016, TVA submitted a Self-Report stating that, as a Generator Operator, it was in violation of VAR-002-4 R3. TVA did not notify its associated Transmission Operator (TOP) of status changes of the automatic voltage regulator (AVR) within 30 minutes of the changes in two instances on May 10, 2016. On May 9, 2016, at 5:52 a.m., TVA placed the Kingston Fossil Plant Unit 5 (KIF5) AVR in manual for start-up in accordance with the applicable start-up procedure previously transmitted to the TOP. At 9:18 a.m., TVA put KIF5 into service, placed the AVR in automatic, and notified the TOP. On May 10, 2016, at 12:13 a.m., the TVA night shift operator saw the unit start bus and not the station service bus was feeding the unit auxiliary loads and, based on previous practices, placed the AVR back into manual without notifying the TOP. At 4:47 a.m., the operator placed the AVR back in automatic. TVA’s event report states that the operator notified the TOP at 4:47 a.m. but TVA has no log entry or other documentation to confirm that the operator notified the TOP. Therefore, TVA could not verify that the operator provided that notification within 30 minutes of putting the AVR in automatic. On May 11, 2016, KIF operations staff identified the issue while reviewing logs and notified TVA’s Power Operations Reliability group of the issue. The causes of the violation are lack of operator accountability, ineffective operator training, and ineffective procedures. KIF5 has three inconsistent site-specific procedures regarding notification requirements. | VAR-002-4 | R3 | Medium | Severe | This violation posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). TVA’s failure to notify the TOP of changes of the state of the AVR could result in the TOP making incorrect assumptions regarding its control of reactive capability and taking actions that could adversely affect the reliability of the BPS. However, while the AVR was in manual, the KIF5 operator maintained the voltage within the voltage schedule. Six other units at Kingston were online with the AVR in automatic during the violation. The TVA TOP operating desks have alarm points for the BPS system voltages that are outside the individual generator voltage schedule limits and would trigger the TOP to control the system voltage by other means if the voltages reached the alarm points. KIF5’s output capacity is 161 MW, or 0.44% of the TVA generation of 36,387 MW. No harm is known to have occurred. | 5/10/2016 (when TVA did not notify the TOP within 30 minutes of a status change of the AVR) | 5/10/2016 (when TVA switched the AVR back to automatic and notified the TOP) | No penalty | Self-Report | To mitigate this violation, TVA: 1) completed bulletin discussion across the power operation generating fleet in stand-down, pre-shift briefing, or similar meetings for all operators in each crew at each operating unit; 2) revised procedures and instructions within TVA’s power operation (non-nuclear) business units as necessary to address proper notifications under VAR-002 R3 consisting of notification as soon as possible but within 30 minutes based on minimizing risk to reliability; and 3) required reading of the revised procedures and instructions within TVA’s power operations (non-nuclear) business units. | 2017-08-25 | 2017-09-26 | Neither Admits nor Denies | SERC reviewed TVA's internal compliance program and considered it to be a neutral factor in the determination of the disposition track. SERC considered TVA’s VAR-002-4 R3 compliance history in determining the disposition track. TVA’s relevant prior noncompliance with VAR-002-4 R3 includes NERC Violation IDs SERC2013012974 and SERC2015014921. SERC considered TVA’s VAR-002-4 R3 compliance history to be an aggravating factor in the determination of the disposition track. On August 22, 2014, in Southwestern Power Administration (SWPA) v. Federal Energy Regulatory Commission (FERC), the United States Court of Appeals for the District of Columbia Circuit unanimously ruled that FERC, and by extension, the North American Electric Reliability Corporation (NERC) and the Regional Entities it oversees, such as SERC, could not impose monetary penalties against federal governmental entities such as SWPA. TVA is a federal governmental entity, and SERC is bound to follow SWPA v. FERC in the resolution of this matter. Therefore, SERC has assessed no monetary penalty for these violations.
SERC Reliability Corporation (SERC) | Tennessee Valley Authority (TVA) | NCR01151 | SERC2016016138 | Settlement Agreement | On September 7, 2016, TVA submitted a Self-Report stating that, as a Generator Operator, it was in violation of VAR-002-4 R1. TVA did not operate one generator connected to the interconnected transmission system in the automatic voltage control mode on May 10, 2016 and did not notify the Transmission Operator (TOP). On May 9, 2016 at 5:52 a.m., TVA placed the Kingston Fossil Plant Unit 5 (KIF5) automatic voltage regulator (AVR) in manual for start-up in accordance with the applicable start-up procedure previously transmitted to the TOP. At 9:18 a.m., TVA put KIF5 into service and placed the AVR in automatic. On May 10, 2016 at 12:13 a.m., the TVA night shift operator saw the unit start bus and not the station service bus was feeding the unit auxiliary loads and, based on previous practices, placed the AVR back into manual without first notifying the TOP. At 4:47 a.m., the operator placed the AVR back in automatic. On May 11, 2016, KIF operations staff identified the issue while reviewing logs and notified Power Operations Reliability group of the issue. The causes of the violation are lack of operator accountability and ineffective operator training. | VAR-002-4 | R1 | Medium | Severe | This violation posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). TVA’s failure to operate the AVR automatic controlling voltage could result in the TOP making incorrect assumptions regarding its control of reactive capability and taking actions that could adversely affect the reliability of the BPS. However, while the AVR was in manual, the KIF5 operator maintained the voltage within the voltage schedule. Six other units at Kingston were online with the AVR in automatic during the violation. The TVA TOP operating desks have alarm points for the BPS system voltages that are outside the individual generator voltage schedule limits and would trigger the TOP to control the system voltage by other means if the voltages reached the alarm points. The KIF5 output capacity is 161 MW, or 0.44% of the TVA generation of 36,387 MW. No harm is known to have occurred | 5/10/2016 (when TVA placed the AVR in manual without first notifying the TOP) | 5/10/2016 (when TVA placed the AVR in automatic controlling voltage) | No penalty | Self-Report | To mitigate this violation, TVA: 1) completed incremental training discussions across the generating fleets in stand-down, pre-shift briefing, or similar meetings for all operators in each crew at each operating unit; 2) revised procedures and instructions within TVA’s power operation (non-nuclear) business units as necessary to address proper notifications under VAR-002 R1 consisting of either prior notification to the TOP or, at the discretion of the unit operator, notification as soon as possible but within 30 minutes based on minimizing risk to reliability; 3) required reading of the revised procedures and instructions within TVA’s power operations (non-nuclear) business units. | 2017-08-25 | 2017-09-27 | Neither Admits nor Denies | SERC reviewed TVA's internal compliance program and considered it to be a neutral factor in the determination of the disposition track. SERC considered TVA’s VAR-002-4 R1 compliance history in determining the disposition track. TVA’s relevant prior noncompliance with VAR-002-4 R1 includes: NERC Violation ID SERC2016015698 and SERC2016015699. SERC considered TVA’s VAR-002-4 R1 compliance history to be an aggravating factor in the determination of the disposition track. On August 22, 2014, in Southwestern Power Administration (SWPA) v. Federal Energy Regulatory Commission (FERC), the United States Court of Appeals for the District of Columbia Circuit unanimously ruled that FERC, and by extension, the North American Electric Reliability Corporation (NERC) and the Regional Entities it oversees, such as SERC, could not impose monetary penalties against federal governmental entities such as SWPA. TVA is a federal governmental entity, and SERC is bound to follow SWPA v. FERC in the resolution of this matter. Therefore, SERC has assessed no monetary penalty for these violations.
SERC Reliability Corporation (SERC) | Tennessee Valley Authority (TVA) | NCR01151 | SERC2016016496 | Settlement Agreement | On November 7, 2016, TVA submitted a Self-Report stating that, as a Generator Owner, it was in violation of PRC-024-2 R2. TVA did not verify setting its protective relaying such that the generator voltage protective relaying does not trip the applicable generating units within the “no trip zone” of PRC-024 Attachment 2, for at least 40% of its applicable facilities by July 1, 2016, in accordance with the PRC-024-2 implementation plan. To meet the 40% implementation requirement, TVA should have completed the verification and any necessary relay setting changes for 101 of its 251 generating units prior to July 1, 2016. TVA thought it had completed verification for 109 of its 251 generating units prior to July 1, 2016. However, on July 28, 2016, during routine maintenance and inspections, TVA identified a discrepancy between the relay setting sheets of record and the field settings for 12 generator protective relays at one plant. TVA immediately corrected the generator relay settings. Since TVA had not verified these 12 units as compliant with PRC-024 as of July 1, 2016, TVA had not completed verification for 40% of its applicable facilities. At most, TVA only completed verification for 97 of its 251 units, 39%. TVA determined the primary cause of this violation was that TVA’s configuration control process did not result in consistent communication of the final relay settings from the field to corporate engineering for data retention. TVA also determined a contributing factor was its power operations group did not verify the relay setting sheet records in the field when verifying settings to meet the 40% milestone for PRC-024. | PRC-024-2 | R2 | Medium | Severe | This violation posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. TVA’s failure to set generator voltage protective relaying such that it does not trip the applicable generating units within the “no trip zone” could lead to an individual generator tripping due to a system event that should not have caused the generator to trip. However, TVA did complete verification for 39% of its units by July 1, 2016 (TVA was only four units shy of the 40% requirement) and completed verification for the remaining 1% only 27 days late. In addition, TVA has 36,387 MW of generation, and each unit at the involved plant was only 92.65 MW. Therefore, even if all four units tripped offline, they would have a minimal impact. The previous 12-month capacity factors for the four non-compliant units were 3.66%, 5.58%, 8.49% and 7.33%. For all four units, TVA corrected the setting by changing it from tripping at 0.89 per-unit to alarm only. No harm is known to have occurred. | 7/1/2016 (when TVA should have verified trip settings for at least 40% of its applicable facilities) | 7/28/2016 (when TVA corrected the relay settings) | No penalty | Self-Report | To mitigate this violation, TVA: 1) corrected the relay settings for the generators involved to match the PRC-024-2 report; 2) revamped the relay setting sheets control management process, such that relay settings sheets will be managed under the same configuration control process as other critical configuration documents currently managed within the power operations systems. This action includes engaging an engineering review and change management process through a project initiation and work management system for any relay modification or settings changes; and 3) reviewed the remaining 97 units that it validated to download the as-found unit relay setting files. During this verification process, TVA adjusted relay settings to make immediate corrections if required. | 2017-06-30 | 2017-11-09 | Neither Admits nor Denies | SERC reviewed TVA's internal compliance program and considered it to be a neutral factor in the determination of the disposition track. SERC considered TVA’s PRC-024 R2 compliance history and determined that there were no relevant instances of noncompliance. SERC also considered TVA’s PRC-005 R2 compliance history because TVA’s ineffective document management was a contributing cause in those instances of noncompliance. TVA’s relevant prior noncompliance with PRC-005 R2 includes: SERC200700090, SERC200900271, SERC200900273, SERC201000492, SERC2013012257, and SERC2014014106. SERC considered TVA’s PRC-005 R2 compliance history to be an aggravating factor in determining the disposition track. On August 22, 2014, in Southwestern Power Administration (SWPA) v. Federal Energy Regulatory Commission (FERC), the United States Court of Appeals for the District of Columbia Circuit unanimously ruled that FERC, and by extension, the North American Electric Reliability Corporation (NERC) and the Regional Entities it oversees, such as SERC, could not impose monetary penalties against federal governmental entities such as SWPA. TVA is a federal governmental entity, and SERC is bound to follow SWPA v. FERC in the resolution of this matter. Therefore, SERC has assessed no monetary penalty for these violations.