## Public CIP Jan. FFT Filing
Region | Name of Entity | NCR | Issue Tracking # | Standard | Req. | Description of Remediated Issue | Description of the Risk Assessment | Description and Status of Mitigation Activity
ReliabilityFirst Corporation (ReliabilityFirst) | Unidentified Registered Entity 1 (RFC_URE1) | NCRXXXXX | RFC2012001272 | CIP-004-3 | R3 | RFC_URE1 submitted a Self-Report to ReliabilityFirst identifying an issue with CIP-004-3 R3. RFC_URE1 discovered that two of its employees were granted authorized unescorted physical access to Critical Cyber Assets (CCAs) without obtaining personnel risk assessments (PRAs) as required by RFC_URE1 documented PRA program. The issue was discovered about eight months after the employees were granted such access. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The employees involved in the issue had cybersecurity training and were seasoned RFC_URE1 employees. One individual has been employed with RFC_URE1 for over ten years. The other individual had been employed by RFC_URE1 over twenty years and recently retired. The individuals did not attempt to gain access to unauthorized areas. When RFC_URE1 conducted PRAs for the two individuals, it discovered no negative results. | RFC_URE1 revoked the two individuals’ access to CIP-controlled areas and then initiated and successfully completed PRAs for the two individuals. RFC_URE1 subsequently completed its corrective discipline process with the single supervisor of both individuals.
ReliabilityFirst Corporation (ReliabilityFirst) | Unidentified Registered Entity 1 (RFC_URE1) | NCRXXXXX | RFC2012001273 | CIP-004-3 | R4 | RFC_URE1 submitted a Self-Report to ReliabilityFirst identifying an issue with CIP-004-3 R4. For the second quarter of one year, RFC_URE1 failed to conduct a review of its list of personnel who have authorized cyber access to Critical Cyber Assets (CCAs) at a power plant, as required by CIP-004-3 R4.1. RFC_URE1 conducted the review three months outside its scheduled review period. In addition, RFC_URE1 failed to timely revoke access to CCAs for three individuals that transferred from positions within RFC_URE1 at facilities containing CCAs to positions at facilities that do not contain CCAs. Despite the transfer, RFC_URE1 failed to revoke the three individuals’ authorized cyber and authorized unescorted physical access to CCAs within seven calendar days, as required by CIP-004-3 R4.2. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. Regarding the issue with CIP-004-3 R4.1, when RFC_URE1 conducted the quarterly review, it discovered no changes to the access list were required. In addition, except for incidents in issue tracking numbers RFC2012001272 and RFC2012010433, all employees had cybersecurity training and valid personnel risk assessments (PRAs). Regarding the issue with CIP-004-3 R4.2, the individuals had valid PRAs and cybersecurity training. In addition, the individuals did not attempt to utilize their access after they transferred positions. | To mitigate the issue with CIP-004-3 R4.1, RFC_URE1 conducted regularly scheduled CIP-004 R4 reviews pursuant to its documented procedure. In addition, RFC_URE1 conducted a gap analysis assessment of its current process and developed countermeasures of probable root causes of the issue. Furthermore, RFC_URE1 expanded its email notifications to include alternate individuals to review the access lists. To mitigate the issue with CIP-004-3 R4.2, RFC_URE1 revoked access for all employees at issue, and completed training for all individuals at issue.
ReliabilityFirst Corporation (ReliabilityFirst) | Unidentified Registered Entity 1 (RFC_URE1) | NCRXXXXX | RFC2012010421 | CIP-004-3 | R3 | RFC_URE1 submitted a Self-Report to ReliabilityFirst identifying an issue with CIP-004-3 R3. During its quarterly access review, RFC_URE1 discovered that it mistakenly granted unescorted physical access to one of its power plant Physical Security Perimeters (PSPs) containing Critical Cyber Assets (CCAs) to an individual without a personnel risk assessment, as required by CIP-004-3 R3. The individual who required access has the same first and last name as the individual to which RFC_URE1 mistakenly granted access. In addition, the individuals belong to the same department, have the same supervisor and the same job title. Around two weeks after it discovered the issue, RFC_URE1 revoked the individual’s access. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The individual did not physically access any of the PSPs at issue, and the individual did not have an identification access card with which to access the PSPs. The process in place to verify correct access authorization quarterly permitted RFC_URE1 to identify and eliminate the incorrectly authorized access rights. Furthermore, the power plant perimeter is protected by vehicle and pedestrian gates, identification card access, and security personnel on duty 24 hours a day. As a result, the individual at issue would have been denied access at the perimeter and been unable to physically access the CCAs located inside the perimeter. | RFC_URE1 revoked the individual’s unauthorized access. In addition, RFC_URE1 conducted a personnel risk assessment, conducted a review to identify the root cause of the issue, and implement a mitigation strategy. RFC_URE1 created a specific business unit procedure documenting the corporate process and criteria for granting access to a Cyber Asset and conduct reinforcement training for employees in the business unit on that process. RFC_URE1 also conducted general reinforcement training for access requirements for all relevant Cyber Asset owners to review the procedures and criteria for granting access to Cyber Assets.
ReliabilityFirst Corporation (ReliabilityFirst) | Unidentified Registered Entity 1 (RFC_URE1) | NCRXXXXX | RFC2012010433 | CIP-004-3 | R2; R2.1 | RFC_URE1 submitted a Self-Report to ReliabilityFirst identifying an issue with CIP-004-3 R2. During its quarterly access review, RFC_URE1 discovered that it mistakenly granted unescorted physical access to the one of its power plant's Physical Security Perimeters (PSPs) containing Critical Cyber Assets (CCAs) to an individual without cybersecurity training, as required by CIP-004-3 R2. The individual who required access has the same first and last name as the individual to which RFC_URE1 mistakenly granted access. In addition, the individuals belong to the same department, have the same supervisor and the same job title. Around two weeks after it discovered the issue, RFC_URE1 revoked the unauthorized individual’s access. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The individual did not physically access any of the PSPs at issue, and the individual did not have an identification access card with which to access the PSPs. The process in place to verify correct access authorization quarterly permitted RFC_URE1 to identify and eliminate the incorrectly authorized access rights. Furthermore, the power plant perimeter is protected by vehicle and pedestrian gates, identification card access, and security personnel on duty 24 hours a day. As a result, the individual at issue would have been denied access at the perimeter and been unable to physically access the CCAs located inside the perimeter. | RFC_URE1 revoked the unauthorized access and revised its process for granting unescorted physical access to CCAs to ensure the uniqueness of the individual prior to granting access.
ReliabilityFirst Corporation (ReliabilityFirst) | Unidentified Registered Entity 1 (RFC_URE1) | NCRXXXXX | RFC2012011348 | CIP-006-3c | R2; R2.2 | RFC_URE1 submitted a Self-Report to ReliabilityFirst identifying an issue with CIP-004-3 R3. Subsequently, ReliabilityFirst determined that one of the two issues identified in that Self-Report indicated that RFC_URE1 had an issue with CIP-006-3c R2.2. A RFC_URE1 IT employee transferred from one IT department to another for a temporary assignment. RFC_URE1 placed this employee in a group with administrative access to servers administered through a new business unit. Four of these servers contain Cyber Assets that authorize and/or log access to the Physical Security Perimeter. Two days later, RFC_URE1 discovered through regular internal access reviews, that it had granted such access to these servers without conducting a personnel risk assessment (PRA), as required by CIP-004-3 R3. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. When RFC_URE1 conducted the PRA, it discovered no negative results for the employee and granted the employee authorized cyber access to the assets. In addition, the employee had cybersecurity training. Furthermore, RFC_URE1 controls access to Cyber Assets by providing three levels of access: operating system; database; and application access. The employee had operating system level access to the servers at issue, which prevents an individual from modifying or viewing physical access control data, application configuration, and database elements. The employee, a nine year RFC_URE1 employee, did not attempt to access the Cyber Assets. | RFC_URE1 revoked the employee's access and conducted a PRA. In addition, RFC_URE1 investigated the root cause and created a specific business unit procedure documenting the corporate process and criteria for granting access to a Cyber Asset. Furthermore, RFC_URE1 conducted training for employees in this business unit to review the new procedure and reinforce the corporate procedures and criteria for granting access to Cyber Assets. RFC_URE1 also conducted training for individuals responsible for Cyber Assets to reinforce the procedures and criteria for granting access to Cyber Assets.
ReliabilityFirst Corporation (ReliabilityFirst) | Unidentified Registered Entity 2 (RFC_URE2) | NCRXXXXX | RFC2012010077 | CIP-004-3 | R4.2 | RFC_URE2 self-reported an issue with CIP-004-3 R4.2. RFC_URE2 determined it failed to revoke an employee’s unescorted physical access to Critical Cyber Assets (CCAs) within a Physical Security Perimeter. The employee’s supervisor submitted a ticket stating that the employee no longer required unescorted physical access to CCAs and that the employee’s unescorted physical access should be revoked. However, a previously unknown ticketing system failure prevented an automated alert, resulting in the operator not updating the ticket until two months later. Furthermore, the report generated by the operator did not include the employee’s name or employee ID, only the employee’s position ID. As a result, RFC_URE2 did not take action to revoke the employee's unescorted physical access at that time. Two months after the operator updated the ticket, during an internal compliance review, RFC_URE2 determined the employee lacked a business need for unescorted physical access and revoked the employee’s access rights. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The employee had already completed CIP training and possessed an up-to-date personnel risk assessment during the duration of the issue. Therefore, the employee was qualified to receive unescorted physical access to CCAs during the duration of the issue. Also, the employee’s supervisor submitted a ticket to revoke the employee’s access because the employee lacked a business need for access, not for cause. RFC_URE2 revoked the employee’s access the same day it discovered the issue. Finally, the employee remains an employee of RFC_URE2 supporting IT applications that are unrelated to CCAs. | RFC_URE2 revoked the employee’s unescorted physical access rights. RFC_URE2 also implemented a manual step requiring personnel to review and provide email notification of pending ticket tasks. RFC_URE2 also conducted an internal review of its access management system to ensure all individuals with cyber or authorized unescorted physical access have employee names and employee ID numbers that correspond with their respective position ID. Finally, RFC_URE2 conducted an internal review of the ticketing system and determined there were no other instances in which it revoked access rights outside the seven calendar days pursuant to CIP-004-3 R4.2.
ReliabilityFirst Corporation (ReliabilityFirst) | Unidentified Registered Entity 2 (RFC_URE2) | NCRXXXXX | RFC2012010078 | CIP-004-3 | R3.2 | RFC_URE2 self-reported an issue CIP-004-3 R3.2 to ReliabilityFirst. RFC_URE2 determined that it did not perform a personnel risk assessment (PRA) reassessment for an employee within seven years. The employee had both authorized cyber and authorized unescorted physical access to Critical Cyber Assets (CCAs). RFC_URE2 runs a monthly automated query on all employees with a PRA date that identifies those employees with PRA dates that have reached the age of six years and nine months. However, a previously unidentified dependency within the query excluded the employee from a monthly report. As a result, RFC_URE2 did not conduct a PRA reassessment for the employee within seven years pursuant to CIP-004-3 R3.2. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. Prior to the issue, RFC_URE2 conducted a PRA for the employee which revealed no adverse findings that would preclude the employee from receiving access to CCAs. Additionally, upon completion of the PRA reassessment RFC_URE2 determined there were no adverse findings that would have precluded the employee from receiving access to CCAs during the duration of the issue. Finally, the employee is a longstanding RFC_URE2 employee who continues to have a business need to access the CCAs. | RFC_URE2 revoked the employee's access to CCAs and performed the PRA reassessment on the same date it discovered the issue. Additionally, RFC_URE2 modified the automated query it runs to determine whether its employees needed a reassessed PRA and corrected the previously unidentified dependency, thereby addressing the root cause of the issue. Finally, RFC_URE2 conducted a review of all PRA dates and determined no other individuals with CCA access had overdue PRA reassessments.
Southwest Power Pool Regional Entity (SPP RE) | Unidentified Registered Entity 1 (SPP RE_URE1) | NCRXXXXX | SPP2012009754 | CIP-007-3 | R4 | SPP RE_URE1 self-reported noncompliance with CIP-007-3 R4. Specifically, SPP RE_URE1 went live with a new supervisory control and data acquisition (SCADA) system and new networking equipment. The SCADA system and networking equipment were installed as part of a mitigation plan from a previous issue of noncompliance. The Global Positioning System (GPS) clocks and virtual private network (VPN) appliance associated with the new equipment were not capable of running anti-virus software or malware prevention tools, and SPP RE_URE1 failed to submit a Technical Feasibility Exception (TFE) for the GPS clocks and VPN appliance. | SPP RE determined that the issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. SPP RE_URE1's GPS clocks and VPN appliance are housed behind a firewall set to deny access by default and the assets are monitored at all times by a security incident and event management (SIEM) server, which is set to alert administrators of suspicious activities occurring on the network. | SPP RE_URE1 submitted a TFE for its GPS clocks and VPN appliance. Although SPP RE_URE1 does not anticipate the GPS clocks and VPN appliance will be capable of supporting anti-malware in the foreseeable future, SPP RE_URE1 has installed a centralized SIEM server that monitors logs from networking equipment where anti-virus software cannot be installed. SPP RE has accepted SPP RE_URE1's TFE.
Southwest Power Pool Regional Entity (SPP RE) | Unidentified Registered Entity 1 (SPP RE_URE1) | NCRXXXXX | SPP2012009755 | CIP-007-3 | R6 | SPP RE_URE1 self-reported noncompliance with CIP-007-3 R6, regarding security status monitoring of system events. Specifically, SPP RE_URE1 went live with a new supervisory control and data acquisition (SCADA) system and new networking equipment. The SCADA system and networking equipment were installed as part of a mitigation plan from a previous issue of noncompliance. The Global Positioning System (GPS) clocks associated with the new equipment were not capable of enabling security logging. Therefore, SPP RE_URE1 should have submitted a Technical Feasibility Exception (TFE); however, SPP RE_URE1 did not submit a TFE for the GPS clocks. | SPP RE determined that the issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. SPP RE_URE1's GPS clocks are housed behind a firewall set to deny access by default and are within an environment monitored at all times by a security incident and event management (SIEM) server, which is set to alert administrators of suspicious activities occurring on the network. | SPP RE_URE1 submitted a TFE for its GPS clocks. The GPS clocks are housed within a Physical Security Perimeter and Electronic Security Perimeter (ESP). There is a SIEM server operating within the ESP that alerts administrators when anomalous activity occurs in all other systems within the ESP, as well as at all access points to the ESP. SPP RE has accepted SPP RE_URE1's TFE.
Southwest Power Pool Regional Entity (SPP RE) | Unidentified Registered Entity 1 (SPP RE_URE1) | NCRXXXXX | SPP2012009948 | CIP-007-3 | R5; R5.3 | SPP RE_URE1 self-reported noncompliance with CIP-007-3 R5, regarding account management. Specifically, SPP RE_URE1 went live with a new supervisory control and data acquisition (SCADA) system and new networking equipment. The SCADA system and networking equipment were installed as part of a mitigation plan from a previous issue of noncompliance. SPP RE_URE1 discovered that its database serving the new SCADA system environment contained an administrative user which cannot enforce the password rules set forth by CIP-007 R5.3 (password length, complexity, and age). However, SPP RE_URE1 did not submit the appropriate Technical Feasibility Exception (TFE) in a timely manner, as required by this Standard. | SPP RE determined that the issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The user account is only accessible to system administrators and is used only on initial database setup and configuration. Access to the account is limited to only a select group of administrators. These administrators are trained annually to use only complex password and change them regularly. Furthermore, the account is monitored at all times by a security incident and event management (SIEM) server, which is set to alert administrators of suspicious activities occurring on the network. | SPP RE_URE1 submitted a TFE for its account’s password complexity issue. SPP RE has accepted SPP RE_URE1's TFE.
Southwest Power Pool Regional Entity (SPP RE) | Unidentified Registered Entity 2 (SPP RE_URE2) | NCRXXXX | SPP2012011235 | CIP-004-3 | R2; R2.1; R2.3 | SPP RE_URE2 self-reported noncompliance with CIP-004-3 R2.1 and R2.3. As to CIP-004-3 R2.1, SPP RE_URE2 identified employees whose initial training records could not be located to substantiate that the employees received Critical Cyber Assets (CCA) training prior to being granted physical access to its CCAs. As to CIP-004-3 R2.3, SPP RE_URE2 identified employees with authorized access to CCAs that did not receive the required annual cyber security training for 2010. | SPP RE determined that the issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. Although SPP RE_URE2 failed to provide an identified number of its employees the required annual training in 2010, all of the identified employees: 1) were trained on cyber security in 2009, prior to gaining them actual access to CCAs; 2) received 2011 and 2012 CCA training; and 3) have qualified personal risk assessments and are current on all cyber security training required by the SPP RE_URE2 training program. With regard to the employees for whom SPP RE_URE2 could not substantiate that they had received CCA training prior to being granted physical access to its CCAs, SPP RE_URE2 subsequently located documentation for one of the employees. Therefore, it was determined that the employee did receive training prior to being granted access to the CCAs. Except for the employee whose training documentation has not been located, no other instances of access being granted prior to training have been identified. | SPP RE_URE2 provided annual cyber security training for all its employees with unescorted physical or logical access to CCAs in 2012. SPP RE_URE2 also added a CIP compliance administrator position to oversee all CIP compliance activities. One of the responsibilities of the CIP compliance administrator is to ensure all CIP training is conducted in accordance with SPP RE_URE2's procedures. The CIP compliance administrator has created a calendar to track all activities associated with CIP compliance, including the annual cyber security training.
Southwest Power Pool Regional Entity (SPP RE) | Unidentified Registered Entity 2 (SPP RE_URE2) | NCRXXXXX | SPP2012011234 | CIP-004-3 | R4 | SPP RE_URE2 self-reported noncompliance with CIP-004-3 R4, because during an internal assessment of its cyber security training program, SPP RE_URE2 discovered that: 1) it did not have documentation that it performed its quarterly review of the list of personnel with authorized cyber access to Critical Cyber Assets (CCAs) in the second and third quarters of 2011; 2) an identified number of SPP RE_URE2 employees were not added to the list of SPP RE_URE2 personnel with authorized unescorted physical access to CCAs until after authorized access was granted, which was a documentation error; 3) and an SPP RE_URE2 employee with access to the backup control center Physical Security Perimeter (PSP) did not have his access revoked until nine days after a job responsibility change which eliminated the need for access to the backup control center. | SPP RE determined that the issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. Although SPP RE_URE2 did not have documentation for the second and third quarter of 2011 review of its list of personnel with authorized cyber access, SPP RE_URE2 had reviewed its list of personnel with authorized cyber access to CCAs in the first and fourth quarters of 2011 and had documentation of these reviews. Although an identified number of SPP RE_URE2 employees were not added to the authorized access list until after access was granted, these employees had personal risk assessments (PRAs) on file and were current on all required cyber security training. The employee whose access was not revoked within the seven day requirement had a valid PRA on file and current cyber security training. The employee’s access was revoked two days later because of a job responsibility change and not termination for cause. Additionally, the employee did not access the backup control center PSP during the two days access was not revoked. | To mitigate its noncompliance with CIP-004-3 R4, SPP RE_URE2 conducted a thorough review of all personnel lists applicable to CIP-004-3 and ensured that all information on each list is current. SPP RE_URE2 created a detailed process for maintaining all lists applicable to CIP-004-3. This process included the appointment of a CIP compliance administrator to ensure that all CIP related lists are maintained and reviewed in accordance with SPP RE_URE2's policies and procedures.
Southwest Power Pool Regional Entity (SPP RE) | Unidentified Registered Entity 3 (SPP RE_URE3) | NCRXXXXX | SPP2012009703 | CIP-003-1 | R4 | SPP RE_URE3 self-reported noncompliance with CIP-003-1 R4 for failing to identify, classify and protect nine documents containing information associated with its Critical Cyber Assets (CCAs). Specifically, SPP RE_URE3 did not place a “confidential” label on its disaster recovery plans, wiring plans, and an incident response plan, as required by CIP-003-1 R4. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. Although SPP RE_URE3 did not label all of its documents containing information associated with its CCAs, these documents were still protected through other means. The nine identified documents were all inter-department documents that were distributed on a need-to-know basis only. Additionally, these files were treated as confidential materials under SPP RE_URE3's information protection program even though they did not bear a “confidential” label. This treatment included the files being stored on a restricted file share folder and located within secured network drives that were protected against unauthorized access. | SPP RE_URE3 revised its energy management systems incident response plan, disaster recovery plans, and wirings plans, consolidated some of the documents as needed, and labeled each revised document according to its information protection program. Additionally, SPP RE_URE3 revised its information protection program to include more information concerning protecting information associated with its CCAs. Finally, SPP RE_URE3 conducted training to educate its CIP staff of the requirements set forth in its updated information protection and access control program.
Texas Reliability Entity, Inc (Texas RE) | Unidentified Registered Entity 1 (Texas RE_URE1) | NCRXXXXX | TRE2012011460 | CIP-002-1 | R3 | From a Self-Report, Texas RE determined that Texas RE_URE1 did not develop a list of Critical Cyber Assets (CCAs) using the list of Critical Assets determined through an application of Texas RE_URE1's risk-based assessment methodology (RBAM). Specifically, Texas RE determined that one device was incorrectly excluded from the list of CCAs because Texas RE_URE1 failed to follow its RBAM for developing a list of CCAs. An inaccurate filtering criteria was assigned to the device that caused it to be marked as not being a CCA. However, Texas RE_URE1 was aware that the device was a CCA and afforded all the security measures required by the reliability standards to it. This issue lasted for three months. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The CCA at issue was located inside a Physical Security Perimeter (PSP), was monitored by an electronic entrance, and was firewalled. In addition, the CCA was subject to staff oversight at Texas RE_URE1's Electronic Security Perimeters and the PSP, and it was accessible only to designated staff members with personnel risk assessments. Documents show that the CCA at issue was considered a part of Texas RE_URE1's CCA list. The security of the CCA was not compromised during the three-month period of Texas RE_URE1's noncompliance. | To mitigate this issue Texas RE_URE1 has provided a CCA list document, showing that the device has been documented as a CCA. The document was signed by the senior manager.
Texas Reliability Entity, Inc (Texas RE) | Unidentified Registered Entity 1 (Texas RE_URE1) | NCRXXXXX | TRE2012011461 | CIP-004-2 | R2 | From a Self-Report, Texas RE determined that Texas RE_URE1 did not update its cyber security training program at least annually. Texas RE_URE1's annual training stated that updating of its cyber security incident response plan as per CIP-008-1 R1.4 is required within ninety calendar days of any changes made. However, when Version 2 of the CIP Standards became effective on April 1, 2010, Texas RE_URE1 failed to update its annual training materials that reference CIP 008-1 R1.4. Texas RE_URE1 failed to provide a reference to the new Version of the Standard, CIP-008-2 R1.4, which requires any changes to be made within thirty calendar days instead of ninety calendar days. As a result, Texas RE_URE1 included incorrect information into its training materials, which presented an issue with CIP-004-2 R2. This issue existed for approximately two years and seven months. Furthermore, Texas RE found an additional issue during a Compliance Audit. An indicated number of Texas RE_URE1 contractors with access to Critical Cyber Assets (CCAs) were not trained as required by CIP-004-2 R2.3. The contractors were last trained in January 2010 and should have been trained again in February 2011. However, Texas RE_URE1 failed to train them by that date and did not revoke their access until four days after training should have been completed. As a result, Texas RE determined that Texas RE_URE1 had an issue with CIP-004-2 R2.3 for the four days after training should have been completed. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). Although Texas RE_URE1 employees were being trained with training materials that did not fully reflect a change in the reliability standards versions, the employees received a timely training on all other aspects of the Standard. Also, all trained employees at issue had personnel risk assessments (PRAs) performed and were knowledgeable about Texas RE_URE1's CCAs security practices. For CIP-004-2 R2.3, the contractors having access to these CCAs had previously had cyber security training, and their PRAs were current. Therefore, Texas RE determined that these contractors were familiar with Texas RE_URE1's security practices. Finally, Texas RE_URE1 was noncompliant with CIP-004-2 R2.3 for a period of four days, which reduced the risk to the BPS to minimal. | To mitigate this issue, Texas RE_URE1 provided an updated training program document, which reflects the change from Version 1 to Version 2 of this CIP Standard. Texas RE_URE1 also trained the contractors at issue.
Texas Reliability Entity, Inc (Texas RE) | Unidentified Registered Entity 1 (Texas RE_URE1) | NCRXXXXX | TRE2012011462 | CIP-008-2 | R1.4 | From a Self-Report, Texas RE determined that Texas RE_URE1's cyber security incident response plan stated that changes to the plan are to be incorporated into the plan within ninety days, not within thirty days, as required by Version 2 of this Standard CIP-008-2 R1.4. Version 1 of this Standard required that any change be incorporated within ninety days. Texas RE further determined that this issue existed from when Version 2 of this Standard became mandatory and enforceable, until when the plan was updated. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). Texas RE determined that this remediated issue is documentation-related and administrative in nature because there were no changes to the plan during the period of noncompliance. Further, any changes to the plan would still have been incorporated within ninety days, thereby further reducing the risk to the BPS. | Texas RE_URE1 updated its cyber security incident response plan, which is part of its training program, to require that any changes are incorporated within thirty days.
Texas Reliability Entity, Inc (Texas RE) | Unidentified Registered Entity 2 (Texas RE_URE2) | NCRXXXXX | TRE2012010293 | CIP-005-1 | R1 | During a Compliance Audit, Texas RE discovered that Texas RE_URE2 did not document the Electronic Security Perimeter (ESP) and all access points to the perimeter. Texas RE_URE2's ESP diagram did not include the clock for the backup dispatch center area. This clock is on Texas RE_URE2's Critical Cyber Assets list for 2010 but was not depicted on the ESP diagram. The duration of this issue was from when this Standard became mandatory and enforceable for Texas RE_URE2, to when the ESP diagram was updated. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system because the clock at issue was included on Texas RE_URE2's Cyber Asset list even before this Standard became mandatory and enforceable. As a result, the clock was afforded the protective measures applicable to all Critical Assets on the list. Texas RE considered this issue to be documentation-related because the equipment was not on the ESP diagram but was listed as a Critical Asset and afforded the protective measures applicable to Critical Assets. | Texas RE determined that Texas RE_URE2's more recent version of its ESP diagram includes the clock at issue and all access points to the ESP. Texas RE has verified that the mitigation activities are complete.
Western Electricity Coordinating Council (WECC) | Unidentified Registered Entity 1 (WECC_URE1) | NCRXXXXX | WECC2012010835 | CIP-002-1 | R1 | WECC_URE1 submitted four Self-Reports citing noncompliance with NERC Standard Requirements CIP-002-1 R1, R2, R3, and R4. Specifically, WECC_URE1 reported that it could not provide evidence of compliance with CIP-002-1 R1, R2, R3, and R4 between January 1, 2010, and May 2011. WECC subject matter experts (SMEs) reviewed WECC_URE1’s Self-Report. The SMEs determined that WECC_URE1 is required to demonstrate compliance with CIP-002-1 Requirements as of January 1, 2010. The SMEs, therefore, requested the following evidence: 1) WECC_URE1’s risk-based assessment methodology (RBAM) in effect on January 1, 2010, as required under CIP-002-1 R1; 2) WECC_URE1’s Critical Asset list in effect on January 1, 2010, pursuant to CIP-002-1 R2; 3) WECC_URE1’s Critical Cyber Asset (CCA) list in effect on January 1, 2010, pursuant to CIP-002-1 R3; and 4) A signed and dated record of senior manager or delegate(s)’s approval of the Critical Asset and CCA lists (even if such lists are null), for 2010. In response to the SMEs’ request, WECC_URE1 provided an RBAM, a Critical Asset list, a CCA list, and evidence of management approval, effective as of May 2011. WECC_URE1 disclosed that it could not provide CIP-002-1 documentation required under CIP-002-1 R1, R2, R3, and R4 in effect prior to May 2011. SMEs reviewed WECC_URE1’s RBAM, null Critical Asset list, and null CCA list. SMEs determined that CIP-002-1 documentation provided by WECC_URE1 appeared to satisfy CIP-002-1 R1, R2, R3, and R4. SMEs also determined, however, that between January 1, 2010 and May 2011, WECC_URE1 failed to develop an RBAM under CIP-002-1 R1. Further, the SMEs determined that between January 1, 2010, and May 2011, WECC_URE1 failed to develop lists of Critical Assets and CCAs for management review pursuant to CIP-002-1 R2, R3, and R4. The SMEs forwarded their findings regarding this issue to WECC Enforcement (Enforcement). Enforcement reviewed WECC_URE1’s Self-Report and the SMEs’ findings. Consistent with the SMEs findings, Enforcement determined that WECC_URE1 failed to demonstrate compliance with CIP-002-1 R1, R2, R3, and R4 between January 1, 2010, and May 2011. Enforcement also determined, however, that WECC_URE1 remediated noncompliance in May 2011. Enforcement, therefore, determined that WECC_URE1 remediated the CIP-002-1 R1, R2, R3, and R4 issues. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). Failure to develop an RBAM, Critical Asset and CCA list per CIP-002-1 R1, R2, R3, and R4, renders Critical Asset and associated CCAs vulnerable to cyber attack or misuse. In this case, WECC_URE1 failed to identify and document an RBAM and failed to document null Critical Asset and null CCA lists per CIP-002-1 R1, R2, R3, and R4. WECC_URE1 has limited connectivity to the BPS. It owns and operates substations operating at or below 69 kV, none of which are Critical Assets. Further, WECC_URE1 does not own or operate any CCAs. WECC_URE1 has physically secured all facilities. Each of the substations is surrounded by 10-foot fencing topped with razor wire that limits physical access. WECC, therefore, determined that WECC_URE1's CIP-002-1 R1, R2, R3, and R4 remediated issues posed a minimal risk to the BPS. | WECC_URE1 provided its RBAM, a null Critical Asset list, a null CCA list, and evidence of managerial review, in effect as of May 2011. WECC reviewed WECC_URE1 CIP-002 documentation and determined that WECC_URE1 remediated noncompliance. Further, WECC determined that to avoid future issues with CIP-002 compliance, WECC_URE1 implemented a CIP-002 document tracking system. The system maintained CIP-002 documentation and issued annual alerts for document revision and review. WECC_URE1 reorganized its Compliance office, bringing on new management. WECC, therefore, determined that WECC_URE1 remediated CIP-002-1 R1, R2, R3, and R4 compliance issues.
Western Electricity Coordinating Council (WECC) | Unidentified Registered Entity 1 (WECC_URE1) | NCRXXXXX | WECC2012010890 | CIP-002-1 | R4 | WECC_URE1 submitted four Self-Reports citing noncompliance with NERC Standard Requirements CIP-002-1 R1, R2, R3, and R4. Specifically, WECC_URE1 reported that it could not provide evidence of compliance with CIP-002-1 R1, R2, R3, and R4 between January 1, 2010, and May 2011. WECC subject matter experts (SMEs) reviewed WECC_URE1’s Self-Report. The SMEs determined that WECC_URE1 is required to demonstrate compliance with CIP-002-1 Requirements as of January 1, 2010. The SMEs, therefore, requested the following evidence: 1) WECC_URE1’s risk-based assessment methodology (RBAM) in effect on January 1, 2010, as required under CIP-002-1 R1; 2) WECC_URE1’s Critical Asset list in effect on January 1, 2010, pursuant to CIP-002-1 R2; 3) WECC_URE1’s Critical Cyber Asset (CCA) list in effect on January 1, 2010, pursuant to CIP-002-1 R3; and 4) A signed and dated record of senior manager or delegate(s)’s approval of the Critical Asset and CCA lists (even if such lists are null), for 2010. In response to the SMEs’ request, WECC_URE1 provided an RBAM, a Critical Asset list, a CCA list, and evidence of management approval, effective as of May 2011. WECC_URE1 disclosed that it could not provide CIP-002-1 documentation required under CIP-002-1 R1, R2, R3, and R4 in effect prior to May 2011. SMEs reviewed WECC_URE1’s RBAM, null Critical Asset list, and null CCA list. SMEs determined that CIP-002-1 documentation provided by WECC_URE1 appeared to satisfy CIP-002-1 R1, R2, R3, and R4. SMEs also determined, however, that between January 1, 2010 and May 2011, WECC_URE1 failed to develop an RBAM under CIP-002-1 R1. Further, the SMEs determined that between January 1, 2010, and May 2011, WECC_URE1 failed to develop lists of Critical Assets and CCAs for management review pursuant to CIP-002-1 R2, R3, and R4. The SMEs forwarded their findings regarding this issue to WECC Enforcement (Enforcement). Enforcement reviewed WECC_URE1’s Self-Report and the SMEs’ findings. Consistent with the SMEs findings, Enforcement determined that WECC_URE1 failed to demonstrate compliance with CIP-002-1 R1, R2, R3, and R4 between January 1, 2010, and May 2011. Enforcement also determined, however, that WECC_URE1 remediated noncompliance in May 2011. Enforcement, therefore, determined that WECC_URE1 remediated the CIP-002-1 R1, R2, R3, and R4 issues. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). Failure to develop an RBAM, Critical Asset and CCA list per CIP-002-1 R1, R2, R3, and R4, renders Critical Asset and associated CCAs vulnerable to cyber attack or misuse. In this case, WECC_URE1 failed to identify and document an RBAM and failed to document null Critical Asset and null CCA lists per CIP-002-1 R1, R2, R3, and R4. WECC_URE1 has limited connectivity to the BPS. It owns and operates substations operating at or below 69 kV, none of which are Critical Assets. Further, WECC_URE1 does not own or operate any CCAs. WECC_URE1 has physically secured all facilities. Each of the substations is surrounded by 10-foot fencing topped with razor wire that limits physical access. WECC, therefore, determined that WECC_URE1's CIP-002-1 R1, R2, R3, and R4 remediated issues posed a minimal risk to the BPS. | WECC_URE1 provided its RBAM, a null Critical Asset list, a null CCA list, and evidence of managerial review, in effect as of May 2011. WECC reviewed WECC_URE1 CIP-002 documentation and determined that WECC_URE1 remediated noncompliance. Further, WECC determined that to avoid future issues with CIP-002 compliance, WECC_URE1 implemented a CIP-002 document tracking system. The system maintained CIP-002 documentation and issued annual alerts for document revision and review. WECC_URE1 reorganized its Compliance office, bringing on new management. WECC, therefore, determined that WECC_URE1 remediated CIP-002-1 R1, R2, R3, and R4 compliance issues.
Western Electricity Coordinating Council (WECC) | Unidentified Registered Entity 1 (WECC_URE1) | NCRXXXXX | WECC2012010892 | CIP-002-1 | R2 | WECC_URE1 submitted four Self-Reports citing noncompliance with NERC Standard Requirements CIP-002-1 R1, R2, R3, and R4. Specifically, WECC_URE1 reported that it could not provide evidence of compliance with CIP-002-1 R1, R2, R3, and R4 between January 1, 2010, and May 2011. WECC subject matter experts (SMEs) reviewed WECC_URE1’s Self-Report. The SMEs determined that WECC_URE1 is required to demonstrate compliance with CIP-002-1 Requirements as of January 1, 2010. The SMEs, therefore, requested the following evidence: 1) WECC_URE1’s risk-based assessment methodology (RBAM) in effect on January 1, 2010, as required under CIP-002-1 R1; 2) WECC_URE1’s Critical Asset list in effect on January 1, 2010, pursuant to CIP-002-1 R2; 3) WECC_URE1’s Critical Cyber Asset (CCA) list in effect on January 1, 2010, pursuant to CIP-002-1 R3; and 4) A signed and dated record of senior manager or delegate(s)’s approval of the Critical Asset and CCA lists (even if such lists are null), for 2010. In response to the SMEs’ request, WECC_URE1 provided an RBAM, a Critical Asset list, a CCA list, and evidence of management approval, effective as of May 2011. WECC_URE1 disclosed that it could not provide CIP-002-1 documentation required under CIP-002-1 R1, R2, R3, and R4 in effect prior to May 2011. SMEs reviewed WECC_URE1’s RBAM, null Critical Asset list, and null CCA list. SMEs determined that CIP-002-1 documentation provided by WECC_URE1 appeared to satisfy CIP-002-1 R1, R2, R3, and R4. SMEs also determined, however, that between January 1, 2010 and May 2011, WECC_URE1 failed to develop an RBAM under CIP-002-1 R1. Further, the SMEs determined that between January 1, 2010, and May 2011, WECC_URE1 failed to develop lists of Critical Assets and CCAs for management review pursuant to CIP-002-1 R2, R3, and R4. The SMEs forwarded their findings regarding this issue to WECC Enforcement (Enforcement). Enforcement reviewed WECC_URE1’s Self-Report and the SMEs’ findings. Consistent with the SMEs findings, Enforcement determined that WECC_URE1 failed to demonstrate compliance with CIP-002-1 R1, R2, R3, and R4 between January 1, 2010, and May 2011. Enforcement also determined, however, that WECC_URE1 remediated noncompliance in May 2011. Enforcement, therefore, determined that WECC_URE1 remediated the CIP-002-1 R1, R2, R3, and R4 issues. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). Failure to develop an RBAM, Critical Asset and CCA list per CIP-002-1 R1, R2, R3, and R4, renders Critical Asset and associated CCAs vulnerable to cyber attack or misuse. In this case, WECC_URE1 failed to identify and document an RBAM and failed to document null Critical Asset and null CCA lists per CIP-002-1 R1, R2, R3, and R4. WECC_URE1 has limited connectivity to the BPS. It owns and operates substations operating at or below 69 kV, none of which are Critical Assets. Further, WECC_URE1 does not own or operate any CCAs. WECC_URE1 has physically secured all facilities. Each of the substations is surrounded by 10-foot fencing topped with razor wire that limits physical access. WECC, therefore, determined that WECC_URE1's CIP-002-1 R1, R2, R3, and R4 remediated issues posed a minimal risk to the BPS. | WECC_URE1 provided its RBAM, a null Critical Asset list, a null CCA list, and evidence of managerial review, in effect as of May 2011. WECC reviewed WECC_URE1 CIP-002 documentation and determined that WECC_URE1 remediated noncompliance. Further, WECC determined that to avoid future issues with CIP-002 compliance, WECC_URE1 implemented a CIP-002 document tracking system. The system maintained CIP-002 documentation and issued annual alerts for document revision and review. WECC_URE1 reorganized its Compliance office, bringing on new management. WECC, therefore, determined that WECC_URE1 remediated CIP-002-1 R1, R2, R3, and R4 compliance issues.
Western Electricity Coordinating Council (WECC) | Unidentified Registered Entity 1 (WECC_URE1) | NCRXXXXX | WECC2012010920 | CIP-002-1 | R3 | WECC_URE1 submitted four Self-Reports citing noncompliance with NERC Standard Requirements CIP-002-1 R1, R2, R3, and R4. Specifically, WECC_URE1 reported that it could not provide evidence of compliance with CIP-002-1 R1, R2, R3, and R4 between January 1, 2010, and May 2011. WECC subject matter experts (SMEs) reviewed WECC_URE1’s Self-Report. The SMEs determined that WECC_URE1 is required to demonstrate compliance with CIP-002-1 Requirements as of January 1, 2010. The SMEs, therefore, requested the following evidence: 1) WECC_URE1’s risk-based assessment methodology (RBAM) in effect on January 1, 2010, as required under CIP-002-1 R1; 2) WECC_URE1’s Critical Asset list in effect on January 1, 2010, pursuant to CIP-002-1 R2; 3) WECC_URE1’s Critical Cyber Asset (CCA) list in effect on January 1, 2010, pursuant to CIP-002-1 R3; and 4) A signed and dated record of senior manager or delegate(s)’s approval of the Critical Asset and CCA lists (even if such lists are null), for 2010. In response to the SMEs’ request, WECC_URE1 provided an RBAM, a Critical Asset list, a CCA list, and evidence of management approval, effective as of May 2011. WECC_URE1 disclosed that it could not provide CIP-002-1 documentation required under CIP-002-1 R1, R2, R3, and R4 in effect prior to May 2011. SMEs reviewed WECC_URE1’s RBAM, null Critical Asset list, and null CCA list. SMEs determined that CIP-002-1 documentation provided by WECC_URE1 appeared to satisfy CIP-002-1 R1, R2, R3, and R4. SMEs also determined, however, that between January 1, 2010 and May 2011, WECC_URE1 failed to develop an RBAM under CIP-002-1 R1. Further, the SMEs determined that between January 1, 2010, and May 2011, WECC_URE1 failed to develop lists of Critical Assets and CCAs for management review pursuant to CIP-002-1 R2, R3, and R4. The SMEs forwarded their findings regarding this issue to WECC Enforcement (Enforcement). Enforcement reviewed WECC_URE1’s Self-Report and the SMEs’ findings. Consistent with the SMEs findings, Enforcement determined that WECC_URE1 failed to demonstrate compliance with CIP-002-1 R1, R2, R3, and R4 between January 1, 2010, and May 2011. Enforcement also determined, however, that WECC_URE1 remediated noncompliance in May 2011. Enforcement, therefore, determined that WECC_URE1 remediated the CIP-002-1 R1, R2, R3, and R4 issues. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). Failure to develop an RBAM, Critical Asset and CCA list per CIP-002-1 R1, R2, R3, and R4, renders Critical Asset and associated CCAs vulnerable to cyber attack or misuse. In this case, WECC_URE1 failed to identify and document an RBAM and failed to document null Critical Asset and null CCA lists per CIP-002-1 R1, R2, R3, and R4. WECC_URE1 has limited connectivity to the BPS. It owns and operates substations operating at or below 69 kV, none of which are Critical Assets. Further, WECC_URE1 does not own or operate any CCAs. WECC_URE1 has physically secured all facilities. Each of the substations is surrounded by 10-foot fencing topped with razor wire that limits physical access. WECC, therefore, determined that WECC_URE1's CIP-002-1 R1, R2, R3, and R4 remediated issues posed a minimal risk to the BPS. | WECC_URE1 provided its RBAM, a null Critical Asset list, a null CCA list, and evidence of managerial review, in effect as of May 2011. WECC reviewed WECC_URE1 CIP-002 documentation and determined that WECC_URE1 remediated noncompliance. Further, WECC determined that to avoid future issues with CIP-002 compliance, WECC_URE1 implemented a CIP-002 document tracking system. The system maintained CIP-002 documentation and issued annual alerts for document revision and review. WECC_URE1 reorganized its Compliance office, bringing on new management. WECC, therefore, determined that WECC_URE1 remediated CIP-002-1 R1, R2, R3, and R4 compliance issues.
Western Electricity Coordinating Council (WECC) | Unidentified Registered Entity 2 (WECC_URE2) | NCRXXXXX | WECC2011009028 | CIP-006-3c | R2 | WECC_URE2 submitted a Self-Report to WECC for CIP-006-3c R2. WECC_URE2 failed to afford the protective measure of CIP-007 R1 to Cyber Assets that authorize and/or log access to the Physical Security Perimeters (PSPs) as required by CIP-006 R2.2. Specifically, WECC_URE2 installed a printer driver update on a physical access control system (PACS) server and failed to perform security testing for this change. The test procedures that WECC_URE2 developed for compliance with CIP-007 R1 included provisions for testing significant changes that could adversely affect existing cyber security controls as required by NERC, but also included provisions to test additional IT changes that exceed NERC CIP compliance (best practices) (e.g., testing for printer driver changes). WECC_URE2 did not follow its test procedures for a change control to a Cyber Asset used for monitor or control of its PSPs. Thus, WECC_URE2 had an issue with CIP-006-2 R2.2. WECC_URE2 reviewed its configuration to ensure all relevant security controls remained in place following the driver update and conducted functional testing to ensure the change did not adversely affect the operating environment, thus remediating the issue. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The PACS server is located in a PSP and has intrusion detection and firewall protection and has anti-virus software installed. Also, this device is located on an isolated demilitarized zone (DMZ) network. Additionally, the entity did perform functional testing and analysis of the change and was aware of the change that took place. Finally, the printer driver is not a significant update and such updates are routine. | WECC_URE2 reviewed its configuration to ensure all relevant security controls remained in place following the driver update and WECC_URE2 conducted functional testing to ensure the change did not adversely affect the operating environment. WECC_URE2 addressed this issue through the following six steps to mitigate the root cause of the issue and to mitigate the risk of reoccurrence: 1) Reviewed all change controls prior to discovery of the issue to verify that test procedures were followed as required back to the applicable enforcement date; 2) Validated that all relevant security controls were in place and functioning after the change was implemented; 3) Updated the test procedures documentation to provide additional clarity as to what type of changes require NERC CIP testing; 4) Developed refresher training specific to the test procedures and its updated verbiage which includes checks for comprehension; 5) Ensured test procedures retraining is completed by all applicable employees; and 6) Updated the required NERC CIP annual training to include a test procedure training module for personnel responsible for approving or implementing NERC CIP related changes. The updated annual training is required for new change control personnel. Existing personnel who engage in change controls are required to receive this training as part of their annual refresher training.
Western Electricity Coordinating Council (WECC) | Unidentified Registered Entity 3 (WECC_URE3) | NCRXXXXX | WECC2012011384 | CIP-004-3 | R4 | WECC_URE3 submitted a Self-Report citing noncompliance with CIP-004-3 R4. WECC_URE3 reported that it failed to update its control center Critical Cyber Asset (CCA) access list within seven days of an employee’s retirement. WECC subject matter experts (SMEs) reviewed WECC_URE3’s Self-Report. The SMEs determined that a WECC_URE3 employee with access to CCAs associated with the control center had retired. The SMEs also determined that WECC_URE3 revoked that employee’s physical access rights to CCAs located within the control center the day before. Although that employee’s access rights were revoked, WECC_URE3 failed to update its physical access list within seven days of access revocation per CIP-004-3 R4.1. Rather, the SMEs determined that WECC_URE3 updated its access list 20 days after access revocation. The SMEs’ therefore, found WECC_URE3 in noncompliance with CIP-004-3 R4 and forwarded their findings to WECC Enforcement (Enforcement). Enforcement reviewed the Self-Report and the SMEs’ findings. Enforcement determined that compliance with CIP-004-3 R4.1 required WECC_URE3 to update its access list within seven days of access revocation. In this case, WECC_URE3 updated its list approximately 20 days after access revocation. Enforcement, therefore, determined that WECC_URE3 was in noncompliance with CIP-004-3 R4. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The risk posed by this noncompliance was reduced given the limited scope of the issue and the compensating measures in place during the period of noncompliance. The scope of the remediated issue is limited to a single individual whose physical access to CCAs associated with the control center was revoked. The individual retired in good standing. At the time of the individual’s departure, the individual was current with cyber security training required under CIP-004-3 R2 and had completed a current personnel risk assessment per CIP-004-3 R3. Further, all CCAs are secured within a Physical Security Perimeter (PSP). PSP egress and ingress is logged, controlled and monitored. Any unauthorized PSP access attempts on the part of the individual would have triggered alarms. CCAs associated with the Control Center are also electronically protected within an Electronic Security Perimeter (ESP). In this case the individual did not have authorized electronic access to CCAs. Nonetheless, ESP access is controlled and monitored. Any unauthorized electronic access attempt would have triggered alarming. In this case, the individual in scope of the remediated issue did not make any electronic access attempts. | WECC_URE3 completed the following activity to remediate the CIP-004-3 R4 compliance issue described herein: 1) WECC_URE3 completed refresher training with staff to emphasize CCA access list maintenance; 2) WECC_URE3 revised internal access list procedures to ensure timely list updates; 3) WECC_URE3 implemented biweekly audit reports that will alert staff to discrepancies between an individual’s position end date and CCA access end dates; and 4) WECC_URE3 implemented software upgrades to its access tracking systems that will automatically remove unescorted physical and cyber access rights when an employee is separated, terminated, or retired.