## Public CIP March FFT Filing
Region | Name of Entity | NCR | Issue Tracking # | Standard | Req. | Description of Remediated Issue | Description of the Risk Assessment | Description and Status of Mitigation Activity
Florida Reliability Coordinating Council (FRCC) | Unidentified Registered Entity 1 (FRCC_URE1) | NCRXXXXX | FRCC2011008327 | CIP-007-1 | R5.2.1 | FRCC_URE1 self-reported an issue with CIP-007-1 R5.2.1 to FRCC. FRCC_URE1 failed to disable several administrative and user default accounts. FRCC_URE1 also did not change the passwords prior to placing the assets into service. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The risk was reduced because all the affected devices are behind a corporate firewall within a defined Electronic Security Perimeter and a required Physical Security Perimeter. In addition, the accounts are non-interactive or non-user accessible. Furthermore, the accounts are protected by operating system authorization and authentication prior to their use. | To mitigate this issue, FRCC_URE1: 1) changed the energy management system (EMS) provided account passwords using the EMS vendor to provide the services; 2) conducted a review of all Cyber Assets and documented all accounts required for operations; 3) changed other default account passwords for EMS workstations and servers that were not removed, disabled, or renamed, and where the passwords had not been changed; 4) changed default account passwords; 5) documented all system accounts after implementation of a new EMS system and ensured the passwords meet the password length, password age, and password complexity requirements. If any of these conditions were not met due to technical infeasibility, FRCC_URE1 submitted a technical feasibility exception with reference to the Mitigation Plan related to this issue; 6) ensured that accounts discovered during the review that are not required were either disabled or removed on the applicable Cyber Asset. For all other accounts, FRCC_URE1 changed passwords if the accounts were determined to be older than one year; 7) documented and identified all users who have access to shared or generic accounts and the reason why such access is required; 8) modified existing CIP-007 practice to include processes to define account roles, responsibilities, and functions, as well as controls for all accounts; and 9) created a new account management guideline that provides detailed procedural controls for the creation, function, role, governance, and access level for all accounts including the use of shared accounts on the EMS.
Florida Reliability Coordinating Council (FRCC) | Unidentified Registered Entity 1 (FRCC_URE1) | NCRXXXXX | FRCC2011008538 | CIP-005-1 | R1.6 | FRCC conducted a Spot Check of FRCC_URE1. At the Spot Check, FRCC determined that FRCC_URE1 had an issue with CIP-005-1 R1.6. FRCC_URE1 failed to include one electronic access control and monitoring systems (EACMS) device in the documentation as required by CIP-005-1 R1.6. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. While the EACMS device was not included in the required documentation, the EACMS device was afforded all of the following required protective measures of CIP-003, CIP-004 R3, CIP-005 R2, R3, CIP-006 R2, R3, CIP-007 R1, R3, R4, R5, R6, R7, R8, R9, CIP-008 R1, R2, and CIP-009 R1, R2, R3, R5. These protective measures include: documenting and implementing a personnel risk assessment program; implementing and documenting the organizational processes and technical and procedural mechanisms for control of electronic access at all electronic access points to the Electronic Security Perimeter (ESP); implementing and documenting an electronic or manual process for monitoring and logging access at access points to the ESP 24 hours a day, seven days a week; manage physical access at all access points to the Physical Security Perimeter(s) 24 hours a day, seven days a week; monitoring physical access to the Physical Security Perimeters 24 hours a day, seven days a week using alarm systems and/or human observation of access points; ensuring that new Cyber Assets and significant changes to existing Cyber Assets within the ESP do not adversely affect existing cybersecurity controls; establishing and documenting a security patch management program; using anti-virus software and other malicious software prevention tools; establishing, implementing, and documenting technical and procedural controls that enforce access authentication of, and accountability for, all user activity, and that minimize the risk of unauthorized system access; ensuring that all Cyber Assets within the ESP implement automated tools or process controls to monitor system events related to cybersecurity; establishing formal methods, processes, and procedures for disposal or redeployment of Cyber Assets within the ESP; performing annually a cyber vulnerability assessment of all Cyber Assets within the ESP; reviewing and updating the documentation specified in Standard CIP-007 at least annually and documenting changes within 90 calendar days of the change; developing and maintaining a Cyber Security Incident response plan; keeping relevant documentation related to Cyber Security Incidents reportable per CIP-008-1 R1.1 for three calendar year; creating and annually reviewing, exercising and updating recovery plans for Critical Cyber Assets (CCAs); and ensuring information essential to recovery that is stored on backup media is tested at least annually that information is available. | To mitigate this issue, FRCC_URE1 properly identified the missing device as an EACMS device on the CCA list and approved Cyber Asset lists where appropriate.
Florida Reliability Coordinating Council (FRCC) | Unidentified Registered Entity 1 (FRCC_URE1) | NCRXXXXX | FRCC2012010071 | CIP-004-3 | R4.1 | FRCC_URE1 self-reported an issue with CIP-004-3 R4.1. FRCC_URE1 failed to update the electronic Critical Cyber Asset (CCA) access list within seven days to reflect a change in personnel as required by the Standard. FRCC_URE1 had a student intern whose internship ended and no longer required access to the CCAs. While access was removed within 24 hours of this personnel change, the CCA access list was not updated on the list for 33 days. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The intern was not terminated for cause. FRCC_URE1 revoked access a day after the access was no longer needed as required by R4.2, timely collected all security pass cards, and disabled all electronic access passwords. After that time, the intern had no access to FRCC_URE1's energy management system control center or the building which houses the facility, nor did the intern attempt to gain access. This issue was a documentation error only. | To mitigate this issue, FRCC_URE1: 1) fixed the cybersecurity electronic access list to accurately reflect access to CCAs immediately upon discovery of the issue; and 2) trained users in the use and functionality of internal CIP-004 practice to ensure the human error associated with this Self-Report does not happen again.
Midwest Reliability Organization (MRO) | Unidentified Registered Entity 1 (MRO_URE1) | NCRXXXXX | MRO2012011427 | CIP-003-3 | R2; R2.1; R2.2 | MRO_URE1 self-certified noncompliance with CIP-003-3 R.2.2, due to the failure to document a change to its CIP senior manager personnel within the required 30 day timeframe. A new CIP senior manager was assigned, but not formally documented in MRO_URE1's cybersecurity management document. Two individuals were assigned to replace the general manager, who was placed on administrative leave, and MRO_URE1 intended to assign one of those individuals, as CIP senior manager. Ten months later, MRO_URE1 updated its cybersecurity management document to reflect the designation of the CIP senior manager; however, the date of designation was not clear due to a misunderstanding regarding the effective date contained within the document. CIP-003-3 R2.1 requires a date of designation to be identified along with the name and title of the senior manager. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The designated individual assumed the duties of CIP senior manager immediately after the previous CIP senior manager was placed on leave and was known to others as holding that position. MRO_URE1 identified this individual to assume the duties of CIP senior manager, but merely lacked documentation. The issue was an administrative error. Furthermore, MRO_URE1 does not own or operate any Critical Assets or Critical Cyber Assets. | MRO_URE1 revised the its cybersecurity management document to designate the CIP senior manager. After discussions between MRO staff and MRO_URE1, MRO determined that the effective date was meant to serve as the date of designation.
ReliabilityFirst Corporation (ReliabilityFirst) | Unidentified Registered Entity 1 (RFC_URE1) | NCRXXXXX | RFC2012011174 | CIP-006-3c | R1; R1.1 | RFC_URE1 self-reported an issue with CIP-006-3c R1.1 to ReliabilityFirst. While performing an on-site inspection at its energy control and data center facility, RFC_URE1 discovered that Cyber Assets resided in two rooms, thus identifying these rooms as Electronic Security Perimeters (ESPs) and Physical Security Perimeters (PSPs). These rooms did not have a fully enclosed six-wall border surrounding the Critical Cyber Assets (CCAs). RFC_URE1 discovered that there was an approximately two-foot gap below the raised floor, and an approximately four-foot gap above the drop ceiling. As a result, RFC_URE1 had an issue with CIP-006-3c R1.1 for failing to have an enclosed six-wall border surrounding the CCAs in these two rooms. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. RFC_URE1 has processes, tools, and procedures in place to control and monitor access to its ESPs and PSPs, including security cameras in place in the PSP at issue, 24 hour monitoring of the cameras, and physical or electronic checkpoints prior to entering the rooms. | To mitigate this issue, RFC_URE1: 1) added cameras to the room that already had cameras; and 2) reconfigured the PSP for the second room by installing: a) an air wall, which addresses the need for an enclosed six-wall border; b) a monitoring and access control in the existing cabinets where the CCAs reside; and c) digital door contacts and badge readers to those cabinets.
ReliabilityFirst Corporation (ReliabilityFirst) | Unidentified Registered Entity 2 (RFC_URE2) | NCRXXXXX | RFC2012011587 | CIP-006-1 | R1; R1.1 | RFC_URE2 self-reported an issue with CIP-006-3c R1.1 to ReliabilityFirst. While conducting an inspection of the engineering room Physical Security Perimeter (PSP) at a generating station, RFC_URE2 discovered that the engineering room, which constitutes an Electronic Security Perimeter and PSP did not have a fully enclosed six-wall border surrounding the engineering work station, which is a Critical Cyber Asset (CCA). RFC_URE2 discovered that there was an eight to ten-inch gap below the raised floor and an approximate four-foot gap above the drop ceiling. As a result, RFC_URE2 had an issue with CIP-006-3c R1 for failing to have a fully enclosed six-wall border surrounding the CCAs in the engineering room. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The engineering room is an office located within the walls of the control room of the affected station, which is a secured facility with a gated entrance and security personnel. The control room is staffed 24 hours a day, and the control room operators have direct line of sight into the engineering room and the entrance to it. The entrance to the engineering room is secured by controlled key access, and the engineering workstation has both physical and electronic access controls. Given the presence of human observation and access control measures, it is unlikely that an unauthorized individual could gain access to the PSP through the gap above the drop ceiling and below the raised floors. | To mitigate this issue, RFC_URE2: 1) relocated the affected CCA (the engineering workstation) into a secure lockable cabinet; 2) updated the current physical security plan for the station; and 3) installed an electronic monitoring device to the cabinet that houses the CCA.
ReliabilityFirst Corporation (ReliabilityFirst) | Unidentified Registered Entity 3 (RFC_URE3) | NCRXXXXX | RFC2012011279 | CIP-006-1 | R1; R1.1 | RFC_URE3 self-reported an issue with CIP-006-3c R1 to ReliabilityFirst. As part of a vendor assessment of RFC_URE3’s CIP compliance program, RFC_URE3 discovered two gaps in the six-wall border of its control center that were greater than 96 square inches. The gaps were heating ventilation and air conditioning (HVAC) ducts, and there was no permanent barrier to physical entry through these ducts. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The ducts are located within RFC_URE3’s system control center, which is staffed 24 hours a day with operators and a security officer. | To mitigate this issue, RFC_URE3: 1) updated the physical drawings to include the location of all HVAC ducts; 2) investigated the issue to determine the accessibility of the ducts within all of its four Physical Security Perimeters (PSPs) and the number of penetration points; and 3) installed physical barriers in each instance where a duct penetrates a PSP.
ReliabilityFirst Corporation (ReliabilityFirst) | Unidentified Registered Entity 3 (RFC_URE3) | NCRXXXXX | RFC2013011660 | CIP-007-3 | R3; R3.1 | RFC_URE3 self-reported an issue with CIP-007-3 R3 to ReliabilityFirst. As part of an effort to streamline its patch management program, RFC_URE3 discovered that for certain Cyber Assets, on three separate occasions, it failed to document the assessment of security patches and security upgrades for applicability within 30 calendar days of availability of the patches or upgrades. First, RFC_URE3 failed to review a firmware version upgrade for applicability. The firmware version upgrade was applicable to four keyboard/video/mouse devices. Upon review of the release and vendor notes, RFC_URE3 determined the security-related fixes to be minor, and as a result, the recommended action would have been to defer installation to a later release. This issue occurred because RFC_URE3 solely relied on email notifications regarding product updates which it could too easily overlook or not receive. Second, RFC_URE3 failed to review a software upgrade and a software release for applicability. The software upgrade and release were applicable for four firewall devices. Upon review of the software upgrade, RFC_URE3 determined the security-related fixes to be minor, and as a result, the recommended action would have been to defer installation to a later release. This issue occurred because RFC_URE3 solely relied on email notifications regarding product updates which it could too easily overlook or not receive. Third, RFC_URE3 failed to review a software release for applicability. The software release was applicable to the same four firewall devices at issue above. Upon review of the software release, RFC_URE3 determined the release was related to hardware platforms or unused features. The release should have been applied to maintain a reasonable level of currency with the product code. This issue occurred because the security administration team did not clearly communicate patch releases to the patching subject matter expert (SME). | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The keyboard/video/mouse devices in the first issue were protected by firewalls, authentication to both the Electronic Security Perimeter secure access portal and command center and the disabling of direct access to the devices. In addition, direct access to these devices is disabled. Regarding the firewalls at issue, there was restrictive access to and through the firewalls themselves. | To mitigate this issue, RFC_URE3: 1) completed the patching program enhancement and published an updated procedure; 2) created a monthly notification event in the compliance database, which is a control activity, to check vendor sites for any new released firmware or software patches that relates to security updates; 3) ensured that the individual performing the assessment should not make the assumption that the vendor will directly communicate the existence of newly released patches; 4) updated its patch management procedure to clarify the expectations related to the level of detail for reviews and documentation of security patches and security updates; and 5) reworked the process so that individual reviewers will make their own patch release and review record updates rather than relaying them to the patching SME.
ReliabilityFirst Corporation (ReliabilityFirst) | Unidentified Registered Entity 3 (RFC_URE3) | NCRXXXXX | RFC2013011751 | CIP-007-3 | R5; R5.3.3 | RFC_URE3 self-reported an issue with CIP-007-3 R5 to ReliabilityFirst. RFC_URE3 discovered that for four Cyber Assets within the Electronic Security Perimeter (ESP), it failed to annually change passwords. RFC_URE3 installed these four devices, keyboard/video/mouse servers, which was when it set passwords for the local accounts in accordance with the complexity requirements of R5.3. Individuals rarely use these local accounts because support personnel access the servers from the associated client application on their support workstations. RFC_URE3 discovered the issue when an individual accessed the servers through the local account and realized that he had been using the same the password since the previous year and contacted the appropriate individuals regarding whether the password should be changed. RFC_URE3 had an issue with CIP-007-3 R5.3.3 for failing to annually change the password for these devices. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). Each of the keyboard/video/mouse servers at issue is physically installed within an access controlled Physical Security Perimeter and an electronically-controlled ESP. In addition, these devices are not connected to the Internet, reducing the risk of unauthorized access. Also, the information available to the account user was not BPS information, reducing the risk to reliability of the BPS. Furthermore, there is no log record of the account being accessed during the time period of the issue. | To mitigate this issue, RFC_URE3: 1) changed the accounts’ passwords and added the accounts to the appropriate teams’ shared account management spreadsheet; 2) contacted all process owners for all non-Windows devices on the Cyber Asset list to verify that they have identified all local accounts on devices supported by their groups and managed the accounts in accordance with the corporate shared account management procedure; and 3) revised the wording on its security posture verification test result documentation forms to include language regarding changing local accounts.
ReliabilityFirst Corporation (ReliabilityFirst) | Unidentified Registered Entity 4 (RFC_URE4) | NCRXXXXX | RFC2013011928 | CIP-002-1 | R4 | ReliabilityFirst conducted an off-site Compliance Audit of RFC_URE4. During the Compliance Audit, ReliabilityFirst determined RFC_URE4, for one year, could not provide sufficient evidence demonstrating its senior manager approved its risk-based assessment methodology (RBAM) or the following second year's null list of Critical Assets and Critical Cyber Assets (CCAs) pursuant to CIP-002-1 R4. Specifically, RFC_URE4’s senior manager approved its the first year's null lists for its Critical Assets and CCAs, but did not sign and date the RBAM approval. Additionally, RFC_URE4's senior manager approved the second year's RBAM, but wrote “N/A” for "not applicable" in the location for approval of null lists for Critical Assets and CCAs. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The issue was caused by a documentation error. During the duration of the issue, while RFC_URE4's senior manager did not sign and date the first year's RBAM approval, RFC_URE4 did have a documented RBAM in place which it implemented. Additionally, during the Compliance Audit, RFC_URE4 provided ReliabilityFirst with evidence demonstrating its senior manager approved its RBAM and null lists of Critical Assets and CCAs, for the third year. Finally, although RFC_URE4's manager did not approval null lists for Critical Assets and CCAs in the second year, RFC_URE4 has no, and has never had, Critical Assets or CCAs. | To mitigate this issue, during the Compliance Audit, RFC_URE4 submitted to ReliabilityFirst an approved RBAM and null lists of Critical Assets and CCAs for the third year. ReliabilityFirst determined that RFC_URE4’s senior manager approved its RBAM and null lists for the third year, thereby correcting the documentation issue.
ReliabilityFirst Corporation (ReliabilityFirst) | Unidentified Registered Entity 5 (RFC_URE5) | NCRXXXXX | RFC2013011667 | CIP-003-2 | R2; R2.2 | RFC_URE5 self-reported an issue with CIP-003-3 R2.2 to ReliabilityFirst. RFC_URE5 reported that it failed to document changes in the designation of a senior manager within 30 days of the effective date as required by the Standard. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. When the senior manager's employment ended, RFC_URE5 had designated another individual as acting senior manager. The issue was limited to documentation only and was of a short duration. | To mitigate this issue, RFC_URE5 formally designated the acting senior manager as the new senior manager.
ReliabilityFirst Corporation (ReliabilityFirst) | Unidentified Registered Entity 6 (RFC_URE6) | NCRXXXXX | RFC2013011725 | CIP-004-3 | R4 | RFC_URE6 self-reported an issue with CIP-004-3 R4 to ReliabilityFirst. During a review of the authorized unescorted physical access list, RFC_URE6 discovered that it inadvertently removed an employee from its authorized unescorted physical access list during a quarterly review and update of the list, but continued to provide the employee with access to RFC_URE6’s Physical Security Perimeters. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The issue involved a clerical error on the access list for only one individual. In addition, the individual had, at all relevant times, a valid and current personnel risk assessment on file and up-to-date cybersecurity training, and was therefore eligible for unescorted physical access rights. | To mitigate this issue, RFC_URE6: 1) corrected it physical access list by reinserting the erroneously removed individual; and 2) required that future reviews include a comparison of the physical access list with other internal tracking lists.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 1 (SERC_URE1) | NCRXXXXX | SERC201000629 | CIP-004-2 | R4 | SERC_URE1 submitted a Self-Report to SERC stating that it had an issue with CIP-004-2 R4 because it did not revoke access within seven calendar days for personnel who no longer require such access to Critical Cyber Assets (CCAs). SERC requested and reviewed additional information in order to complete its assessment. An intern with electronic and physical access to CCAs left the employment of SERC_URE1 and no longer required access to CCAs. The intern had physical access to CCAs in a Physical Security Perimeter and electronic access to CCAs within the Energy Management System through two accounts. On the same day, a SERC_URE1 employee sent an email to the help desk reminding them to remove all of the intern’s physical and electronic access to CCAs. The help desk employee who received the email generated a work order for the removal of the intern’s physical access to the CCAs but did not generate a work order for the removal of the intern’s electronic access to the CCAs via the two accounts. SERC_URE1 removed the intern’s physical access to CCAs on the last day of the intern’s employment. Two weeks later, a SERC_URE1 employee sent an email requesting that the SERC_URE1 employees responsible for SERC_URE1's CCA access list review the list to ensure that there were no current or former employees with unauthorized access to CCAs. Six days later, the SERC_URE1 employee responsible for the review of the access list for one of the two accounts discovered that the intern’s electronic access remained enabled. SERC_URE1 reviewed the intern’s access, identified the electronic access to the additional account, and revoked the access to both accounts on the same day. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. SERC_URE1 performed monthly reviews of the access lists to ensure they were up to date and accurate. SERC_URE1 removed the intern’s physical access to the CCAs on the same day that the intern ended employment with SERC_URE1. The intern did not have remote electronic access to CCAs. SERC_URE1 revoked the intern’s electronic access to CCAs 20 days after the intern left the employment of SERC_URE1. | To mitigate this issue, SERC_URE1: 1) disabled the intern's electronic access to all CCAs; and 2) provided training to ensure that all personnel responsible for removing access to CCAs remove both the physical and electronic access to CCAs. SERC has verified the completion of all mitigation activity.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 1 (SERC_URE1) | NCRXXXXX | SERC2012011464 | CIP-002-3 | R3 | SERC_URE1 submitted a Self-Report to SERC stating that it had an issue with CIP-002-3 R3 because the SERC_URE1 CIP senior manager approved a list of Critical Cyber Assets (CCAs) that did not include a newly installed CCA. SERC requested and reviewed additional information in order to complete its assessment. SERC_URE1 completed the installation of a new workstation identified as a CCA. SERC_URE1's installation process requires SERC_URE1 to amend its CCA list when it adds a new CCA. SERC_URE1 missed this step in the process when it added the CCA workstation. The SERC_URE1 CIP senior manager signed the CCA list, which did not include the newly installed CCA. A month later, SERC_URE1 discovered that the CCA was not on the approved CCA list. SERC_URE1 created and approved an accurate CCA list. In addition, SERC_URE1 completed an assessment that determined there were no more CCAs missing from the CCA list. SERC_URE1 also determined that it had configured the missing CCA for CIP compliance in accordance with its processes and procedures. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. Although SERC_URE1 omitted the CCA workstation from the CCA list, SERC_URE1 was protecting it as a CCA. SERC_URE1 configured and tested the CCA workstation in accordance with SERC_URE1's procedures prior to commissioning. SERC_URE1 CIP senior manager signed the corrected CCA list 31 days after signing the inaccurate CCA list that did not include the newly installed CCA workstation. | To mitigate this issue, SERC_URE1: 1) added the newly installed CCA to the CCA list; and 2) amended the process for adding devices to include a step to amend the CCA list as appropriate. SERC has verified the completion of all mitigation activity.
Southwest Power Pool Regional Entity (SPP RE) | Unidentified Registered Entity 1 (SPP RE_URE1) | NCRXXXXX | SPP201100667 | CIP-002-3 | R4 | During a CIP Compliance Audit, SPP RE discovered that SPP RE_URE1 did not have a signed and dated record of its senior manager or delegate’s approval of its risk-based assessment methodology (RBAM) as prescribed by CIP-002-3 R4. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. SPP RE_URE1 had a compliant RBAM in place during the pendency of the issue. Additionally, SPP RE_URE1 produced signed and dated records of its annual approval reviews of its RBAM; however, SPP RE_URE1's director of utilities, who was neither the senior manager nor a delegate of the senior manager, conducted the approval reviews. Notwithstanding, during the same time period, SPP RE_URE1's senior manager did sign and date annual approval reviews of SPP RE_URE1's Critical Asset and Critical Cyber Asset (CCAs) lists. Finally, SPP RE_URE1 applied its compliant RBAM and determined that it has no Critical Assets or CCAs. | SPP RE_URE1 developed an annual approval procedure sheet for CIP-002, which serves as a checklist for the four requirements found in R4, including a step for its senior manager to approve SPP RE_URE1's RBAM. Additionally, SPP RE_URE1 developed a signature sheet to be attached to the RBAM upon approval.
Southwest Power Pool Regional Entity (SPP RE) | Unidentified Registered Entity 2 (SPP RE_URE2) | NCRXXXXX | SPP2012011150 | CIP-007-3 | R5.3; R5.3.3 | SPP RE_URE2 submitted a Self-Report to SPP RE stating that it had an issue with CIP-007-3 R5.3.3. SPP RE_URE2 failed to change a password on two servers on its Energy Management System (EMS) at least annually. SPP RE_URE2's EMS vendor advised SPP RE_URE2's that the password could not be changed due to technical limitations. However, SPP RE_URE2 did not request a Technical Feasibility Exception (TFE) for the inability to change the password. This issue lasted for 1 year and 11 months. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. The password was unchanged on two servers that were protected behind a Physical Security Perimeter (PSP) and Electronic Security Perimeter (ESP) in accordance with CIP-005 and CIP-006. The ESP access points are further overlaid with an intrusion detection system, which monitors for unauthorized access attempts. | SPP RE_URE2 upgraded to an EMS version that allows for annual password changes without the risk of harm to the EMS system. Consequently, a TFE is not required, and SPP RE_URE2 no longer utilizes the password at issue.
Texas Reliability Entity, Inc (Texas RE) | Unidentified Registered Entity 1 (Texas RE_URE1) | NCRXXXXX | TRE201100336 | CIP-002-2 | R4 | Texas RE_URE1 submitted a Self-Report stating that it had an issue with CIP-002-2 R4. The senior manager at the time had approved and signed the Critical Assets and Critical Cyber Assets (CCA) lists, but had not approved and signed the risk-based assessment methodology (RBAM), as required. Texas RE determined that Texas RE_URE1 was in non-compliance from the date when CIP-002-2 became effective, through the date when the senior manager signed the new RBAM. | This issue posed a minimal risk and did not pose a serious or substantial risk to the bulk power system because at no time was Texas RE_URE1's RBAM or Critical Assets and CCA list incorrect or out of date. When reviewed and approved by the senior manager, these documents were not changed in any significant manner. The review and signature of the senior manager had no bearing on the contents of the RBAM or the Critical Assets and CCA list, nor on the operations of Texas RE_URE1. | The senior manager at Texas RE_URE1 had signed the RBAM and Critical Assets and CCA lists. The responsibilities for Texas RE_URE1 have been transferred to its parent company. Texas RE has verified that the parent company of this facility has reviewed its RBAM, and Critical Assets and CCA lists for all of its facilities. These documents have been signed by the senior manager. Texas RE has verified the mitigation activities as complete.
Western Electricity Coordinating Council | Unidentified Registered Entity 1 (WECC_URE1) | NCRXXXXX | WECC2013011741 | CIP-003-1 | R2 | WECC_URE1 submitted a Self-Report citing an issue with CIP-003-1 R2. In the Self-Report, WECC_URE1 stated that it had failed to document and identify by name, title, date of designation, and business phone or address, a single manager with overall responsibility and authority for leading and managing the implementation of, and adherence to, Standards CIP-002-1 through CIP-009-1. Although WECC_URE1 had failed to properly document its senior manager, WECC_URE1 identified and recognized a specific individual as the senior manager with authority over all CIP Standard responsibilities. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. While WECC_URE1 had no documented senior manager, WECC_URE1 did have an identified senior manager identified by name who was tasked with ensuring compliance to all CIP related standards. Additionally, WECC_URE1 applied its risk-based assessment methodology and determined that it does not have any Critical Assets or Critical Cyber Assets. | To mitigate this issue, WECC_URE1 revised its cyber security policy and included a provision clearly identifying by name, title and date of designation, a specific individual, as senior manager with overall responsibility and authority for leading and managing the entity’s implementation of, and adherence to, Standards CIP-002-2 through CIP-009-2.
Western Electricity Coordinating Council | Unidentified Registered Entity 2 (WECC_URE2) | NCRXXXXX | WECC2013011960 | CIP-002-3 | R1 | WECC conducted an off-site Compliance Audit of WECC_URE2. During the Compliance Audit, WECC determined that WECC_URE2 did not have a documented risk-based assessment methodology to identify its Critical Assets. Specifically, WECC_URE2 changed its Critical Asset identification methodology from a risk-based assessment methodology to a bright line criteria methodology. | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). The potential risks to the BPS were minimized due to compensating measures in place during the duration of the issue. Prior to the bright line criteria methodology becoming effective, WECC_URE2 applied a risk-based assessment methodology and properly identified its Critical Assets. Furthermore, WECC_URE2’s application of its bright line criteria methodology produced a list of Critical Assets nearly identical to that created by its previous risk-based assessment methodology. Additionally, the bright line criteria methodology implemented by WECC_URE2 included proper procedures and considered all asset types as required by CIP-002. WECC_URE2 does not have Critical Cyber Assets associated with its identified Critical Assets. | To mitigate this issue, WECC_URE2 adopted a new risk-based assessment methodology to identify its Critical Assets as required by CIP-002.