## Summary
| Name of Preparer: |  | Phone # of Preparer: |  |  | Email for Preparer:
Primary Frequency Response Survey Summary Tool
ID | Time of Frequency Event (UTC) | Contributor Name | Contributor Phone Number | Contributor Email | Interconnection | Generator Operator | Balancing Authority | GADS Generator Unit ID | Planning Case Bus Number | Final PUPFR Performance | Final PUSPFR Performance | Overall Unit Performance | EIA 860 Plant Name (US Only) | EIA 860 Plant Code (US Only) | EIA 860 Generator ID (US Only) | Generator Type | Generator Machine Base (MBASE)(MVA) | Inertia Constant (H) | Unit Droop Setting @ Time of Event | Unit Deadband Setting @ Time of Event | Unit Operating Mode @ Time of Event | Maximum Operating Level (Pmax)(HSL)@ Time of Event | Minimum Operating Level (Pmin)(LSL)@ Time of Event | Droop Setting | Deadband Setting | Grid Nominal Frequency | Data Source | Pre-Event Average Frequency [T(-16) to T(-2)] | Post-Event Average Frequency [T(+20 to T(+52)] | Pre to Post Perturbation Delta Frequency Actual | Post-Event Frequency (t+46) | Pre to Post-Event Delta Frequency Actual (t+46) | High or Low Frequency Event? | Pre-Event Average MW [T(-2 ) to T(-16)] | Post-Event Average MW [T(+20 to T(+52)] | Pre to Post-Event Delta MW Actual | Headroom Available | Footroom Available | Adequate Margin? | Offset (s) Used | Pre-Event Ramp Magnitude | Actual Primary Frequency Response (adjusted) | Expected Primary Frequency Response (Pre) | Expected Primary Frequency Response (Post) | Expected Primary Frequency Response (Ideal) | Expected Primary Frequency Response (Final) | PUPFR Performance | Final PUPFR Performance | Maximum MW Response [T(+46) to T(+60)] | Actual Sustained Primary Frequency Response | Ramp MW Sustained | Actual Sustained Primary Frequency Response (adjusted) | Expected Sustained Primary Frequency Response [T(+46)] | Expected Sustained Primary Frequency Response (Ideal) | Expected Sustained Primary Frequency Response (Final) | PUSPFR Performance | Final PUSPFR Performance | Comments