## Parameters
Balancing Authority PARAMETERS |  | < DateTime
Enter Balancing Authority Acronym
Enter Frequency Bias (negative value) |  | MW / 0.1 Hz
Enter PI tag name for Raw ACE point
Enter PI tag name for Actual Frequency point
Enter PI tag name for time error correction Hz offset
Enter PI Server Name
Calculated CPS2 L10 | 0 | MW (+/-)
Optional: Upper ACE Fixed Bound | 9999 | MW
Optional: Lower Fixed ACE Bound | -9999 | MW
Interconnection PARAMETERS (0=East, 1=West) | Eastern | 0
Interconnection Frequency Bias (negative value) | -5268.56 | MW / 0.1 Hz
Interconnection Epsilon 1 | 18 | mHz
Interconnection Epsilon 10 | 5.7 | mHz
FTL_Low at 60 Hz Scheduled Frequency | 59.946 | Hz
FTL_High at 60 Hz Scheduled Frequency | 60.054 | Hz
BA and Interconnection PARAMETERS must be entered for the applicable period.
Reference Information (must be updated yearly)
| Eastern | Western
| Interconnection | Interconnection
2016 Interconnection Frequency Bias | -5268.56 | -1636.44
Epsilon 1 (mHz) | 18 | 22.8
Epsilon 10 (mHz) | 5.7 | 7.3
INSTRUCTIONS:
Enter applicable information into cells B2-B7, the applicable Interconnection in C11,
and then the applicable date and time, or "=now()", into cell B1.
This workbook is initially set for manual calculation - after entry of all information,
go to "Tools", select "Options", select the "Calculation" tab, select "Automatic", and
then click "OK". Save the workbook with your parameters.
All pages are protected without a password. The charts may need to be formatted
and scaled slightly for your BA parameters
Questions? Email doug.hils@duke-energy.com with "[BAAL]" in the subject line.
MACROS
Action | Enter
Start the timer (10-second update is set in macro) | CTRL-T
Stop the timer | CTRL-S
REVISION INFORMATION | EFFECTIVE DATE | COMMENTS
Workbook modified to reflect proposed implementation of the BAAL to use Scheduled Frequency. FTL for all Interconnections are to use bounds based upon 3 X Epsilon1 offset from Scheduled Frequency | 2014-03-01 | As this version of the workbook uses Scheduled Frequency in the BAAL calculations, note that the charts displaying the BAAL and CPS1 bounds will be based upon the current Scheduled Frequency. For any transition of Scheduled Frequency within the prior 30 minutes, the chart may not reflect graphically when the BAAL was exceeded prior to the transition, however the counter of consecutive clocks-minutes will properly reflect the calculation of BAAL before and after the Scheduled Frequency transition.
Workbook modified to reflect implementation of the BAAL under the approved BAL-001-2. FTL for all Interconnections are to use bounds based upon 3 X Epsilon1 offset from Scheduled Frequency. E1 and W1 workbooks combined. | 2016-04-05 | The ACE/Frequency charts displaying the BAAL and CPS1 bounds will be based upon the current Scheduled Frequency. For any transition of Scheduled Frequency within the prior 30 minutes, the chart may not reflect graphically when the BAAL was exceeded prior to the transition, however the counter of consecutive clocks-minutes will properly reflect the calculation of BAAL before and after the Scheduled Frequency transition. The BAAL bounds will always be equal to minus 700% CPS1 performance for any Scheduled Frequency.
Note on B8: After entering the BA Frequency Bias, Interconnection Frequency Bias, and Interconnection Epsilon values, verify that the calculated CPS2 L10 equals the value assigned by the NERC Resources Subcommitee for the applicable period.
Note on B9: Allows for entry of optional fixed upper and lower ACE bounds.
Note on B11: Cells B11-B14 selected from Reference Information below based upon entry in C11.
Note on C11: 0 = Eastern Interconnection, 1 = Western Interconnection
After all other data is entered, enter "=now()" in cell B1 and then start the timer with CTRL-T to monitor current operations. The VB macro defaults to updating every ten seconds.
For reviewing historic data, enter the date and time of the last minute of the thirty-minute period you wish to review in cell B1. CTRL-S will stop the timer if needed.
After entering the BA Frequency Bias (cell B3) and selecting the appropriate Interconnection (cell C11), verify that the calculated CPS2 L10 (cell B8) equals the value assigned by the NERC Resources Subcommitee for the applicable period.
DISCLAIMER:
THE USE OF THIS BAAL WORKBOOK IS PROVIDED FREE OF CHARGE AND NEITHER DUKE ENERGY CORPORATION, NOR ITS SUBSIDIARIES, AFFILIATES, EMPLOYEES OR AGENTS MAKE ANY CLAIMS, PROMISES OR GUARANTEES ABOUT THE ACCURACY, COMPLETENESS, OR ADEQUACY OF THE RESULTS OBTAINED THROUGH THE USE THEREOF AND HEREBY DISCLAIMS ANY RESPONSIBILITY OR LIABILITY WHATSOEVER FOR ANY ERRORS, OMISSIONS, OR DISCREPANCIES IN ANY SUCH RESULTS OR IN ANY WAY ASSOCIATED WITH THE USE OF THIS BAAL WORKBOOK. BY USING THE BAAL WORKBOOK THE USER AGREES TO THE TERMS OF THE DISCLAIMER AND WILL NOT HOLD DUKE ENERGY CORPORATION, ITS SUBSIDIARIES, AFFILIATES, EMPLOYEES OR AGENTS LIABLE FOR ANY ERRORS , OMISSIONS, OR DISCREPANCIES IN ANY WAY ASSOCIATED WITH THE USE OF THIS BAAL WORKBOOK.
IMPORTANT NOTES:
Consult with your company's specialist on PI to ensure that data for the variables is stored at intervals consistent with the scan rate of the EMS and other parameters are set so that the clock-minute averages of PI data are consistent with the clock-minute averages used for NERC CPS1 compliance reporting.
Using the capability to review historic data, each user should compare a) the clock-minute data gathered from PI in the "Data" worksheet, to b) the clock-minute data used to calculate and report monthly performance under NERC CPS1, in order to determine if the workbook will calculate real-time performance consistent with information that will be gathered and used after-the-fact for reporting performance.
The PC and Server date/time must be verified to ensure that "=now()" function is acquiring real-time information. To the extent that your PI server data has clock-minute values of ACE, Actual Frequency and Scheduled Frequency, the cells in the "DATA" tab can be revised for prior clock-minutes to use that data, rather than calculate clock-minute averages each time the workbook updates.
This BAAL Workbook is not intended for use by Balancing Authorities using a Variable Bias without appropriate modifications.

## DISCLAIMER
DISCLAIMER:
THE USE OF THIS BAAL WORKBOOK IS PROVIDED FREE OF CHARGE AND NEITHER DUKE ENERGY CORPORATION, NOR ITS SUBSIDIARIES, AFFILIATES, EMPLOYEES OR AGENTS MAKE ANY CLAIMS, PROMISES OR GUARANTEES ABOUT THE ACCURACY, COMPLETENESS, OR ADEQUACY OF THE RESULTS OBTAINED THROUGH THE USE THEREOF AND HEREBY DISCLAIMS ANY RESPONSIBILITY OR LIABILITY WHATSOEVER FOR ANY ERRORS, OMISSIONS, OR DISCREPANCIES IN ANY SUCH RESULTS OR IN ANY WAY ASSOCIATED WITH THE USE OF THIS BAAL WORKBOOK. BY USING THE BAAL WORKBOOK THE USER AGREES TO THE TERMS OF THE DISCLAIMER AND WILL NOT HOLD DUKE ENERGY CORPORATION, ITS SUBSIDIARIES, AFFILIATES, EMPLOYEES OR AGENTS LIABLE FOR ANY ERRORS , OMISSIONS, OR DISCREPANCIES IN ANY WAY ASSOCIATED WITH THE USE OF THIS BAAL WORKBOOK.

## Data
Balancing Authority PARAMETERS
Balancing Authority Acronym | 0
Frequency Bias | 0 | MW / 0.1 Hz | Values entered
PI Raw ACE | 0 | <- tag name | on the
PI Actual Frequency Point | 0 | <- tag name | "Parameters"
PI Time-Error Correction Hz Offset | 0 | <- tag name | Page
PI Server Name | 0
Calculated CPS2 L10 | 0 | MW (+/-)
Purpose Statement B: Upper Fixed Bound | 9999 | MW | Upper ACE Transmission Limit
Purpose Statement B: Lower Fixed Bound | -9999 | MW | Lower ACE Transmission Limit
Interconnection PARAMETERS
Interconnection Frequency Bias | -5268.56 | MW / 0.1 Hz
Interconnection Epsilon 1 in Hz | 0.018 | Hz
Interconnection Epsilon 10 in Hz | 0.0057 | Hz | [11 empty] | NOTES:
FTL_Low at 60 Hz Scheduled Frequency | 59.946 | Hz | [11 empty] | BOUNDS BASED UPON CURRENT SCHEDULED FREQUENCY
FTL_High at 60 Hz Scheduled Frequency | 60.054 | Hz | [5 empty] | BAAL ATL | [5 empty] | In order for the charts to display accurately, BAAL_Low=-99999 and BAAL_High=99999 when not applicable.
0 |  |  |  |  | BAAL | BAAL | ATL | MAXIMUM | [5 empty] | CALCULATION OF BOUNDS | [5 empty] | Purpose Statement A&B |  | CPS1 at current
0:00 |  |  |  |  | CALC | EXCEEDED | EXCEEDED | DURATION |  |  |  | CPS1 Equiv | CPS1 |  |  |  |  | PRIOR | PRIOR | FIXED | FIXED | Scheduled
0:01 | Raw ACE | Actual Freq | Sched Freq |  |  | #NAME? | #NAME? | #NAME? | FREQ | ACE | CPS1 | BAAL bound | Compliance | Frequency |  | BAAL_Low | BAAL_High | Lower CPS2 | Upper CPS2 | Lower Bound | Upper Bound | Frequency
0:00 | #NAME? | #NAME? | #NAME? |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.8 | 59.8 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
0:00 | #NAME? | #NAME? | #NAME? | 1 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.801 | 59.801 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
0:00 | #NAME? | #NAME? | #NAME? | 2 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.802 | 59.802 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.00069444 | #NAME? | #NAME? | #NAME? | 3 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.803 | 59.803 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.0013889 | #NAME? | #NAME? | #NAME? | 4 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.804 | 59.804 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.0020833 | #NAME? | #NAME? | #NAME? | 5 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.805 | 59.805 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.0027778 | #NAME? | #NAME? | #NAME? | 6 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.806 | 59.806 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.0034722 | #NAME? | #NAME? | #NAME? | 7 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.807 | 59.807 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.0041667 | #NAME? | #NAME? | #NAME? | 8 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.808 | 59.808 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.0048611 | #NAME? | #NAME? | #NAME? | 9 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.809 | 59.809 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.0055556 | #NAME? | #NAME? | #NAME? | 10 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.81 | 59.81 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.00625 | #NAME? | #NAME? | #NAME? | 11 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.811 | 59.811 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.0069444 | #NAME? | #NAME? | #NAME? | 12 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.812 | 59.812 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.0076389 | #NAME? | #NAME? | #NAME? | 13 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.813 | 59.813 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.0083333 | #NAME? | #NAME? | #NAME? | 14 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.814 | 59.814 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.0090278 | #NAME? | #NAME? | #NAME? | 15 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.815 | 59.815 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.0097222 | #NAME? | #NAME? | #NAME? | 16 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.816 | 59.816 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.010417 | #NAME? | #NAME? | #NAME? | 17 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.817 | 59.817 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.011111 | #NAME? | #NAME? | #NAME? | 18 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.818 | 59.818 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.011806 | #NAME? | #NAME? | #NAME? | 19 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.819 | 59.819 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.0125 | #NAME? | #NAME? | #NAME? | 20 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.82 | 59.82 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.013194 | #NAME? | #NAME? | #NAME? | 21 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.821 | 59.821 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.013889 | #NAME? | #NAME? | #NAME? | 22 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.822 | 59.822 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.014583 | #NAME? | #NAME? | #NAME? | 23 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.823 | 59.823 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.015278 | #NAME? | #NAME? | #NAME? | 24 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.824 | 59.824 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.015972 | #NAME? | #NAME? | #NAME? | 25 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.825 | 59.825 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.016667 | #NAME? | #NAME? | #NAME? | 26 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.826 | 59.826 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.017361 | #NAME? | #NAME? | #NAME? | 27 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.827 | 59.827 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.018056 | #NAME? | #NAME? | #NAME? | 28 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.828 | 59.828 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.01875 | #NAME? | #NAME? | #NAME? | 29 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.829 | 59.829 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.019444 | #NAME? | #NAME? | #NAME? | 30 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.83 | 59.83 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.020139 | #NAME? | #NAME? | #NAME? | 31 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.831 | 59.831 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.020833 | #NAME? | #NAME? | #NAME? | 32 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.832 | 59.832 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.021528 | #NAME? | #NAME? | #NAME? | 33 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.833 | 59.833 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.022222 | #NAME? | #NAME? | #NAME? | 34 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.834 | 59.834 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.022917 | #NAME? | #NAME? | #NAME? | 35 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.835 | 59.835 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.023611 | #NAME? | #NAME? | #NAME? | 36 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.836 | 59.836 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.024306 | #NAME? | #NAME? | #NAME? | 37 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.837 | 59.837 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.025 | #NAME? | #NAME? | #NAME? | 38 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.838 | 59.838 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.025694 | #NAME? | #NAME? | #NAME? | 39 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.839 | 59.839 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.026389 | #NAME? | #NAME? | #NAME? | 40 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.84 | 59.84 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.027083 | #NAME? | #NAME? | #NAME? | 41 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.841 | 59.841 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.027778 | #NAME? | #NAME? | #NAME? | 42 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.842 | 59.842 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.028472 | #NAME? | #NAME? | #NAME? | 43 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.843 | 59.843 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.029167 | #NAME? | #NAME? | #NAME? | 44 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.844 | 59.844 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.029861 | #NAME? | #NAME? | #NAME? | 45 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.845 | 59.845 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.030556 | #NAME? | #NAME? | #NAME? | 46 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.846 | 59.846 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.03125 | #NAME? | #NAME? | #NAME? | 47 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.847 | 59.847 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.031944 | #NAME? | #NAME? | #NAME? | 48 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.848 | 59.848 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.032639 | #NAME? | #NAME? | #NAME? | 49 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.849 | 59.849 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.033333 | #NAME? | #NAME? | #NAME? | 50 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.85 | 59.85 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.034028 | #NAME? | #NAME? | #NAME? | 51 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.851 | 59.851 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.034722 | #NAME? | #NAME? | #NAME? | 52 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.852 | 59.852 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.035417 | #NAME? | #NAME? | #NAME? | 53 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.853 | 59.853 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.036111 | #NAME? | #NAME? | #NAME? | 54 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.854 | 59.854 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.036806 | #NAME? | #NAME? | #NAME? | 55 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.855 | 59.855 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.0375 | #NAME? | #NAME? | #NAME? | 56 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.856 | 59.856 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.038194 | #NAME? | #NAME? | #NAME? | 57 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.857 | 59.857 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.038889 | #NAME? | #NAME? | #NAME? | 58 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.858 | 59.858 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.039583 | #NAME? | #NAME? | #NAME? | 59 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.859 | 59.859 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.040278 | #NAME? | #NAME? | #NAME? | 60 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | -700 | 100 | 59.86 | 59.86 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
-0.040972 | [13 empty] | 59.861 | 59.861 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.862 | 59.862 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.863 | 59.863 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.864 | 59.864 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.865 | 59.865 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.866 | 59.866 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.867 | 59.867 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.868 | 59.868 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.869 | 59.869 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.87 | 59.87 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.871 | 59.871 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.872 | 59.872 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.873 | 59.873 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.874 | 59.874 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.875 | 59.875 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.876 | 59.876 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.877 | 59.877 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.878 | 59.878 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.879 | 59.879 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.88 | 59.88 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.881 | 59.881 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.882 | 59.882 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.883 | 59.883 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.884 | 59.884 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.885 | 59.885 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.886 | 59.886 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.887 | 59.887 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.888 | 59.888 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.889 | 59.889 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.89 | 59.89 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.891 | 59.891 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.892 | 59.892 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.893 | 59.893 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.894 | 59.894 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.895 | 59.895 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.896 | 59.896 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.897 | 59.897 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.898 | 59.898 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.899 | 59.899 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.9 | 59.9 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.901 | 59.901 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.902 | 59.902 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.903 | 59.903 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.904 | 59.904 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.905 | 59.905 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.906 | 59.906 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.907 | 59.907 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.908 | 59.908 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.909 | 59.909 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.91 | 59.91 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.911 | 59.911 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.912 | 59.912 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.913 | 59.913 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.914 | 59.914 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.915 | 59.915 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.916 | 59.916 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.917 | 59.917 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.918 | 59.918 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.919 | 59.919 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.92 | 59.92 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.921 | 59.921 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.922 | 59.922 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.923 | 59.923 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.924 | 59.924 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.925 | 59.925 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.926 | 59.926 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.927 | 59.927 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.928 | 59.928 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.929 | 59.929 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.93 | 59.93 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.931 | 59.931 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.932 | 59.932 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.933 | 59.933 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.934 | 59.934 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.935 | 59.935 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.936 | 59.936 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.937 | 59.937 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.938 | 59.938 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.939 | 59.939 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.94 | 59.94 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.941 | 59.941 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.942 | 59.942 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.943 | 59.943 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.944 | 59.944 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.945 | 59.945 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.946 | 59.946 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.947 | 59.947 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.948 | 59.948 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.949 | 59.949 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.95 | 59.95 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.951 | 59.951 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.952 | 59.952 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.953 | 59.953 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.954 | 59.954 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.955 | 59.955 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.956 | 59.956 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.957 | 59.957 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.958 | 59.958 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.959 | 59.959 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.96 | 59.96 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.961 | 59.961 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.962 | 59.962 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.963 | 59.963 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.964 | 59.964 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.965 | 59.965 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.966 | 59.966 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.967 | 59.967 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.968 | 59.968 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.969 | 59.969 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.97 | 59.97 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.971 | 59.971 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.972 | 59.972 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.973 | 59.973 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.974 | 59.974 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.975 | 59.975 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.976 | 59.976 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.977 | 59.977 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.978 | 59.978 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.979 | 59.979 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.9795 | 59.98 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.9799 | 59.98 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.9805 | 59.98 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.981 | 59.981 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.982 | 59.982 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.983 | 59.983 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.984 | 59.984 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.985 | 59.985 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.986 | 59.986 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.987 | 59.987 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.988 | 59.988 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.989 | 59.989 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.99 | 59.99 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.991 | 59.991 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.992 | 59.992 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.993 | 59.993 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.994 | 59.994 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.995 | 59.995 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.996 | 59.996 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.997 | 59.997 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.998 | 59.998 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.999 | 59.999 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.9995 | 60 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 59.9999 | 60 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.0005 | 60 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.001 | 60.001 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.002 | 60.002 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.003 | 60.003 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.004 | 60.004 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.005 | 60.005 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.006 | 60.006 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.007 | 60.007 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.008 | 60.008 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.009 | 60.009 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.01 | 60.01 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.011 | 60.011 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.012 | 60.012 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.013 | 60.013 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.014 | 60.014 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.015 | 60.015 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.016 | 60.016 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.017 | 60.017 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.018 | 60.018 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.019 | 60.019 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.0195 | 60.02 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.0199 | 60.02 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.0205 | 60.02 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.021 | 60.021 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.022 | 60.022 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.023 | 60.023 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.024 | 60.024 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.025 | 60.025 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.026 | 60.026 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.027 | 60.027 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.028 | 60.028 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.029 | 60.029 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.03 | 60.03 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.031 | 60.031 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.032 | 60.032 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.033 | 60.033 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.034 | 60.034 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.035 | 60.035 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.036 | 60.036 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.037 | 60.037 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.038 | 60.038 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.039 | 60.039 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.04 | 60.04 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.041 | 60.041 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.042 | 60.042 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.043 | 60.043 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.044 | 60.044 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.045 | 60.045 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.046 | 60.046 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.047 | 60.047 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.048 | 60.048 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.049 | 60.049 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.05 | 60.05 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.051 | 60.051 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.052 | 60.052 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.053 | 60.053 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.054 | 60.054 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.055 | 60.055 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.056 | 60.056 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.057 | 60.057 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.058 | 60.058 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.059 | 60.059 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.06 | 60.06 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.061 | 60.061 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.062 | 60.062 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.063 | 60.063 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.064 | 60.064 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.065 | 60.065 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.066 | 60.066 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.067 | 60.067 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.068 | 60.068 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.069 | 60.069 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.07 | 60.07 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.071 | 60.071 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.072 | 60.072 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.073 | 60.073 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.074 | 60.074 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.075 | 60.075 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.076 | 60.076 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.077 | 60.077 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.078 | 60.078 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.079 | 60.079 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.08 | 60.08 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.081 | 60.081 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.082 | 60.082 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.083 | 60.083 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.084 | 60.084 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.085 | 60.085 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.086 | 60.086 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.087 | 60.087 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.088 | 60.088 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.089 | 60.089 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.09 | 60.09 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.091 | 60.091 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.092 | 60.092 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.093 | 60.093 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.094 | 60.094 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.095 | 60.095 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.096 | 60.096 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.097 | 60.097 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.098 | 60.098 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.099 | 60.099 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.1 | 60.1 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.101 | 60.101 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.102 | 60.102 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.103 | 60.103 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.104 | 60.104 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.105 | 60.105 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.106 | 60.106 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.107 | 60.107 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.108 | 60.108 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.109 | 60.109 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.11 | 60.11 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.111 | 60.111 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.112 | 60.112 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.113 | 60.113 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.114 | 60.114 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.115 | 60.115 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.116 | 60.116 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.117 | 60.117 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.118 | 60.118 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.119 | 60.119 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.12 | 60.12 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.121 | 60.121 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.122 | 60.122 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.123 | 60.123 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.124 | 60.124 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.125 | 60.125 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.126 | 60.126 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.127 | 60.127 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.128 | 60.128 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.129 | 60.129 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.13 | 60.13 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.131 | 60.131 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.132 | 60.132 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.133 | 60.133 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.134 | 60.134 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.135 | 60.135 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.136 | 60.136 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.137 | 60.137 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.138 | 60.138 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.139 | 60.139 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.14 | 60.14 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.141 | 60.141 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.142 | 60.142 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.143 | 60.143 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.144 | 60.144 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.145 | 60.145 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.146 | 60.146 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.147 | 60.147 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.148 | 60.148 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.149 | 60.149 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.15 | 60.15 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.151 | 60.151 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.152 | 60.152 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.153 | 60.153 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.154 | 60.154 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.155 | 60.155 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.156 | 60.156 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.157 | 60.157 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.158 | 60.158 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.159 | 60.159 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.16 | 60.16 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.161 | 60.161 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.162 | 60.162 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.163 | 60.163 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.164 | 60.164 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.165 | 60.165 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.166 | 60.166 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.167 | 60.167 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.168 | 60.168 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.169 | 60.169 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.17 | 60.17 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.171 | 60.171 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.172 | 60.172 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.173 | 60.173 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.174 | 60.174 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.175 | 60.175 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.176 | 60.176 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.177 | 60.177 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.178 | 60.178 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.179 | 60.179 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.18 | 60.18 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.181 | 60.181 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.182 | 60.182 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.183 | 60.183 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.184 | 60.184 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.185 | 60.185 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.186 | 60.186 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.187 | 60.187 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.188 | 60.188 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.189 | 60.189 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.19 | 60.19 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.191 | 60.191 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.192 | 60.192 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.193 | 60.193 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.194 | 60.194 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.195 | 60.195 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.196 | 60.196 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.197 | 60.197 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.198 | 60.198 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.199 | 60.199 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
[14 empty] | 60.2 | 60.2 | #NAME? | #NAME? | 0 | 0 | #NAME? | #NAME? | #NAME?
Note on A21: Clock-Minute Averages
Note on B12: 2006 Western Interconection = -2044.76 MW/0.1Hz

## 59.9-60.1
Current
Last 5 mins
Last 6-15 mins
Last 16-30 mins
-216.00
MW / 0.1 Hz
DUK
3/29/16 15:36
0
0
0
0
0
0
0
0
0
0
15:28
15:35
15:34
15:33
15:32
15:31
15:30
15:29
Time
Consecutive Minutes Exceeding
BAAL and/or chosen Fixed Limits
0
0
0
0
0
0
0
0
0
15:17
15:18
15:25
15:24
15:23
15:22
15:21
15:20
15:19
0
0
0
0
0
0
0
0
0
0
15:27
15:08
15:16
15:15
15:14
15:13
15:12
15:11
15:10
15:09
0
15:26
60.00
Scheduled Frequency
15:36:54
15:36
BIAS
ACE
Actual Frequency
79.01
CPS1
59.981
-45
Number of BAAL Exceedances in last 30 minutes =
0
BAAL exceedance
CPS1 Display
Note: BAAL is exceeded when the clock-minute CPS1 is equal to or less than minus 700%.
NOTE: The bounds displayed above are based upon the current Scheduled Frequency. For any transition of Scheduled Frequency within the prior 30 minutes, the chart may not reflect graphically when the BAAL was exceeded prior to the transition, however the counter below will properly reflect the consecutive clock-minutes beyond BAAL.
CTRL-T to start timer
CTRL-S to stop timer

## 59.8-60.2
Current
Last 5 mins
Last 6-15 mins
Last 16-30 mins
-216.00
MW / 0.1 Hz
DUK
3/29/16 15:36
0
0
0
0
0
0
0
0
0
0
15:28
15:35
15:34
15:33
15:32
15:31
15:30
15:29
Time
0
0
0
0
0
0
0
0
0
15:17
15:18
15:25
15:24
15:23
15:22
15:21
15:20
15:19
0
0
0
0
0
0
0
0
0
0
15:27
15:08
15:16
15:15
15:14
15:13
15:12
15:11
15:10
15:09
0
15:26
60.00
Scheduled Frequency
15:36:54
15:36
BIAS
ACE
Actual Frequency
79.01
CPS1
59.981
-45
Number of BAAL Exceedances in last 30 minutes =
NOTE: The bounds displayed are based upon the current Scheduled Frequency. For any transition of Scheduled Frequency within the prior 30 minutes, the chart may not reflect graphically when the BAAL was exceeded prior to the transition, however the counter will properly reflect the consecutive clock-minutes beyond BAAL.
CTRL-T to start timer
CTRL-S to stop timer
0
Consecutive Minutes Exceeding
BAAL and/or chosen Fixed Limits