Standard Development Roadmap

This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

- SAC Authorized for Development Feb 14 2006.

Description of Current Draft:

First to draft of standard posted for stakeholders comment.

Future Development Plan:

|  | TBD |
| --- | --- |
|  | TBD |

Definitions of Terms Used in Standard

This section includes all newly defined or revised terms used in the proposed standard.  Terms already defined in the Reliability Standards Glossary of Terms are not repeated here.  New or revised definitions listed below become approved when the proposed standard is approved.  When the standard becomes effective, these defined terms will be removed from the individual standard and added to the Glossary.

- Introduction

  - Title:	Documentation of Regional Reliability Organization Capacity Benefit Margin Methodologies

  - Number:	MOD-004-0

  - Purpose:	To promote the consistent and uniform application of transmission Transfer Capability margins calculations, Capacity Benefit Margin (CBM) must be calculated in a consistent manner.

  - Applicability:

    - Regional Reliability Organization

    - Transmission Service Provider

  - Effective Date:	TBD

- Requirements

  - Each Regional Reliability Organization, in conjunction with its members, shall jointly develop and document a Regional CBM methodology for all calculation horizons.

    - A Transmission Provider who is completely within the RRO must comply with the RRO methodology.

    - A Transmission Service Provider that crosses multiple Regional Reliability Organization boundaries may develop its own CBM methodology and shall get approval for its methodology from each of the respective RROs or from NERC

    - Each CBM methodology shall address each of the items listed below

      - Specify those TSPs which do not use CBM post that fact on their OASIS.

      - Specify that the method used  to determine its generation reliability requirements as the basis for CBM shall be consistent with the respective generation planning criteria.

      - Specify the interval of calculation of the generation reliability requirement and associated CBM values.

        - Require that the calculations must be verified at least annually.

        - Require that the dates seasonal CBM values apply must be specified

      - Require that generation unit outages considered in a Transmission Service Provider’s CBM calculation be restricted to those units within the Transmission Service Provider’s system.

      - Require that CBM be preserved only on the Transmission Service Provider’s System where the Load-Serving Entity’s Load is located (i.e., CBM is an import quantity only).

      - Describe the inclusion or exclusion rationale for generation resources of each Load- Serving Entity including those generation resources not directly connected to the Transmission Service Provider’s system but serving Load-Serving Entity loads connected to the Transmission Service Provider’s system. As a minimum the methodology must address the following:

        - All generation directly connected to the transmission provider’s system being used to serve load directly connected to that system will be considered in the CBM requirement determination.

        - The availability of generation not directly connected to the transmission provider’s system being used to serve load directly connected to that system would be considered available per the terms under which it was arranged.

      - Describe the inclusion or exclusion rationale for generation connected to the Transmission Service Provider’s system but not obligated to serve Native/Network Load connected to the Transmission Service Provider’s system. As a minimum the methodology must address the following:

        - The following units shall be included in the CBM requirement determination because they are considered to be the installed generation capacity, committed to serve load, directly connected to the transmission system for which the CBM requirement is being determined.

        - Generation directly connected to the transmission provider’s system but not obligated to serve load directly connected to that system, will be incorporated into the CBM requirement determination as follows.

          - Generation directly connected to the transmission provider’s system, but committed to serve load on another system, will not be included in the CBM requirement determination for the transmission system to which the generator is directly connected.)

          - For Generation directly connected to the TSP’s system, but not committed to serve load on any system, the TSP will use the best information available to them to determine how these units should be considered in the CBM requirement determination.  All assumptions made must be documented.

      - Describe the formal process and rationale for the Regional Reliability Organization to grant any variances to individual Transmission Service Providers from the Regional Reliability Organization’s CBM methodology.

        - Any variances must be approved by NERC or its designee.

      - Specify the relationship of CBM to the generation reliability requirement and the allocation of the CBM values to the appropriate transmission facilities.  The sum of the CBM values allocated to all interfaces shall not exceed that portion of the generation reliability requirement that is to be provided by outside resources.

      - Describe the inclusion or exclusion rationale for the loads of each Load-Serving Entity, including interruptible demands and buy-through contracts (type of service contract that offers the customer the option to be interrupted or to accept a higher rate for service under certain conditions).

      - If CBM and TRM are used simultaneously in the ATC/AFC calculations explain how this is consistent with the Transmission Planning Criteria.

      - Require that CBM be based on the required or recommended planning reserve. Describe how load-serving entities that are not meeting the Regional Reliability planning reserve requirements are addressed.

      - Require that the appropriate entities will plan and reinforce the transmission system for the amount of CBM being preserved.

  - Each Regional Reliability Organization shall post the most recent version of the CBM methodology on a publicly accessible web site and each Transmission Service Provider shall post either a reference to the RROs posted methodology or the TSPs most recent approved version of the CBM methodology on its OASIS.

  - Measures

  - The Regional Reliability Organizations and Transmission Service Providers that apply CBM to their ATC/AFC calculation each have a documented CBM methodology that includes all of the items identified in MOD-004-1 Requirement 1 through MOD-004-1 Requirement 1.3.13..

  - The Regional Reliability Organizations and Transmission Service Providers provides evidence that its CBM methodology is available on a publicly accessible web site in accordance with Reliability Standard MOD-004-1 Requirement 1.3.1 and Requirement 2.

- Compliance

  - Compliance Monitoring Process

    - Compliance Monitoring Responsibility

Compliance Monitor:  NERC.

    - Compliance Monitoring Period and Reset Timeframe

The most recent version of CBM methodology documentation available on a website accessible by NERC, the Regional Reliability Organizations, and transmission users.

    - Data Retention

None specified.

    - Additional Compliance Information

None.

  - Levels of Non-Compliance

    - Level 1:	The Regional Reliability Organization’s and TSPs documented CBM methodology does not address one or two of the items required for documentation under Reliability Standard MOD-004-1_R1 through R1.3.13.

    - Level 2:	Not applicable.

    - Level 3:	Not applicable.

    - Level 4:	The Regional Reliability Organization’s and TSPs documented CBM methodology does not address three or more of the items required for documentation under Reliability Standard MOD-004-1_R1 through R1.3.13, or the Regional Reliability Organization does not have a documented CBM methodology available on a publicly accessible website in accordance with Reliability Standard MOD-004-1_R2.

- Regional Differences

  - None identified.

Version History

| # Version | Date | Action | Change Tracking |
| --- | --- | --- | --- |
| 0 | April 1, 2005 | Effective Date | New |