Standard Development Roadmap

This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

- SAC Authorized for Development Feb 14 2006.

Description of Current Draft:

First to draft of standard posted for stakeholders comment.

Future Development Plan:

|  | TBD |
| --- | --- |
|  | TBD |

Definitions of Terms Used in Standard

This section includes all newly defined or revised terms used in the proposed standard.  Terms already defined in the Reliability Standards Glossary of Terms are not repeated here.  New or revised definitions listed below become approved when the proposed standard is approved.  When the standard becomes effective, these defined terms will be removed from the individual standard and added to the Glossary.

- Introduction

  - Title:	Procedure for Verifying Capacity Benefit Margin Values

  - Number:	MOD-005-1

  - Purpose:	To promote the consistent and uniform application of Transfer Capability calculations among transmission system users, the Regional Reliability Organizations need to review adherence to Regional methodologies for calculating Capacity Benefit Margin (CBM).

  - Applicability:

    - Regional Reliability Organization

  - Effective Date:	TBD

- Requirements

  - Each Regional Reliability Organization, in conjunction with its members, shall jointly develop and implement a procedure to review (at least annually) the CBM calculations and the resulting values of member Transmission Service Providers to ensure that they comply with the Regional Reliability Organization’s CBM methodology.  The CBM review procedure shall:

    - Indicate the interval is at least annual, under which the verification review shall be implemented.

    - Require review of the process by which CBM values are updated, and their interval of update, to ensure that the most current CBM values are available to stakeholders.

    - Require review of the consistency of the Transmission Service Provider’s CBM components with its published planning criteria.  A CBM value is considered consistent with published planning criteria if the same components that comprise CBM are addressed in the planning criteria.  The methodology used to determine and apply CBM does not have to involve the same mechanics as the planning process, but the same uncertainties must be considered and any simplifying assumptions explained. The procedure must specify how the consistency would be verified.

      - Require verification that the appropriate entities are planning and reinforcing the transmission system for the amount of CBM being preserved.  The procedure must specify how the verification would be determined.  Transmission service providers must also perform this verification and report on the findings as specified below.

    - Require CBM values to be periodically updated at least annually and available to the Regional Reliability Organizations, NERC, and stakeholders.

  - The documentation of the Regional CBM procedure shall be available to NERC on request (within 30 days).

  - Documentation of the results of the most current implementation of the procedure shall be sent to NERC within 30 days of completion.

- Measures

  - The Regional Reliability Organization’s written procedure for the performance of periodic reviews of Regional CBM calculations shall comply with Reliability Standard MOD-005-1_R1.

  - The Regional Reliability Organization shall have documentation of the results of its periodic reviews of CBM calculations, in accordance with Reliability Standard MOD-005-0_R2 and MOD-005-0_R3.

  - The Regional Reliability Organization shall have evidence that it provided documentation of its CBM review procedure and the results of the most current implementation of the procedure to NERC as requested (within 30 calendar days).

- Compliance

  - Compliance Monitoring Process

    - Compliance Monitoring Responsibility

Compliance Monitor:  NERC.

    - Compliance Monitoring Period and Reset Timeframe

The documentation of the Regional Reliability Organization’s CBM review procedure shall be available to NERC on request (within 30 calendar days).  Documentation of the results of the most current implementation of the review procedure shall be available to NERC on request (within 30 calendar days).

    - Data Retention

None specified.

    - Additional Compliance Information

None.

  - Levels of Non-Compliance

    - Level 1:	Not applicable.

    - Level 2:	The Regional Reliability Organization did not perform an annual review of all Transmission Service Providers within its Region for consistency with the Regional CBM methodology.

    - Level 3:	Not applicable.

    - Level 4:	The Regional Reliability Organization does not have a procedure for performing a CBM methodology consistency review of all Transmission Service Providers within its Region, or has not performed any annual reviews.

- Regional Differences

  - None identified.

Version History

| # Version | Date | Action | Change Tracking |
| --- | --- | --- | --- |
| 0 | April 1, 2005 | Effective Date | New |