Standard Development Roadmap

This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

- SAC Authorized for Development Feb 14 2006.

Description of Current Draft:

First to draft of standard posted for stakeholders comment.

Future Development Plan:

|  | TBD |
| --- | --- |
|  | TBD |

Definitions of Terms Used in Standard

This section includes all newly defined or revised terms used in the proposed standard.  Terms already defined in the Reliability Standards Glossary of Terms are not repeated here.  New or revised definitions listed below become approved when the proposed standard is approved.  When the standard becomes effective, these defined terms will be removed from the individual standard and added to the Glossary.

- Introduction

  - Title:	Procedure for Verifying Transmission Reliability Margin Values

  - Number:	MOD-009-1

  - Purpose:	To promote the consistent application of transmission Transfer Capability margin calculations among Transmission System Providers and Transmission Owners.

  - Applicability:

    - Regional Reliability Organization

  - Effective Date:	TBD

- Requirements

  - Each Regional Reliability Organization, in conjunction with its members, shall develop and implement a procedure to review Transmission Reliability Margin (TRM) calculations and resulting values of member Transmission Service Providers to ensure they comply with the Regional TRM methodology, and are periodically updated and available to transmission users.

    - The Regional Reliability Organization must review and approve the TRM methodology for all calculation horizons.  The Regional Reliability Organization is responsible for ensuring that TRM calculations are consistent with the individual Transmission Owners planning criteria

  - Each TRM methodology shall address each of the items listed below:

    - Indicate the interval is at least annual, under which the verification review shall be implemented.

    - Require review of the process by which TRM values are updated, and their interval of update, to ensure that the most current TRM values are available to stakeholders.

    - Require review of the consistency of the Transmission Service Provider’s or Transmission Owners TRM components with its published planning criteria.  A TRM value is considered consistent with published planning criteria if the same components that comprise TRM are also addressed in the planning criteria.  The methodology used to determine and apply TRM does not have to involve the same mechanics as the planning process, but the same uncertainties must be considered and any simplifying assumption explained.  The review process used by a transmission service provider or transmission owner  also needs to be documented.

      - Explain how the simultaneous application of CBM and TRM amounts being implemented in the ATC calculations are being taken into consideration during the planning process

    - TRM methodologies and values must be consistent with the applicable planning criteria

      - The methodology must specify how the verification of the consistency would be determined

    - The documentation of the regional TRM procedure shall be available to NERC on request (within 30 days). Documentation of the results of the most current implementation of the procedure shall be available to NERC within 30 days of completion.

  - Documentation of the results of the most current regional reviews shall be provided to NERC within 30 days of completion.

  - Require TRM values to be verified at least annually and made available on a publicly accessible website.

- Measures

  - The Regional Reliability Organization shall have evidence that it provided to NERC upon request (within 30 calendar days) a copy of its written procedure developed for the performance of periodic reviews of Regional TRM calculations.

  - The Regional Reliability Organization shall have evidence it provided to NERC on request (within 30 calendar days) documentation of the results of the most current implementation of its TRM review procedure.

- Compliance

  - Compliance Monitoring Process

    - Compliance Monitoring Responsibility

Compliance Monitor: NERC.

    - Compliance Monitoring Period and Reset Timeframe

Each Regional Reliability Organization shall report compliance and violations to NERC via the NERC Compliance Reporting process.

    - Data Retention

None specified.

    - Additional Compliance Information

None.

  - Levels of Non-Compliance

    - Level 1:	Not applicable.

    - Level 2:	The Regional Reliability Organization did not perform an annual review of all Transmission Service Providers within its Region for consistency with its Regional TRM methodology.

    - Level 3:	Not applicable.

    - Level 4:	The Regional Reliability Organization does not have a procedure for performing a TRM methodology consistency review of all Transmission Service Providers within its Region, or has not performed any such annual reviews.

- Regional Differences

  - None identified.

Version History

| # Version | Date | Action | Change Tracking |
| --- | --- | --- | --- |
| 0 | April 1, 2005 | Effective Date | New |