### Unofficial Comment Form for Fourth Draft of TPL-001-1 (Project 2006-02)

Please DO NOT use this form to submit comments.  Please use the electronic form located at the link below to submit comments on the fourth draft of the TPL-001-1 standard for Assess Transmission Future Needs (Project 2006-02) by October 16, 2009.

If you have questions please contact Ed Dobrowolski at ed.dobrowolski@nerc.net or by telephone at 609-947-3673.

http://www.nerc.com/filez/standards/Assess-Transmission-Future-Needs.html

### Background Information

### TPL-001-1 Transmission System Planning Performance Requirements

Comments on the third draft of the TPL-001-1 Transmission System Planning Performance Requirements standard were received from the industry through July 9, 2009.  The Drafting Team sought and received feedback to 11 questions, and the team appreciates the tremendous industry participation that generated over 400 pages of comments from over 85 organizations.  Below is a brief overview of the 4th draft of the standard highlighting areas where the SDT made changes based on stakeholder feedback from the third posting.  The team’s objectives remain unchanged - to create a single Transmission planning standard: 1) with clear, concise requirements set at an appropriate level to ensure reliability, and 2) that fully addresses all issues raised by FERC Orders 693 and 890, and industry inputs, including the SAR scope document.

Fourth Draft Overview:

- At first glance the fourth draft of the standard may appear to have been substantially changed; however, this is not the case as the SDT has maintained its vision throughout the process and the changes shown are primarily clarifying in nature.

- The flow and organization of the standard remain similar to the 3rd draft.  Requirement labeling has been modified in accordance with NERC’s revised standards process to eliminate sub-requirements and re-label them as “parts.”

- However, some changes are noteworthy:

  - Several definitions were revised or deleted based on industry feedback.

  - Requirement R1 has been revised to clarify the SDT’s intent with regard to modeling issues.

  - Requirement R2, part 2.1.3 has been added to clarify that studies must be performed with known outages included in the base case.

  - Requirement R2, part 2.1.5 has been revised to clarify the spare equipment strategy and limit the analysis to P0, P1 and P2 categories

  - How sensitivity studies fit into the overall assessment has been clarified in Requirement R2, part 2.4.3.

  - Requirement R2, part 2.5 has been added to require stability analysis for proposed generation additions or changes in the Long Term Transmission Planning Horizon.

  - Requirement R2, part 2.6.2 has been revised to decrease unnecessary documentation requirements and the examples of ‘material generation changes’ have been deleted.

  - Requirement R2, part 2.7.2 has been added to clarify necessary actions with regard to sensitivity studies.

  - Requirement R2, parts 2.7.3 and 2.7.4 have been deleted so inclusion of project initiation dates and in service dates are no longer required.

  - Requirement R2, part 2.10 has been deleted so the maximum permissible Non-Consequential Load Loss does not have to be reported.

  - Requirement R3, parts 3.3.2, 3.3.3 and 3.3.4 have been revised to clarify the requirements for contingency analysis.

  - Requirement R3, part 3.4.1 and Requirement R4, part 4.4.1 have been added to ensure that planners are coordinating with adjacent planners.

  - Requirement R3, part 3.6 has been added to require documentation of generation runback or tripping used to meet performance requirements.

  - Requirements R4, parts 4.1.1 through 4.1.3 have been added as requirements text to replace previous footnote 1 in Table 1.

  - Requirement R4, part 4.3.1 was revised to include the impacts of high speed reclosing.

  - Requirement R4, part 4.3.3 was added to ensure that the impacts of transient swings are simulated.

  - Requirement R5 was added so that appropriate criteria are set.

  - Requirement R8, part 8.1 was added to clarify actions for responding to comments on results of Planning Assessments.

  - All VSLs have been modified to match the new requirement language.

  - Miscellaneous clarifications to existing requirements and Table 1 footnote language.

- The Implementation Plan has been revised to provide more time for entities to become compliant with P1-2 and P1-3 events with regard to local Load issues.

- To facilitate the ability of industry respondents to comment in an orderly fashion and to ease the coordination burden on the SDT in responding to comments, the SDT is asking an all encompassing question for each requirement.  This question solicits comments on the requirement text, VRF, Time Horizon, measure associated with the requirement, data retention associated with the requirement, and the VSL associated with the requirement.  Please note the numbering below refers to the clean copy of the fourth posting.

- Requirement R1 – Please provide any specific comments on the requirement text, VRF, Time Horizon, measure associated with the requirement, data retention associated with the requirement, and/or the VSL associated with the requirement.

Comments:

- Requirement R2 – Please provide any specific comments on the requirement text, VRF, Time Horizon, measure associated with the requirement, data retention associated with the requirement, and/or the VSL associated with the requirement.

- Comments:

- Requirement R3 – Please provide any specific comments on the requirement text, VRF, Time Horizon, measure associated with the requirement, data retention associated with the requirement, and/or the VSL associated with the requirement.

Comments:

- Requirement R4 – Please provide any specific comments on the requirement text, VRF, Time Horizon, measure associated with the requirement, data retention associated with the requirement, and/or the VSL associated with the requirement.

Comments:

- Requirement R5 – Please provide any specific comments on the requirement text, VRF, Time Horizon, measure associated with the requirement, data retention associated with the requirement, and/or the VSL associated with the requirement.  (Note – This is a new requirement.)

Comments:

- Requirement R6 – Please provide any specific comments on the requirement text, VRF, Time Horizon, measure associated with the requirement, data retention associated with the requirement, and/or the VSL associated with the requirement.

Comments:

- Requirement R7 – Please provide any specific comments on the requirement text, VRF, Time Horizon, measure associated with the requirement, data retention associated with the requirement, and/or the VSL associated with the requirement.

Comments:

- Requirement R8 – Please provide any specific comments on the requirement text, VRF, Time Horizon, measure associated with the requirement, data retention associated with the requirement, and/or the VSL associated with the requirement.

- Comments:

- The SDT is posing several other questions for industry consideration to supplement the specific requirement questions above.

- The SDT has revised the definitions in response to industry comments to the third posting.  Do you agree with these definition changes?  If not, please clearly indicate which definition you disagree with and provide specific comments.

Yes

No

- Comments:

- Do you agree with the changes in the performance elements and notes in Table 1?  If not, please provide specific comments by note number, note alpha character, or performance category.

Yes

No

Comments:

- The SDT has provided a revised Implementation Plan as part of this posting.  Do you agree with the revisions to the Plan?  If not, please provide specific comments.

Yes

No

- Comments:

- Do you believe that this standard is ready to go to ballot?  (if ‘No’ is checked here, the SDT will consider that comments raised on the other questions drove that decision.)

Yes

No

- Comments: