Comment Form for 1st Draft of Standards for System Restoration and Blackstart (Project 2006-03)

Please use this form to submit comments on the 1st draft of the standards for System Restoration and Blackstart (Project 2006-03).  Comments must be submitted by September 28, 2007.  Please submit the completed form by e-mail to sarcomm@nerc.net with the words “SRB Standards” in the subject line.  If you have questions please contact Ed Dobrowolski at Ed.Dobrowolski@nerc.net or by telephone at 609-947-3673.

| Individual Commenter Information (Complete this page for comments from one organization or individual.) |  |  |
| --- | --- | --- |
| Name: |  |  |
| Organization: |  |  |
| Telephone: |  |  |
| E-mail: |  |  |
| NERC Region (check all Regions in which your company operates) |  | Registered Ballot Body Segment (check all industry segments in which your company is registered) |
| ERCOT FRCC MRO NPCC RFC SERC SPP WECC NA – Not Applicable |  | 1 — Transmission Owners |
|  |  | 2 — RTOs and ISOs |
|  |  | 3 — Load-serving Entities |
|  |  | 4 — Transmission-dependent Utilities |
|  |  | 5 — Electric Generators |
|  |  | 6 — Electricity Brokers, Aggregators, and Marketers |
|  |  | 7 — Large Electricity End Users |
|  |  | 8 — Small Electricity End Users |
|  |  | 9 — Federal, State, Provincial Regulatory or other Government Entities |
|  |  | 10 — Regional Reliability Organizations and Regional Entities |

| Group Comments (Complete this page if comments are from a group.) Group Name: Lead Contact: Contact Organization: Contact Segment: Contact Telephone: Contact E-mail: |  |  |  |
| --- | --- | --- | --- |
| Additional Member Name | Additional Member Organization | Region* | Segment* |

*If more than one Region or Segment applies, please list all that apply.  Regional acronyms and segment numbers are shown on prior page.

### Background Information

The System Restoration and Blackstart Standard Drafting Team (SRB SDT) has made significant changes from the currently approved standards related to System Restoration and Blackstart.  While the SRB SDT has considered the comments submitted in prior review periods during NERC’s transition to the ERO and those from the SAR stage, particular attention has been given to the recommendations made in FERC Order 693.

The Elements for Consideration of Attachment 1 of EOP-005 have been transformed into sub-requirements of R1 in the standard itself.  Attachment 1 is eliminated.  Requirements regarding telecommunications systems have been eliminated as duplicative of requirements in COM standards.  The requirements of EOP-009 – Blackstart testing – have been moved to EOP-005 and EOP-009 is eliminated.  Training requirements are added for Transmission Operator field switching personnel and for operating personnel of Generator Operators with a Blackstart Resource Facility Plan (a newly defined term).

The SRB SDT has eliminated EOP-007 which delegates duties to the Regional Reliability Organization and put new requirements into ERO-006 for the Reliability Coordinator that functionally replace the Regional Reliability Organization requirements.  The RRO Blackstart Capability Plan has been eliminated and the Reliability Coordinator has a requirement for a restoration plan to coordinate the Transmission Operator plans for its Reliability Coordinator Area.  The Reliability Coordinator approves or makes recommendations for improvement of Transmission Operator restoration plans in its Reliability Coordinator Area.

The draft standards EOP-005-2 and EOP-006-2 should be reviewed as a set when providing comments.

Please review the standards, provide your comments on this form, and then e-mail the form to sarcomm@nerc.net by September 28, 2007 with the words, “SRB Standards” in the subject line.

You do not have to answer all questions.  Enter All Comments in Simple Text Format.

Insert a “check” mark in the appropriate boxes by double-clicking the gray areas.

- Attachment 1 of EOP-005-1 has been eliminated and the elements for consideration moved directly into Requirement R1 and the sub-requirements of R1 in EOP-005-2.  Do you agree or have other suggestions as to how to incorporate the elements into the standards?

Yes

No

Comments:

- The SRB SDT has removed the language for partial shutdown as part of restoration as we consider recovery from partial shutdown as normal operations.  We believe that this requirement is covered in other standards and this standard only applies to those situations where you need to apply Blackstart Resources.  Do you agree or have other suggestions as to how to handle partial shutdowns?

Yes

No

Comments:

- The SRB SDT has included training for generator operators and field switching personnel associated with restoration in EOP-005 in accordance with FERC Order 693.  Do you agree or have other suggestions for how to supply such training?

Yes

No

Comments:

- The SRB SDT defined a new term, Blackstart Resource, which allows for greater flexibility in providing resources for blackstart operations.  Do you agree with this definition?

Comments:

- The SRB SDT has merged the RRO requirements in EOP-007 into EOP-006 and assigned them to the Reliability Coordinator.  Do you agree with this change?

Yes

No

Comments:

- The SRB SDT has replaced the existing Blackstart Capability Plan (and retired the definition) with the Reliability Coordinator’s requirement for a coordination element in their restoration plan.  Do you agree with this approach or do you have other suggestions for how to handle this?

Yes

No

Comments:

- If you are aware of any regional variances that would be required as a result of these standards, please identify them here.

- If you are aware of any conflicts between the proposed standards and any regulatory function, rule order, tariff, rate schedule, legislative requirement or agreement, please identify them here.

- If you have any other comments on the proposed standards that you haven’t already provided in response to the questions above, please provide them here.

Comments: