Comments must be submitted by September 24, 2008.  If you have questions please contact Andy Rodriquez at Andy.Rodriquez@nerc.net or by telephone at 609.947.3885.

### Background Information

Project 2006-07 was initiated in 2006 to revise the then existing NERC reliability modeling standards to ensure the consistent and transparent calculation, verification, preservation, and use of Total Transfer Capability (TTC)/Available Transfer Capability (ATC)/Available Flowgate Capability (AFC). Project 2006-07 requires specific reliability practices be incorporated into the TTC/ATC/AFC calculation and coordination methodologies and adds requirements for documentation of the methodologies used to coordinate TTC/ATC/AFC. Such changes will enhance the reliable use of the bulk power transmission system without arbitrarily limiting commercial activity.

On February 17, 2007 FERC issued Order 890 which directed, among other things, a number of reforms in the determination of ATC by requiring consistency in how TTC/ATC/AFC is evaluated, as well as providing greater transparency about how a transmission provider calculates and allocates TTC/ATC/AFC. Then on March 16, 2007 FERC issued Order 693 which provided directives on modifying the NERC standards, including those related to modeling.

During the initial ballot for MOD-030-1, several balloters proposed the following modifications and they are reflected in the SAR and in the modifications to the standard:

- Modify R2.1 to make it clear that if any limiting elements or Contingencies are already protected by another Flowgate, then no new Flowgates need to be established for such limiting elements or Contingencies.

- Modify 2.1 such that limits are placed around flowgates added because of the exercise of an Interconnection-wide Congestion Management procedure.

- Modify the R2.1 so that it is clear that temporary flowgates are not required to be incorporated into the list of flowgates for which AFC is determined.

- Modify R11 to remove references to TFC and TTC, since there are multiple ways to determine TTC from TFC and FERC has not mandated the creation of a single method.

- Make conforming changes to the Measures and Compliance elements of the standard to support the above requirements.

In response to suggestions for these improvements, the drafting team has created the following proposed standard:

MOD-030-02 – Flowgate Methodology

Please review the SAR and the proposed standard and then answer the following questions.

You do not have to answer all questions.

Insert a “check” mark in the appropriate boxes by double-clicking the gray areas.

- Do you agree with the SAR’s purpose, scope and applicability?

Yes

- No

Comments:

- The drafting team has modified R2.1, R2.2, R2.3, and R11.  Do you agree with the proposed changes?

Yes

No

No preference

If “No,” please identify the modifications with which you are concerned and suggest changes to the language.  Comments:

- Are you aware of any conflicts between the proposed MOD-030-2 and any regulatory function, rule/order, tariff, rate schedule, legislative requirement or agreement?

Yes

No

No preference

If “Yes,” please explain why in the comment area below and provide supporting information.    Comments:

- Please provide any other comments (that you have not already provided in response to the questions above) that you have on the proposed MOD-030-2.

Comments: