Please DO NOT use this form to submit comments on the current draft of MOD-001.  Comments must be submitted by May 15, 2008.

If you have questions please contact Andy Rodriquez at Andy.Rodriquez@nerc.net or by telephone at 609-452-8060.

### Background Information MOD-001 — Available Transmission System Capability.  (An “umbrella” standard requires the selection of a methodology, the updating of values, and the sharing of procedures and data – formerly called, “Available Transfer Capability.”)

An initial ballot of MOD-001-1 — Available Transmission System Capability, was conducted March 3-12, 2008 and there were several suggestions for modifying the standard that were submitted with ballots.  The drafting team withdrew the standard from the ballot process, and made several changes to the standard based on stakeholder comments, including the following:

- The title and purpose were modified to more clearly reflect the reliability aspects of ‘why’ ATC and AFC are calculated.

- The standard was modified to be clear that MOD-001 does not require conversion of AFC to ATC.  While the OASIS Requirements require that ATC be posted, the Drafting Team could not find any reason that AFC must be converted to ATC for reliability.  MOD-030 continues to provide the equation to convert AFC to ATC, that shall be used ‘when’ the conversion occurs, but the NERC standards do not define ‘when’ that conversion must occur.  The standard now uses the phrase “ATC or AFC”, where applicable. While the use of ‘or’ is not typically used in standards, since any Transmission Service Provider is only required to calculated either AFC or ATC, based on method that was selected, the use of ‘or’ is appropriate.

- Several definitions were modified to provide greater clarity.

- Several VRFs were changed from “Medium” to “Lower” in response to industry comments. A medium risk factor is appropriate for “a requirement that, if violated, could directly affect the electrical state or the capability of the bulk power system, or the ability to effectively monitor and control the bulk power system, but is unlikely to lead to bulk power system instability, separation, or cascading failures.”  A violation of these standards can produce values that indirectly affect the system (i.e., the value may be used in other processes that result in the sale of transmission service), which results in a Lower VRF.  The Drafting Team believes that subsequent recalculations of ATC or AFC will help address any incorrect values. Additionally, such a value would be identified and prevented in advance of actual reliability problems by other standards (e.g., SOL or IROL in the FAC standards) as well as the Transmission Operator’s existing guidelines and procedures that prevent the Transmission Operator from over-scheduling.

- R2 was changed such that only 48 Hourly values are required instead of 168 Hourly values.  It is necessary for reliability to know the hourly information for the next 1-2 days.  However, while OASIS posting is required for 168 hours, the Drafting Team does not see any reliability benefit to calculating more than 48 hours of Hourly data. Daily and monthly values provide the necessary reliability information for time periods more than 48 hours in the future.

- R6 (and R7) were modified to clarify that assumptions need to be “no more limiting” rather than “consistent” with those used in planning or operations for the corresponding time period.  In addition, the existing R6 was split to clarify which aspects the Transmission Operator and Transmission Service Provider are responsible for.  Measures were expanded to be more clear.

- A more graded approach was applied to the VSLs where appropriate.

- The Transmission Service Provider was given an 80-hour-per-year grace period in R8 for scheduled or unscheduled outages of any ATC calculation software that impact the hourly calculation.

Please review the revised version of MOD-001 and then answer the following questions.  You do not have to answer all questions.  Enter All Comments in Simple Text Format.

- The drafting team modified several definitions in MOD-001 based on stakeholder comments.  Do you agree with the revised definitions?  If not, please specify any definition that you disagree with and, if possible, provide a suggested revision.

- Yes – definitions are acceptable as revised

No – one or more definitions needs revision – see comments

Comments:

- MOD-001-1, R1 says, “Each Transmission Operator shall select one methodology for calculating the available capability on the bulk electric system…” The Drafting Team believes that the Transmission Operator is the appropriate entity since the Transmission Operator is ultimately responsible for operating a reliable system while using all Transmission Service Providers’ calculated available capability.  However, some parties have commented that the Transmission Service Provider should select the methodology for calculating the available capability since (a) a Transmission Service Provider may use the transmission of multiple Transmission Operators, (b) there are 'registered' Transmission Operators that do not calculate ATC, and (c)  the Transmission Operator has only 2 responsibilities -- R1 to pick a calculation method, and R6 where the Transmission Operator must calculate consistent with planning studies.

- Should the Transmission Operator or the Transmission Service Provider select the methodology for calculating the available capability on the bulk electric system?

Transmission Operator

Transmission Service Provider

No preference

- The drafting team modified some requirements and associated measures in MOD-001 to reflect industry concerns.  If there are any requirements or measures that you believe are incorrect, please identify them for us, being as specific as possible with a suggestion for revising the language so you believe it is correct.

Incorrect Requirement(s) or Measure(s):

- The drafting team has modified the Violation Risk Factors for MOD-001 to reflect industry concerns that they did not reflect NERC’s VRF definitions.  NERC’s VRF definitions are listed below:

High Risk Requirement:

(a) is a requirement that, if violated, could directly cause or contribute to Bulk-Power System instability, separation, or a cascading sequence of failures, or could place the Bulk-Power System at an unacceptable risk of instability, separation, or cascading failures; or

(b) is a requirement in a planning time frame that, if violated, could, under emergency, abnormal, or restorative conditions anticipated by the preparations, directly cause or contribute to Bulk-Power System instability, separation, or a cascading sequence of failures, or could place the Bulk-Power System at an unacceptable risk of instability, separation, or cascading failures, or could hinder restoration to a normal condition.

Medium Risk Requirement:

(a) is a requirement that, if violated, could directly affect the electrical state or the capability of the Bulk-Power System, or the ability to effectively monitor and control the Bulk-Power System, but is unlikely to lead to Bulk-Power System instability, separation, or cascading failures; or

(b) is a requirement in a planning time frame that, if violated, could, under emergency, abnormal, or restorative conditions anticipated by the preparations, directly affect the electrical state or capability of the Bulk-Power System, or the ability to effectively monitor, control, or restore the Bulk-Power System, but is unlikely, under emergency, abnormal, or restoration conditions anticipated by the preparations, to lead to Bulk-Power System instability, separation, or cascading failures, nor to hinder restoration to a normal condition.

Lower Risk Requirement: is administrative in nature and

(a) is a requirement that, if violated, would not be expected to affect the electrical state or capability of the Bulk-Power System, or the ability to effectively monitor and control the Bulk-Power System; or

(b) is a requirement in a planning time frame that, if violated, would not, under the emergency, abnormal, or restorative conditions anticipated by the preparations, be expected to affect the electrical state or capability of the Bulk-Power System, or the ability to effectively monitor, control, or restore the Bulk-Power System.

Are the current VRFs established correctly?

Yes

No

If “No,” please identify which VRFs are incorrect, how they should be modified, and a justification for their modification.

Comments:

- The drafting team has modified the Violation Severity Levels for MOD-001 to reflect industry concerns that they were too “pass/fail” oriented and to reflect the modifications to the requirements and measures. Are the current VSLs established correctly?

Yes

No

If “No,” please identify specific VSLs and suggest changes to the language.

Comments:

- Please provide any other comments (that you have not already provided in response to the questions above) that you have on the proposed MOD-001.

Comments: