Please DO NOT use this form to submit comments on the current draft of MOD-008.  Comments must be submitted by May 15, 2008.

If you have questions please contact Andy Rodriquez at Andy.Rodriquez@nerc.net or by telephone at 609-452-8060.

### Background Information MOD-008 — Transmission Reliability Margin (A standard that describes the calculation and use of TRM.)

An initial ballot of MOD-008-1 — Transmission Reliability Margin was conducted March 3-12, 2008 and there were several suggestions for modifying the standard that were submitted with ballots.  The drafting team withdrew the standard from the ballot process, and made several changes to the standard based on stakeholder comments, including the following:

1. The Drafting Team changed language throughout the standard to specify that TRM be “established” instead of “calculated”.

2. The drafting team removed the requirement that the assumptions used in Transmission Reliability Margin studies be consistent with those used in "associated" operations or planning studies.  Studies used for TRM are based on non-standard scenarios, and would be inappropriate to make consistent with “normal” studies.

3. Several VRFs were changed from “Medium” to “Lower” in response to industry comments.  A medium risk factor is appropriate for “a requirement that, if violated, could directly affect the electrical state or the capability of the bulk power system, or the ability to effectively monitor and control the bulk power system, but is unlikely to lead to bulk power system instability, separation, or cascading failures.”  A violation of these standards can produce values that indirectly affect the system (i.e., the value may be used in other processes that result in the sale of transmission service), which results in a Lower VRF.  The Drafting Team believes that subsequent recalculations of ATC or AFC will help address any incorrect values. Additionally, such a value would be identified and prevented in advance of actual reliability problems by other standards (e.g., SOL or IROL in the FAC standards) as well as the Transmission Operator’s existing guidelines and procedures that prevent the Transmission Operator from over-scheduling.

4. A more graded approach was applied to the VSLs where appropriate.

Please review the revised version of MOD-008 and then answer the following questions.  You do not have to answer all questions.  Enter All Comments in Simple Text Format.

- Some entities have indicated they believe the Transmission Operator should not be an applicable entity in the TRM standard (MOD-008).  The Drafting Team believes that the Transmission Operator is the appropriate entity since the Transmission Operator is ultimately responsible for operating a reliable system while using all Transmission Service Providers’ calculated available capability. The drafting team also believes that the Transmission Operator can, via mutual agreement, delegate these tasks to other entities (such as Transmission Service Providers, ISOs, or RTOs).  Do you believe the Transmission Operator is the correct responsible entity for the tasks it has been assigned in MOD-008?

Yes

No

No preference

If “No,” please identify requirements where the Transmission Operator is incorrect and specify who the correct entity should be.  Comments:

- The drafting team modified some requirements and associated measures to reflect industry concerns.  If there are any requirements or measures that you believe are incorrect, please identify them for us, being as specific as possible with a suggestion for revising the language so you believe it is correct.

Incorrect Requirement(s) or Measure(s):

- The drafting team has modified the Violation Risk Factors for MOD-008 to reflect industry concerns that they did not reflect NERC’s VRF definitions.  NERC’s VRF definitions are listed below:

High Risk Requirement:

(a) is a requirement that, if violated, could directly cause or contribute to Bulk-Power System instability, separation, or a cascading sequence of failures, or could place the Bulk-Power System at an unacceptable risk of instability, separation, or cascading failures; or

(b) is a requirement in a planning time frame that, if violated, could, under emergency, abnormal, or restorative conditions anticipated by the preparations, directly cause or contribute to Bulk-Power System instability, separation, or a cascading sequence of failures, or could place the Bulk-Power System at an unacceptable risk of instability, separation, or cascading failures, or could hinder restoration to a normal condition.

Medium Risk Requirement:

(a) is a requirement that, if violated, could directly affect the electrical state or the capability of the Bulk-Power System, or the ability to effectively monitor and control the Bulk-Power System, but is unlikely to lead to Bulk-Power System instability, separation, or cascading failures; or

(b) is a requirement in a planning time frame that, if violated, could, under emergency, abnormal, or restorative conditions anticipated by the preparations, directly affect the electrical state or capability of the Bulk-Power System, or the ability to effectively monitor, control, or restore the Bulk-Power System, but is unlikely, under emergency, abnormal, or restoration conditions anticipated by the preparations, to lead to Bulk-Power System instability, separation, or cascading failures, nor to hinder restoration to a normal condition.

Lower Risk Requirement: is administrative in nature and

(a) is a requirement that, if violated, would not be expected to affect the electrical state or capability of the Bulk-Power System, or the ability to effectively monitor and control the Bulk-Power System; or

(b) is a requirement in a planning time frame that, if violated, would not, under the emergency, abnormal, or restorative conditions anticipated by the preparations, be expected to affect the electrical state or capability of the Bulk-Power System, or the ability to effectively monitor, control, or restore the Bulk-Power System.

- Are the current VRFs established correctly?

Yes

No

If “No,” please identify which VRFs are incorrect, how they should be modified, and a justification for their modification.

Comments:

- The drafting team has modified the Violation Severity Levels for MOD-008 to reflect industry concerns that they were too “pass/fail” oriented. Are the current VSLs established correctly?

Yes

No

If “No,” please identify specific VSLs and suggest changes to the language.

Comments:

- Please provide any other comments (that you have not already provided in response to the questions above) that you have on MOD-008.

Comments: