Unofficial Comment Form for IRO-006-5 and IRO-006-EAST-1 (Project 2006-08)

Please DO NOT use this form.  Please use the electronic form located at the link below to submit comments on the current drafts of IRO-006-5 and IRO-006-EAST-1.  Comments must be submitted by November 30, 2009.  If you have questions please contact Andy Rodriquez at Andy.Rodriquez@nerc.net or by telephone at 609-452-8060.

http://www.nerc.com/filez/standards/Reliability-Coordination-Transmission-Loading-Relief.html

### Background Information

This is the next version of the IRO-006 standards.  With this effort, the drafting team has responded to comments received in the previous posting.

This is one of three phases of Project 2006-08.  The first phase, the split of the IRO-006-3 and its associated Attachment 1 into NERC and NAESB standards, was completed and approved by the NERC Board of Trustees on October 23, 2007, and filed with regulatory authorities on December 21, 2007.  The second phase, which is intended to address any needed modifications to the standards based on the PJM/MISP/SPP waivers, is currently completing Field Testing and did not result in any modifications to IRO-006.  The third phase, which is intended to improve the quality of the standards, is presented here.

The Drafting Team has made revisions to the previously posted work, including:

- Combined IRO-006-EAST-1 R4 and R5 into a single requirement with a 15-minute performance deadline.  The deadline was added based on stakeholder suggestions that a time limit be added.  The 15 minute duration was chosen based on current practice, which allows for sufficient time to make adjustments to any Interchange Schedules being curtailed.  R5, which originally required the Responding RC to respond back to the initiating RC with a summary of actions that would be taken, was determined to be superfluous, as the first bullet would be communicated automatically through schedule changes, while the second bullet already required RC contact and approval.

- Converted the guideline into a table as part of Requirement R2.

- Added a sentence to what had been Appendix A Guidelines that states “TLR levels are neither required nor expected to be issued in numerical order of level.”

The TLR Drafting Team is seeking comments on the changes to IRO-006-EAST-1.

- The drafting team has combined IRO-006-EAST-1 R4 and R5 into a single requirement with a 15-minute target to respond to curtailment request.  R5, which originally required the Responding RC to respond back to the initiating RC with a summary of actions that would be taken, was determined to be superfluous, as the first bullet would be communicated automatically through schedule changes, while the second bullet requires RC contact and approval already.  If no, please explain your answer.

Do you agree with this change?

Yes

No

Comments:

- The drafting team has deleted Appendix A of IRO-006-EAST-1 and instead incorporated the table from the Appendix into requirement R2.  The system conditions were relabeled as examples, a footnote was added to explain the role of the table, and a sentence was added that states ““TLR levels are neither required nor expected to be issued in numerical order of level.”  The Drafting Team’s intent with this change is to make it clear that entities must use one of the 9 levels, but that it is left solely to the discretion of the RC to determine what level is needed.

Do you believe this has been made clear?  If no, please explain your answer.

Yes

No

Comments:

- Please provide any other comments (that you have not already provided in response to the questions above) that you have on the proposed standards.

Comments: