### Unofficial Comment Form for the Second Draft of the Underfrequency Load Shedding Program Requirements — Project 2007-01

Please DO NOT use this form.  Please use the electronic comment form located at the link below to submit comments on the proposed second draft of the Underfrequency Load Shedding Program Requirements developed by the standard drafting team for Project 2007-01 – Underfrequency Load Shedding.  Comments must be submitted by May 21, 2009.  If you have questions please contact Stephanie Monzon at stephanie.monzon@nerc.net or by telephone at 610-608-8084.

http://www.nerc.com/filez/standards/Underfrequency_Load_Shedding.html

### Background Information

The major objectives of Project 2007-01 Underfrequency Load Shedding are to:

- Ensure UFLS programs are developed that meet the requirements of the proposed continent wide standard to provide an appropriate level of reliability (not least common denominator).

- Ensure that the standard is enforceable with clearly defined requirements and unambiguous language.

- Address the issues raised by FERC Order 693 and other applicable orders.

- Address the issues raised in the original Standards Authorization Request (SAR) for this project.

- Address coordination between underfrequency load shedding and generator trip settings during frequency excursions.

The standard drafting team (SDT) for Project 2007-01 Underfrequency Load Shedding (UFLS) based its work on the existing NERC standards:

- PRC-006-0 — Development and Documentation of Regional UFLS Programs,

- PRC-007-0 — Assuring Consistency with Regional UFLS Program Requirements, and

- PRC-009-0 — UFLS Performance Following an Underfrequency Event.

Project 2007-01 Under Frequency Load Shedding is one of four projects identified in the Reliability Standards Development Plan 2008-2010 as requiring a set of Regional Standards to support a continent-wide standard.

In accordance with the associated SAR, a standard drafting team was appointed to draft the continent-wide UFLS standard with consideration of developing supporting regional standards.  For the first posting the team recommended that, instead of developing a continent-wide standard, NERC issue a set of UFLS performance characteristics required in regional reliability standards for implementing automatic UFLS programs to arrest declining Bulk Electric System frequency. The team posted the set of UFLS performance characteristics for comment and received valuable feedback. However, many comments expressed concern that a directive containing these performance characteristics was a new form of “requirement” and would not necessarily follow the NERC standards development process including future revisions to the performance characteristics with industry input.

The team recommended that NERC use its authority from section 312.2 of the Rules of Procedure to direct each Regional Entity to develop a regional UFLS reliability standard based on approved UFLS Regional Reliability Standard Characteristics. Section 312.2 of the Rules of Procedure of the North American Electric Reliability Corporation states:

Regional Reliability Standards That are Directed by a NERC Reliability

Standard — Although it is the intent of NERC to promote uniform reliability standards across North America, in some cases it may not be feasible to achieve a reliability objective with a reliability standard that is uniformly applicable across North America. In such cases, NERC may direct regional entities to develop regional reliability standards necessary to implement a NERC reliability standard. Such regional reliability standards that are developed pursuant to a direction by

NERC shall be made part of the NERC reliability standards.

While the Rules of Procedure allow NERC to direct the development of Regional Reliability Standards, the regional reliability standards must be developed to implement a NERC reliability standard. The standard drafting team’s initial proposed approach of establishing common system performance characteristics rather than prescribing a uniform design specification for all UFLS programs within a continent-wide standard recognizes that the objective of the UFLS programs is to arrest and recover frequency in islanded portions of an interconnection.  In addition, UFLS programs with differing design specifications can be successfully coordinated if they are designed to achieve the same system performance characteristics, even across interconnected regions. Nevertheless, the initial approach taken by the drafting team is not achievable absent a continent wide standard.

Considering industry feedback and the intent of the Rules of Procedure regarding directing regional reliability standards the team evaluated many options that would preserve the existing regional entity expertise relative to defining credible islands within or between its region and neighboring regions and expertise in assessing islands within their regions based on electrically interconnected areas.  The team also considered the role of the Planning Coordinators in their analysis as the functional entity most suitable to determine the UFLS program design given that the Regional Entities are not user, owners, or operators of the Bulk Electric System and should not be assigned responsibility for requirements.

After much deliberation, the team decided to convert the “Characteristics of UFLS Regional Reliability Standards” into a continent wide standard that will follow the standards development process. The team acknowledges that this is a shift in approach but sees many benefits to proceeding with a continent-wide standard.

- While the majority of the comments indicated support for the creation of Regional Standards that determine the details of the UFLS programs the majority of the comments also generally supported the concept of applying common continent-wide characteristics. The original intent was for the Regional Standards to meet these common performance characteristics. The creation of a continent-wide standard does not deviate from this approach but rather eliminates the confusion caused with this new form of requirement that was intended to direct the Regions to create Regional Reliability Standards for UFLS that met the common performance characteristics.

- The creation of a continent-wide standard does not prohibit the creation of Regional Standards for UFLS. Regional Entities may develop other performance requirements through Regional Standards or Regional Variances as permitted by the NERC Rules of Procedure. This approach still allows each region to develop requirements that meet the specific needs of the region while still maintaining a continent-wide level of reliability.

- The team’s original intent with the performance characteristics to ensure coordination among the programs is still being preserved by proposing a continent-wide standard. The team assigned the responsibility of designing the UFLS program to the Planning Coordinator (Requirement R2). The Planning Coordinators within a region will define the amount of load shed required, how many blocks, at what frequency, etc. (these specific requirements will not be contained in the proposed continent wide standard).

In the development of the proposed continent wide standard, the SDT recognized that UFLS programs typically have been developed within each Region by representatives from the vertically integrated utilities, Control Areas, power pools, etc. in that Region. The SDT initially proposed that all UFLS requirements be contained within regional UFLS standards to utilize specific expertise within the regions and recognize that UFLS programs can be successfully coordinated if they are designed to achieve the same system performance characteristics, even across interconnected regions. In developing the proposed continent wide standard the SDT wanted to preserve and leverage the expertise within the regions. Since requirements should only be assigned to users, owners and operators of the Bulk Electric System, the SDT considered that the most appropriate entity to develop the UFLS programs based on function are the Planning Coordinators.

The proposed standard requires that all Planning Coordinators within a Region work together as a group to develop the UFLS program for that Region that conforms to the performance characteristics contained in the proposed continent wide standard. As proposed, the continent wide standard does not specify “how” the regional programs are to be developed.  For instance, Planning Coordinators may elect to use their Regional Standards Development process to develop the programs (but this is not required) or they may determine that their existing programs fully meet the requirements of this proposed continent wide standard.

In the proposed standard the SDT has assigned applicability to “groups” of Planning Coordinators rather than individual Planning Coordinators with the intention of ensuring coordination among the entities developing the UFLS programs within and across the Regions. The concept of “groups” of Planning Coordinators also is intended to replicate historical practice where groups of entities within Regions have formed for the purpose of developing coordinated underfrequency load shedding programs.

The following questions will assist the SDT in finalizing the development of the Under Frequency Load Shedding continent wide standard.  For questions where you agree with the SDT, please state that you agree and if available, please provide supporting documentation.  If you disagree with the SDT, please explain why you disagree and provide data to support your position.  To improve the Under Frequency Load Shedding continent wide standard, the SDT would appreciate responses to as many of these questions as you can answer.

Characteristics of UFLS Regional Reliability Standards

- UFLS programs typically have been developed within each Region by representatives from the vertically integrated utilities, Control Areas, power pools, etc. in that Region. The SDT initially proposed that all UFLS requirements be contained within regional UFLS standards to utilize specific expertise within the regions and recognize that UFLS programs can be successfully coordinated if they are designed to achieve the same system performance characteristics, even across interconnected regions. However, based on the rationale contained in the background, the SDT has developed a continent wide standard consistent with the historical practice that promotes the utilization of previous experience and expertise. As proposed, the continent-wide standard requires that all Planning Coordinators within a Region work together as a group to develop the UFLS program for that Region that conforms to the performance characteristics.

  - Do you agree that creating a continent wide standard preserves the intent of utilizing specific expertise within the regions to develop UFLS programs that meet common performance characteristics?

Yes

No

Comments:

  - Do you agree that the SDT has assigned responsibility to the appropriate entity?

Yes

No

Comments:

- The SDT has strived to draft the applicability in a manner that includes all load while avoiding assigning applicability to more than one entity for the same load.  The Functional Model indicates the Distribution Provider is not defined by a specific voltage, but rather as performing the Distribution function at any voltage.  Considering the Functional Model definition of Distribution Providers please indicate whether you believe it is necessary to assign applicability to "Transmission Owners with end-use Load connected to their Facilities where such end-use load is not part of a Distribution Provider's load”.

- Yes

No

Comments:

- The proposed continent-wide standard requires that Planning Coordinators model the trip settings of any generators that trip at or above 58.0 Hz (Requirement R8) when verifying through dynamic simulation that the UFLS program design is adequate to meet the continent-wide performance characteristics specified in Requirement R6.

Do you agree with this approach to ensure that effectiveness of the UFLS program is not jeopardized by units that trip at or above the minimum frequency (58.0 Hz) at which the UFLS program may arrest frequency decline?

Yes

No

Comments:

- The SDT added a requirement that requires the Planning Coordinators model, in the five year assessments, any automatic load restoration that is designed to assist in stabilizing system frequency (Requirement R9). The team decided to add this requirement as a result of a comment during the first posting. Do you agree that this requirement is necessary for reliability?

Yes

No

Comments:

- The SDT added a requirement in the underfrequency load shedding performance characteristics that requires (in simulations) frequency to not remain below 58.2 Hz for greater than four seconds cumulatively per simulated event (Requirement R6.2). The SDT added this requirement to better coordinate with the Generator Verification Project (PRC-024) tripping curve. Do you agree with this additional requirement?

Yes

No

Comments:

- In the first posting, the Characteristics of UFLS Regional Reliability Standards required that UFLS programs be designed to limit the potential for overexcitation (V/Hz) of power system equipment at all Bulk Electric System buses. Based on industry comments, the SDT has revised this requirement in the proposed continent-wide standard to apply only at generator buses and generator step-up transformer high-side buses associated with individual generating units greater than 20 MVA (gross nameplate rating) and generating plants/facilities greater than 75 MVA (gross aggregate nameplate rating) that are directly connected to the BES.  The SDT believes this change better addresses the need to have UFLS programs designed to coordinate with protection that may trip generators during an underfrequency event.  Do you agree with this change?

Yes

No

Comments:

- If you are aware of any conflicts between the proposed standard and any regulatory function, rule order, tariff, rate schedule, legislative requirement, or agreement please identify the conflict in the comments section.

Comments:

- Please provide any other comments (that you have not already provided in response to the questions above) that you have on the draft standard PRC-006-1.

Comments:

The other three projects were, Project 2007-05 Balancing Authority Controls; Project 2007-11 Disturbance Monitoring; and Project 2008-04 Protection Systems