# UFLS Third Posting – Summary of Comments

| Question # | Issues Raised that We Recommend NOT Modifying the Standard Documents | Issues Raised that Can be Addressed With “Easy” Modifications to the Standard (Low Hanging Fruit) | Issues Raised that Require SDT Discussion to Resolve |
| --- | --- | --- | --- |
| 1 (SM) | - R3, R4, R9, R10 VRFs should be a medium not a high - R11 VRF should change from Medium to Low |  | - VRF for Requirement R1 should be higher because it is an input to R2 and R2 is higher than a low (VRF for R1 should be a Medium) |
| 2 (SM) | - M7: replace “within their interconnection” with “that have design assessment responsibilities within the islands…” | - M10: replace “automatic switching of Facilities” with “automatic switching of Elements” - M3: clarify “including criteria itself” – consider deleting the words | - M5: Replace words: “other affected PC” with “other PCs that have design assessment responsibilities for islands covered in the design assessment report.” - M5: should be modified to apply only to the PCs which would be involved with a particular island. - M5: replace “reached concurrence with” with “provided a UFLS design assessment report to” |
| 3 (SM) | - VSLs that include “annually maintain” should be clarified - VSL for R6 should be rewritten (no suggestion included) - VSLs for R9 and R10 increments are arbitrarily small (resp: based on the NERC guidelines and existing standard) - VSL for R4 should gradate the timeliness of the five year assessment (resp: the team made this element of R4 binary) - VSL for R11 should be modified to allow for more than one month between VSL grades (12-14, 14-16, greater than 16) - VSL for R12 should be binary - VSL that includes “event affecting other PC’s” is unclear | - VSLs that refer to “PC footprint” should be clarified. Use FM words: “PC area” - VSL for R11 restates the requirement and should be stated in past tense - VSL for R7 – Lower should be modified to say greater than 30 and less than or including 40 days - Change all tense to past tense | - VSLs for R5 and R13 depend on reaching concurrence and not a valid basis for measuring compliance - VSL for R8 – really a comment for R8: should add “schedule mutually agreed upon by PC’s and UFLS entities” |
| 4 (RO) |  |  |  |
| 5 (SM) |  |  |  |
| 6 (SM) |  |  |  |
| 7 (SM) | - Remove reference to BA and TOP in purpose statement - Remove references to UVLS as other standards in progress address UVLS - Delete M1 - Revise SAR to remove UVLS and place in PRC-024 - Refer to PRC-006-1 in Purpose statement - Modify R2 – replace “required” with “necessary to minimize the risk of uncontrolled failure of the interconnection” - R2 – delete the “if” statement at the end of the Requirement because it introduces entities that are not in the Applicability section and causes compliance confusion. | - R3 – add coordinate manual load shedding plans - R5 – add “manual” - R7 –change “their areas” to “their area” - Develop measures (? – Stephanie to check – I thought we did) | - Modify purpose statement to clarify that the scope of standard is manual load shed only. - Modify purpose to clarify role of TOP and BA – they have the ability to authorize manual load shed - Should delete R2, R4, R7 as they refer to automatic UFLS - Insert “manual” in front of Load Shedding in Requirements R3 and R5 - Clarify the removal of automatic load shedding or clarify manual load shedding scope in Purpose statement - R4 – should be modified to reflect that only UVLS is being addressed. - Conflict with Order 693 - R4 – should be clarified such that it is okay to have a UFLS scheme that does not rely on under voltage or power flow levels - R4 – add “undervoltage” before load shedding |

| 8 (JG) | -Add GOs to applicability in support of obtaining under and overfrequency ride-through capability data (trip setting data). (entities in WECC seem most concerned with this issue) -Add applicability to RROs (RAs?) as the coordinator of UFLS program development (entities in WECC seem most concerned with this issue) | -Remove reference to “control” under UFLS entities applicability since it implies operational awareness or oversight responsibilities -Require PCs to notify applicable UFLS entities of their responsibilities -Allow additional time for UFLS entities to implement the program developed by the PC. Primary concern is PC not scheduling enough time to consider budget and construction cycles. (FirstEnergy’s concern) | -Add LSE to UFLS entities? For reference, I have added a link to the latest version of the NERC FM. -Change R10 to apply to UFLS entities and remove 4.3 from the applicability section. (many entities mention this here and in Q12) One suggestion by Tri-State Is to roll R10 into R9. |
| --- | --- | --- | --- |

| 9 (PT) |  |  |  |
| --- | --- | --- | --- |
| 10 (PT) |  |  |  |
| 11 (RO) |  |  |  |

| 12 (JG) | -Copied from Q8. Add applicability to RROs (RAs?) as the coordinator of UFLS program development (entities in WECC seem most concerned with this issue) | -R10 is not clear. Please add illustrative examples. (there are SEVERAL comments to this effect) | -Wisconsin Electric wants to expand the coordination requirement to include R9 and R10. Concerned that PC will force investment by the UFLS entities -Copied from Q8. Change R10 to apply to UFLS entities and remove 4.3 from the applicability section. (many entities mention this here and in Q12) One suggestion by Tri-State Is to roll R10 into R9. Xcel Energy & Y-W electric are concerned that this requirement can be used by PCs to drive unnecessary investment by the UFLS entities. |
| --- | --- | --- | --- |

| 13 (RO) |  |  |  |
| --- | --- | --- | --- |
| 14 (PT) |  |  |  |