Standard Development Roadmap

This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

Development Steps Completed:

- The Standards Committee (SC) approved the Standard Authorization Request (SAR) for posting on March 1, 2007.

- The SAR was posted for comment from March 19 through April 17, 2007.

- The SC sought SAR drafting team nominations April 18 through May 2, 2007.

- The SAR drafting team posted reply comments  to industry comments received on the first posting SAR on June 8, 2007

- Standard drafting team appointed by SC Executive Committee on June 28, 2007

Description of Current Draft:

This is the second draft of a new standard requiring the use of standardized communication protocols during normal and emergency operations to improve situational awareness and shorten response time. The drafting team requests posting for a 45-day concurrent Formal Comment period and Ballot.

Future Development Plan:

| Anticipated Actions | Anticipated Date |
| --- | --- |
| - Drafting team considers comments, makes conforming changes, requests SC approval to proceed to concurrent Formal Comment period and Ballot. | July 2010 |
| - First ballot of standards. | August 2010 |
| - Recirculation Ballot of standards. | September 2010 |
| - Board adopts standard. | November 2010 |

Definitions of Terms Used in Standard

This section includes all newly defined or revised terms used in the proposed standard.  Terms already defined in the Reliability Standards Glossary of Terms are not repeated here.  New or revised definitions listed below become approved when the proposed standard is approved.  When the standard becomes effective, these defined terms will be removed from the individual standard and added to the Glossary.

When using terms or phrases contained in the Reliability Standards Glossary of Terms for communications it should be cited as the source. When used in written communications, terms or phrases contained in the Reliability Standards Glossary of Terms are capitalized.

Operating Communication — Communication with the intent to change or maintain the state, status, output, or input of an Element or Facility of the Bulk Electric System.

Introduction

Title:	Operating Personnel Communications Protocols

Number:	COM-003-1

Purpose:	To convey reliability-related information effectively, accurately, and consistently in order to ensure mutual understanding by all key parties, especially during alerts and emergencies.

Applicability:

  - Transmission Operator

  - Transmission Owner

  - Balancing Authority

  - Reliability Coordinator

  - Generator Operator

  - Distribution Provider

  - Transmission Service Provider

  - Load Serving Entity

(Proposed) Effective Date:

- First day of first calendar quarter, one calendar year following applicable regulatory approval; or, in those jurisdictions where no regulatory approval is required, the first day of the first calendar quarter a year from the date of Board of Trustee adoption.

Requirements

R1.	Each Reliability Coordinator, Balancing Authority, Transmission Owner, Transmission Operator, Generator Operator, Transmission Service Provider, Load Serving Entity and Distribution Provider shall implement the use of pre-defined system condition terminology as detailed in Attachment 1-COM-003-1 for verbal and written Operating Communications. [Violation Risk Factor: Low][Time Horizon: Real Time]

R2.	Each Reliability Coordinator, Balancing Authority, Transmission Owner, Transmission Operator, Generator Operator, Transmission Service Provider, Load Serving Entity and Distribution Provider shall use the English language for verbal and written Operating Communications unless prohibited by law. [Violation Risk Factor: High][Time Horizon: Real time]

R3.	Each Reliability Coordinator, Balancing Authority, Transmission Owner, Transmission Operator, Generator Operator, Transmission Service Provider, Load Serving Entity and Distribution Provider:

- in the Eastern Interconnection shall use Eastern Standard Time (24 hour format) as the common time zone for verbal and written Operating Communications.

- in the Western Interconnection shall use Pacific Standard Time (24 hour format) as the common time zone for verbal and written Operating Communications.

- in the ERCOT Interconnection shall use Central Standard Time (24 hour format) as the common time zone for verbal and written Operating Communications.

[Violation Risk Factor: High][Time Horizon: Real time]

R4.	Each Reliability Coordinator, Balancing Authority, Transmission Operator, and Transmission Owner when issuing verbal Operating Communications such as a Reliability Directive, shall employ three-part communication protocol to ensure that the receiving party has repeated the communication, and shall verbally confirm the communication to be correct or reinitiate the communication until a correct response is given by the recipient. An exception is allowed for Reliability Directives that are issued via “All-Call”, during which the initiator shall ensure that all the receiving parties have positively acknowledged receipt of message rather than verbally repeating the message. [Violation Risk Factor: High][Time Horizon: Real-time Operations]

R5.	Each Reliability Coordinator, Balancing Authority, Transmission Owner, Transmission Operator, Generator Operator, Transmission Service Provider, Load Serving Entity, Distribution Provider and Purchasing-Selling Entity that receives a verbal Operating Communication such as a Reliability Directive shall employ three-part1 communication protocol to repeat the communication back to the initiator and await verbal confirmation from the initiator. An exception is allowed for the recipient of an “All-Call” Reliability Directive to acknowledge receipt of the message and is responsible to contact initiator if message is not understood rather than verbally repeating the message.  [Violation Risk Factor: High][Time Horizon: Real time]

R6.	Each Reliability Coordinator, Balancing Authority, Transmission Owner, Transmission Operator, Generator Operator, Transmission Service Provider, Load Serving Entity and Distribution Provider shall use the North Atlantic Treaty Organization (NATO) phonetic alphabet as identified in Attachment 2-COM-003-1 or another phonetic clarifier during verbal Operating Communications when alpha-numeric information is involved. [Violation Risk Factor: High] [Time Horizon: Real-time Operations]

R7.	Each Reliability Coordinator, Balancing Authority, Transmission Operator, Transmission Owner, Generator Operator, Transmission Service Provider, Load Serving Entity and Distribution Provider shall use pre-determined identifiers for interface Elements/Facilities during verbal and written Operating Communications.  [Violation Risk Factor: High][Time Horizon: Real-time Operations]

Measures

Each Reliability Coordinator, Balancing Authority, Transmission Owner, Transmission Operator, Generator Operator, Transmission Service Provider, Load Serving Entity and Distribution Provider will have and provide evidence that pre-defined system condition terminology contained in Attachment 1-COM-003-1 was used for verbal and written Operating Communications.  Evidence may include voice recordings, transcripts, operating logs, or on site observations.

Each Reliability Coordinator, Balancing Authority, Transmission Owner, Transmission Operator, Generator Operator, Transmission Service Provider, Load Serving Entity and Distribution Provider will have and provide evidence that the English language was used for verbal and written Operating Communications unless prohibited by law. Evidence may include voice recordings, transcripts, operating logs, or on site observations.

Each Reliability Coordinator, Balancing Authority, Transmission Owner, Transmission Operator, Generator Operator, Transmission Service Provider, Load Serving Entity and Distribution Provider will provide evidence that the required  time zone was used for verbal and written Operating Communications for each Interconnection. Evidence may include voice recordings, transcripts, operating logs, or on site observation.

Each Reliability Coordinator, Balancing Authority, Transmission Owner, Transmission Operator, and Generator Operator will provide evidence that three-part communications was used when issuing verbal Operating Communications. Evidence may include voice recordings, transcripts, operating logs, or on site observations.

Each Reliability Coordinator, Balancing Authority, Transmission Owner, Transmission Operator, Generator Operator, Transmission Service Provider, Load Serving Entity and Distribution Provider will provide evidence that three-part communications was used when repeating back verbal Operating Communications. Evidence may include voice recordings, transcripts, operating logs, or on site observations.

Each Reliability Coordinator, Balancing Authority, Transmission Owner, Transmission Operator, Generator Operator, Transmission Service Provider, Load Serving Entity and Distribution Provider will provide evidence that the NATO phonetic alphabet or another phonetic clarifier was used during verbal Operating Communications when alpha-numeric information is involved. Evidence may include voice recordings, transcripts, operating logs, or on site observations.

Each Reliability Coordinator, Balancing Authority, Transmission Owner, Transmission Operator, Generator Operator, Transmission Service Provider, Load Serving Entity and Distribution Provider will provide documented evidence such as a list or a one-line diagram acknowledged and used by the affected parties that confirms there are pre-determined identifiers for interface Elements/Facilities. Evidence that these pre-determined identifiers are in use may include voice recordings, transcripts, operating logs, or on site observations.

Compliance

- Compliance Monitoring Process

  - Compliance Enforcement Authority

Regional Entity

  - Compliance Monitoring Period and Reset

Not Applicable

  - Compliance Monitoring and Enforcement Processes:

- Compliance Audits

- Self-Certifications

- Spot Checking

- Compliance Violation Investigations

- Self-Reporting

- Complaints

  - Data Retention

Each Transmission Operator, Transmission Owner, Balancing Authority, Reliability Coordinator, Generator Operator, Transmission Service Provider, Load Serving Entity and Distribution Provider shall keep data or evidence to show compliance as identified below unless directed by its Compliance Enforcement Authority to retain specific evidence for a longer period of time as part of an investigation:

      - Each Transmission Operator, Transmission Owner, Balancing Authority, Reliability Coordinator, Generator Operator, Transmission Service Provider, Load Serving Entity and Distribution Provider will retain for Requirements 1 through 7, Measures 1 through 7, dated operator logs for the most recent year or voice recordings or transcripts of voice recordings for the most recent 90 days.

- If a Transmission Operator, Transmission Owner, Balancing Authority, Reliability Coordinator, Generator Operator, Transmission Service Provider, Load Serving Entity or Distribution Provider is found non-compliant, it shall keep information related to the non-compliance until found compliant.

- The Compliance Enforcement Authority shall keep the last audit records and all requested and submitted subsequent audit records.

  - Additional Compliance Information

None.

- Violation Severity Levels

| - R # | - VRF | - Lower | - Moderate | - High | - Severe |
| --- | --- | --- | --- | --- | --- |
| - R1 | - Low |  |  |  | - The responsible entity failed to use pre-defined system condition terminology (Attachment 1-COM-003-1) for verbal and written Operating Communications. |
| - R2 | - High |  |  |  | - The responsible entity failed to use the English language for verbal and written Operating Communications. |
| - R3 | - High |  |  |  | - The responsible entity failed to use the required time zone (24 hour format) for verbal and written Operating Communications. |
| - R4 | - High |  |  |  | - The responsible entity failed to use Three-part Communications when issuing verbal Operating Communications. |
| - R5 | - High |  |  |  | - The responsible entity failed to use Three-part Communications when it received verbal Operating Communications. |
| - R6 | - High |  |  |  | - The responsible entity failed to use the North American Treaty Organization (NATO) phonetic alphabet or another phonetic clarifier during verbal Operating Communications when alpha-numeric information is involved. |
| - R7 | - High |  |  |  | - The responsible entity failed to use pre-determined identifiers for interface Elements/Facilities during verbal and written Operating Communications. |

Regional Variances

- None

#### Version History

| Version | Date | Action | Change Tracking |
| --- | --- | --- | --- |

Attachment 1 — COM-003-1 — Operating State Alert Levels

This Attachment 1-COM-003-1 describes three emergency alert conditions as they relate to Physical Security, Cyber Security and Transmission Loading.  These alert levels align with the Energy Emergency Alert (EEA) levels in NERC Reliability Standard EOP-002.

| Reliability Coordinator Notifications for Physical Security Emergency Alerts (PSEA) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Condition: PSEA Level 1 The Reliability Coordinator is notified of verified actual or imminent physical threat(s) affecting any site(s) within the RC Area: - Control center - Generating facility - Substation - Transmission line |  | Condition: PSEA Level 2 The Reliability Coordinator is notified of a physical attack at any ONE site within the RC Area: - Control center - Generating facility - Substation - Transmission line |  | Condition: PSEA Level 3 The Reliability Coordinator is notified of a physical attack at multiple sites within the RC Area: - Control center - Generating facility - Substation - Transmission line |
| Make Initial Notifications: “This is the Reliability Coordinator. At (insert time) there is a Physical Security Emergency Alert – PSEA Level 1 within (identify RC, TOP or BA area)” |  | Make Initial Notifications: “This is the Reliability Coordinator. At (insert time) there is a Physical Security Emergency Alert – PSEA Level 2 within (identify RC, TOP, or BA area)” |  | Make Initial Notifications: “This is the Reliability Coordinator. At (insert time) there is a Physical Security Emergency Alert – PSEA Level 3 within (identify RC, TOP, or BA area)” |
| Notify all the following functional entities within the Reliability Coordinator Area unless prohibited by FERC Code of Conduct: - Balancing Authorities - Distribution Providers - Generator Operators - Transmission Operators - Transmission Owners - Transmission Service Providers - Load Serving Entities |  |  |  |  |
| Notify the following functional entities outside the Reliability Coordinator Area: - All Reliability Coordinators using “CIP Free Form” category of RCIS |  |  |  |  |
| Notify the following entities: - NERC (ES-ISAC) via the RCIS. Under “External Links” use “ES-ISAC Site”. |  |  |  |  |
| Additional Communications: - Post the declaration of the alert level along with the location of the affected facility to other parties as required by internal communication procedure, OE-417 Form, law enforcement, etc. |  |  |  |  |
| Make Final Notifications: “At (insert time) the Physical Security Emergency Alert – PSEA Level 1 (identify RC, BA or TOP Area) has been terminated” | Make Final Notifications: “At (insert time) the Physical Security Emergency Alert – PSEA Level 2 within (identify RC, TOP or BA Area) has been terminated” |  | Make Final Notifications: “At (insert time) the Physical Security Emergency Alert – PSEA Level 3 within (identify RC, TOP, or BA Area) has been terminated” |  |
| Notify all the following within the Reliability Coordinator Area unless prohibited by FERC Code of Conduct: - Balancing Authorities - Distribution Providers - Generator Operators - Transmission Operators - Transmission Owners - Transmission Service Providers - Load Serving Entities |  |  |  |  |
| Notify the following outside the Reliability Coordinator Area: All Reliability Coordinators using “CIP Free Form” category of RCIS. Notify ES-ISAC of end of Alert and any other entities initially notified. |  |  |  |  |
| Additional Communications: - Remove the declaration of the alert level from the RCIS and other entities initially notified. |  |  |  |  |

Attachment 1 — COM-003-1 — Operating State Alert Levels (continued)

| Reliability Coordinator Notifications for Cyber Security Emergency Alerts (CEA) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Condition: CEA Level 1 The Reliability Coordinator is notified of verified actual or imminent cyber threat(s) affecting any site(s) within the RC Area: - Control center - Generating facility - Substation - Transmission line |  | Condition: CEA Level 2 The Reliability Coordinator is notified of a cyber attack at any ONE site within the RC Area: - Control center - Generating facility - Substation - Transmission line |  | Condition: CEA Level 3 The Reliability Coordinator is notified of a cyber attack at multiple sites within the RC Area: - Control center - Generating facility - Substation - Transmission line |
| Make Initial Notifications: “This is the Reliability Coordinator. At (insert time) there is a Cyber Security Emergency Alert – CEA Level 1 within (identify RC, TOP or BA area)” |  | Make Initial Notifications: “This is the Reliability Coordinator. At (insert time) there is a Cyber Security Emergency Alert – CEA Level 2 within (identify RC, TOP, or BA area)” |  | Make Initial Notifications: “This is the Reliability Coordinator. At (insert time) there is a Cyber Security Emergency Alert – CEA Level 3 within (identify RC, TOP, or BA area)” |
| Notify all the following functional entities within the Reliability Coordinator Area unless prohibited by FERC Code of Conduct: - Balancing Authorities - Distribution Providers - Generator Operators - Transmission Operators - Transmission Owners - Transmission Service Providers - Load Serving Entities |  |  |  |  |
| Notify the following functional entities outside the Reliability Coordinator Area: - All Reliability Coordinators and CIP Participants using “CIP Free Form” category of RCIS. |  |  |  |  |
| Notify the following entities: - NERC (ES-ISAC) via the RCIS. Under “External Links” use “ES-ISAC Site”. |  |  |  |  |
| Additional Communications: - Post the declaration of the alert level along with the location of the affected facility to other parties as required by internal communication procedure, OE-417 Form, law enforcement, etc. |  |  |  |  |
| Make Final Notifications: “At (insert time) the Cyber Security Emergency Alert – CEA Level 1 (identify RC, BA or TOP Area) has been terminated” | Make Final Notifications: “At (insert time) the Cyber Security Emergency Alert – CEA Level 2 within (identify RC, TOP or BA Area) has been terminated” |  | Make Final Notifications: “At (insert time) the Cyber Security Emergency Alert – CEA Level 3 within (identify RC, TOP, or BA Area) has been terminated” |  |
| Notify all the following within the Reliability Coordinator Area unless prohibited by FERC Code of Conduct: - Balancing Authorities - Distribution Providers - Generator Operators - Transmission Operators - Transmission Owners - Transmission Service Providers - Load Serving Entities |  |  |  |  |
| Notify the following outside the Reliability Coordinator Area: All Reliability Coordinators and CIP Participants using “CIP Free Form” category of RCIS. Notify ES-ISAC of end of Alert and any other entities initially notified |  |  |  |  |
| Additional Communications: - Remove the declaration of the alert level from the RCIS and any other entities initially notified. |  |  |  |  |

Attachment 1 — COM-003-1 — Operating State Alert Levels (continued)

| Reliability Coordinator Notifications for Transmission Emergency Alerts (TEA) |  |  |  |
| --- | --- | --- | --- |
| Condition: TEA Level 1 The Reliability Coordinator foresees or is experiencing conditions where all available generation resources are committed to respect the IROL and/or is concerned about its ability to respect the IROL. | Condition: TEA Level 2 The Reliability Coordinator foresees or has implemented procedures up to, but excluding, interruption of firm load commitments to respect an IROL. |  | Condition: TEA Level 3 The Reliability Coordinator foresees or has implemented firm load obligation interruption to respect an IROL. |
| Make Initial Notifications: “This is the Reliability Coordinator. At (insert time) there is a Transmission Emergency Alert – TEA Level 1 affecting the (name of the interface; monitored and contingency element)” | Make Initial Notifications: “This is the Reliability Coordinator. At (insert time) there is a Transmission Emergency Alert – TEA Level 2 affecting the (name of the interface; monitored and contingency elements; amount of MW relief; type of load management procedures that have been or expected to be implemented i.e., voltage reduction, curtailable load reductions; relief that has been (or is expected) to be implemented to respect the limit; any actions that are expected to last the next (length of time – hours/days). |  | Make Initial Notifications: “This is the Reliability Coordinator. At (insert time) there is a Transmission Emergency Alert – TEA Level 3 affecting the (name of the interface; monitored and contingency elements; amount of MW relief; amount of Firm Load curtailments that have been (or is expected) implemented to respect the limit; any actions that are expected to last the next (length of time – hours/days).” |
| Notify all the following functional entities within the Reliability Coordinator Area unless prohibited by FERC Code of Conduct: - Balancing Authorities - Distribution Providers - Generator Operators - Transmission Operators - Transmission Owners - Transmission Service Providers - Load Serving Entities |  |  |  |
| Notify the following functional entities outside the Reliability Coordinator Area: - All Reliability Coordinators using “Free Form” category of RCIS. |  |  |  |
| Notify the following entities: |  |  |  |
| Additional Communications: - Post the declaration of the alert level along with the location of the affected facility to other parties as required by internal communication procedure, etc. |  |  |  |
| Make Final Notifications: “At (insert time) the Transmission Emergency Alert – TEA Level 1 (identify RC, BA or TOP Area) has been terminated” | Make Final Notifications: “At (insert time) the Transmission Emergency Alert – TEA Level 2 within (identify RC, TOP or BA Area) has been terminated” | Make Final Notifications: “At (insert time) the Transmission Emergency Alert – TEA Level 3 within (identify RC, TOP, or BA Area)” has been terminated |  |
| Notify all the following within the Reliability Coordinator Area unless prohibited by FERC Code of Conduct: - Balancing Authorities - Distribution Providers - Generator Operators - Transmission Operators - Transmission Owners - Transmission Service Providers - Load Serving Entities |  |  |  |
| Notify the following outside the Reliability Coordinator Area: All Reliability Coordinators using “Free Form” category of RCIS |  |  |  |
| Additional Communications: - Remove the declaration of the alert level from the RCIS and any other parties initially notified. |  |  |  |

Attachment 2 — COM-003-1

NATO Phonetic Alphabet or International Radiotelephony Spelling Alphabet

| Character | Telephony | Pronunciation |
| --- | --- | --- |
| A | Alpha | (al-fah) |
| B | Bravo | (brah-voh) |
| C | Charlie | (char-lee) |
| D | Delta | (dell-tah) |
| E | Echo | (eck-oh) |
| F | Foxtrot | (foks-trot) |
| G | Golf | (golf) |
| H | Hotel | (hoh-tel) |
| I | India | (in-dee-ah) |
| J | Juliet | (jew-lee-ett) |
| K | Kilo | (key-loh) |
| L | Lima | (lee-mah) |
| M | Mike | (mike) |
| N | November | (no-vem-ber) |
| O | Oscar | (oss-ker) |
| P | Papa | (pah-pah) |
| Q | Quebec | (keh-beck) |
| R | Romeo | (row-me-oh) |
| S | Sierra | (see-air-rah) |
| T | Tango | (tang-go) |
| U | Uniform | (you-nee-form) |
| V | Victor | (vik-ter) |
| W | Whiskey | (wiss-key) |
| X | X-Ray | (ecks-ray) |
| Y | Yankee | (yang-key) |
| Z | Zulu | (zoo-loo) |
| 1 | One | (wun) |
| 2 | Two | (too) |
| 3 | Three | (tree) |
| 4 | Four | (fow-er) |
| 5 | Five | (fife) |
| 6 | Six | (six) |
| 7 | Seven | (sev-en) |
| 8 | Eight | (ait) |
| 9 | Nine | (nin-er) |
| 0 | Zero | (zee-row) |

A communication protocol where information is verbally stated by a party initiating a communication, the information is repeated back correctly (not necessarily verbatim) to the party that initiated the communication by the second party that received the communication, and the same information is verbally confirmed to be correct by the party who initiated the communication.