Implementation Plan for Operating Personnel Communications Protocols Standard COM-003-1

Prerequisite Approvals

- None

Conforming Changes to Requirements in Already Approved Standards

- Remove R4 from COM-001-1

- Remove R2 from COM-002-2

- Remove R18 from TOP-002-2

Standard Summary

The OPCP SDT developed this new standard and is proposing removing requirements R4 from COM-001-1 and R2 from COM-002-2 for inclusion in this standard.  This standard addresses part of Blackout Recommendation #26 and issues in FERC Order 693.

Compliance with Standards

Once this standard becomes effective, the responsible entities identified in the applicability section of the standard must comply with the requirements. These include:

- Reliability Coordinator

- Balancing Authority

- Transmission Owner

- Transmission Operator

- Generator Operator

- Distribution Provider

- Transmission Service Provider

- Load Serving Entity

Effective Date

First day of first calendar quarter, one calendar year following applicable regulatory approval; or, in those jurisdictions where no regulatory approval is required, the first day of the first calendar quarter a year from the date of Board of Trustee adoption.