### Unofficial Comment Form for Project 2007-02 Operating Personnel Communications Protocols — Standard COM-003-1 —Operating Personnel Communications Protocols

Please DO NOT use this form.  Please use the electronic comment form located at the link below to submit comments on the proposed draft COM-003-1 Operating Personnel Communications Protocols standard.  Comments must be submitted by January 15, 2010.  If you have questions please contact Harry Tom at harry.tom@nerc.net or by telephone at 609-452-8060.

http://www.nerc.com/filez/standards/Op_Comm_Protocol_Project_2007-02.html

### Background Information:

Effective communication is critical for real time operations.  Failure to successfully communicate can lead to negative consequences.

The Standard Authorization Request (SAR) for this project was initiated on March 1, 2007 and approved by the Standards Committee on June 8, 2007.  It established the scope of work to be done for Project 2007-02 Operating Personnel Communications Protocols (OPCP SDT).  The scope described in the SAR is to establish essential elements of communications protocols and communications paths such that operators and users of the North American Bulk Electric System will efficiently convey information and ensure mutual understanding.  The August 2003 Blackout Recommendation Number 26 calls for a tightening of communications protocols.  This proposed standard is to ensure that effective communication is practiced and delivered in clear language via pre-established communications paths among pre-identified operating entities.

The SAR indicated that references to communication protocols in other NERC Reliability Standards may be moved to this new standard.  The SAR instructed the standard drafting team to consider incorporating the use of Alert Level Guidelines and three-part communications in developing this new standard to achieve high level consistency across regions.

The upgrade of communication system hardware where appropriate is not included in this project (it is included in NERC Project 2007-08 Emergency Operations).

- The standard will be applicable to Transmission Operators, Transmission Owners, Balancing Authorities, Reliability Coordinators, Generator Operators, Transmission Service Providers, Load Serving Entities and Distribution Providers.  These requirements ensure that communications include essential elements such that information is efficiently conveyed and mutually understood for communicating changes to real-time operating conditions and responding to directives, notifications, directions, instructions, orders, or other reliability related operating information.

The Purpose statement of this standard states: “To ensure that reliability-related information is conveyed effectively, accurately, consistently, and timely to ensure mutual understanding by all key parties, especially during alerts and emergencies.”

- The team developed a table to show each communications-related requirement identified in the SAR and the conclusion of the OPCP SDT with respect to whether each of these requirements should be modified or moved as part of this project.  In summary, the OPCP SDT is recommending that three of the identified requirements be incorporated into the new COM-003-1 Operating Personnel Communications Protocols standard and that the other requirements remain in their respective standards.  Please review the table showing the disposition of related requirements identified in the SAR to see if you agree with the team.  The OPCP SDT is seeking industry comment on a number a specific issues related to Project 2007-02 Operating Personnel Communications Protocols as identified in the questions below.  The OPCP SDT is seeking industry input on:

- New NERC Glossary terms: Communications Protocol, Three-part Communication and Interoperability Communication.  These terms are proposed for addition to the NERC Glossary to establish their meaning and usage within the electricity industry.

- Addition of Transmission Service Provider and Load Serving Entity as applicable under this new standard.  The SDT believes incorporating Requirement R18 from TOP-002-2 as Requirement R7 of this draft COM-003-1 is appropriate.  The applicability for R18 includes the Transmission Service Provider and Load Serving Entity; therefore the OPCP SDT proposes to add them to the Applicability section of COM-003-1.

- Communication Protocol Operating Procedure (CPOP): Each Reliability Coordinator, Balancing Authority, Transmission Owner, Transmission Operator, Generator Operator, Transmission Service Provider, Load Serving Entity and Distribution Provider shall develop a written CPOP in order to formally establish a set of Communication Protocols for use during real-time operations (R2 through R7). The SDT seeks feedback on whether this requirement is needed.

- Pre-defined system condition terminology: The Alert Level Guide document is work that was originally prepared by the Reliability Coordinator Working Group (RCWG) in accordance with a U.S./Canada Task Force Recommendation.  Recommendation #20 called for the establishment of clear definitions of normal, alert, and emergency operational system conditions, and to clarify the roles, responsibilities, and authorities of Reliability Coordinators and other responsible entities under each condition.

- The SDT recognizes the Alert Level Guide as an important tool for the clear and efficient communication of system condition levels regarding Physical Security, Cyber Security, Transmission Emergencies and Energy Emergencies.  The SDT has incorporated the Alert Level Guide into Attachment 1-COM-003-1.

- The SDT proposes four system condition alerts instead of the initial three in the RCWG version.  The main criterion for splitting the Security Energy Alert (SEA) into two separate system condition alerts (Cyber and Physical) is based on feedback from Field Test participants that recommended separation.

- Energy Emergency Alert requirements currently exist in NERC Standard EOP-002-2.1.

- There is an ongoing Field Test of the Alert Level Guide among Reliability Coordinators, Balancing Authorities and Transmission Operators. The OPCP SDT is interested in receiving feedback from participants in the Field Test with respect to potential improvements to the Alert Level Guide.

- Common time zone:  The SDT believes that Interoperability Communications would be enhanced with the use of a common time zone. Central Standard Time was chosen as it is already in use for NERC Time Error Corrections.  The Blackout Report cited the need to tighten communication protocols and the SAR includes consideration of a common time zone to minimize mis-matched time signature issues between control systems especially during an emergency.

- Three-part Communication:  The SDT will move the existing Requirement R2 of COM-002-2 to this new standard when the RCSDT has completed their development and the industry has approved the revisions.  The COM-003-1 Standard proposes to require the use of Three-part Communication whenever a directive is issued during verbal Interoperability Communications.  The SDT seeks industry feedback on this proposal.

- NATO Phonetic Alphabet:  The SDT proposes the standardized use of the NATO Phonetic Alphabet when issuing directives, notifications, directions, instructions, orders or other reliability related operating information that involves alpha-numeric information during verbal Interoperability Communications. During spoken communications certain sounds become difficult to discern because they are audibly similar.  The use of the NATO Phonetic Alphabet is not intended for all verbal communications but is required for Interoperability Communications.

- Pre-determined Line and Equipment Identifiers:  COM-003-1 requires the use of predetermined line and equipment identifiers in Requirement R7 however the Requirement does not stipulate a single/unique identifier as long as all parties mutually agree on the identifier for the line or equipment.  The mutual agreement shall be reached in advance of the use of the identifiers as described in the functional entity’s CPOP.

- The SDT is proposing to retire Requirement R4 from COM-001 and incorporate it into Requirement R2 of this draft COM-003-1. The SDT is proposing to retire COM-002-3 (requiring the use of Three-part Communication) upon the completion of Project 2006-06 Reliability Coordination and incorporate it into Requirement R4 of this draft of COM-003-1.  Since Requirement R4 from COM-001-1 carries over unchanged there is no specific question related to it in this Comment Form.

- The choice of VRFs was made on the basis of the impact on the Bulk Electric System of a miscommunication especially during an emergency situation.  Requirements R2 through R7 are assigned a High Violation Risk Factor due to their potential direct impact on BES reliability. Requirement R1 is assigned a Low VRF due to its administrative nature.

- Time Horizons were selected to reflect the period within which the requirements applied. Requirements R2 through R7 must be implemented in real time operations and therefore were assigned a Time Horizon of Real time.  A violation of Requirement R1 can be addressed before it has a direct effect on the BES over a longer period and as such the SDT assigned R1 a Time Horizon of Long Term Planning.

The drafting team is posting the standard for industry comment for a 45-day comment period.

The Operating Personnel Communications Protocols Drafting Team would like to receive industry comments on this draft standard.  Accordingly, we request that you include your comments on this form by January 15, 2010.

*Please use the electronic comment form to submit your final comments to NERC.

- Do you agree with the adoption of the following new terms for inclusion in the NERC Glossary and their proposed definitions: Communications Protocol, Three-part Communication, and Interoperability Communication? If not, please explain in the comment area.

Yes

No

Comments:

- The SDT incorporated TOP-002-2 Requirement R18 into this new standard COM-003-1 as Requirement R7. In TOP-002-2, Requirement R18 applies to the Transmission Service Provider and Load Serving Entity. These entities are now added to COM-003-1. Do you agree with this proposal? If not, please explain in the comment area.

Yes

No

Comments:

- Requirement R1 of the draft COM-003-1 states, “Each Reliability Coordinator, Balancing Authority, Transmission Owner, Transmission Operator, Generator Operator, Transmission Service Provider, Load Serving Entity and Distribution Provider shall develop a written Communications Protocol Operating Procedure (CPOP) for Interoperability Communications among personnel responsible for Real-time generation control and Real-time operation of the interconnected Bulk Electric System. The CPOP shall include but is not limited to all elements described in Requirements R2 through R7 to ensure effective Interoperability Communications.” Do you agree with this proposal? If not, please explain in the comment area.

Yes

No

Comments:

- Requirement R2 of the draft COM-003-1 states, “Each Responsible Entity shall use pre-defined system condition terminology as defined in Attachment 1-COM-003-1 for all verbal and written Interoperability Communications.” Do you agree with this proposal? If not, please explain in the comment area.

Yes

No

Comments:

- Requirement R4 of the draft COM-003-1 states, “Each Responsible Entity shall use Central Standard Time (24 hour format) as the common time zone for all verbal and written Interoperability Communications.” Do you agree with this proposal? If not, please explain in the comment area.

Yes

No

Comments:

- Requirement R5 of the draft COM-003-1 states, “Each Responsible Entity shall use Three-part Communications when issuing a directive during verbal Interoperability Communications.” Do you agree with this proposal? If not, please explain in the comment area.

Yes

No

- Comments:

- Requirement R6 of the draft COM-003-1 states, “Each Responsible Entity shall use the North American Treaty Organization (NATO) phonetic alphabet as identified in Attachment 2-COM-003-1 when issuing directives, notifications, directions, instructions, orders or other reliability related operating information that involves alpha-numeric information during verbal Interoperability Communications.” Do you agree with this proposal? If not, please explain in the comment area.

Yes

No

Comments:

- Requirement R7 of the draft COM-003-1 states, “Each Responsible Entity shall use pre-determined, mutually agreed upon line and equipment identifiers during for all verbal and written Interoperability Communications.” Do you agree with this proposal? If not, please explain in the comment area.

Yes

No

Comments:

- Attachment 1-COM-003-1 is based upon work performed by the Reliability Coordinator Working Group (RCWG). Do you have any concerns or suggestions for improvement of the attachment? If yes, please provide in the comment area. (If you are involved in the field testing of the Alert Level Guide please share any comments regarding the use of the guideline as it relates to the field test.)

Yes

No

Comments:

- Are you aware of any regional variances that would be required as a result of this standard?  If yes, please identify the regional variance.

Yes

No

Comments:

- Are you aware of any conflicts between the proposed standard and any regulatory function, rule order, tariff, rate schedule, legislative requirement or agreement?  If yes, please identify the conflict.

Yes

No

Comments:

- Do you have any other comments to improve the draft standard? If yes, please elaborate in the comment area.

Yes

No

Comments: