Summary of Key 693 Directives related to BAL-002, -004, -005, and -006.

Replace references to NERC committees and subcommittees with ERO (or delete, as appropriate).

I think this should be relatively simple, and has either already been addressed or can easily be addressed.

Replace reference to the “Regions” as appropriate

I think this should be relatively simple, and has either already been addressed or can easily be addressed.

Make is clear that DSM is acceptable for use in contingency reserves

I think that our plans for the “Operating Reserves” standard will address this.  What do we need to do to make the proposed draft of BAL-013 complete?

Clearly define “reportable disturbance,” and make sure it includes loss of gen, loss of load, and loss of interchange.

I think that our current draft of BAL-002 is addressing this.  The only thing we still need to fix is the “floor”

Make it clear that any single reportable disturbance lasting longer than 15 minutes is a violation of DCS.

I think that our current draft of BAL-002 is addressing this.

Define the minimum regulating reserve requirement and how entities will be measured to determine proactively if it has been provided.

Right now, the draft of BAL-013 is the closest thing we have to this.  In that document, we require entities to have a documented process for coming up with this number.  This is similar to the approach we used for TRM on the ATC standards, so FERC may accept this.  What other alternatives are there?  If we are not ready to move forward with BAL-013, what would we need to do to BAL-005 to address this?  Note that if we do not eliminate BAL-005, we can’t move forward with BAL-012, as it includes a lot of things that are in BAL-005.

Make it clear that entities importing regulation over non-firm transmission service must have a backup provision should the transmission service be curtailed.

I have attempted to address this by modifying BAL-013.  However, if we can’t make BAL-013 workable, we will need to put this someplace else (like BAL-005).  Note that if we do not eliminate BAL-005, we can’t move forward with BAL-012, as it includes a lot of things that are in BAL-005.

Make a proposal for Time Error Corrections, and back it up with a technical basis.

I think we are trying to address this to a large extent in the BAL-004 NOPR comments by saying that TECs should be halted.  In the interim, I have merged our latest draft of BAL-004 and the older draft that included some of the items the Commission pointed out in the NOPR.  We should review and see if we can make a BAL-004 that meets the Commissions expectations, and either move it forward in the short term or keep it in our back pocket in case we have to move quickly.

Create measures that verify if a BA is participating in Time Error Corrections.

Same as the previous.

Make the “AGC” standard resource neutral.

Currently, I think we are planning on eliminating most of BAL-005, and the elements of this that matter will be in BAL-013.  If we can’t make BAL-013 workable, we will need to put this someplace else (like BAL-005).  Note that if we do not eliminate BAL-005, we can’t move forward with BAL-012, as it includes a lot of things that are in BAL-005.

Modify the “Inadvertent” standard to disallow large accumulations of inadvertent.

Can we agree that we can create a requirement that says something along the lines of “if average hourly frequency is low and you increased your inadvertent account during that hour by more than (some value), it is a violation” and  “if average hourly frequency is high and you decreased your inadvertent account during that hour by more than (some value), it is a violation?” If the answer is no, and we still want to try to say that the 30-minute BAAL will address inadvertent, we can try… but I really think we are going to have to give FERC something here.