Proposed Definitions -

Regulating Reserves: Resources that have been committed to maintain Balancing Authority ACE at or near zero when directed as part of Secondary Control Action.

Introduction

  - Title:	Regulating Reserves

  - Number:	BAL-0??-1

  - Purpose:

To ensure that Balancing Authorities include appropriate amounts of reserves such that following a loss of supply or demand, Balancing Authorities can restore the balance of supply and demand and return Interconnection frequency to where it would be without that loss.

  - Applicability:

    - Balancing Authorities

    - Generator Owners

    - Distribution Providers

  - Effective Date:	TBD

- Requirements

  - Each Balancing Authority shall develop a procedure for calculating minimum daily amounts of Regulating Reserves.  At a minimum, this procedure must ensure that:

    - The minimum daily amount of Regulating Reserves is equal to or greater than what?

  - Each day, on a day-ahead basis, the Balancing Authority shall utilize the procedure described in R1 to determine the appropriate amountof Regulating Reserves.

  - Each Balancing Authority shall develop a procedure for arranging for daily amounts of Regulating Reserve.  At a minimum, this procedure must ensure that:

    - No single resource is responsible for providing more than x% of the total amount of minimum Regulating Reserves.

    - No single resource utilizes more than x% of its total capability to provide Regulating Reserves.

  - Prior to the start of each operating day, the Balancing Authority shall, utilizing the procedure described in R3, arrange with Generator Owners and Distribution Providers for the provision of Regulating Reserves equal to or greater than the amounts determined in R2.

  - Generator Owners and Distribution Providers shall only provide Regulating Reserves through resources capable of providing Secondary Control.

- Measures