### Unofficial Comment Form for the First Draft of System Protection Coordination Standard (Project 2007-06)

Please DO NOT use this form.  Please use the electronic form located at the link below to submit comments on the proposed first draft of the System Protection Coordination Standard PRC-001-2 (Project 2007-06).  Comments must be submitted by October 26, 2009.  If you have questions please contact Al Calafiore at Al.Calafiore@nerc.net or by telephone at 678-524-1188.

http://www.nerc.com/filez/standards/System_Protection_Project_2007-06.html

### Background Information:

The System Protection Coordination Standard Drafting Team (SPC SDT) has revised the previous standard PRC-001-1 to address the planning and non-operational issues identified by the System Protection and Control Task Force for PRC-001 as well as those identified in FERC Order 693.  It also brings the standard into conformance with the “Standard Review Guidelines.”

The draft standard has refocused the requirements on the planning time frame and addressed important Protection System coordination issues that were not previously in the Standard.  The draft standard has added requirements to ensure that Protection System designs and settings are communicated between and accepted by interconnecting entities which will assist Protection Systems to function in an integrated manner.  Requirements that deal with operating issues are transferred to the appropriate drafting team(s) revising the operating standards. These previous requirements were R2, R5 and R6 which will be covered in TOP-001-2, TOP-003-1 and IRO-10-1 (currently covers part of R6).  The old requirement R1 has been redeveloped into the new R6 and R7 which deal with providing Protection System information separately to the Transmission Operator and the Generator Operator.  The training aspects of that requirement are properly addressed in the PER series of standards including PER-005-1.

The System Protection Coordination Standard Drafting Team would like to receive industry comments on this standard PRC-001-2.

- *Please use the electronic comment form to submit your final responses to NERC.

- The SDT determined that this standard is applicable to following registered entities: Transmission Owners, Generator Owners and Distribution Providers according to the NERC Glossary of Terms that clearly defines these entities in all NERC Regional Reliability Organizations. Do you agree with this?  If not, please explain in the comment area.

Yes

No

Comments:

- Due to the many meanings of coordination and our intention to clarify the purpose of the standard, the SDT has included a definition for the term “System Protection Coordination” as it applies to this standard. The intention was to target coordination of fault clearing protection systems. Do you agree that the definition is appropriate for this standard?  If not, please explain in the comment area.

Yes

No

Comments:

- This draft standard has placed specific deadlines in the requirements for information exchange, review, agreement and implementation.  Do you believe that the amount of time provided for each of these actions is acceptable?  If not, please explain in the comment area which times should be changed and what would be more appropriate.

Yes

No

Comments:

- Do you agree with the method of dispute resolution provided in Attachments 1, 2 and 3?  If not, please explain in the comment area what would be more appropriate.

Yes

No

Comments:

- The Associated Documents section C of PRC-001-2 includes only “PRC-001-2 System Protection Coordination Supplementary Reference — September 2009.”  Are there other documents that should be included as associated documents?  If so, please list in the comment area each document name and explain why each should be included.

Yes

No

Comments:

- The SDT has included VRFs with this posting.  Do you agree with the assignments made?  If not, please explain in the comment area.

Yes

No

Comments:

- The SDT has provided an Implementation Plan with this posting.  Do you agree with the implementation time frames?  If not, please explain in the comment area.

Yes

No

Comments:

- If you aware of any regional variances that would be required as a result of this standard, please identify the regional variance.

Regional Variance:

- If you are aware of any conflicts between the proposed standard(s) and any regulatory function, rule order, tariff, rate schedule, legislative requirement or agreement, please identify the conflict.

Conflict:

- If you have any other comments that you haven’t provided in response to the above questions, please provide them here.

Comments: