### Unofficial Comment Form for BAL-003-1 Frequency Response and Frequency Bias Standard

Please DO NOT use this form to submit comments on the 1st draft of BAL-003-1 – Frequency Response and Frequency Bias Setting.  Comments must be submitted by March 7, 2011.  If you have questions please contact Darrel Richardson by email at darrel.richardson@nerc.net or by telephone at 609.613.1848.

### Background Information:

Frequency Response, a measure of an Interconnection’s ability to stabilize frequency immediately following the sudden loss of generation or load, is a critical component to the reliable operation of the bulk power system, particularly during disturbances and restoration. The proposed standard’s intent is to collect data needed to accurately analyze existing Frequency Response, set a minimum Frequency Response obligation, provide a uniform calculation of Frequency Bias Settings that transition to values closer to Frequency Response, and encourage coordinated AGC operation. There is evidence of continuing decline in Frequency Response over the past 10 years, but no confirmed reason for the apparent decline. The proposed standard requires entities to provide data so that Frequency Response in each of the Interconnections can be analyzed, and the reasons for the decline in Frequency Response can be identified. Once Frequency Response has been analyzed and confirmed, requirements can be modified to maintain reliability.

The Drafting Team would like to receive industry comments on this standard.  Please submit your comments using the electronic form by March 7, 2011.

- You do not have to answer all questions.  Enter All Comments in Simple Text Format.

Insert a “check” mark in the appropriate boxes by double-clicking the gray areas.

- The SDT has developed three new terms to be used with this standard.

- Single Event Frequency Response Data (SEFRD)

- The individual sample of event data from a Balancing Authority which represents the change in Net Actual Interchange (NIA), divided by the change in frequency, expressed in MW/0.1Hz.

- Frequency Response Measure (FRM)

- The median of all Single Event Frequency Response Data observations reported annually on FRS Form 1.

- Frequency Response Obligation (FRO)

- The Balancing Authority’s contribution to the total aggregate Frequency Response needed for reliable operation of an Interconnection assigned by the ERO.

- Do you agree with the proposed definitions in this standard?  If not, please explain in the comment area.

Yes

No

Comments:

- The SDT has modified the definition for the term Frequency Bias Setting.  The new definition is shown below in redline to show the changes proposed.

- Frequency Bias Setting

A value, (either a fixed or variable Frequency Bias), usually expressed in MW/0.1 Hz, set into a Balancing Authority Area Control Error equation that allows the Balancing Authority to contribute its Frequency Response to the Interconnection.

- Do you agree with this new definition for Frequency Bias Setting?  If not, please explain in the comment area.

Yes

No

Comments:

- The proposed purpose statement in the draft standard is:

- To require sufficient Frequency Response from the Balancing Authority to maintain Interconnection Frequency within predefined bounds by arresting frequency deviations and supporting frequency until the frequency is restored to schedule. To provide consistent methods for measuring Frequency Response and determining the Frequency Bias Setting.

- Do you agree with this purpose?  If not, please explain in the comment area.

Yes

No

Comments:

- Requirement 1 identifies a minimum level of Frequency Response.

- R1.	Each Balancing Authority shall achieve a Frequency Response Measure (FRM) (as detailed in Attachment A and calculated on FRS Form 1) that is equal to or more negative than its Frequency Response Obligation (FRO).

- Do you agree with the concept that a Balancing Authority should be required to achieve a minimum level of Frequency Response and the method for measurement?  If not, please explain in the comment area.

Yes

No

Comments:

- Requirement 2 identifies when the Balancing Authority must implement its Frequency Bias Setting.

- R2.	Each Balancing Authority shall implement the Frequency Bias Setting (fixed or variable) provided by the ERO into its Area Control Error (ACE) calculation beginning on the date specified by the ERO to ensure effective coordinated secondary control, using the results from the calculation methodology detailed in Attachment A.

- Do you agree with this implementation?  If not, please explain in the comment area.

Yes

No

Comments:

- Requirement 3 mandates that a Balancing Authority operate its Automatic Generation Control (AGC) on Tie Line Bias unless it becomes adverse to the integrity of its system.

- R3.	Each Balancing Authority shall operate its Automatic Generation Control (AGC) on Tie Line Bias, unless such operation would have an Adverse Reliability Impact on the Balancing Authority’s Area.

- Do you agree that a Balancing Authority should operate its AGC on Tie Line Bias unless it becomes adverse to its system?  If not, please explain in the comment area below.

Yes

No

Comments:

- Do you agree with the proposed Implementation Plan for this standard?  If not, please explain in the comment area.

Yes

No

Comments:

- This standard proposes to eliminate the 1% minimum Frequency Bias over a period of 4 years as outlined in the Implementation Plan.  Do you agree that the elimination of the 1% minimum will bring Frequency Bias closer or equal to natural Frequency Response?  If not, please explain in the comment area.

Yes

No

Comments:

- Do you agree with the drafting team that this standard should be field tested?  If not, please explain in the comment area.

Yes

No

Comments:

- Attachment A of the proposed standard describes the criteria for selecting events to be analyzed.  Do you agree with the criteria as described in Attached A?  If not, please explain in the comment area.

Yes

No

Comments:

- The proposed standard has a document attached to it that describes the SDT’s reasoning for the Requirements (Attachment A - Frequency Response Background Document).  Do you agree with the SDT that this document is useful and provides a clear understanding of the Requirements?  If not, please explain in the comment area.

Yes

No

Comments:

- The proposed standard requires the use of FRS Form 1 for calculating a Balancing Authority’s FRM.  Do you agree with the SDT that this is the proper method to calculate its FRM?  If not, please explain in the comment area and if possible provide an alternate method to calculate FRM.

Yes

No

Comments:

- The proposed standard requires the use of FRS Form 1 for calculating a Balancing Authority’s Frequency Bias Setting.  Do you agree with the SDT that this is the proper method to calculate its Frequency Bias Setting?  If not, please explain in the comment area and if possible provide an alternate method to calculate Frequency Bias Setting.

Yes

No

Comments:

- The SDT has provided a document (FRS Form 1 Instructions) describing how to use FRS Form 1 for calculating FRM and Frequency Bias Setting.  Do you agree with the SDT that this document provides a clear understanding of how to use the form?  If not, please explain in the comment area.

Yes

No

Comments:

- The SDT is soliciting comments on methods of obtaining Frequency Response to meet the FERC Order 693 directive.  If possible please provide any thoughts you may have on this subject.

Comments:

- If you are aware of any conflicts between the proposed standard and any regulatory function, rule order, tariff, rate schedule, legislative requirement, or agreement please identify the conflict here.

Comments:

- Please provide any other comments (that you have not already provided in response to the questions above) that you have on the draft standard BAL-003-1.

Comments: