### Unofficial Comment Form for 1st Draft of the Standard for Protection System Maintenance and Testing Project 2007-17

Please DO NOT use this form.  Please use the electronic comment form to submit comments on the 1st draft of the PRC-005-2 standard for Protection System Maintenance and Testing.  Comments must be submitted by September 28, 2011. If you have questions please contact Al McMeekin at al.mcmeekin@nerc.net or by telephone at 803-530-1963.

http://www.nerc.com/filez/standards/Protection_System_Maintenance_Project_2007-17.html

### Background Information:

This project recently failed to receive two-thirds weighted stakeholder approval on recirculation ballot. The Standards Committee directed that the Standard Drafting Team post the SAR and standard for a 45-day comment period with an initial ballot conducted during the last 10 days. During the posting period, the Standard Drafting Team plans to conduct a Webinar to discuss recently-presented industry comments and how they are addressed in the draft standard.

The Protection System Maintenance and Testing Standard Drafting Team (PSMT SDT) has made several changes to the fifth posting of PRC-005-2 based on comments received from industry.  The changes include:

- Revising the term, “Maintenance Correctable Issue” to “Unresolved Maintenance Issue”.

- Revising the “3 calendar months” interval for various station dc supply and communications system maintenance activities to “4 calendar months”.

- The maintenance activities and intervals for distributed UFLS and UVLS systems were extracted from Table 1-1 through 1-5 and placed into a new Table 3 to more clearly illustrate the requirements related to these systems, which are often implemented on the distribution system.

- Modifying the VSLs and VRFs to reflect the changes listed above.

- Revising the Supplemental Reference and FAQ document to reflect changes made to the draft standard and to address additional issues raised within comments.

- Revising the Implementation Plan.

The PSMT SDT would like to receive industry comments on this standard.

For questions 1-5, please provide specific comments related to the individual question.  Please reserve question 6 for general comments not related to questions 1-5.

- Do you have any comments regarding the existing SAR for this project?

Yes

No

Comments:

- In response to comments, the term “Maintenance Correctable Issue” was revised to “Unresolved Maintenance Issue”.  Do you agree with this change?  If you do not agree, please provide specific suggestions for improvement.

Yes

No

Comments:

- In response to comments, the SDT revised the previous “3 calendar months” interval to “4 calendar months” for communications systems and station dc supply.  Do you agree with this change?  If you do not agree, please provide specific suggestions for improvement.

Yes

No

Comments:

- The SDT extracted the maintenance activities and intervals for distributed UFLS and UVLS systems from Table 1-1 through 1-5 and placed them into a new Table 3 to more clearly illustrate the requirements related to these systems. Do you agree with this change?  If you do not agree, please provide specific suggestions for improvement.

Yes

No

Comments:

- The SDT has revised the “Supplementary Reference” document which is supplied to provide supporting discussion for the Requirements within the standard.  Do you agree with the changes?  If not, please provide specific suggestions for change.

Yes

No

Comments:

- If you have any other comments on this Standard that you have not already provided in response to the prior questions, please provide them here.

Comments: