Consideration of Issues and Directives

Project 2008-12 Project Name

| Project 2008-12 - Coordinate Interchange Standards |  |  |
| --- | --- | --- |
| Issue or Directive | Source | Consideration of Issue or Directive |
| 817. In addition, e-Tagging of such transfers was previously included in INT-001-0 and the Commission is aware that such transfers are included in the e-Tagging logs. In short, the practice already exists, but if this Requirement is removed from INT-001-2, no Reliability Standard would require that such information be provided. We therefore will adopt the directive we proposed in the NOPR and direct the ERO to include a modification to INT-001-2 that includes a Requirement that interchange information must be submitted for all point-to-point transfers entirely within a balancing authority area, including all grandfathered and “non-Order No. 888” transfers. | FERC Order 693, Paragraph 817 | INT-012-1, R1 |
| 819. With respect to Santa Clara’s position that LSEs should be applicable entities under the Reliability Standard, the Commission notes that in situations where a LSE is securing energy from outside the balancing authority to supply its end-use customers, it would function as a purchasing-selling entity, as defined in the NERC glossary, and would be included in the NERC registry on that basis. This interpretation flows from the language of the Reliability Standards, and the Commission does not perceive any ambiguity in this connection. Nevertheless, the Commission directs the ERO to consider Santa Clara’s comments, and whether some more explicit language would be useful, in the course of modifying INT-001-2 through the Reliability Standards development process. | FERC Order 693, Paragraph 819 |  |
| 825. The Commission stressed in Order No. 672 that uniformity of Reliability Standards should be the goal and practice, “the rule rather than the exception.” The Commission therefore stated in the NOPR that the absence of a tagging requirement for dynamic schedules in WECC is a matter of concern, and that for this reason it could not approve or remand this regional difference without the additional information it requested. To date the Commission has not received this information. Of particular importance in this compliance filing will be the ERO’s demonstration that this practice is due to a physical difference in the system or results in a more stringent Reliability Standard. Without this information, we are unable to address Xcel’s comments further. The Commission therefore directs the ERO to submit a filing within 90 days of the date of this order either withdrawing this regional difference or providing additional information. | FERC Order 693, Paragraph 825 | This was previously handled within the 90 day window? Do we need to list this one here? It is not in the issues data base for this project. |
| 843. As explained in the NOPR, while the Commission has identified concerns with regard to INT-004-1, this proposed Reliability Standard serves an important purpose by setting thresholds on changes in dynamic schedules for which modified interchange data must be submitted. Further, the Requirements set forth in INT-004-1 are sufficiently clear and objective to provide guidance for compliance. Accordingly, the Commission approves Reliability Standard INT-004-1 as mandatory and enforceable. In addition, the Commission directs the ERO to consider adding these Measures and Levels of Non-Compliance to the Reliability Standard. | FERC Order 693, Paragraph 843 |  |
| 848. The Commission is satisfied that the Requirements of INT-005-1 are appropriate to ensure that interchange information is distributed timely and available for reliability assessment. Accordingly, the Commission approves Reliability Standard INT-005-1 as mandatory and enforceable. In addition, the Commission directs the ERO to consider adding additional Measures and Levels of Non-Compliance to the Reliability Standard. | FERC Order 693, Paragraph 848 |  |
| 866. Accordingly, the Commission approves Reliability Standard INT-006-1 as mandatory and enforceable. In addition, the Commission directs the ERO to develop a modification to INT-006-1 through the Reliability Standards development process that: (1) makes it applicable to reliability coordinators and transmission operators and (2) requires reliability coordinators and transmission operators to review energy interchange transactions from the wide-area and local area reliability viewpoints respectively and, where their review indicates a potential detrimental reliability impact, communicate to the sink balancing authorities necessary transaction modifications before implementation. We also direct that the ERO consider the suggestions made by EEI and TVA and address the questions raised by Entergy and Northern Indiana in the course of the Reliability Standards development process. | FERC Order 693, Paragraph 866 |  |
| 872. The Commission approves Reliability Standard INT-008-1 as mandatory and enforceable. The Commission has set forth above its analysis and conclusion on interchange authorities. Our understanding is that a source and sink balancing authority will serve as the interchange authority until the ERO has clarified the role and responsibility of an interchange authority in the modification of the Functional Model and in the registration process. Finally, we direct the ERO to consider APPA’s suggestions in the Reliability Standards development process. | FERC Order 693, Paragraph 872 |  |
| 875. The Commission approves Reliability Standard INT-009-1 as mandatory and enforceable. The Commission has set forth above its analysis and conclusion on interchange authorities. Our understanding is that a source and sink balancing authority will serve as the interchange authority until the ERO has clarified the role and responsibility of an interchange authority in the modification of the Functional Model and in the registration process. Finally, we direct the ERO to consider APPA’s suggestions concerning this Reliability Standard in the Reliability Standards development process. | FERC Order 693, Paragraph 875 |  |
| 887. Accordingly, the Commission approves Reliability Standard INT-010-1 as mandatory and enforceable. In addition, we adopt the interpretation set forth in the NOPR that these current or imminent reliability-related reasons do not include actual IROL violations, since they require immediate control actions so that the system can be returned to a secure operating state as soon as possible and no longer than 30 minutes after a reliability-related system interruption – a period that is much shorter than the time that is expected to be required for new or modified transactions to be implemented. Finally, we direct the ERO to consider Northern Indiana and ISO-NE’s suggestions in the Reliability Standards development process. | FERC Order 693, Paragraph 887 |  |
| On March 4, 2008, NERC submitted a compliance filing in response to a December 20, 2007 Order, in which the Commission reversed a NERC decision to register three retail power marketers to comply with Reliability Standards applicable to load serving entities (LSEs) and directed NERC to submit a plan describing how it would address a possible “reliability gap” that NERC asserted would result if the LSEs were not registered. NERC’s compliance filing included the following proposal for a short-term plan and a long-term plan to address the potential gap: • Short-term: Using a posting and open comment process, NERC will revise the registration criteria to define “Non-Asset Owning LSEs” as a subset of Load Serving Entities and will specify the reliability standards applicable to that subset. • Longer-term: NERC will determine the changes necessary to terms and requirements in reliability standards to address the issues surrounding accountability for loads served by retail marketers/suppliers and process them through execution of the three-year Reliability Standards Development Plan. In this revised Reliability Standards Development Plan, NERC is commencing the implementation of its stated long-term plan to address the issues surrounding accountability for loads served by retail marketers/suppliers. The NERC Reliability Standards Development Procedure will be used to identify the changes necessary to terms and requirements in reliability standards to address the issues surrounding accountability for loads served by retail marketers/suppliers. Specifically, the following description has been incorporated into the scope for affected projects in this revised Reliability Standards Development Plan that includes a standard applicable to Load Serving Entities: Source: FERC’s December 20, 2007 Order in Docket Nos. RC07-004-000, RC07-6-000, and RC07-7-000 Issue: In FERC’s December 20, 2007 Order, the Commission reversed NERC’s Compliance Registry decisions with respect to three load serving entities in the ReliabilityFirst (RFC) footprint. The distinguishing feature of these three LSEs is that none own physical assets. Both NERC and RFC assert that there will be a “reliability gap” if retail marketers are not registered as LSEs. To avoid a possible gap, a consistent, uniform approach to ensure that appropriate Reliability Standards and associated requirements are applied to retail marketers must be followed. Each drafting team responsible for reliability standards that are applicable to LSEs is to review and change as necessary, requirements in the reliability standards to address the issues surrounding accountability for loads served by retail marketers/suppliers. For additional information see: • FERC’s December 20, 2007 Order (http://www.nerc.com/files/LSE_decision_order.pdf ) • NERC’s March 4, 2008 (http://www.nerc.com/files/FinalFiledLSE3408.pdf ), • FERC’s April 4, 2008 Order (http://www.nerc.com/files/AcceptLSECompFiling-040408.pdf ), and • NERC’s July 31, 2008 (http://www.nerc.com/files/FinalFiled-CompFiling-LSE-07312008.pdf ) compliance filings to FERC on this subject. | FERC’s December 20, 2007 and April 4, 2008 Orders |  |
| NAESB Standards Review Subcommittee as input to the Reliability Standards Development Plan: 2010-2012: NAESB requests that NERC engage in coordination with them as needed on this project as it relates to item 3.a.viii in the NAESB WEQ 2009 Annual Plan. | NAESB Standards Review Subcommittee | TBD |
| Does confirmed action mean direct action needs to be taken or, does confirmed action mean that a process has been put in place that will take action and, the entity agrees with such since they have employed the program." | NERC Audit Observation Team | TBD |
| The SDT review the definitions of the following terms and coordinate with NAESB so that the definition of each term is consistent between NERC and NAESB: Interchange Schedule Interchange Transaction Interchange Transaction Tag (Tag) Request for Interchange Source BA Sink BA | NERC/NAESB Coordination | TBD |
| These terms reflect the continued use of the IA, and be consistent (not identical) between NERC and NAESB. Request for Interchange Approved Interchange Confirmed Interchange | NERC/NAESB Coordination | TBD |
| Changes to the INT standards and IRO standards to support Parallel Flow Visualization. This would include addressing the difference between what is "Interchange" and what is "tagged." Currently, INT stadnards do not require RFIs for internal transactions; and IRO-006-EAST does not mandate curailment of internal PTP. NAESB may create interim Busines practices to support this, so we may have to work with them to retire their stadnards as ourse come into effect. For more info, see David Taylor, Andy Rodriquez, or Larry Kezele. | NAESB | TBD |
| Clarify tagging of reserves (INT-001-1) | Version 0 Team | Team does not believe it is necessary (from a reliability perspective) to tag reserves that are not flowing. |
| Lack of compliance (INT-001-1) | Version 0 Team | Compliance elements were added to the standard including VRFs, VSLs, and Time Horizons. |
| Load PSE responsibility is new restriction (INT-001-1) | Version 0 Team | There is no way to tell what this means. Suggest removing from the Issues DB and this doc. |
| More commercial problem than reliability (INT-001-1) | Version 0 Team | There is no way to tell what this means. Suggest removing from the Issues DB and this doc. |
| Need to address tag curtailment (INT-004-1) | Version 0 Team | Team is unsure what needs to be done. |
| Non-compliance based on % (INT-004-1) | Version 0 Team | The VSLs now reflect a single violation of a requirement rather than a percentage. |
| Onerous to BAs (INT-001-1) | Version 0 Team | The standard has been merged with INT-004. Requirement R2 was retired. |
| Question on generation scheduling (INT-001-1) | Version 0 Team | There is no way to tell what this means. Suggest removing from the Issues DB and this doc. |
| R1 - Too stringent (INT-001-1) | Version 0 Team | Requirement R1 was moved into INT-004-2 and revised INSERT REQUIREMENT LANGUAGE HERE. |
| R1 Who tags dynamic schedules? (INT-001-1) | Version 0 Team | This is addressed in INT-004-2, Requirement R? INSERT REQUIREMENT LANGUAGE HERE. |
| R2.2 60 minute time frame questioned (INT-001-1) | Version 0 Team | Requirement R2.2 was retired from the standard. |
| Replace TSP with TOP (INT-004-1) | Version 0 Team | This makes no sense. TSP was not in versions 0, 1 or 2. Suggest removing from issues database and this doc. |
| Suggested non-compliance levels (INT-004-1) | Version 0 Team | There is no way to tell what this means. Suggest removing from the Issues DB and this doc. |
| Use WECC criteria (INT-004-1) | Version 0 Team | There is no way to tell what this means. Suggest removing from the Issues DB and this doc. |
| R1 & 3 administrative (INT-010-1) | VRFs Team | All VRF team comments relate to a previous version of a standard. We would have to go back and look at the inactive standard, translate the requirements to the new/approved version and see if the comment still applies. The comments indicate that these requirements should be retired as administrative/commercial and the perhaps a NAESB standard may be more appropriate. |
| R1, 1.1, 1.1.2, 1.2 commercial and administrative (INT-003-1) | VRFs Team |  |
| R1, 1.1, 1.3, 1.3.1, 1.3.2, 1.3.3, 1.3.4, 1.4 administrative (INT-007-1) | VRFs Team |  |
| R1, 1.1, 2, 2.1, 2.2 commercial and administrative (INT-001-1) | VRFs Team |  |
| R1.1.1 & 1.1.2 – commercial and administrative (INT-008-2) | VRFs Team |  |
| R2, 2.2, 2.3 commercial and administrative (INT-004-1) | VRFs Team |  |
| R5 administrative (INT-005-2) | VRFs Team |  |

# Heading 1

Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here.

## Heading 2

Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here.

Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here.

## Heading 2

Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here.

### Heading 3

Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here. Body text goes here.