# Standard Development Timeline

This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

### Development Steps Completed

- SAR posted for comment (July 2, 2008 through July 31, 2008).

- Revised SAR and response to comments posted (December 1, 2008).

- SC authorized moving the SAR forward to standard development (December 16–17, 2008).

- SDT appointed on (February 12, 2009).

- First draft of proposed standard posted (November 10, 2009).

- Second draft of proposed standard posted (May 31, 2010).

### Description of Current Draft

This is the second draft of the proposed standard posted for stakeholder comments.  This draft includes the modifications based on comments submitted by stakeholders, as well as items identified in the SAR and applicable FERC directives from FERC Order 693.

| Anticipated Actions | Anticipated Date |
| --- | --- |
| 30-day Formal Comment Period | September 2010 |
| 45-day Formal Comment Period with Parallel Initial Ballot | October 2010 |
| 30-day Formal Comment Period with Parallel Successive Ballot | December 2010 |
| Recirculation ballot | December 2010 |
| BOT adoption | December 2010 |
| File standard with regulatory authorities. | February 2011 |

# Effective Dates

First day of the second calendar quarter following the date this standard is approved by applicable regulatory authorities, or in those jurisdictions where regulatory approval is not required, the standard becomes effective on the first day of the second calendar quarter after the date this standard is approved by the NERC Board of Trustees.

# Version History

| Version | Date | Action | Change Tracking |
| --- | --- | --- | --- |
| 1 | TBD |  | New |

# Definitions of Terms Used in Standard

This section includes all newly defined or revised terms used in the proposed standard.  Terms already defined in the Reliability Standards Glossary of Terms are not repeated here.  New or revised definitions listed below become approved when the proposed standard is approved.  When the standard becomes effective, these defined terms will be removed from the individual standard and added to the Glossary.

- Composite Confirmed Interchange – the energy profile (including ramp) throughout a given time period, based on the aggregate of all Confirmed Interchange occurring in that time period.

When this standard has received ballot approval, the text boxes will be moved to the Application Guidelines Section of the Standard.

Introduction

Title:	Implementation of Interchange

Number:	INT-009-2

Purpose:	To ensure that Balancing Authorities implement the Interchange exactly as agreed upon in the Interchange confirmation process and maintain the generation-to-load balance.

Applicability:

  - Balancing Authority.

Background:

Text

Requirements and Measures

Rationale for R1:

Prior to each operating hour, each Balancing Authority shall agree with each of its Adjacent Balancing Authorities that its Composite Confirmed Interchange for that hour with that Balancing Authority, excluding Dynamic Schedules and including any interchange as directed by  per INT-010-2 not yet captured in the Composite Confirmed Interchange, is:  [Violation Risk Factor: Medium] [Time Horizon: Real Time Operations]

  - Identical in magnitude to that of the Adjacent Balancing Authority, and

  - Opposite in sign to that of the Adjacent Balancing Authority.

The Balancing Authority shall have evidence (such as dated logs, voice recordings, electronic records, or other evidence) that for each operating hour, its Composite Confirmed Interchange, excluding Dynamic Schedules, was agreed to by each Adjacent Balancing Authority, identical in magnitude to those of each Adjacent Balancing Authority, and opposite in sign to that of each Adjacent Balancing Authority.  (R1)

Rationale for R2:

Each Adjacent Balancing Authority affected by an adjustment to a previously agreed upon Composite Confirmed Interchange (including intra-hour changes), shall agree upon that adjustment prior to its implementation. [Violation Risk Factor: Medium] [Time Horizon: Real Time Operations]

The Balancing Authority shall have evidence (such as dated logs, voice recordings, electronic records, or other evidence) that for any previously agreed to operating hour in which Composite Confirmed Interchange was modified with one or more Adjacent Balancing Authorities (including intra-hour changes), each involved Balancing Authority agreed upon that modification prior to the implementation of that change. (R2)

Rationale for R3: To ensure entities are controlling to their scheduled interchange,

Each Balancing Authority shall incorporate the following in the Net Scheduled Interchange term used in its control ACE (or alternate control process):  [Violation Risk Factor: Medium] [Time Horizon: Real Time Operations]

  - the Real-time Composite Confirmed Interchange with all Adjacent Balancing Authorities,  as agreed to in compliance with Requirement R1 or R2 with its Adjacent Balancing Authorities, and

  - Interchange from Dynamic Schedules, if any, with its Adjacent Balancing Authorities as determined by an agreed upon common source, and

The Balancing Authority shall have evidence (such as dated logs, electronic records, or other evidence) that the Net Scheduled Interchange term used in the Balancing Authority’s control ACE (or alternate control process) incorporated the Real-time Composite Confirmed Interchange with all Adjacent Balancing Authorities, excluding Dynamic Schedules, as agreed to in compliance with R1 or R2 with its Adjacent Balancing Authorities; and Interchange from Dynamic Schedules with its Adjacent Balancing Authorities as determined by metering; and any adjustments to Net Scheduled Interchange as allowed by INT-010-2 and as agreed to with its Adjacent Balancing Authorities. (R3)

If the Confirmed Interchange includes a high voltage direct current (HVDC) tie, the Balancing Authority in whose area the HVDC tie is controlled shall coordinate the Confirmed Interchange prior to its implementation with the Transmission Operator of the HVDC tie. [Violation Risk Factor: Medium] [Time Horizon: Real Time Operations]

The Balancing Authority shall have evidence (such as dated logs, electronic records, or other evidence) that it coordinated the Confirmed Interchange prior to its implementation with the Transmission Operator of the HVDC tie. (R4)

Compliance

- Compliance Monitoring Process

  - Compliance Enforcement Authority

Regional Entity

  - Evidence Retention

- The Balancing Authority shall keep data or evidence to show compliance as identified below unless directed by its Compliance Enforcement Authority to retain specific evidence for a longer period of time as part of an investigation:

The Balancing Authority shall maintain evidence to show compliance with R1 and R2 for the most recent 3 months plus the current month.

- If a Balancing Authority is found non-compliant, it shall keep information related to the non-compliance until found compliant.

- The Compliance Enforcement Authority shall keep the last audit records and all requested and submitted subsequent audit records.

  - Compliance Monitoring and Assessment Processes:

- Compliance Audits

- Self-Certifications

- Spot Checking

- Compliance Violation Investigations

- Self-Reporting

Complaints Text

  - Additional Compliance Information

None

- Table of Compliance Elements

| - R # | - Time Horizon | - VRF | - Violation Severity Levels |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | - Lower VSL | - Moderate VSL | - High VSL | - Severe VSL |
| - R1 | - Real Time Operations | - Medium | N/A | N/A | N/A | Prior to an operating hour, the Balancing Authority did not reach agreement with one or more of its Adjacent Balancing Authorities on the magnitude and/or sign of its Composite Confirmed Interchange for that hour. |
| - R2 | - Real Time Operations | - Medium | N/A | N/A | N/A | Prior to implementing a change in previously agreed to Composite Confirmed Interchange, the Balancing Authority did not reach agreement on that modification with one or more of the other involved Balancing Authorities. |
| - R3 | - Real Time Operations | - Medium | The Balancing Authority did not include the items listed in Requirement R3 Parts 3.1 – 3.3 in the Net Scheduled Interchange term used in its Control ACE (or alternate control process), and the Net Scheduled Interchange term was incorrect by 1 or more megawatts, but not more than 50 megawatts. | The Balancing Authority did not include the items listed in Requirement R3 Parts 3.1 – 3.3 in the Net Scheduled Interchange term used in its Control ACE (or alternate control process), and the Net Scheduled Interchange term was incorrect by more than 50 megawatts, but not more than 100 megawatts. | The Balancing Authority did not include the items listed in Requirement R3 Parts 3.1 – 3.3 in the Net Scheduled Interchange term used in its Control ACE (or alternate control process), and the Net Scheduled Interchange term was incorrect by more than 100 megawatts, but not more than 200 megawatts. | The Balancing Authority did not include the items listed in Requirement R3 Parts 3.1 – 3.3 in the Net Scheduled Interchange term used in its Control ACE (or alternate control process), and the Net Scheduled Interchange term was incorrect by more than 200 megawatts. |

Regional Variances

- None.

Interpretations

- None.

Associated Documents

- None.

- Guidelines and Technical Basis

- Requirement R1:

- Requirement R2:

- Requirement R3: