# Standard Development Timeline

This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

### Development Steps Completed

- SAR posted for comment (July 2, 2008 through July 31, 2008).

- Revised SAR and response to comments posted (December 1, 2008).

- SC authorized moving the SAR forward to standard development (December 16–17, 2008).

- SDT appointed on (February 12, 2009).

- First draft of proposed standard posted (May 31, 2010).

### Description of Current Draft

This is the first draft of the proposed standard posted for stakeholder comments.  This draft includes the modifications identified in the SAR and applicable FERC directives from FERC Order 693.

| Anticipated Actions | Anticipated Date |
| --- | --- |
| 30-day Formal Comment Period | September 2010 |
| 45-day Formal Comment Period with Parallel Initial Ballot | October 2010 |
| 30-day Formal Comment Period with Parallel Successive Ballot | December 2010 |
| Recirculation ballot | December 2010 |
| BOT adoption | December 2010 |

# Effective Dates

First day of the second calendar quarter following the date this standard is approved by applicable regulatory authorities, or in those jurisdictions where regulatory approval is not required the standard becomes effective on the first day of the second calendar quarter after the date this standard is approved by the NERC Board of Trustees

# Version History

| Version | Date | Action | Change Tracking |
| --- | --- | --- | --- |

# Definitions of Terms Used in Standard

This section includes all newly defined or revised terms used in the proposed standard.  Terms already defined in the Reliability Standards Glossary of Terms are not repeated here.  New or revised definitions listed below become approved when the proposed standard is approved.  When the standard becomes effective, these defined terms will be removed from the individual standard and added to the Glossary.

### None

When this standard has received ballot approval, the text boxes will be moved to the Application Guidelines Section of the Standard.

Introduction

Title:	Intra-Balancing Authority Transaction Identification

Number:	INT-012-1

Purpose:	To ensure that internal point-to-point transactions, including grandfathered and “non-Order No. 888” transfers, that do not involve Interchange are communicated and accounted for in congestion management tools (for example: the NERC Interchange Distribution Calculator (IDC), the WECC Security Analysis System (SAS)).

Applicability:

### Functional Entities:

### Purchasing-Selling Entity

### Facilities:

### Balancing Authority

Background:

Text

Requirements and Measures

Rationale for R1:The source and sink can be the same on an RFI.

Each Purchasing-Selling Entity that uses Point to Point Transmission Service (including grandfathered and non-Order No. 888 Point to Point Transmission Service) for intra-Balancing Authority Area that is not already accounted for as Market Flow shall submit a Request for Interchange representing the usage to the Balancing Authority associated with the associated Transmission Service Provider. [Violation Risk Factor: Medium] [Time Horizon: Operations Planning, Same-Day]

Each Purchasing-Selling Entity shall have evidence (such as dated and time-stamped electronic records, Requests for Interchange, documentation of Market Flow, or other evidence) that for any transfer using Point to Point Transmission Service (including grandfathered and non-Order No. 888 Point to Point Transmission Service) for intra-Balancing Authority Area transfers not already accounted for as market flow, it submitted a Request for Interchange to the Balancing Authority associated with the Transmission Service Provider. (R1)

Rationale for R2:

Each Balancing Authority shall exclude confirmed intra-Balancing Authority Area transfers using Point to Point Transmission Service (including grandfathered and “non-Order No. 888” Point to Point Transmission Service) from its Composite Confirmed Interchange. [Violation Risk Factor: Medium] [Time Horizon: Real Time Operations]

Each Balancing Authority shall have evidence (such as dated and time-stamped electronic records or other evidence) that it did not include confirmed intra-Balancing Authority Area transfers using Point to Point Transmission Service (including grandfathered and “non-Order No. 888” Point to Point Transmission Service) in its Composite Confirmed Interchange. (R2)

Compliance

- Compliance Monitoring Process

  - Compliance Enforcement Authority

Regional Entity

  - Evidence Retention

- The Purchasing-Selling Entity, and Balancing Authority shall each keep data or evidence to show compliance as identified below unless directed by its Compliance Enforcement Authority to retain specific evidence for a longer period of time as part of an investigation:

The Purchasing-Selling Entity shall maintain evidence to show compliance with R1 for the most recent 3 months plus the current month.

The Balancing Authority shall maintain evidence to show compliance with R2 for the most recent 3 months plus the current month.

- If a Purchasing-Selling Entity or Balancing Authority is found non-compliant, it shall keep information related to the non-compliance until found compliant.

- The Compliance Enforcement Authority shall keep the last audit records and all requested and submitted subsequent audit records.

  - Compliance Monitoring and Assessment Processes:

- Compliance Audits

- Self-Certifications

- Spot Checking

- Compliance Violation Investigations

- Self-Reporting

Complaints

  - Additional Compliance Information

None

- Table of Compliance Elements

| - R # | - Time Horizon | - VRF | - Violation Severity Levels |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | - Lower VSL | - Moderate VSL | - High VSL | - Severe VSL |
| - R1 | - Operations Planning, Same-Day | - Medium | - N/A | - N/A | - N/A | - The Purchasing-Selling Entity used Point to Point Transmission Service for an intra-Balancing Authority Area transfer, and did not account for that transfer through a Request for Interchange or Market Flow. |
| - R2 | - Real Time Operations | - Medium | - N/A | - N/A | - N/A | - The Balancing Authority included a confirmed intra-Balancing Authority Area transfer using Point to Point Transmission Service in its Composite Confirmed Interchange. |

Regional Variances

- None.

Interpretations

- None.

Associated Documents

- None.

- Guidelines and Technical Basis

- Requirement R1:

- Requirement R2:

- Requirement R3: