# Standard Development Timeline

This section is maintained by the drafting team during the development of the standard and will be removed when the standard becomes effective.

### Development Steps Completed

- SAR posted for comment (July 2, 2008 through July 31, 2008).

- Revised SAR and response to comments posted (December 1, 2008).

- SC authorized moving the SAR forward to standard development (December 16–17, 2008).

- SDT appointed on (February 12, 2009).

- First draft of proposed standard posted (November 10, 2009).

- Second draft of proposed standard posted (May 31, 2010).

### Description of Current Draft

This is the second draft of the proposed standard posted for stakeholder comments.  This draft includes the modifications based on comments submitted by stakeholders, as well as items identified in the SAR and applicable FERC directives from FERC Order 693.

| Anticipated Actions | Anticipated Date |
| --- | --- |
| 30-day Formal Comment Period | September 2010 |
| 45-day Formal Comment Period with Parallel Initial Ballot | October 2010 |
| 30-day Formal Comment Period with Parallel Successive Ballot | December 2010 |
| Recirculation ballot | December 2010 |
| BOT adoption | December 2010 |
| File standard with regulatory authorities. | February 2011 |

# Effective Dates

First day of the second calendar quarter following the date this standard is approved by applicable regulatory authorities, or in those jurisdictions where regulatory approval is not required, the standard becomes effective on the first day of the second calendar quarter after the date this standard is approved by the NERC Board of Trustees.

# Version History

| Version | Date | Action | Change Tracking |
| --- | --- | --- | --- |

# Definitions of Terms Used in Standard

This section includes all newly defined or revised terms used in the proposed standard.  Terms already defined in the Reliability Standards Glossary of Terms are not repeated here.  New or revised definitions listed below become approved when the proposed standard is approved.  When the standard becomes effective, these defined terms will be removed from the individual standard and added to the Glossary.

Attaining Balancing Authority: A Balancing Authority bringing generation or load into its effective control boundaries through a dynamic transfer from the Native Balancing area.

Native Balancing Area: A Balancing Authority from which a portion of its physically interconnected generation and/or load is transferred from its effective control boundaries to the attaining balancing area through a dynamic transfer.

Dynamic Schedule: A time-varying energy transfer that is updated in real time and included in the Net Interchange Scheduled term in the same manner as an Interchange Schedule in the affected Balancing Authorities’ control ACE equations (or alternate control processes).

When this standard has received ballot approval, the text boxes will be moved to the Application Guidelines Section of the Standard.

Introduction

Title:	Implementation of Dynamic Schedules

Number:	INT-013-1

Purpose:	To describe responsibilities and actions necessary to reliably implement Dynamic Schedules.

Applicability:

### Functional Entities:

- Balancing Authority

### Facilities:

Background:

Text

Requirements and Measures

Rationale for R1:

For Balancing Authorities participating in a Dynamic Schedule, the Source Balancing Authority, Sink Balancing Authority, and any Intermediate Balancing Authority that schedules in-kind losses in real-time shall use agreed upon values to account for the Dynamic Schedule in the Net Interchange Schedule term of its control ACE (or alternate control process).

  - Under normal operations, each Balancing Authority shall use a dynamic value that emanates from an agreed upon common source.

  - Following any loss of telemetry or loss of communication related to telemetry, each Balancing Authority shall use an agreed upon value until such time as the telemetry or communication is re-established.

  - Following any reliability adjustments to a Dynamic Schedule, each Balancing Authority shall use agreed upon values that ensure any limit established by the reliability adjustment is not exceeded.

The Balancing Authority shall have evidence (such as dated and time-stamped electronic logs or other evidence) that it used agreed upon values to account for the Dynamic Schedule in the Net Interchange Schedule term of its control ACE (or alternate control process). (R1)

Rationale for R2: Load forecast goes into SDX which feeds models.

The Native Balancing Authority shall include in its load forecast any Load in its Balancing Area being served by a Dynamic Schedule.

The Native Balancing Authority shall have evidence (such as dated and time-stamped electronic logs or other evidence) that it include in its load forecast any Load in its Balancing Area being served by a Dynamic Schedule. (R2)

Rationale for R3: BAL-002 implications

Each Attaining Balancing Authority shall incorporate resources attained via Dynamic Schedules into its processes for establishing Contingency Reserve requirements, as well as for the purposes of measuring Contingency Reserve response.

The Attaining Balancing Authority shall have evidence (such as dated and time-stamped electronic logs or other evidence) that incorporate resources attained via Dynamic Schedules into its processes for establishing Contingency Reserve requirements, as well as for the purposes of measuring Contingency Reserve response. (R3)

Rationale for R4: ACE or control algorithm uses frequency bias in controlling load / generation balance.

When determining the minimum frequency bias setting, the Native Balancing Authority shall include Load in its Balancing Area being served by Dynamic Schedules in its peak load calculation.

The Balancing Authority shall have evidence (such as dated and time-stamped electronic logs or other evidence) that it include Load in its Balancing Area being served by Dynamic Schedules in its peak load calculation when determining the minimum frequency bias setting. (R4)

Compliance

- Compliance Monitoring Process

  - Compliance Enforcement Authority

Regional Entity

  - Evidence Retention

TBD

  - Compliance Monitoring and Assessment Processes:

- Compliance Audits

- Self-Certifications

- Spot Checking

- Compliance Violation Investigations

- Self-Reporting

Complaints

  - Additional Compliance Information

None

- Table of Compliance Elements

| - R # | - Time Horizon | - VRF | - Violation Severity Levels |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | - Lower VSL | - Moderate VSL | - High VSL | - Severe VSL |
| - R1 |  |  |  |  |  |  |
| - R2 |  |  |  |  |  |  |
| - R3 |  |  |  |  |  |  |
| - R4 |  |  |  |  |  |  |

Regional Variances

- None.

Interpretations

- None.

Associated Documents

- None.

- Guidelines and Technical Basis

- Requirement R1:

- Requirement R2:

- Requirement R3: