Please DO NOT use this form to submit comments.  Please use the electronic comment form located at the link below to submit comments on the SAR and proposed modification to the definition of Bulk Electric System (Project 2010-17).  The electronic comment form must be submitted by January 21, 2011.

http://www.nerc.com/filez/standards/Project2010-17_BES.html

If you have questions please contact Ed Dobrowolski at Ed.Dobrowolski@nerc.net or by telephone at 609-947-3673.

Background:

FERC issued Order 743 on November 18, 2010 with the directives identified below:

16. After consideration of the comments submitted, the Commission adopts the NOPR’s proposal with some modifications. The Commission directs the ERO to revise the definition of “bulk electric system” through the NERC Standards Development Process to address the Commission’s concerns discussed herein. The Commission believes the best way to address these concerns is to eliminate the Regional Entities’ discretion to define “bulk electric system” without ERO or Commission review, maintain a bright-line threshold that includes all facilities operated at or above 100 kV except defined radial facilities, and adopt an exemption process and criteria for excluding facilities that are not necessary to operate an interconnected electric transmission network. However, NERC may propose a different solution that is as effective as, or superior to, the Commission’s proposed approach in addressing the Commission’s technical and other concerns so as to ensure that all necessary facilities are included within the scope of the definition.

The BES SAR authors are proposing a revised definition of the term BES to provide improved clarity, to reduce ambiguity and to establish a universal “bright-line” for distinguishing between BES and non-BES Elements and Facilities.

Proposed continent-wide definition of Bulk Electric System:

Bulk Electric System: All Transmission and Generation Elements and Facilities operated at voltages of 100 kV or higher necessary to support bulk power system reliability. Elements and Facilities operated at voltages of 100kV or higher, including Radial Transmission systems, may be excluded and Elements and Facilities operated at voltages less than 100kV may be included if approved through the BES definition exemption process.

This proposed definition provides consistency across the continent’s reliability regions by establishing a definition that clearly describes what constitutes BES and non-BES Elements and Facilities. The BES definition references an exemption process (which may include regional differences as defined by Order 672 or jurisdictional exemptions as appropriate for those entities not subject to Section 215 of the Federal Power Act) that can be used to:

- Identify the Radial Transmission systems that are excluded from the BES;

- Identify Elements and Facilities operated at voltages of 100kV or higher that may be excluded from the BES; and

- Identify Elements and Facilities operated at voltages less than 100kV that may be included in the BES.

The development, approval and application of the BES definition exemption process (including periodic review of exempted facilities) will be governed by revisions to the NERC Rules of Procedure, in close coordination with the revision of the BES definition.

Information collected from the following questions will assist both the BES Drafting Team and the group working to develop a BES Definition Exception Process.

- Should the following should be classified as part of the BES?

- Transformers, other than Generator Step-up  (GSU) transformers, including Phase Angle Regulators, with both primary and secondary windings of 100 kV or higher

Yes		  No

Comments:

- Should the following be classified as part of the BES?

- Individual generation resources (including GSU transformers and the associated generator interconnecting line lead(s)) greater than 20 MVA (gross nameplate rating)  directly connected via a step-up transformer(s) to Transmission Facilities operated at voltages of 100 kV or above

Yes		  No

Comments:

- Should the following be classified as part of the BES?

- Generation plants (including GSU transformers and the associated generator interconnecting line lead(s))with aggregate capacity greater than 75 MVA (gross nameplate rating)  directly connected via a step-up transformer(s) to Transmission Facilities operated at voltages of 100 kV or above

Yes		  No

Comments:

- Should the following be classified as part of the BES?

- Blackstart Resources and the designated blackstart Cranking Paths identified in the Transmission Operator’s (TOP’s) restoration plan

Yes		  No

Comments:

- Should the following be classified as part of the BES?

- Transmission Elements or Facilities operated at voltages below 100kV where the exemption process deems the Element or Facility to be included in the BES

Yes		  No

Comments:

- Should the following be classified as part of the BES?

- Individual generation resources greater than 20 MVA (gross nameplate rating)  directly connected via a step-up transformer(s) to Facilities operated at voltages below 100kV where the exemption process deems the generation resources to be included in the BES

Yes		  No

Comments:

- Should the following be classified as part of the BES?

- Generation plants with aggregate capacity greater than 75 MVA (gross nameplate rating) directly connected via a step-up transformer(s) to Facilities operated at voltages below 100kV where the exemption process deems the generation plants to be included in the BES

Yes		  No

Comments:

- Should the following be excluded from the Elements and Facilities classified as part of the BES?

- Any radial Transmission Element or System, connected from one Transmission source to a Load-serving Element and/or generation resources not included in items 2, 3, 4, 6, and 7 above are excluded from the BES

Yes		  No

Comments:

- Should the following be excluded from the Elements and Facilities classified as part of the BES?

- Elements and Facilities identified through application of the exemption process, consistent with the criteria, where the exemption process deems that the Element or Facility should be excluded  from the BES (with concurrence from the ERO)

Yes		  No

Comments:

- Should the following be excluded from the Elements and Facilities classified as part of the BES?

- Generating plant control and operation functions which include relays and systems that control and protect the unit for boiler, turbine, environmental, and/or other plant restrictions.

Yes		  No

Comments:

- Do you believe that the proposed definition of BES, accompanied by a separate BES Definition Exception Process meets the reliability-related intent of the directives in Order 743?

Yes		  No

Comments:

- If you have a proposal for an equally efficient and effective method of achieving the reliability-related intent of the directives in Order 743, please provide your proposal here.

Comments:

- Please provide any other information that you feel would be helpful to the drafting team working on the definition of BES.

Comments: