### UNOFFICIAL Comment Form for Reliability Coordination — Project 2006-06

Please DO NOT use this form.  Please use the electronic comment form located at the link below to submit comments on the proposed revisions to the standards for Project 2006-06: Reliability Coordination.  Comments must be submitted by August 9, 2009.  If you have questions please contact Stephen Crutchfield at stephen.crutchfield@nerc.net  or by telephone at 609-651-9455.

http://www.nerc.com/filez/standards/Reliability_Coordination_Project_2006-6.html

### Background Information:

The Reliability Coordination Standards Drafting Team (RC SDT) was tasked with 1) ensuring that the reliability-related requirements applicable to the Reliability Coordinator are clear, measurable, unique and enforceable, 2) ensuring that this set of requirements is sufficient to maintain reliability of the Bulk Electric System, and 3) revising the group of standards based on FERC Order 693.

During the course of the project, the NERC standards staff revised the Reliability Standards Development Plan and noted several areas of overlapping scope between certain projects.  The original SAR for Project 2006-06 called for revisions to PER-004 — Reliability Coordination – Staffing and PRC-001 — System Protection Coordination.  Based on scope overlap, it was determined that PER-004 and PRC-001 would best be served by moving the proposed work to Project 2006-01: System Personnel Training and Project 2007-06: System Protection, respectively.

The RC SDT proposed revisions to the set of standards under the project in August and September 2008.  The RC SDT made revisions to the set of standards based on stakeholder feedback and the results of the IROL Standards Drafting Team work.  Since the inception of this project, the IROL Standards Drafting Team has proposed, successfully balloted and obtained NERC Board of Trustees approval for three new Standards which included revisions to other IRO standards.  With the approval of the IROL set of standards, certain requirements were retired from other IRO standards (see below summaries for specific examples under the RC SDT project).

Requirements, Measures and Violation Severity Levels in COM-001-2

Requirements:  The RC SDT received several comments regarding the intent of the term “telecommunications facilities”.  For COM-001-2, the RC SDT envisions telecommunications to be voice or message communication between operating personnel.  The standard has been renamed “Communications” and the term “telecommunications facilities” was replaced with “interpersonal communications capabilities” throughout the standards to better reflect the intent of the RC SDT.

We also received comments regarding the applicability of the standard that suggested adding other entities listed in IRO-001 (LSE, PSE, and TSP).  The RC SDT contends that, in order to receive and carry out directives, an entity must be able to communicate with the RC…either directly or through other entities (e.g. – a DP may receive the directive from the TOP who received it from the RC).  We have not expanded the applicability of Requirements R1 and R2 as suggested as we feel that this expands the standard beyond the reliability - it is not necessary nor is it practical, for reliability purposes, for every entity to have normal and back-up interpersonal communications capabilities with every other entity.

Other commenters had concerns with regard to R2 and the intent with regard to length of outages.  The requirement was revised as:

R2.  Each Reliability Coordinator, Transmission Operator and Balancing Authority shall notify impacted entities within 60 minutes of the detection of a failure (30 minutes or longer) of its normal interpersonal communications capabilities. [Violation Risk Factor: Medium][Time Horizon:  Real-time Operations]

R3 was expanded to include the Transmission Service Provider, Load-Serving Entity, and Purchasing-Selling Entity – to ensure that they use the English language for inter-entity communications.  The informational (last) sentence of R3 was removed per stakeholder suggestions.

Measures:  Commenters suggested general as well as specific revisions to the measures.  One general comment suggested making the language consistent among the measures regarding evidence.  M1-M3 were revised to include the phrase “shall have and provide upon request evidence that …”.

Several commenters suggested revisions to M3.  The RC SDT revised M3 based on the comments received suggesting that the applicability be expanded to include Generator Operators, Distribution Providers, Transmission Service Providers, Purchasing-selling Entities and Load-Serving Entities.  Several entities commented that M3 did not match R3 which included an explanatory sentence that allowed an entity to use a language other than English for its internal communications. The informational second sentence was removed from Requirement R3, thus eliminating the “disconnect” between the requirement and the measure.  All measures were revised as necessary to reflect revisions to requirements.

VSLs:  The RC SDT made revisions to the VSLs based on the comments received and also to reflect revisions to the associated requirements.  We received comments that the VSLs for R1 and R2 were based on multiple violations.  We agreed and revised the VSLs to reflect a single violation.

Requirements, Measures and Violation Severity Levels in COM-002-3

The work of the IROL SDT resulted in the retirement of R1 from the standard.  The RC SDT received comments recommending expanding the applicability of the standard and separating Requirement R1 into two distinct requirements.  The applicability was expanded to include Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, Transmission Service Provider, Load-Serving Entity, Distribution Provider, and Purchasing-Selling Entity.  The requirements were revised to:

R1.  Each Reliability Coordinator, Transmission Operator, and Balancing Authority that issues a directive associated with real-time operational emergency conditions shall require the recipient of the directive to repeat the intent of the directive back; and shall acknowledge the response as correct or repeat the original statement to resolve any misunderstandings. [Violation Risk Factor: High][Time Horizon:  Real-Time]

R2.  Each Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, Transmission Service Provider, Load-Serving Entity, Distribution Provider, and Purchasing-Selling Entity that is the recipient of a directive issued per Requirement R1 shall repeat the intent of the directive back to the issuer of the directive.  [Violation Risk Factor: High][Time Horizon:  Real-Time]

The purpose statement was also revised to reflect the revisions to the standard:

To ensure communications by operating personnel are effective.

The RC SDT received comments recommending expanding the applicability of the standard and separating Requirement R1 into two distinct requirements.  The applicability was expanded to include Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, Transmission Service Provider, Load-Serving Entity, Distribution Provider, and Purchasing-Selling Entity.  The measures were revised to:

M1.	Each Reliability Coordinator, Transmission Operator, and Balancing Authority that issues a directive associated with real-time operational emergency conditions shall have evidence such as voice recordings or transcripts of voice recordings to show that it required the recipient of the directive to repeat the intent of the directive back; and acknowledged the response as correct or repeated the original statement to resolve any misunderstandings.

M2.	Each Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, Transmission Service Provider, Load-Serving Entity, Distribution Provider, and Purchasing-Selling Entity that is the recipient of a directive issued per Requirement R1 shall have evidence such as voice recordings or transcripts of voice recordings to show that it repeated the intent of the directive back to the issuer of the directive.

The RC SDT received comments recommending revisions to the VSLs based on revisions to the requirements and measures.  The RC SDT did this and created new VSLs for new Requirement R2.

Requirements, Measures and Violation Severity Levels in IRO-001-2

The RC SDT has received a notable number of comments suggesting edits to the proposed requirements and measures for the draft standard, particularly regarding the phrase “without intentional delay.”  The comments do not oppose the objective of the phrase, but often point out the issues of measuring intent and measuring delay time.

To maintain the intent while improving the measurability of the requirement, the SDT proposes to modify the standard as follows: delete the phrase ‘without intentional delay’ and leave the obligation of response and timing an unstated requirement of R1 “The RC shall act or direct actions…”

An RC that requires a given action in a given time will be expected to inform the impacted entities of those actions and time requirements.  This would obviate the need for providing a measure for “intent”, but still maintain the reliability intent of the original requirement.

The VSLs were revised to reflect revisions to the requirements as well as the comments of stakeholders.  Several comments suggested that there was no fundamental difference between the RC “acting” or “directing actions”.  The RC SDT agreed and removed the High VSL for R1 and revised the Severe VSL accordingly.  Other commenters suggested removing the High VSL from R2 as the VSL contradicted the requirement.  The RC SDT agreed and removed the VSL.

Requirements, Measures and Violation Severity Levels in IRO-002-2

Since the inception of this project (2006-06), the IROL Standards Drafting Team has proposed, successfully balloted and obtained NERC Board of Trustees approval for a new Standard IRO-010-1:  Reliability Coordinator Data Specification and Collection.  The work of the IROL SDT retired IRO-002-2 Requirement R1.  The team received comments expressing concern about eliminating the requirement in IRO-002 to monitor frequency.  While the Standard Drafting Team (SDT) recognizes the concern raised, the SDT is even more concerned with the subjectivity that any attempt to measure “Monitoring” can provide. It is the SDT’s contention that adherence to reliability standards that require the said monitoring cannot be demonstrated unless the entity is closely monitoring the system parameters. Furthermore, the SDT contends that any requirements that describe the monitoring facilities needed to fulfill fundamental duties should be embedded in entity certification requirements.  With IRO-014 and IRO-001 R1 in place, the actual act of monitoring is a secondary task that is inherent in responding to situations or events that could have an adverse impact on reliability.  The team declined to delete R2 (Reliability Coordinator veto over analysis tool outages) as it was a specific recommendation from the 2003 Blackout report.  This requirement was revised and moved into IRO-001-2 as R6.

Stakeholders indicated that R6 (previously IRO-002 R2) is a “binary” requirement and the Lower VSL was deleted and the Severe VSL was revised based on those comments.

Retirement of IRO-005-1

Several commenters had concerns around removing the requirement to monitor frequency (IRO-005-1 R8).  The intent of this monitoring activity was incorporated into IRO-002-2, R1.  Other commenters had concerns with the removal of other monitoring requirements in the standard.  While the Standard Drafting Team (SDT) recognizes the concern raised, the SDT is even more concerned with the subjectivity associated with any attempt to measure “Monitoring.”  It is the SDT’s contention that adherence to reliability standards that require the said monitoring cannot be demonstrated unless the entity is closely monitoring the system parameters. Furthermore, the SDT contends that any requirements that describe the monitoring facilities needed to fulfill fundamental duties should be embedded in entity certification process requirements.  With IRO-014 and IRO-001 R1 in place, the actual act of monitoring is a secondary task that is inherent in responding to situations or events that could have an adverse impact on reliability.

Requirements, Measures and Violation Severity Levels in IRO-014-2

Several commenters expressed concerns with the term “impacted” and suggested replacing this with “other”.  The RC SDT believes “impacted” directly relates to the purpose statement.  Additionally, replacing “one or more other” with “impacted” does tighten the requirement and removes ambiguity. The RC SDT does not intend for non-contiguous Reliability Coordinators to have “Reliability Coordinator Agreements”, but to have Procedures, Processes, or Plans with impacted reliability coordinators.  Other commenters suggested striking the term “as a minimum” in R1 and the RC SDT agrees and has modified R1 accordingly.  Some commenters did not agree with the wording of the new requirements in IRO-014 that were formerly in IRO-016.  The RC SDT reviewed the Implementation Plan for IRO-016 and its requirements and made some revisions to the requirements listed in IRO-014-2.  There are now 4 requirements:

R5.  Each Reliability Coordinator, upon identification of an Adverse Reliability Impact, shall notify impacted Reliability Coordinators.  [Violation Risk Factor: Medium] [Time Horizon: Operations Planning, Same Day Operations and Real-time Operations]

R6.  Each impacted Reliability Coordinator shall operate as though the problem exists when the identified Adverse Reliability Impact cannot be agreed to by the impacted Reliability Coordinators.  [Violation Risk Factor: Medium] [Time Horizon: Operations Planning, Same Day Operations and Real-time Operations]

R7.  The Reliability Coordinator with the identified Adverse Reliability Impact shall develop a mitigation plan when the impacted Reliability Coordinators can not agree that the problem exists.  [Violation Risk Factor:  Medium][Time Horizon: Operations Planning, Same Day Operations and Real-time Operations]

R8.  Each impacted Reliability Coordinator shall implement the mitigation plan developed by the Reliability Coordinator that has the identified Adverse Reliability Impact when the impacted Reliability Coordinators can not agree on a mitigation plan,  [Violation Risk Factor:  Medium][Time Horizon:  Operations Planning, Same Day Operations and Real-time Operations]

Several commenters suggested that the High and Severe VSLs for R2 contradicted the requirement.  The RC SDT agreed and removed the “nots” from the VSLs.  Several commenters had suggested revisions for the VSLs for R6.  This requirement was imported from IRO-016 and several commenters suggested expanding the set of requirements regarding the mitigation plan.  New VSLs were developed for these requirements.

Retirement of IRO-015-2

Stakeholders agreed with the proposed revisions and this is not being re-posted for comment.

Requirements of IRO-016-1

Stakeholders agreed with the concept of moving the requirements of IRO-016-1 into IRO-014-2.  Some commenters did not agree with the wording of the new requirements in IRO-014 that were formerly in IRO-016 and the RC SDT revised these requirements in support of stakeholder comments.  There are now 4 requirements, rather than 2, that address Reliability Coordinator actions when a Reliability Coordinator identifies an Adverse Reliability Impact.   New measures and VSLs were developed to support these revised requirements.

Proposed Effective Dates

The RC SDT received comments that COM-001-2, R5 should have an effective date immediately upon regulatory approval.  The RC SDT agrees and will request an effective date that is the first possible effective date – the first day of the first calendar quarter following applicable regulatory approval – or in those jurisdictions where no regulatory approval is required, the first day of the first calendar quarter following Board of Trustees adoption.

The Reliability Coordination Drafting Team would like to receive industry comments on these changes.  The RC SDT asks that you review the revised standards and answer the following questions by August 9, 2009.

- Do you agree with the revisions made to the Requirements in COM-001-2 as shown in the posted Standard?  If not, please explain in the comment area.

Yes

No

Comments:

- Do you agree with the revisions made to the Measures in COM-001-2 as shown in the posted Standard?  If not, please explain in the comment area.

Yes

No

Comments:

- Do you agree with the revisions made to the Violation Severity Levels in COM-001-2 as shown in the posted Standard?  If not, please explain in the comment area.

Yes

No

Comments:

- Do you agree with the revisions made to the Requirements in COM-002-3 as shown in the posted Standard?  If not, please explain in the comment area.

Yes

No

Comments:

- Do you agree with the revisions made to the Measures in COM-002-3 as shown in the posted Standard?  If not, please explain in the comment area.

Yes

No

Comments:

- Do you agree with the revisions made to the Violation Severity Levels in COM-002-3 as shown in the posted Standard?  If not, please explain in the comment area.

Yes

No

Comments:

- Do you agree with the revisions to the definition of Adverse Reliability Impacts (IRO-001-2)?  If not, please explain in the comment area.

Yes

No

Comments:

- Do you agree with the revisions to the Requirements in IRO-001-2 as shown in the posted Standard?  If not, please explain in the comment area.

Yes

No

Comments:

- Do you agree with the revisions to the Measures in IRO-001-2 as shown in the posted Standard?  If not, please explain in the comment area.

Yes

No

Comments:

- Do you agree with the revisions to the Violation Severity Levels in IRO-001-2 as shown in the posted Standard?  If not, please explain in the comment area.

Yes

No

Comments:

- Do you agree with the revisions to the Requirements in IRO-014-2 as shown in the posted Standard?  If not, please explain in the comment area.

Yes

No

Comments:

- Do you agree with the revisions to the Measures in IRO-014-2 as shown in the posted Standard?  If not, please explain in the comment area.

Yes

No

Comments:

- Do you agree with the revisions to the Violation Severity Levels in IRO-014-2 as shown in the posted Standard?  If not, please explain in the comment area.

Yes

No

Comments:

- If you have any other comments, not expressed in questions above, for the RC SDT on any of the other changes made to this set of standards and their associated implementation plans, please provide them here.

Comments: