Unofficial Comment Form

Project 2021-04 Modifications to PRC-002 – Phase II

**Do not** use this form for submitting comments. Use the [Standards Balloting and Commenting System (SBS)](https://sbs.nerc.net/) to submit comments on **Project** **2021-04 Modifications to PRC-002 – Phase II** by **8 p.m. Eastern, Thursday, April 11, 2024.**

Additional information is available on the [project page](https://www.nerc.com/pa/Stand/Pages/Project-2021-04-Modifications-to-PRC-002-2.aspx). If you have questions, contact Senior Standards Developer, Ben Wu (via email), or at 470-542-6882.

## Background Information

This project will be completed in two phases. The first phase addressed the scope regarding notifications relative to the sequence of events recording (SER) and fault recording (FR) data, and to clearly identify the BES Element owners that need to have SER and FR data for transformers and transmission lines with the associated identified bus in the Glencoe Light and Power SAR.

The second phase will address gaps the Inverter-Based Resource Performance Task Force (IRPTF) identified within the PRC-002. The goal is to modify the requirements to ensure adequate data is available and periodically assessed to facilitate the analysis of BES disturbances, including in areas of the Bulk Power System (BPS) that may not be covered by the existing requirements.

## Questions

1. Do you agree with the modification in “Applicability, Section 4.2. Facilities” in PRC-002-5 and PRC-028-1?

[ ]  Yes

[ ]  No

Comments:

1. Do you agree the modifications made in PRC-002-5 and new Standard PRC-028-1 are cost effective?

[ ]  Yes

[ ]  No

Comments:

1. Do you agree with the Implementation Plan for revised PRC-002-5 and new Standard PRC-028-1?

[ ]  Yes

[ ]  No

Comments:

1. Do you agree with introduction of Requirement R9 in PRC-028-1 requiring Entities of an applicable facility that is in commercial operation before the effective date of this standard that is not able to install disturbance monitoring equipment in accordance with Requirements R1 through R7 in the time provided for compliance to develop, maintain, and implement a Corrective Action Plan?

[ ]  Yes

[ ]  No

Comments:

1. Provide any additional comments for the standard drafting team to consider, if desired.

Comments: