## Public CIP SNOP Posting
Region | Registered EntityName | NCR | NERC Violation ID | Notice of Confirmed Violation or Settlement Agreement | Description of the Violation | Reliability Standard | Req. | Violation Risk Factor | Violation Severity Level | Risk Assessment | Violation Start Date | Violation End Date | Total Penalty or Sanction ($) | Method of Discovery | Description of Mitigation Activity | Mitigation Completion Date | Date Regional Entity Verified Completion of Mitigation | "Admits," "Agrees/Stipulates," "Neither Admits nor Denies," or "Does Not Contest" | Other Factors Affecting the Penalty Determination, including Compliance History, Internal Compliance Program and Compliance Culture
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 1 (SERC_URE1) | NCRXXXXX | SERC2015015285 | Settlement Agreement | SERC_URE1 submitted a Self-Report stating that it was in violation of CIP-004-3a R4.1. Four months later, SERC_URE1 submitted a second Self-Report involving a violation of CIP-004 R4, which SERC consolidated into the original Self-Report as an expansion of scope. Over the next nine months, SERC_URE1 submitted four additional expansions of scope involving CIP-004 R4. SERC_URE1 did not update its list of personnel with access to Critical Cyber Assets (CCAs) or revoke unneeded access within seven days of changes of personnel in 15 separate instances. Self-Report 1: SERC_URE1 completed an extent of condition for an affiliate’s violation of CIP-004 R4 and discovered that it had eight separate access list violations. These eight instances were historic issues found in prior quarterly access reviews and led to the first Self-Report in this violation. Four months after the extent of condition, SERC_URE1 performed its third quarter access review and discovered it did not remove three employees’ access or update the access list within seven days. Instance 1: A system operations center manager transitioned to a new role within a SERC_URE1 affiliate and no longer needed access, but SERC_URE1 did not revoke physical access or update the access list within the required seven days. SERC_URE1 revoked physical access for this individual approximately seven months later. Instance 2: an employee was transitioning to a different position within the organization and did not require CIP access (physical and electronic). SERC_URE1 initiated a change management ticket to revoke access, but personnel did not complete the change management ticket. Approximately 11 months later, SERC_URE1 revoked the account access. This SERC_URE1 employee had access to one PSP. Instance 3: SERC_URE1 identified a contractor who no longer required electronic access to CCAs due to voluntarily leaving the employment of SERC_URE1. SERC_URE1 revoked access on the same day, but did not update the access list. Nine months later, SERC_URE1 issued an access revocation ticket after the second quarter review of 2015 and it terminated the access. In early 2015, SERC_URE1 performed its fourth quarter access list review and discovered five additional instances of noncompliance. Instance 1: SERC_URE1 did not revoke electronic access for an IT contractor that changed positions within the organization. SERC_URE1 discovered that the IT contractor no longer required CIP access and revoked physical access a day later. SERC_URE1’s access role tracking system did not show that the IT contractor also had electronic access; therefore, SERC_URE1 did not revoke electronic access. SERC_URE1 revoked the IT contractor’s electronic access the same day as discovery. Instances 2-5: SERC_URE1 failed to update the access list for four contractors that had electronic access revoked due to a reassignment within SERC_URE1 (no physical access was enabled). SERC_URE1 discovered that it did not update the access list upon contractor’s access revocation. SERC_URE1 corrected the access list to reflect the contractor has revoked access. SERC_URE1 later determined that two of the contractors had access to a CCA that was later determined not to be a CCA. Self-Report 2: SERC_URE1 submitted a Self-Report stating that an electronic access revocation and list update did not occur within seven days. A SERC_URE1 employee’s FERC training test date expired, which initiated an automatically generated revocation request. SERC_URE1 requires that employees with CIP access also be current on FERC testing. Approximately 6 months later, SERC_URE1 revoked the employee’s electronic access and updated the access list. SERC_URE1 confirmed that the employee did not use the account during the time in question. Scope Expansions: While SERC was performing its assessment and determining the scope of the violation, SERC_URE1 submitted the following scope expansions. Issue 1: SERC_URE1 submitted a scope expansion because it did not revoke an employee’s electronic access or update the access list within seven days. A SERC_URE1 employee accepted a new position within the organization and CIP access was no longer required. Two weeks later, during an internal control review SERC_URE1 discovered that it did not revoke the employee’s electronic access or update the access list. The next day, SERC_URE1 completed the access removal. This employee did not have access to PSPs or CCAs, but had access to the Active Directory and the ability to modify access permissions. Issue 2: SERC_URE1 submitted an additional scope expansion stating that SERC_URE1 conducted its third quarter access review and discovered that it did not revoke physical access on an account for a contractor that was terminated not-for-cause. Almost two months before the discovery, SERC_URE1 terminated a contracted security officer and there were two accounts associated to the officer’s badge. One of the accounts allowed physical access to CIP assets. On the date of discovery SERC_URE1 disabled the user’s additional account associated with the badge, thus revoking CIP access. Issue 3: SERC_URE1 submitted an additional scope expansion stating that, SERC_URE1 completed its second quarter access review, as part an internal control, and discovered two instances where SERC_URE1 did not revoke access within the appropriate period. Instance 1: SERC_URE1 initiated a removal of access for the removal of physical and electronic access for one of its employees. The access management software failed to initiate a workflow ticket in SERC_URE1’s task management software and the access revocation workflow did not occur, leaving the employee with physical and electronic access. SERC_URE1 removed the employee’s access approximately two months later. Instance 2: SERC_URE1 initiated a request for removal of a physical access role for one of its employees. The access management software again failed to generate a workflow ticket in the SERC_URE1 task management software and therefore the employee’s physical access remained. SERC_URE1 removed the individual’s access approximately a month and a half later. Issue 4: SERC_URE1 submitted an additional scope expansion stating that SERC_URE1 conducted its quarterly review of access permissions and identified two employees that retained physical access more than seven days after access was deemed no longer needed. Instance 1: SERC_URE1 initiated physical access revocation for an employee who was transferring departments. Approximately one month later, the SERC_URE1 IT group discovered this violation while looking at unworked work orders. SERC_URE1 revoked access on the same day. This failure occurred due to an informal notification process and work orders that went unresolved within the system. Instance 2: SERC_URE1 identified an employee who no longer required physical access to CCAs, and decided to revoke the physical access. The new supervisor had not been trained on how to revoke access, so no work orders were initiated. SERC_URE1 discovered this violation and initiated physical access revocation for an employee who had transferred departments. SERC_URE1 revoked the access the next day. SERC_URE1 determined the root causes of the violations were a combination of insufficiently documented procedures, insufficient training, software malfunctions, and human error. SERC_URE1 managers responsible for revoking access performed the revocation steps incorrectly due to unclear procedures or were not trained prior to being required to initiate access revocation. SERC_URE1 personnel also did not follow its procedures for access management, change management, and internal controls. In one instance, a software program did not initiate a workflow ticket in SERC_URE1’s task management software and the access revocation workflow did not occur. Finally, a vendor employee responsible for reviewing reports used as an internal control to catch access revocation errors stopped reviewing reports after several continuous days with no errors. | CIP-004-3a | R4; R4.1 | Lower | Lower | This violation posed a moderate risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). SERC_URE1’s repeated failure to revoke access to CCAs in a timely manner could permit individuals without authorized access the opportunity to access and modify or corrupt CCAs and potentially affect the SERC_URE1 energy management system or the BPS. Additionally, the failure to maintain an updated access list could hinder SERC_URE1’s ability to know who has access to CCAs and several of the instances lasted for an extended period without being discovered and corrected in intervening quarterly reviews. However, all involved employees had received proper training and personnel risk assessments. SERC_URE1 monitors physical and electronic access for unauthorized access attempts. SERC_URE1 determined that none of the employees involved used or attempted to use their access privileges after the access was no longer required. | eight days after the first individual’s access was no longer necessary | when SERC_URE1 revoked access for the two individuals involved in the third scope expansion | $95,000 (for SERC2015015285, SERC2016015535, SERC2016016373, SERC2016016635, and SERC2016016497) | Self-Report | To mitigate this violation, SERC_URE1: 1) evaluated the process to assign CCA access revocation computer based training to a manager at the time of initial request for CCA access; 2) removed access as required and updated access lists; 3) performed an Extent of Condition; 4) reviewed procedures and process with operations center supervisors; 5) reviewed responsibilities with operations center supervisors; 6) established an access management team which centralizes the provisioning of electronic and physical access; 7) developed a report to monitor the ticket generation to mitigate a known issue of communication errors between the systems. A manual review of this report was established in order to ensure proper action was taken to address the request that failed to generate. The review of this report has since been transitioned to the access management team; 8) defined the access request and revocation process; 9) developed work instructions for badging; 10 developed work instructions locating IDs; 11) developed work instructions to provide clear processes on how tot add a user into the system; 12) assumed internal control from contractors for reviewing daily CIP CCA reports; and 13) revised procedures to address training of supervisors. SERC_URE1 is also deploying a new identity management system in the third quarter of 2018 that will perform reconciliation against the system and identify and report on any entries that do not correlate to an individual. | 2016-11-03 | TBD | Neither Admits nor Denies | SERC reviewed SERC_URE1's internal compliance program (ICP) and considered it to be a neutral factor in the penalty determination. SERC considered SERC_URE1 CIP-004 R4 compliance history in determining the penalty. SERC considered SERC_URE1’s CIP-004-3a R4 compliance history to be an aggravating factor in the penalty determination. SERC considered SERC_URE1 affiliate's CIP-004 R4 compliance history in determining the penalty. SERC determined that SERC_URE1 affiliate’s CIP-004 R4 compliance history should not serve as a basis for aggravating the penalty.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 1 (SERC_URE1) | NCRXXXXX | SERC2016016635 | Settlement Agreement | SERC_URE1 submitted a Self-Report stating that it was in violation of CIP-002-3 R3. SERC_URE1 did not identify all Critical Cyber Assets (CCAs) essential to the operation of the Critical Asset. SERC_URE1 conducted a site walk down of a substation in preparation for CIP Version 5 and discovered two Cyber Assets that it did not identify as CCAs under CIP Version 3. Four years and seven months prior to the discovery, during its annual application of its Risk Based Assessment Methodology (RBAM), SERC_URE1 identified a substation as a Critical Asset. However, SERC_URE1 did not identify two dial-up accessible revenue meters with supervisory control and data acquisition (SCADA) connections providing real-time data into the SERC_URE1 energy management systems (EMS) as CCAs. The root cause of this violation was inadequate training and ineffective procedural controls. The individual involved did not understand how to assess dial-up accessible revenue meters. The two Cyber Assets that were not previously identified constitute a legacy error that occurred during the CIP V3 implementation. SERC_URE1’s review of this instance has determined that the omission of the two meters was due to an ineffective control in place at the time of implementation. While procedures in effect at the time contained the required steps that should have resulted in successful identification, they did not have a consolidated checklist that’s use would ensure review of the device connection type and thus facilitate proper identification. The procedures did not require a formal checklist with focus on connectivity type to help inventory, identify, and classify CCAs as the cause. SERC_URE1 completed its extent-of-condition assessment through the walk down of all its facilities in preparation for CIP Version 5. These two Cyber Assets at this one site were the only deficiencies that SERC_URE1 found. | CIP-002-3 | R3 | High | Severe | This violation posed a moderate risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). SERC_URE1’s failure to identify and protect Cyber Assets as CCAs for almost five years could present a potential attack vector into the Electronic Security Perimeter, where an attacker could compromise or degrade interconnected Cyber Assets and impact SERC_URE1 operations or BPS operations. However, SERC_URE1 had only two Cyber Assets at one site where this situation existed. The two Cyber Assets at issue were within a secured building, which was also within a secured perimeter fence. | when SERC_URE1 identified the Critical Asset through the application of its RBAM but identified no CCAs | when SERC_URE1 classified the devices as CCAs | $95,000 (for SERC2015015285, SERC2016015535, SERC2016016373, SERC2016016635, and SERC2016016497) | Self-Report | To mitigate this violation, SERC_URE1: 1) classified the meters as BES Cyber Assets and all necessary requirements under CIPV6 were applied; 2) removed dial-up from the meters; 3) changed the default passwords; 4) performed an extent of condition review and determined there were no additional instances; 5) implemented its CIP Cyber Asset and BES Cyber System Identification and Categorization procedure; 6) revised its ESP and security zone commissioning procedure to add a column to the checklist that requires the user to focus on the connectivity type of the asset in question, and the for new installations going forward guidance is that if a dial up BCA is identified using the operational deployment compliance review form, the dial up connection will be removed and External Routable Connectivity added, and these changes will be reflected on the operational deployment compliance review form which is supported by the procedure that mandates dial-up is not permitted into the ESP; and 7) utilized its corrective action program administration procedure to assess and correct any deficiencies. | 2017-07-18 | TBD | Neither Admits nor Denies | SERC reviewed SERC_URE1's internal compliance program (ICP) and considered it to be a neutral factor in the penalty determination. SERC considered SERC_URE1’s CIP-002 R3 compliance history in determining the penalty. SERC considered SERC_URE1’s CIP-002 R3 compliance history to be an aggravating factor in the penalty determination.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 1 (SERC_URE1) | NCRXXXXX | SERC2016015535 | Settlement Agreement | SERC_URE1 submitted a Self-Report stating that it was in violation of CIP-006-3c R2.2. SERC_URE1 did not, at all access points to an Electronic Security Perimeter (ESP), enable only the ports and services required for operations and for monitoring Cyber Assets within the ESP. Instead, SERC_URE1 enabled ports and services at ESP access points that were not required to access several Physical Access Control System (PACS) devices. SERC determined that this Self-Report was more appropriately addressed under CIP-005-3a R2.2. During an internal review for an upcoming audit, SERC_URE1 discovered that firewall access rules at four generation management system (GMS) sites allowed electronic access to physical access controllers via unauthorized ports and services. Upon discovery, SERC_URE1 disabled the firewall ports and services in question. One year and eight months prior, SERC_URE1 implemented new PACS devices at the four GMS sites. As part of the PACS upgrade, SERC_URE1 incorrectly implemented access control policies on four ESP access points, one at each site. SERC_URE1 opened over 10,000 ports and services during the installation process but did not close the unneeded ports and services upon completing the installation of the new PACS devices. SERC_URE1 documented three of these open ports and services as closed. SERC_URE1 determined the cause was that previous success in enabling certain ports and services led personnel to do so again, even if in this case doing so did not conform to SERC_URE1’s firewall policy management procedure. SERC_URE1 performed an extent of condition evaluation and determined there were no other instances of firewall policies with unauthorized ports and services. Specifically, SERC_URE1 had reviewed the firewall policies and deemed them appropriate based upon previous successful applications, but did not separately validate conformance with the Firewall Policy Management procedure. | CIP-005-3a | R2; R2.2 | Medium | Severe | This violation posed a moderate risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). SERC_URE1’s failure to ensure that only authorized ports and services were open on access points for the ESPs protecting PACS devices could allow a person with malicious intent to electronically manipulate or disable the PACS devices, risking physical compromise of a Physical Security Perimeter. However, the data center firewalls, where the electronic communication to the PACS devices would originate, prohibits access to the unauthorized ports and services that were open at the ESPs protecting the PACS devices, which would prevent the use of the unauthorized ports and services to electronically access the PACS devices. SERC_URE1 has monitoring and logging deployed on all access points and PACS devices and has not identified any issues. In addition, personnel with physical and electronic access to the access points and PACS devices are authorized, are current on cyber security training, and have a current personnel risk assessment. | when SERC_URE1 initiated a change that opened unneeded ports and services on the firewalls | when SERC_URE1 disabled the unneeded ports and services on the firewalls | $95,000 (for SERC2015015285, SERC2016015535, SERC2016016373, SERC2016016635, and SERC2016016497) | Self-Report | To mitigate this violation, SERC_URE1: 1) performed emergency change to remove access on the subject firewall policies; 2) provided interim guidance regarding the application and review of firewall policies at new ESP sites that are being commissioned; 3) updated its ESP and security zone commissioning procedure to address the application and review of firewall policies at new ESP sites that are being commissioned; 4) provided training to the team involved with applying and reviewing firewall policies to reemphasize the use of human performance tools including procedure usage; and 5) manually reviewed each firewall policy for the allowed ports and services and verified they match CIP-007 functional groups where applicable. | 2016-08-22 | TBD | Neither Admits nor Denies | SERC reviewed SERC_URE1's internal compliance program (ICP) and considered it to be a neutral factor in the penalty determination. SERC considered SERC_URE1’s CIP-005 R2 compliance history in determining the penalty. SERC determined that SERC_URE1's compliance history should not serve as a basis for aggravating the penalty because the prior noncompliance involved a different sub-requirement and is unrelated to the current violation.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 1 (SERC_URE1) | NCRXXXXX | SERC2016016373 | Settlement Agreement | SERC_URE1 submitted a Self-Report stating that it was in violation of CIP-006-6 R2.1. SERC_URE1 submitted five expansions of scope to the Self-Report. SERC_URE1 did not provide continuous escorted access of a visitor within a Physical Security Perimeter (PSP) in six instances. In the first instance, a SERC_URE1 employee escorted a contractor into a PSP and subsequently left the contractor alone for approximately 30 seconds. The employee walked away and out of the line-of-sight of the visitor while conducting normal work activities. Specifically, the employee left the PSP and propped the door open while stepping outside to make a call. The propped door created the alert to an operations center, and the operations center called the employee to advise them to return to the visitor inside the PSP. SERC_URE1 discovered this instance while responding to and investigating a PSP door alarm. In the second instance, a SERC_URE1 employee escorted a visiting contractor into an SERC_URE1 PSP. While escorting the visitor inside the PSP, the SERC_URE1 employee was on the phone with the operations center discussing the work in progress. The cell phone reception was poor and the operations center representative instructed the employee to step out of the PSP to get better reception, which caused the employee to exit the PSP a, leaving the visitor inside with no escort. As soon as the employee stepped out of the PSP, the operations center representative on the phone told the employee to re-enter the PSP, retrieve the visitor, and then exit the PSP. Approximately one minute later, the employee re-entered the PSP and resumed continuous escort of the visitor. In the third instance, a SERC_URE1 employee permitted another SERC_URE1 employee into a PSP containing medium impact Bulk Electric System Cyber Systems (BCS) and subsequently left the employee unattended for 16 seconds. SERC_URE1 discovered this instance while reviewing video for a forced entry alarm response. In the fourth instance, a SERC_URE1 employee and three contractors who were not authorized for unescorted access entered a PSP containing a medium impact BCS through a door that was unsecure due to a hardware failure. The four individuals were in the PSP for approximately 12 minutes. In the fifth instance, a SERC_URE1 employee did not continuously escort a visitor for approximately 20 seconds. The operations center identified the issue, contacted the employee, and reminded the individual of the visitor control policy. The employee escorted the visitor for the remainder of the visit. In the sixth instance, a SERC_URE1 employee left two contractors unattended within a PSP containing medium impact BCS for approximately 12 seconds. The escort employee stepped outside the PSP doors to help troubleshoot the door problem from the outside, while the visitors, who were there to work on the door, assessed the problem from within the PSP. Immediately upon the escort’s exit of the PSP, a forced entry alarm was generated due to the trouble shooting activities. The SERC_URE1 security desk contacted the employee escort and learned of the situation, and advised the employee of the SERC_URE1 visitor control policy regarding escorting. The employee escort immediately stepped back into the PSP and maintained contact with the two visitors for the remainder of the visit. The cause of all six instances was inadequate training, which led to human performance errors in which employees did not follow the internal procedure for providing continuous escort of visitors inside the PSP. | CIP-006-6 | R2; R2.1 | Medium | Severe | This violation posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. SERC_URE1 leaving a visitor inside a PSP without continuous escort could create an opportunity for the visitor to inflict physical damage to the control house and create an instability in its operations. However, SERC_URE1 did log the visitors in and out correctly and the longest duration for any of the instances was approximately one minute. SERC_URE1 identified all instances promptly and immediately resumed escorting the visitors. In the second instance, SERC_URE1 reviewed video footage of the visitor and verified no malicious activity occurred. Further, the employee involved in the third instance was in good standing, had a current satisfactory background check to support nuclear plant access, completed CIP training, and had a satisfactory CIP background check. | the first instance in which SERC_URE1 left a visitor unescorted within a PSP | the last instance in which SERC_URE1 left visitors unescorted within the PSP | $95,000 (for SERC2015015285, SERC2016015535, SERC2016016373, SERC2016016635, and SERC2016016497) | Self-Report | To mitigate this violation, SERC_URE1: 1) for each instance, performed training for the individuals involved and requested individuals not authorized to be in the PSP to leave; 2) included access verification of escort by the operations center when contacted by the escort to check the visitor in; 3) changed definition of Visitor in its procedure to align with NERC definition of visitor per CIP-006-6 R2.1; 4) instituted and communicated an escalating method of sanctions for SERC_URE1 and contract employees for repeated violations 5) institute and communicate an escalating method of sanctions for contract vendor companies for repeated violations 6) designed visitor control program training that includes interactive testing on key rules and concepts; 7) developed a training module for visitor control program with mandatory testing required for completion certification; 8) provided substation workers tools useful to help them be compliant with the visitor control program; 9) implemented visitor control program training and document completion by all personnel with CIP Access; 10) confirmed that contract managers ensure contractors with CIP Access complete new visitor control program training; and 11) required that visitor control training (including testing) be refreshed every year and after any violation. | 2018-08-15 | TBD | Neither Admits nor Denies | SERC reviewed SERC_URE1's internal compliance program (ICP) and considered it to be a neutral factor in the penalty determination. SERC considered SERC_URE1’s CIP-006 R2 compliance history in determining the penalty. SERC determined that SERC_URE1's compliance history should not serve as a basis for aggravating the penalty because the prior noncompliances involved different subrequirements and different root causes.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 1 (SERC_URE1) | NCRXXXXX | SERC2016016497 | Settlement Agreement | SERC_URE1 submitted a Self-Report stating that it was in violation of CIP-006-6 R1. SERC_URE1 did not utilize at least one physical access control to allow unescorted physical access into each applicable Physical Security Perimeter (PSP) to only those individuals who have authorized unescorted physical access. A janitorial contractor for SERC_URE1 swiped their badge and entered into a PSP which contained one High Impact Bulk Electric System Cyber System (BCS). The door through which the contractor entered had a broken security latch, and although it opened when pulled after presentation of the invalid SERC_URE1 badge, the individual was not authorized for unescorted physical access. The PSP door latch was broken, and did not secure properly upon the last access. However, the security monitoring door contacts did engage. When the contractor opened the door without presenting an authorized badge, an immediate forced entry alarm to the SERC_URE1 security console resulted, which led to SERC_URE1’s discovery of this violation. SERC_URE1’s security staff immediately initiated contact and identified the individual, logged the access, initiated alternative monitoring measures, entered a repair order, and reviewed all invalid badge attempts from the past 90-days at this door with no additional instances found. Three minutes later, the janitorial contractor exited the PSP. The janitor was with two other individuals while in the PSP, both who had authorized unescorted physical access. While SERC was performing its assessment and determining the scope of the violation, SERC_URE1 reported the following additional issues as scope expansions. A SERC_URE1 employee without authorized unescorted physical access permissions swiped their badge and accessed a SERC_URE1 substation PSP. The door through which the employee entered had a broken security latch, and it opened in error when pulled after presentation of the invalid SERC_URE1 badge. The employee immediately notified corporate security of the door failure, and left the PSP 2 minutes late. SERC_URE1 electronically logged the ingress and egress through the badge presentation, which SERC_URE1 cites as an accepted logging method, but no escort was present. SERC_URE1’s corporate security console also received a forced entry alarm at the same time as the ingress. A SERC_URE1 employee without authorized unescorted physical access permissions entered a SERC_URE1 substation as another employee with authorized unescorted access permissions exited the facility. The employee badged and the secured door did not release. However, when the exiting employee badged the employee without authorized unescorted physical access permissions entered. The employee at issue was there for construction project work, which was nearing completion and had authorized unescorted physical access up until the week prior, when SERC_URE1 revoked access due to an expired password. Six days prior, the employee’s manager requested and approved for authorized reinstatement of unescorted access permissions for the employee. However, due to the holidays and staffing limitations, the SERC_URE1 access services group had not yet executed the request in the system at the time this entry occurred. The SERC_URE1 security operations team became aware of this occurrence after the initial unauthorized badge presentation, and called the employee at issue to determine why the employee attempted access. Once made aware of the access, security personnel instructed the employee to exit the PSP immediately, which the employee promptly did 13 seconds after entry. A SERC_URE1 employee without authorized unescorted physical access permissions swiped their badge entered a SERC_URE1 substation PSP to conduct maintenance activities. The door through which the employee entered had a broken security latch, and it opened in error when pulled after presentation of the invalid SERC_URE1 badge. SERC_URE1 electronically logged the ingress and egress through video capture as well as the badge presentation, both of which SERC_URE1 cites as an accepted logging method, but no escort was present. SERC_URE1’s corporate security console also received a forced entry alarm at the same time as the ingress. The employee left the PSP one minute later, after SERC_URE1’s security group called the site and advised the employee of the error. One SERC_URE1 employee without authorized unescorted physical access permissions entered a SERC_URE1 substation PSP with three SERC_URE1 contractors, to scope an upcoming job on-site. The door through which the four individuals entered had a broken security latch, and it opened in error when pulled after presentation of the SERC_URE1 employee’s badge. SERC_URE1 logged the ingress and egress times of all four individuals through video capture, which is an accepted form of logging per SERC_URE1’s procedures. However, no escort was present. The SERC_URE1 employee believed that they had authorized unescorted physical access, but the access had lapsed due to missed training. The employee had taken the training recently, but had not yet been reauthorized. The four individuals left the PSP 12 minutes later. SERC_URE1’s corporate security console also received a forced entry alarm at the same time as the ingress. A SERC_URE1 employee without authorized unescorted physical access permissions entered a SERC_URE1 substation after the door failed to securely close when last accessed. The employee at issue was there to check on the progress of on-going work at the site. SERC_URE1 security operations received a forced entry alarm when the door was opened, and immediately investigated using a video feed. The security staff contacted site personnel to investigate and secure the door. The employee left the PSP 5 minutes later. One SERC_URE1 employee and one intern without authorized unescorted physical access permissions were able to enter into a PSP because of a door latch failure. The two individuals entered into the PSP to perform the lock-out/tag-out of equipment to support upcoming substation relay technician work. There were also two authorized unescorted individuals in the PSP during the incident who identified the issue and communicated with operations to resolve the issue. The root cause of these violations was both inadequate training and equipment failure. Multiple individuals attempted to access substations for which they were not authorized, and because of various equipment failures, were able to access the substations. SERC_URE1 conducted an extent-of-condition assessment of all sites containing Medium and High impact ratings. SERC_URE1 did not find additional instances of non-compliance. SERC_URE1 also assessed forced door alarms received over a three-month period to ensure proper and complete assessments had occurred, with no additional findings. During this same period, SERC_URE1 had thousands of successful PSP access entries with no issues. | CIP-006-6 | R1; P1.2 | Medium | Severe | This violation posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). SERC_URE1’s failure to control and restrict physical access to only those individuals who had authorized unescorted access permissions could have permitted individuals without proper training, personnel risk assessment, and authorization to access and potentially degrade or alter BCAs, through malicious action in a manner that could be detrimental to SERC_URE1 operations and the BPS operations. However, all instances were brief, resulting in accesses ranging from 13 seconds to 12 minutes. SERC_URE1’s security desk learned of all instances immediately through “‘forced entry” door alarms, and responded immediately to advise the individuals involved as well as resolve the situations. In three of the six instances, the individual at issue had met all access eligibility requirements, but SERC_URE1 had not processed the work order to restore badge access permissions. SERC_URE1 had video recording of the accesses in each instance and SERC_URE1 confirmed the entries were for legitimate business purposes. | the first instance when SERC_URE1 employees or contractors without authorized unescorted physical access accessed the PSPs | the last instance when SERC_URE1 employees or contractors without authorized unescorted physical access accessed the PSPs | $95,000 (for SERC2015015285, SERC2016015535, SERC2016016373, SERC2016016635, and SERC2016016497) | Self-Report | To mitigate this violation, SERC_URE1: 1) assessed and repaired the damaged doors; 2) installed alternative measures (video feed) for continuous monitoring; 3) contacted individuals in question to inform them to immediately exit the PSP; 4) trained individuals involved in the unauthorized access; 5) developed a list of maintenance/testing activities on the doors and access points to ensure integrity that can be performed quarterly by employees; 6) identified personnel that will perform supplementary door inspections and provided them with training or familiarization of inspection expectations; and 7) reinforced requirements at a security briefing to all individuals in affected business units, specifically advising the staff on relevant changes and the new quarterly maintenance/testing activities. | 2018-01-31 | TBD | Neither Admits nor Denies | SERC reviewed SERC_URE1's internal compliance program (ICP) and considered it to be a neutral factor in the penalty determination. SERC considered SERC_URE1's compliance history and determined there were no relevant instances of noncompliance.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 2 (SERC_URE2) | NCRXXXXX | SERC2016016030 | Settlement Agreement | SERC_URE2 submitted a Self-Report stating that it was in violation of CIP-003-3 R6. SERC_URE2 did not implement an effective change control and configuration management program and deployed patches prior to the scheduled install date. A previously scheduled batch job within the patch deployment server deployed newly received security patches prior to the approved patch date. SERC_URE2 had assessed the patches, deemed them applicable, and scheduled them for deployment within the patch management tool, but the deployment executed early. Fifteen security patches were deployed early and each affected several workstations, including some SERC_URE2 workstations and the majority with an affiliate. The SERC_URE2 workstations were located in the power generation market operations center (MOC). SERC_URE2 discovered these early deployed patches two months later, when reviewing an unscheduled workstation reboot. Once SERC_URE2 identified the batch job problem as the root cause, it deleted the batch job within the deployment tool. Two days later, SERC_URE2 concluded cyber security controls testing post installation and did not identify any adverse impacts. After deleting the scheduled patch job within the patch deployment service, SERC_URE2 believed it had resolved the issue. However, a month later, SERC_URE2 deployed security patches early that it had assessed for applicability and scheduled for later deployment, affecting multiple additional workstations. SERC_URE2 had some affected workstations in the MOC and some located in the power generation emergency market operations center (EMOC). SERC_URE2’s affiliate had the majority of affected workstations in the system operations center and some in the emergency systems operations center (ESOC). SERC_URE2 discovered this second instance the day after it occurred, while conducting a proactive review of the CIP program for a particular security patch issue previously identified on the corporate side of the company. After engaging the vendor, SERC_URE2 learned that deleting the job moved the task into a hidden folder, from which it still functioned and triggered any available security patches to deploy. SERC_URE2 removed the job from the hidden folder for permanent deletion. At the end of the month, the EMS support group concluded testing of both cyber security controls and functionality for all impacted workstations (at SERC_URE2 and its affiliate) and found no issues. In another instance, SERC_URE2 discovered unauthorized workstation security patches installed on 97.33% of its energy management system (EMS) workstations. SERC_URE2 had some affected workstations in the MOC and some in the EMOC. All of the SERC_URE2 workstations were Bulk Electric System Cyber Assets and part of High Impact Bulk Electric System Cyber Systems. SERC_URE2's affiliate had the majority of affected workstations. Upon review, SERC_URE2 determined that its use of a master workstation image to build out the EMS workstations resulted in the same unique identifier, used by the patching management tool, across the EMS workstations. Duplication of the unique identifier resulted in patch deployment outside of the change management process and ticketing system, which SERC_URE2 normally used to capture documentation of the patch assessment and approval, trigger the deployment schedule, and document the results. SERC_URE2 identified the root cause of this violation as weak operational technical controls and inadequate training. SERC_URE2 failed to recognize the operational issues with its patch deployment server and application, and did not have adequate internal controls in place to detect early patch deployments. Also, SERC_URE2 staff was not familiar with all of the features of the new automated tool. | CIP-003-3 | R6 | Lower | Severe | This violation posed a moderate risk and did not pose a serious or substantial risk to the reliability of the bulk power system. SERC_URE2’s overall failure to test security patches under its existing change management program could have permitted changes to occur that would affect security and operations of the local EMS and potentially create erroneous data models that other entities may react to. The instances that comprised more than two thousand patches released early and more than two hundred patches released without documented authorization, through the automated tool demonstrate repetitive failures around patch management and deployment. SERC_URE2’s unfamiliarity with the functionality of the tool could have exposed its EMS to negative security modifications. However, SERC_URE2 had assessed and approved all of the early released security patches and had initiated work orders to deploy the patches on a standard deployment schedule. Additionally, prior to deploying these patches early to the CIP Cyber Assets, SERC_URE2 had already deployed these same security patches within the corporate environment with no operational impacts. | when SERC_URE2 deployed the first set of security patches ahead of its scheduled deployment and documented security controls testing | when SERC_URE2 completed security controls testing post deployment to ensure no adverse impacts occurred, as required through its change management program | $220,000 (for SERC2016016029, SERC2016016337, SERC2016016493, SERC2016016697, SERC2017017235, SERC2017017284, SERC2017017644, SERC2017018071, SERC2017018379, SERC2017018690, SERC2018019153, SERC2016016030, SERC2017017669, SERC2017018072, and SERC2017018380) | Self-Report | To mitigate this violation, SERC_URE2: 1) consulted with its vendor to evaluate its patch process and determine if more effective processes exists for deploying patches; 2) executed a task to validate that cyber security controls were not adversely impacted on affected workstations; 3) setup a lab workstation for patch management system administrator; 4) worked with its vendor to further analyze extent of condition; 5) redefined and documented the workstation patch process improvements based upon lessons learned from Steps 1 and 4; 6) provided training for procedural changes made in support of Step 5; 7) provided additional vendor lead product training for primary and backup product subject matter experts; 8) assigned new unique identifiers to all EMS workstations using the workstation’s hostnames and media access control (MAC) addresses; 9) approved changes to the baseline for the patches that were implemented; and 10) examined the extent of condition for two consecutive months. | 2017-03-02 | 2018-07-09 | Neither Admits nor Denies | SERC reviewed SERC_URE2’s internal compliance program (ICP) and considered it to be a mitigating factor in the penalty determination. SERC considered SERC_URE2’s and its affiliate's compliance history to be an aggravating factor in the penalty determination.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 2 (SERC_URE2) | NCRXXXXX | SERC2017017669 | Settlement Agreement | SERC_URE2 submitted a Self-Report stating that it was in violation of CIP-007-6 R2, Part 2.2. SERC_URE2 did not assess three security patches for applicability within 35 days of availability. A patch source for SERC_URE2's parent company released three security patches, but it did not assess these patches until two days past the 35-day window. SERC_URE2's parent company discovered this violation two days past the 35-day window, during a business operations staff meeting, when a team member reminded a patch deployment personnel that they should install the security patches on the Active Directory (AD) servers. At that time, SERC_URE2's parent company staff discovered that it had not conducted the patch assessments, due to an oversight of responsibilities. The three security patches were applicable to production AD domain controllers (DCs) classified as Electronic Access Control and/or Monitoring Systems (EACMSs) associated with eight High Impact Bulk Electric System Cyber Systems (BCSs). Only 25% of these AD DCs were applicable to SERC_URE2 exclusively, another 25% were shared with its affiliate while another 25% were exclusive to its affiliate. The final 25% of the AD DCs were located at another affiliate market operations centers facilities outside of the SERC footprint. Later that month, SERC_URE2 subsequently installed the three security patches. SERC_URE2 conducted an extent-of-condition assessment, which involved reviewing all operating system patches pulled in using a tool and did not identify any other instances of missed security patch assessments. SERC_URE2 determined that the root cause of this violation was a lack of controls and human performance issues. SERC_URE2's parent company did not have alerts or reminders in place. SERC_URE2's parent company also cited year-end workload compounded by unplanned employee absences. The increased workload and lack of personnel resulted in this specific oversight. | CIP-007-6 | R2, P2.2 | Medium | Severe | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). SERC_URE2’s failure to assess security patches could have permitted known vulnerabilities to remain available for exploit, giving bad actors additional time to exploit and potentially degrade local operations or impact the BPS. However, the EACMSs at issue resided within secured Physical Security Perimeters with access controls and real-time monitoring and alerting for anomalous activity. This violation involved only three security patches affecting a small number of SERC_URE2 specific EACMs. Although the three security patches were assessed two days late (at 37 days instead of 35 days), the patches were applied within 44 days of release. | when SERC_URE2 exceeded the 35-day window to assess released security patches | when SERC_URE2 assessed the missed security patches | $220,000 (for SERC2016016029, SERC2016016337, SERC2016016493, SERC2016016697, SERC2017017235, SERC2017017284, SERC2017017644, SERC2017018071, SERC2017018379, SERC2017018690, SERC2018019153, SERC2016016030, SERC2017017669, SERC2017018072, and SERC2017018380) | Self-Report | To mitigate this violation, SERC_URE2: 1) evaluated missed security patches for applicability; 2) added CIP-007-6 R2.2 task to the executive dashboard; 3) addressed human performance; 4) implemented additional controls around patching to ensure patches are assessed and implemented; and 5) training provided to support Step 4. | 2017-05-19 | 2018-07-05 | Neither Admits nor Denies | SERC reviewed SERC_URE2’s internal compliance program (ICP) and considered it to be a mitigating factor in the penalty determination. SERC considered SERC_URE2’s and its affiliate's compliance history to be an aggravating factor in the penalty determination.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 2 (SERC_URE2) | NCRXXXXX | SERC2017018072 | Settlement Agreement | SERC_URE2 submitted a Self-Report stating that it was in violation of CIP-004-6 R4, Part 4.1. SERC_URE2 did not implement a process to authorize access into a Physical Security Perimeter (PSP), based on need, after a PSP reconfiguration removed existing controls. Instance 1: SERC_URE2's parent company executed a planned change and modified three distinct and physically separated areas, two of which were PSPs, by removing interior chain-link fencing from between each of them, creating one large cage PSP without interior barriers. Originally, each PSP had its own access control door, which used two-factor authentication to permit authorized access into the individual PSP cage. One cage contained firewalls used to control access to High Impact Bulk Electric System Cyber Systems (BCSs), the second cage contained access control equipment used to manage physical access into facilities containing Medium and High Impact BCSs, and the third contained demilitarized zone (DMZ) equipment. After removing the interior chain-link fencing, the now singular PSP retained the two PSP access doors, but removed the DMZ cage door. This change permitted individuals who only had specific access permissions to one of the three separate areas to have physical access upon entry to Cyber Assets that SERC_URE2 had not authorized them for. SERC_URE2 permitted eight unauthorized individuals access to multiple Electronic Access Control and/or Monitoring System Cyber Assets within the firewall cage, and permitted 18 unauthorized individuals access to multiple Physical Access Control System (PACS) Cyber Assets within the access control cage. About three months later, SERC_URE2 discovered this violation while conducting an extent-of-condition review associated with a prior non-compliance (NERC violation ID: SERC2017017284). SERC_URE2 conducted an extent-of-condition assessment and concluded no additional instances of PSP modifications had occurred. SERC_URE2 concluded the root-cause of this violation was a lack of training and controls. An individual misunderstood access permissions and the role the individual PSPs’ access controls played in permitting access when SERC_URE2 removed the interior cage walls. Instance 2: SERC_URE2 submitted an expansion of scope, reporting another instance of noncompliance with CIP-004-6 R4, Part 4.1. SERC_URE2 had granted a new database administrator (DBA) contractor electronic access to CIP data the individual had not been authorized for. Specifically, SERC_URE2 erroneously granted the DBA electronic access to a PACS database, which supported facilities containing High and Medium Impact BCSs. This error occurred when the security analyst completing the work order inadvertently selected the wrong Active Directory (AD) group due to similar naming conventions used for the AD groups. The next day, SERC_URE2 discovered this instance as a result of an internal control, where SERC_URE2 reviews exceptions looking for possible improper access provisioning on a daily basis. On the same day as discovery, SERC_URE2 removed the DBA’s unauthorized access. During its extent-of-condition assessment, SERC_URE2 discovered no additional instances of access provisioning problems. SERC_URE2 determined that the root-cause of this violation was a manual process that lacked detailed instructions and was co-mingled with non-CIP access requests. | CIP-004-6 | R4, P4.1 | Medium | Severe | This violation posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. SERC_URE2’s failure to properly control access provisions could have permitted unauthorized individuals to access and possibly modify settings, either from unintentional or malicious actions, and cause operational impacts. However, everyone involved in both instances had received cyber security training and had a valid Personnel Risk Assessment on file. For Instance 1, the duration of the unauthorized access was limited to 13 weeks and access was restricted to the same personnel that were originally using the card readers. The individuals did not gain any unauthorized electronic access to the assets. In addition, SERC_URE2 had located this cage within a secured building with access controls and roving security staff patrols. For Instance 2, the unauthorized access lasted for less than one day and was limited to only one DBA. The DBA was unaware of the unauthorized access. SERC_URE2 reviewed the DBA’s activity and found the DBA did not access the PACS database during the time unauthorized access was granted. Further, SERC_URE2 discovered the second instance the next day by performing a manual internal control. | Instance 1: when SERC_URE2 made PSP modifications that permitted access to individuals without authorization Instance 2: when SERC_URE2 granted a DBA contractor access to information that SERC_URE2 had not authorized the contractor to access | Instance 1: when SERC_URE2 completed a reauthorization process for all individuals needing access to the modified PSP Instance 2: when SERC_URE2 removed the unneeded access permissions | $220,000 (for SERC2016016029, SERC2016016337, SERC2016016493, SERC2016016697, SERC2017017235, SERC2017017284, SERC2017017644, SERC2017018071, SERC2017018379, SERC2017018690, SERC2018019153, SERC2016016030, SERC2017017669, SERC2017018072, and SERC2017018380) | Self-Report | To mitigate this violation, SERC_URE2: 1) sent email communication to all area owners reminding them not to make changes to a PSP without following the corporate security’s change control process; 2) created a new PSP in the access control system and obtained authorizations; 3) completed the PSP inspection; 4) created a configuration item for changes to the PSP; 5) created a server administrator job aid which directs individuals to use the configuration item developed in Step 4, and posted it in the data center PSPs; 6) trained impacted personnel on the job aid developed in Step 5; 7) removed unauthorized access from DBA’s account; 8) added enhancement to the workflow tool to initiate a pop-up alert when completing a NERC request. To continue with the process, the security analyst requests a peer review. Peer reviewer notes review in IT request center; and 9) instituted a process improvement to prevent vaulting user accounts until IT risk management notifies end-user access security that the “compliance process is complete.” | 2017-10-23 | 2018-07-25 | Neither Admits nor Denies | SERC reviewed SERC_URE2’s internal compliance program (ICP) and considered it to be a mitigating factor in the penalty determination. SERC considered the compliance history of SERC_URE2 and its affiliate in determining the penalty. SERC determined the affiliate's compliance history should not serve as a basis for aggravating the penalty.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 2 (SERC_URE2) | NCRXXXXX | SERC2017018380 | Settlement Agreement | SERC_URE2 submitted a Self-Report stating that it was in violation of CIP-010-2 R1, Part 1.4. Prior to SERC_URE2 making a change that deviated from the baseline configuration, SERC_URE2 personnel did not determine the required cyber security controls in CIP-005 and CIP-007 that could be impacted by the change. Following the change, SERC_URE2 did not verify that required cyber security controls were not adversely affected and did not document such verification. A SERC_URE2 information security specialist employee initiated a change that deviated from the baseline configuration for Electronic Access Control and/or Monitoring System servers that provided network authentication services to all CIP networks of SERC_URE2’s parent company, without determining what security controls from CIP-005 and CIP-007 could have been impacted. Specifically, the EACMS servers impacted some BES Cyber Systems managed by SERC_URE2 and some BES Cyber Systems that supported both SERC_URE2 and its affiliate, including both High and Medium Impact BES Cyber Systems and their associated devices. About three months later, while conducting an extent-of-condition assessment for an unrelated violation, SERC_URE2 IT risk management personnel discovered that the change order associated with this change did not contain a list of cyber security controls that could be impacted. Additionally, SERC_URE2 determined that it had no evidence to verify that cyber security controls were not impacted. Upon investigation through interviews and observation, SERC_URE2 determined that the team responsible for patching the domain servers consistently relied upon prior experience to determine that patching changes would not impact existing cyber security controls, and as a result, did not document cyber security controls or confirm no cyber security controls were impacted. SERC reviewed the SERC_URE2 patching procedure in use at the time of this violation and found it was un-signed and in draft form. The procedure required listing cyber security controls that could be impacted by the change and required testing to ensure the identified security controls were not adversely impacted. The procedure required both be documented in the change order ticket. However, the procedure lacked specific details or guidance on how to accomplish these tasks, and it lacked expectations if personnel determined no security controls could be impacted. SERC_URE2’s extent-of-condition assessment found this team was only responsible for patching these impacted domain servers. The root cause of this violation was a lack of complete work procedures and checklists, coupled with a lack of management oversight and appropriate internal controls. Further, SERC_URE2 used different cyber security control testing procedures for patching all other assets. | CIP-010-2 | R1, P1.4 | Medium | Severe | This violation posed a moderate risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). SERC_URE2’s failure to document the security controls that could be impacted by a change for 16 months could have permitted changes to be made, resulting in unforeseen impacts to the security controls. These unanticipated impacts could result in loss of operational awareness, unrealized modifications to create conditions where bad data would result in improper operator actions, or unauthorized accesses providing an attack vector into the Bulk Electric Cyber Systems and BPS. However, this violation only involved a two-person team responsible for patching only the specific domain servers at issue. The domain servers did not provide access to any critical applications, but instead only provided network authentication. All servers stand in for one another when in service, and in the event of loss of some, others available would provide all necessary services. Even in the unlikely event all domain servers were unavailable, SERC_URE2 could use the local cached credentials in some cases to permit authentication (but not in all instances). The individuals responsible for patching the domain servers applied the patches in a test developmental environment for a week, prior to deploying into production. Additionally, the patches lagged public release by at least two weeks, meaning heavy consumers testing of the patches occurred prior to SERC_URE2 deploying the patches. However, SERC_URE2 did not document these test activities. | when the Standard became mandatory and enforceable on SERC_URE2 | when SERC_URE2 updated its procedures and completed training | $220,000 (for SERC2016016029, SERC2016016337, SERC2016016493, SERC2016016697, SERC2017017235, SERC2017017284, SERC2017017644, SERC2017018071, SERC2017018379, SERC2017018690, SERC2018019153, SERC2016016030, SERC2017017669, SERC2017018072, and SERC2017018380) | Self-Report | To mitigate this violation, SERC_URE2: 1) executed cyber security controls validation; 2) performed human performance/stop the bleeding exercises and met with teams to discuss compliance expectations; 3) improved domain controller CIP-010 Part 1.4 & 1.5 procedure and implemented central services compliance checklist; and 4) trained on step 3. | 2018-10-18 | 2018-06-29 | Neither Admits nor Denies | SERC reviewed SERC_URE2’s internal compliance program (ICP) and considered it to be a mitigating factor in the penalty determination. SERC considered SERC_URE2’s affiliate's compliance history to be an aggravating factor in the penalty determination.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 3 (SERC_URE3) | NCRXXXXX | SERC2016016029 | Settlement Agreement | SERC_URE3 submitted a Self-Report stating that it was in violation of CIP-003-3 R6. SERC_URE3 did not implement an effective change control and configuration management program and deployed patches prior to the scheduled install date. SERC_URE3 failed to test security patches under its existing change management program in several occurrences resulting in patches released early and patches released through the automated tool without documented authorization A previously scheduled batch job within the patch deployment server deployed newly received security patches prior to the approved patch date. SERC_URE3 had assessed the patches, deemed them applicable, and scheduled them for deployment within the patch management tool, but the deployment executed early. Fifteen security patches were deployed early and each affected multiple workstations. Most of the workstations were located in the electric transmission system operations center (SOC), some of which being operator workstations and the remaining majority support workstations. Some affected workstations were located in the emergency system operations center (ESOC). SERC_URE3 discovered this instance when reviewing an unscheduled workstation reboot. Once SERC_URE3 identified the batch job problem as the root-cause, it deleted the batch job within the deployment tool. A few days after discovering the problem, SERC_URE3 concluded cyber security controls testing post installation, and did not identify any adverse impacts. After deleting the scheduled batch job within the patch deployment server, SERC_URE3 believed it had resolved the issue. However, about one month later, SERC_URE3 deployed security patches early that it had assessed for applicability and scheduled for later deployment, affecting additional workstations. SERC_URE3 had mulitple affected workstations within the SOC (some operator workstations and the majority support workstations) and some workstations in the ESOC. SERC_URE3’s affiliate had some affected workstations in the power generation market operations center (MOC) and some in the emergency market operations center (EMOC). SERC_URE3 discovered this second instance the day after it occurred, while conducting a proactive review of the CIP program for a particular security patch issue previously identified on the corporate side of the company. After engaging the vendor, SERC_URE3 learned that deleting the job moved the task into a hidden folder, from which it still functioned and triggered any available security patches to deploy. SERC_URE3 removed the patch job from the hidden folder for permanent deletion. At the end of the month, the energy management system (EMS) support group concluded testing of both cyber security controls and functionality for all affected workstations (at SERC_URE3 and SERC_URE3's affiliate) and found no issues. In another instance, SERC_URE3 discovered unauthorized workstation security patches installed on 97.33% of its EMS workstations. SERC_URE3 had the majority of affected workstations within the SOC (the majority operator workstations and some support workstations) and some operator workstations in the ESOC. All of the affected SERC_URE3 workstations were Bulk Electric System Cyber Assets and part of High Impact Bulk Electric System Cyber Systems. SERC_URE3's affiliate also had some affected workstations. Upon review, SERC_URE3 determined that its use of a master workstation image to build out the EMS workstations resulted in one unique identifier, used by the patching management tool, across the EMS workstations. Duplication of the unique identifier resulted in patch deployment outside of the change management process and ticketing system, which SERC_URE3 normally used to capture documentation of the patch assessment and approval, trigger the deployment schedule, and document the results. SERC_URE3 identified the root cause of this violation as weak operational technical controls and inadequate training. SERC_URE3 failed to recognize the operational issues with its patch deployment server and application, and did not have adequate internal controls to detect early security patch deployments. In addition, SERC_URE3 staff was not familiar with all of the features of the new automated tool. | CIP-003-3 | R6 | Lower | Severe | This violation posed a moderate risk and did not pose a serious or substantial risk to the reliability of the bulk power system. SERC_URE3’s overall failure to test security patches under its existing change management program could have permitted changes to occur that would affect security and operations of the local EMS and potentially create erroneous data models that other entities may react to. The occurrences comprised more than two thousand patches released early and more than two hundred patches released without documented authorization, through the automated tool, demonstrate repetitive failures around patch management and deployment. SERC_URE3’s unfamiliarity with the functionality of the tool could have exposed its EMS to negative security modifications. However, SERC_URE3 had assessed and approved all of the early released security patches and had initiated work orders to deploy the patches on a standard deployment schedule. Additionally, prior to deploying these patches early to the CIP Cyber Assets, SERC_URE3 had already deployed these same security patches within the corporate environment with no operational impacts. | when SERC_URE3 deployed the first set of security patches early | when SERC_URE3 completed security controls testing post deployment to ensure no adverse impacts occurred, as required by its change management program | $220,000 (for SERC2016016029, SERC2016016337, SERC2016016493, SERC2016016697, SERC2017017235, SERC2017017284, SERC2017017644, SERC2017018071, SERC2017018379, SERC2017018690, SERC2018019153, SERC2016016030, SERC2017017669, SERC2017018072, and SERC2017018380) | Self-Report | To mitigate this violation, SERC_URE3: 1) consulted with its vendor to evaluate the patch process and determine if more effective processes exist for deploying patches; 2) executed a task to validate that cyber security controls were not adversely impacted on affected workstations; 3) setup a lab workstation for patch management system administrator; 4) worked with its vendor to further analyze extent of condition; 5) redefined and documented the workstation patch process improvements based upon lessons learned from Steps 1 and 4; 6) provided training for procedural changes made in support of Step 5; 7) provided additional vendor lead product training for primary and backup product subject matter experts; 8) assigned new unique identifiers to all energy management system (EMS) workstations using the workstation’s hostnames and media access control (MAC) addresses; 9) approved changes to the baseline for the patches that were implemented; and 10) examined the extent of condition for two consecutive months. | 2017-02-23 | 2018-07-09 | Neither Admits nor Denies | SERC reviewed SERC_URE3’s internal compliance program (ICP) and considered it to be a mitigating factor in the penalty determination. SERC considered SERC_URE3’s and its affiliate’s compliance history to be an aggravating factor in the penalty determination.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 3 (SERC_URE3) | NCRXXXXX | SERC2016016697 | Settlement Agreement | SERC_URE3 submitted a Self-Report stating that it was in violation of CIP-007-6 R2, Part 2.3. SERC_URE3 did not install or create a mitigation plan for security patches within 35-days of the patch assessment. During two consecutive patch application cycles, 2.67% of SERC_URE3’s workstations were not communicating with the automated patching server and failed to receive nine assessed and approved security patches. One of the workstations, a non-operator position in the system operations center used for analysis of switching events, lost communications to the patching server for more than 24-hours, causing its permanent disconnection from the patching server. For another workstation, which was located within the emergency system operations center (ESOC) and typically used to monitor grid operations, the SERC_URE3 technician did not provide necessary workstation data to the patch server administrator. As a result, SERC_URE3 failed to configure this workstation on the patching server. SERC_URE3 did not apply the applicable security patches to workstations within 35 days of assessment completion, nor did it create or revise any mitigation plan. The next month, during normal work activities, a SERC_URE3 operator discovered that the workstations were not communicating to the patch server, and re-established the communications link. The action taken by the operator permitted patching to occur during the next automated patching cycle, ending the non-compliance. However, the operator did not realize the potential compliance issues at the time. A month later, while researching an unrelated issue within the SERC_URE3 energy management system, SERC_URE3 discovered it did not apply nine prior security patch installations to these Bulk Electric System Cyber Assets (BCAs) within High Impact Bulk Electric System Cyber Systems (BCSs). SERC_URE3 determined that the root cause of this violation was an incomplete patching procedure coupled with a lack of controls. The patching procedure did not specify that the SERC_URE3 technician must validate that communications existed between Cyber Assets and the patching server upon commissioning. Thereafter, SERC_URE3 must ensure ongoing communications through controls that it had not established. SERC_URE3 assessed all connections to the patching server and confirmed all patch levels were accurate and no additional dropped connections existed. | CIP-007-6 | R2, P2.2 | Medium | Moderate | This issue posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). SERC_URE3’s failure to implement security patches as planned could have permitted known vulnerabilities to remain available for exploit, giving bad actors additional time to exploit and potentially degrade local operations or impact the BPS. However, the two workstations were within established Electronic Security Perimeters within established Physical Security Perimeters (PSPs), both with access controls and real-time monitoring and alerting for anomalous activity. Physical access to the PSP required two-factor authentication. SERC_URE3 also staffed the system operations center where these BCAs were located 24x7. There were no direct connections between the affected BCAs and the internet. SERC_URE3 had three layers of firewalls separating these BCAs from external networks. In addition, SERC_URE3 discovered and corrected the problem in less than two months from when the violation began. | when SERC_URE3 exceeded 35 days after patch assessment without applying the patches or creating a mitigation plan | when SERC_URE3 implemented the next patch cycle and patched the impacted workstations with the missed patches | $220,000 (for SERC2016016029, SERC2016016337, SERC2016016493, SERC2016016697, SERC2017017235, SERC2017017284, SERC2017017644, SERC2017018071, SERC2017018379, SERC2017018690, SERC2018019153, SERC2016016030, SERC2017017669, SERC2017018072, and SERC2017018380) | Self-Report | To mitigate this violation, SERC_URE3: 1) added the workstations to the automated tool and used that tool to assess the workstations for applicable security patches; 2) installed applicable workstation security patches identified in the assessment performed in step 1; 3) added documented controls to improve the energy management system workstation commissioning process; 4) trained individuals on the documented controls completed in step 3; 5) added documented controls to ensure all workstations are communicating with the patching tool and that all workstation security patches are properly tracked, evaluated and installed; and 6) trained individuals on the documented controls completed in step 5. | 2017-06-06 | 2018-07-02 | Neither Admits nor Denies | SERC reviewed SERC_URE3’s internal compliance program (ICP) and considered it to be a mitigating factor in the penalty determination. SERC considered SERC_URE3’s and its affiliate’s compliance history to be an aggravating factor in the penalty determination.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 3 (SERC_URE3) | NCRXXXXX | SERC2017017235 | Settlement Agreement | SERC_URE3 submitted a Self-Report stating that it had a violation of CIP-010-2 R1. SERC_URE3 did not update baseline configurations within 30 calendar days of a change (Part 1.3) and it did not validate cyber security controls through testing (Part 1.4). SERC_URE3 patched a Electronic Access Control and Monitoring (EACM) database servers used to control remote access to Medium Impact Bulk Electric System Cyber Systems (BCSs), located at SERC_URE3 substations. Then, about a week later, SERC_URE3 patched a second database server. The initial SERC_URE3 patch of the first database server initiated the SERC_URE3 cyber security controls testing (CSCT) process, which included testing security controls for a change that deviated from the baseline and included updating the baseline within 30 calendar days. However, about a month later, during an internal control sampling review of baseline documentation, SERC_URE3 discovered it had not tested the security controls and updated the baseline for this specific change. The next day SERC_URE3 completed the security control testing and baseline updates for the two servers. SERC_URE3 determined the root-cause of this failure was inadequate training. SERC_URE3 did not properly train the technician to perform testing and updating of the baseline documentation. SERC_URE3 completed an extent of condition assessment and discovered no additional findings. | CIP-010-2 | R1 | Medium | Severe | This issue posed a moderate risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). SERC_URE3’s failure to test changes and update baseline documentation within 30 calendar days of the change could permit changes that would impact cyber security controls to exist and remain available for exploit. Additionally, outdated baselines could allow SERC_URE3 to conduct inaccurate tests for new or additional changes, due to stale information about the state of the BCS or Bulk Electric System Cyber Assets (BCAs). However, this violation only affected a small number of specific database servers for a period of 43 days, 13 days longer than permitted by the CIP-010-2 R1.3. The database servers are within a secured CIP network protected by two-factor authentication, with limited access by the database administrators only. These servers are the Intermediate System for access to the Medium Impact BCS within the transmission environment (substations). | when SERC_URE3 first patched a server without validating cyber security controls through testing | when SERC_URE3 completed the security controls testing and updated the baseline configuration | $220,000 (for SERC2016016029, SERC2016016337, SERC2016016493, SERC2016016697, SERC2017017235, SERC2017017284, SERC2017017644, SERC2017018071, SERC2017018379, SERC2017018690, SERC2018019153, SERC2016016030, SERC2017017669, SERC2017018072, and SERC2017018380) | Self-Report | To mitigate this violation, SERC_URE3: 1) performed cyber security controls testing on the database servers; 2) updated the database baselines to bring the database servers back into compliance; 3) manager provided coaching for the individual involved; 4) researched other areas within SERC_URE3's parent company to ensure controls are in place to perform cyber security controls testing and baseline updates and developed an action plan for any corrective actions needed; 5) developed internal controls for the database servers involved to prevent reoccurrence; 6) trained individuals on new controls documented from Step 5; 7) developed internal employee work transition guidance document; 8) trained individuals on work transition guidance document from Step 8; and 9) implemented action plan from Step 4. | 2017-07-19 | TBD | Neither Admits nor Denies | SERC reviewed SERC_URE3's internal compliance program (ICP) and considered it to be a mitigating factor in the penalty determination. SERC considered SERC_URE3’s compliance history and determined that there were no relevant instances of noncompliance.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 3 (SERC_URE3) | NCRXXXXX | SERC2017017284 | Settlement Agreement | SERC_URE3 submitted a Self-Report stating that it had a violation of CIP-010-2 R1, Part 1.1. In four separate instances, SERC_URE3 did not develop baselines for all Cyber Assets within the CIP environment. Instance 1: SERC_URE3 implemented a patch management server to use to pull data from application servers within the Electronic Security Perimeter (ESP) and create reports regarding patch management activities. This patch management server was a Protected Cyber Asset (PCA) within the High Impact Bulk Electric System Cyber System (BCS) ESP. Four months later, during the annual Cyber Vulnerability Assessment (CVA), SERC_URE3 discovered it had not identified and documented this patch server in its baseline documentation. Therefore, SERC_URE3 had not applied and maintained all CIP-007 protections to the patch server. SERC_URE3 determined that the root-cause of this violation was a training deficiency. Instance 2: SERC_URE3 had installed Electronic Access Control and/or Monitoring (EACM) servers to use for hosting the central firewall management system to manage and monitor Electronic Security Perimeter (ESP) access point firewalls. Since SERC_URE3 did not include the hosting servers in its baselines, SERC_URE3 corporate IT patched the operating system on the hosting servers at irregular intervals, ranging between 60-90 days. The servers were associated with High Impact Bulk Electric System Cyber System (BCS). More than five months later, a SERC_URE3 network administrator discovered SERC_URE3 did not identify and document the operating systems for these EACM servers on its baseline documentation. SERC_URE3 discovered this issue while reviewing the central firewall management system application baseline, as an internal control. Each month since installing the servers, SERC_URE3 subject matter experts (SMEs) reviewed sample baselines and compared what was documented against what existed on the systems. In this instance, the SERC_URE3 SME discovered the incomplete baseline and initiated a review. SERC_URE3 conducted and documented an extent-of-condition assessment on all EACMs and identified no additional instances of deficient baselines. SERC_URE3 determined that the root-cause of this violation was insufficient processes and procedures. SERC_URE3 should have had checklists for the transition between CIP Version 3 and CIP Version 5, which would have enabled it to identify the responsibility and function of these servers. Instance 3: SERC_URE3 had installed domain controller PCAs within the High Impact BCS ESP, with plans to utilize them as part of the EACMS under CIP Version 5. SERC_URE3 maintained all change management documentation associated with the installation. However, due to network issues involved with these specific devices, SERC_URE3 never introduced the domain controllers into production as EACMs. SERC_URE3 decided to eliminate these domain controllers from within the ESP prior to its CIP Version 5 transition. However, SERC_URE3 did not complete the work and the domain controllers remained powered on and connected to the network within the ESP. About 10 months after installation, SERC_URE3 discovered these undocumented controllers during its annual energy management system CIP-002-5.1 BCS review, which is a more comprehensive annual assessment of all Cyber Assets associated with all BCSs. The next month, after reviewing all the facts and understanding the circumstances, SERC_URE3 initiated a work order and completed the removal of the domain controllers. SERC_URE3 conducted and documented an extent-of-condition assessment through logical and physical walk-downs of all High Impact BCSs, and identified no additional instances of PCAs being undocumented in the baselines. SERC_URE3 determined that the root-cause of this violation was organizational weaknesses. Breakdowns in communications between teams led to the missed removal of the domain controllers prior to CIP Version 5. Instance 4: In response to a request from the SERC_URE3 energy management system (EMS) coordinator for desktop virtualization servers (DVSs) as a security enhancement to reduce the number of workstations directly connected to the EMS ESP, SERC_URE3 made some DVSs accessible through the ESP firewall. However, the teams completing the work did not document the baseline configurations and did not notify the SERC_URE3 EMS team, which was responsible for NERC CIP Compliance activities, that the DVSs were available. Two months later, while reviewing its network configurations, the EMS team identified the DVSs within its EMS ESPs, and determined that the teams conducting these changes did not maintain documentation necessary to demonstrate they performed configuration change management activities. The SERC_URE3 EMS team initiated the commissioning checklist for the servers, and the following day, completed the checklist testing, patching, and added the DVS servers to the baseline documentation as PCAs. SERC_URE3 determined that the root-cause was procedural weaknesses, and a lack of defined expectations. There was insufficient detail and control around the server commissioning process. | CIP-010-2 | R1, P1.1 | Medium | Severe | This issue posed a moderate risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). SERC_URE3’s failure to create and maintain baselines of Cyber Assets within the ESPs could permit patching failures to occur, leaving security vulnerabilities available for exploit. Additionally, baseline omissions could create operational impacts if necessary Cyber Assets were removed or added without proper controls and testing. However, none of the four instances involved Bulk Electric System Cyber Assets (BCAs). Instance 1 involved a single PCA, used by SERC_URE3 to pull data from application servers within the ESP and create reports regarding patch management activities. This server resided within an established ESP, and had no dial-up capabilities, and no direct connections to the internet. Instance 2 was within a secured ESP, and was limited to an operating system for a single EACM. This single EACM only affected the monitoring of traffic to the firewall and not the access to the ESP. Instance 3 involved only a small number of PCAs that SERC_URE3 connected to a BCA switch within the ESP, which was logically separated from any other Cyber Assets connected to the firewall interface. These PCAs had no dial-up capabilities and no direct connections to the internet. The only access to the PCAs would be through physical access because logical access was not possible through the firewall. Instance 4 involved a small number of PCAs that SERC_URE3 made accessible as a security enhancement to reduce the number of workstations directly connected to the EMS ESP. Further, SERC_URE3 only operated without baselines for these PCAs for two months. | when CIP-010-2 R1 became mandatory and enforceable on SERC_URE3 | when SERC_URE3 confirmed security configurations and updated baselines for the missed PCAs | $220,000 (for SERC2016016029, SERC2016016337, SERC2016016493, SERC2016016697, SERC2017017235, SERC2017017284, SERC2017017644, SERC2017018071, SERC2017018379, SERC2017018690, SERC2018019153, SERC2016016030, SERC2017017669, SERC2017018072, and SERC2017018380) | Self-Report | To mitigate this violation, SERC_URE3: 1) reviewed procedures for other EACMs managed by IT services to validate that a similar issue 1 scenario did not exist; 2) completely severed access to the domain controllers by physically removing power to the assets; 3) commissioned patch management decision support for sever automation as a NERC PCA; 4) developed an action plan to apply controls to and return devices to compliance; 5) implemented action plan developed in step 4; 6) updated distributed enterprise services, distributed risk operations, and distributed server administrator procedures ensuring roles and responsibilities are clearly identified to reduce confusion between the teams; 7) trained individuals that are responsible for managing assets baseline configuration on the procedure changes developed in step 6; 8) developed transition guidance for compliance teams; 9) developed commissioning guidance for compliance teams; 10) trained individuals on transition guidance; 11) trained individuals on commissioning guidance; 12) energy management system commissioned all involved DVSs as PCAs; 13) manager of IT risk management notified all applicable teams that the ESP owner must approve the addition of any server to any ESP. Approval must be in writing; 14) developed a process to provision a server on an existing NERC “commissioned” network; 15) updated the existing CIP-010 procedures to point to the new server onboarding procedure and checklist; and 16) trained impacted personnel on the new process/procedures developed in steps 14 and 15. | 2017-10-26 | TBD | Neither Admits nor Denies | SERC reviewed SERC_URE3's internal compliance program (ICP) and considered it to be a mitigating factor in the penalty determination. SERC considered SERC_URE3’s compliance history and determined that there were no relevant instances of noncompliance.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 3 (SERC_URE3) | NCRXXXXX | SERC2017017644 | Settlement Agreement | SERC_URE3 submitted a Self-Report stating that it was in violation of CIP-007-6 R2, Part 2.2. SERC_URE3 did not assess three security patches for applicability within 35 days of availability. A patch source for SERC_URE3's parent company released three security patches, but SERC_URE3's parent company did not assess these patches until two days past the 35-day window. SERC_URE3's parent company discovered this violation two days past the 35 day window, during a business operations staff meeting, when a team member reminded patch deployment personnel that they should install the security patches on the Active Directory (AD) servers. At that time, the entity's staff discovered that it had not conducted the patch assessments, due to an oversight of responsibilities. The three security patches were applicable to mulitple production AD domain controllers (DC) classified as Electronic Access Control and/or Monitoring Systems (EACMSs) associated with High Impact Bulk Electric System Cyber Systems (BCS). Only 25% of these AD DCs were applicable to SERC_URE3 exclusively, another 25% were shared with SERC_URE3's affiliate while another 25% others were exclusive to SERC_URE3's affiliate. The final 25% of the AD DCs were located at another affiliate's market operations centers facilities outside of the SERC footprint. SERC_URE3 subsequently installed the three security patches the following month. SERC_URE3's parent company conducted an extent-of-condition assessment, which involved reviewing all operating system patches pulled in using a tool, and did not identify any other instances of missed security patch assessments. SERC_URE3 determined that the root cause of this violation was a lack of controls and human performance issues. SERC_URE3's parent company did not have alerts or reminders in place. SERC_URE3's parent company also cited year-end workload compounded by unplanned employee absences. The increased workload and lack of personnel contributed to this specific oversight. | CIP-007-6 | R2, P2.2 | Medium | Moderate | This violation posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). SERC_URE3’s failure to assess security patches could have permitted known vulnerabilities to remain available for exploit, giving bad actors additional time to exploit and potentially degrade local operations or impact the BPS. However, the EACMSs at issue resided within secured Electronic Security Perimeter and Physical Security Perimeters with access controls and real-time monitoring and alerting for anomalous activity. This violation involved only three security patches affecting a small number of SERC_URE3 specific EACMs. Although the three security patches were assessed two days late (at 37 days instead of 35 days), the patches were applied within 44 days of release. | when SERC_URE3 exceeded the 35-day window to assess released security patches | when SERC_URE3 assessed the missed security patches | $220,000 (for SERC2016016029, SERC2016016337, SERC2016016493, SERC2016016697, SERC2017017235, SERC2017017284, SERC2017017644, SERC2017018071, SERC2017018379, SERC2017018690, SERC2018019153, SERC2016016030, SERC2017017669, SERC2017018072, and SERC2017018380) | Self-Report | To mitigate this violation, SERC_URE3: 1) evaluated missed security patches for applicability; 2) added CIP-007-6 R2.2 task to the executive dashboard; 3) addressed human performance; 4) implemented additional controls around patching to ensure patches are assessed and implemented; and 5) provided training in support of Step 4. | 2017-05-19 | 2018-07-05 | Neither Admits nor Denies | SERC reviewed SERC_URE3’s internal compliance program (ICP) and considered it to be a mitigating factor in the penalty determination. SERC considered SERC_URE3’s and its affiliate’s compliance history to be an aggravating factor in the penalty determination.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 3 (SERC_URE3) | NCRXXXXX | SERC2017018071 | Settlement Agreement | SERC_URE3 submitted a Self-Report stating that it was in violation of CIP-004-6 R4, Part 4.1. SERC_URE3 did not implement a process to authorize access into a Physical Security Perimeter (PSP), based on need, after a PSP reconfiguration removed existing controls. Instance 1: SERC_URE3's parent company executed a planned change and modified three distinct and physically separated areas, two of which were PSPs, by removing interior chain-link fencing from between each of them, creating one large cage PSP without interior barriers. Originally, each PSP had its own access control door, which used two-factor authentication to permit authorized access into the individual PSP cage. One cage contained firewalls used to control access to High Impact Bulk Electric System Cyber Systems (BCSs), the second cage contained access control equipment used to manage physical access into facilities containing Medium and High Impact BCSs, and the third contained demilitarized zone (DMZ) equipment. After removing the interior chain-link fencing, the now singular PSP retained two PSP access doors, but removed the DMZ cage door. This change permitted individuals who only had specific access permissions to one of the three separate areas to have physical access upon entry to Cyber Assets that SERC_URE3 had not authorized them for. SERC_URE3 permitted eight unauthorized individuals access to multiple Electronic Access Control and/or Monitoring System Cyber Assets within the firewall cage, and permitted 18 unauthorized individuals access to mulitple Physical Access Control System Cyber Assets within the access control cage. About two months later, SERC_URE3 discovered this violation while conducting an extent-of-condition review associated with a prior non-compliance (NERC violation ID: SERC2017017284). SERC_URE3 conducted an extent-of-condition assessment and concluded no additional instances of PSP modifications had occurred. SERC_URE3 concluded the root-cause of this violation was a lack of training and controls. An individual misunderstood access permissions and the role the individual PSPs’ access controls played in permitting access when SERC_URE3 removed the interior cage walls. About five months later, SERC_URE3 submitted two expansions of scope, reporting additional instances of noncompliance with CIP-004-6 R4, Part 4.1. Instance 2: SERC_URE3 granted a new database administrator (DBA) contractor electronic access to CIP data the individual had not been authorized for. Specifically, SERC_URE3 erroneously granted the DBA electronic access to a Physical Access Control Systems database, which supported facilities containing High and Medium Impact BCSs. This error occurred when the security analyst completing the work order inadvertently selected the wrong Active Directory (AD) group due to similar naming conventions used for the AD groups. The next day, SERC_URE3 discovered this instance as the result of an internal control, where SERC_URE3 reviews exceptions looking for possible improper access provisioning on a daily basis. The same day as discovery, SERC_URE3 removed the DBA’s unauthorized access. During its extent-of-condition assessment, SERC_URE3 discovered no additional instances of access provisioning problems. SERC_URE3 determined that the root-cause of this violation was a manual process that lacked detailed instructions and was co-mingled with non-CIP access requests. Instance 3: A member of the access services team inadvertently granted a contractor physical access to all SERC_URE3 substations, which contained Medium Impact BCSs with External Routable Connectivity and their associated devices, instead of the single substation where SERC_URE3 had authorized this contractor to perform work. The next day, SERC_URE3 discovered this instance as the result of a manual internal control, implemented for CIP Version 5, where SERC_URE3 reviews access changes for possible improper access provisioning daily. During its extent-of-condition assessment, SERC_URE3 discovered no additional instances of access provisioning problems. SERC concluded the root-cause of this violation was inadequate training, since the individual failed to follow the documented SERC_URE3 access provisioning request procedure. | CIP-004-6 | R4, P4.1 | Medium | Severe | This violation posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. SERC_URE3’s failure to properly control access provisions could have permitted unauthorized individuals to access and possibly modify settings, either from unintentional or malicious actions, and cause operational impacts. However, everyone involved in all three instances had received cyber security training and had a valid Personnel Risk Assessment on file. For Instance 1, the duration of the unauthorized access was limited to 13 weeks and access was restricted to the same personnel that were originally using the card readers. The individuals did not gain any unauthorized electronic access to the assets. In addition, SERC_URE3 had located this cage within a secured building with access controls and roving security staff patrols. For Instance 2, the unauthorized access lasted for less than one day and was limited to only one DBA. The DBA was unaware of the unauthorized access. SERC_URE3 reviewed the DBA’s activity and found the DBA did not access the PACS database during the time unauthorized access was granted. For Instance 3, the duration of the unauthorized access lasted less than two days, and SERC_URE3 determined that the contractor did not know of the unauthorized access and did not access or attempt to access any of the unauthorized sites. Further, SERC_URE3 discovered the second and third instances the next day by performing a manual internal control. | Instance 1: when SERC_URE3 made PSP modifications that permitted access to individuals without authorization Instance 2: when SERC_URE3 granted a DBA contractor access to information that SERC_URE3 had not authorized the contractor to access Instance 3: when SERC_URE3 granted a contractor access to substations that SERC_URE3 had not authorized the contractor to access | Instance 1: when SERC_URE3 completed a reauthorization process for all individuals needing access to the modified PSP Instance 2: when SERC_URE3 removed the unneeded access permissions Instance 3: when SERC_URE3 removed the unneeded access permissions | $220,000 (for SERC2016016029, SERC2016016337, SERC2016016493, SERC2016016697, SERC2017017235, SERC2017017284, SERC2017017644, SERC2017018071, SERC2017018379, SERC2017018690, SERC2018019153, SERC2016016030, SERC2017017669, SERC2017018072, and SERC2017018380) | Self-Report | To mitigate this violation, SERC_URE3: 1) sent email communication to all area owners reminding them not to make changes to a PSP without following the corporate security’s change control process; 2) created a new PSP in the access control system and obtained authorizations; 3) completed the PSP inspection; 4) created a configuration item for changes to the PSP; 5) created a server administrator job aid which directs individuals to use the configuration item developed in Step 4, and posted it in the data center PSPs; 6) trained impacted personnel on the job aid developed in Step 5; 7) removed unauthorized access from DBA’s account; 8) added enhancement to the workflow tool to initiate a pop-up alert when completing a NERC request. To continue with the process, the security analyst requests a peer review. Peer reviewer notes review in IT request center. 9) instituted a process improvement to prevent vaulting user accounts until IT risk management notifies end-user access security that the “compliance process is complete”; 10) improved the access request fulfillment process to require peer reviews when granting NERC access; 11) trained individuals on the revised process; and 12) modified the PACS location naming convention. | 2017-12-18 | 2018-07-25 | Neither Admits nor Denies | SERC reviewed SERC_URE3’s internal compliance program (ICP) and considered it to be a mitigating factor in the penalty determination. SERC considered SERC_URE3’s compliance history and determined that there were no relevant instances of noncompliance.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 3 (SERC_URE3) | NCRXXXXX | SERC2017018379 | Settlement Agreement | SERC_URE3 submitted a Self-Report stating that it was in violation of CIP-010-2 R1, Part 1.4. Prior to making a change that deviated from the baseline configuration, SERC_URE3 personnel did not determine the required cyber security controls in CIP-005 and CIP-007 that could be impacted by the change. Following the change, SERC_URE3 did not verify that required cyber security controls were not adversely affected and did not document such verification. A SERC_URE3 information security specialist employee initiated a change that deviated from the baseline configuration for multiple Electronic Access Control and/or Monitoring System (EACMS) servers that provided network authentication services to all CIP networks of SERC_URE3's public utility holding company, without determining what security controls from CIP-005 and CIP-007 could have been impacted. Specifically, the EACMS servers impacted BES Cyber Systems managed by SERC_URE3 and BES Cyber Systems that supported both SERC_URE3 and its affiliate, including both High and Medium Impact BES Cyber Systems and their associated devices. About three months later, while conducting an extent-of-condition assessment for an unrelated violation, SERC_URE3 IT risk management personnel discovered that the change order associated with this change did not contain a list of cyber security controls that could be impacted. Additionally, SERC_URE3 determined that it had no evidence to verify that cyber security controls were not impacted. Upon investigation through interviews and observation, SERC_URE3 determined that the team responsible for patching the domain servers consistently relied upon prior experience to determine that patching changes would not impact existing cyber security controls, and as a result, did not document cyber security controls or confirm no cyber security controls were impacted. SERC reviewed the SERC_URE3 patching procedure in use at the time of this violation and found it was un-signed and in draft form. The procedure required listing cyber security controls that could be impacted by the change and testing to ensure the identified security controls were not adversely impacted. The procedure required both be documented in the change order ticket. However, the procedure lacked specific details or guidance on how to accomplish these tasks, and it lacked expectations if personnel determined no security controls could be impacted. SERC_URE3’s extent-of-condition assessment found this team was only responsible for patching these impacted domain servers. Further, SERC_URE3 used different cyber security control testing procedures for patching all other assets. The root cause of this violation was a lack of complete work procedures and checklists, coupled with a lack of management oversight and appropriate internal controls. | CIP-010-2 | R1, P1.4 | Medium | Severe | This violation posed a moderate risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). SERC_URE3’s failure to document the security controls that could be impacted by a change for 16 months could have permitted changes to be made, resulting in unforeseen impacts to the security controls. These unanticipated impacts could result in loss of operational awareness, unrealized modifications to create conditions where bad data would result in improper operator actions, or unauthorized accesses providing an attack vector into the Bulk Electric Cyber Systems and BPS. However, this violation only involved a two-person team responsible for patching only the specific domain servers at issue. The domain servers did not provide access to any critical applications, but instead only provided network authentication. All the servers stand in for one another when in service, and in the event of loss of some, others available would provide all necessary services. Even in the unlikely event all domain servers were unavailable, SERC_URE3 could use the local cached credentials in some cases to permit authentication (but not in all instances). The individuals responsible for patching the domain servers applied the patches in a test developmental environment for a week, prior to deploying into production. Additionally, the patches lagged public release by at least two weeks, meaning heavy consumer testing of the patches occurred prior to SERC_URE3 deploying the patches. However, SERC_URE3 did not document these testing activities. | when the Standard became mandatory and enforceable on SERC_URE3 | when SERC_URE3 updated its procedures and completed training | $220,000 (for SERC2016016029, SERC2016016337, SERC2016016493, SERC2016016697, SERC2017017235, SERC2017017284, SERC2017017644, SERC2017018071, SERC2017018379, SERC2017018690, SERC2018019153, SERC2016016030, SERC2017017669, SERC2017018072, and SERC2017018380) | Self-Report | To mitigate this violation, SERC_URE3: 1) executed cyber security controls validation; 2) performed human performance/stop the bleeding exercises and met with teams to discuss compliance expectations; 3) improved domain controller CIP-010 Part 1.4 & 1.5 procedure and implemented central services compliance checklist; and 4) trained on step 3. | 2017-10-18 | 2018-06-29 | Neither Admits nor Denies | SERC reviewed SERC_URE3's internal compliance program (ICP) and considered it to be a mitigating factor in the penalty determination. SERC considered SERC_URE3’s compliance history to be an aggravating factor in the penalty determination.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 3 (SERC_URE3) | NCRXXXXX | SERC2017018690 | Settlement Agreement | SERC_URE3 submitted a Self-Report stating that it was in violation of CIP-007-6 R2, Part 2.1. SERC_URE3 did not effectively implement a patch management process for tracking, evaluating, and installing cyber security patches for multiple applicable Cyber Assets. SERC_URE3 installed a software suite on application host servers used within its energy management system (EMS), but omitted the software from its patch tracking and evaluation program, which feeds its baseline documentation. The host servers involved were Bulk Electric System Cyber Assets (BCAs) within High Impact Bulk Electric System (BES) Cyber Systems. Specifically, SERC_URE3 added the software to half of the impacted servers three months prior to discovering the issue, and added the software to the remaining half of the servers two months prior to discovering the issue. While meeting to discuss a potential software upgrade, SERC_URE3 learned that this software suite had not been included in SERC_URE3's baseline for servers. A few days after discovery, SERC_URE3 ended the noncompliance when it assessed and installed the security patches for software installed on the servers. SERC_URE3 conducted an extent-of-condition assessment and determined that there were other instances of this software installed on various Cyber Assets within its CIP program. However, SERC_URE3 properly documented and fully patched the software on those other Cyber Assets. In all the other instances, SERC_URE3 had this software documented as components of other ‘parent’ software suites. SERC_URE3 determined the root cause of this violation was an organizational and procedural weakness. SERC_URE3 did not have a step in its change management program to ensure that SERC_URE3 personnel tracked and evaluated patches for all software being installed, and did not have a requirement for all software installed to be assessed to ensure patch levels were up-to-date. SERC_URE3 staff had extensive experience with this very common software product, which led them to believe that existing automated patching tools already included this particular software suite. | CIP-007-6 | R2, P2.1 | Medium | Severe | This violation posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). SERC_URE3’s failure to track and patch installed software could have permitted known vulnerabilities to be exploited, creating conditions where local operations could be negatively impacted resulting in more extensive BPS impacts. However, SERC_URE3 only missed security patches for one software suite on a small number of servers. Half of the impacted servers were without appropriate patch levels for one month while the others were without for slightly more than three months. SERC_URE3 assessed the specific patches missed as low risk due to the need to have remote access to the running software in order to execute any potential harm. Local access is restricted through Physical Security Perimeters that authorize access and are monitored and alerted in real time for any anomalous activity. SERC_URE3 had changed all default accounts on the servers as well as the access point firewalls that provided logical access. None of the servers had internet access, and SERC_URE3 restricted all USB ports to specific devices. SERC_URE3 routed all remote access through an intermediate system requiring two-factor authentication. Finally, SERC_URE3 located the secured network behind multiple firewalls with various authentication methods and an intrusion detection system, both within and exterior to the Electronic Security Perimeter. | when SERC_URE3 added software to the BCA servers without implementing its process to track, evaluate, and install security patches | when SERC_URE3 evaluated and installed all applicable security patches and began tracking this software suite for servers | $220,000 (for SERC2016016029, SERC2016016337, SERC2016016493, SERC2016016697, SERC2017017235, SERC2017017284, SERC2017017644, SERC2017018071, SERC2017018379, SERC2017018690, SERC2018019153, SERC2016016030, SERC2017017669, SERC2017018072, and SERC2017018380) | Self-Report | To mitigate this violation, SERC_URE3: 1) evaluated and installed applicable security patches on the servers identified; 2) examined the extent of condition to ensure that all products supported by the applicable patching tool are being tracked and evaluated. Business areas will validate if all of their products are being tracked by the patching tool identified on their baseline; 3) conducted an analysis to determine affected groups that need to take part in the development of a shared software installation procedure; 4) developed a shared software installation procedure to ensure that all software installed is patched to the appropriate level when initially installed including all applicable patches and further to ensure that the patch management inventory is modified when products are added to the baseline; 5) modified existing EMS, central services, and distributed server administrator procedures to reference the shared software installation procedure; and 6) provided training for the procedural changes made in steps 4 and 5. | 2018-06-15 | 2018-07-31 | Neither Admits nor Denies | SERC reviewed SERC_URE3's internal compliance program (ICP) and considered it to be a mitigating factor in the penalty determination. SERC considered SERC_URE3’s compliance history to be an aggravating factor in the penalty determination.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 3 (SERC_URE3) | NCRXXXXX | SERC2018019153 | Settlement Agreement | SERC_URE3 submitted a Self-Report stating that it was in violation of CIP-010-2 R4. SERC_URE3 did not implement one or more documented plans for the management of Removable Media that included authorization and malicious code mitigation as specified in section 3 of Attachment 1. A SERC_URE3 electric systems operations engineering contractor connected a removable Universal Serial Bus (USB) device to a workstation that was part of the SERC_URE3 energy management system (EMS). The workstation was a Bulk Electric System Cyber Asset (BCA) that was part of a high impact Bulk Electric System Cyber System (BCS). The connection produced an immediate alert to SERC_URE3 EMS staff to investigate. A minute later, the contractor disconnected the USB. In response to the alert received, SERC_URE3 EMS staff and risk management team initiated an extent-of-condition (EOC) review. SERC_URE3 found USB ports that had missing printed stickers, which SERC_URE3 staff originally placed over the ports to advise users not to connect unless SERC_URE3 EMS staff approved and authorized access. Additionally, during the EOC review, SERC_URE3 discovered that within three months time, there were seven additional instances where three EMS engineering personnel had connected Removable Media to three separate EMS workstations without proper authorizations. The EMS engineering personnel who connected the Removable Media erroneously thought that they were authorized to do so. The total time unauthorized media was connected was less than five hours. All eight instances occurred on EMS workstations that were part of one high impact BCS. Therefore, all instances exposed the same BCAs and Protected Cyber Assets within the high impact BCS to prohibited Removable Media. In all eight instances, the engineers used SERC_URE3 issued USBs to capture screen shots of testing results because it was easier and faster than remotely logging in to conduct the work. All eight instances resulted in an alert to EMS staff. However, in each of the first seven instances, SERC_URE3 failed to investigate any of the alerts. SERC_URE3 EMS staff noted that the alerts were difficult to identify due to their similarity to failed login alerts, which were high-volume alerts that did not require immediate review. SERC_URE3 cited the cause of this violation was lack of oversight by managers and human performance failures where personnel did not follow processes. SERC determined that the root-cause was a lack of training and a lack of management oversight. | CIP-010-2 | R4 | Medium | Moderate | This violation posed a moderate risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). The use of removable media on EMS workstations could permit malware or viruses to become active within the high impact BCS, and possibly propagate through the network, resulting in a loss of command and control of the BPS, or control being ceded to individuals outside of the company who may have bad intentions. However, the USBs used were issued by SERC_URE3 and were free of viruses or malware. Therefore, the unapproved work-around did not expose the EMS workstations or USB ports to malware or viruses. SERC_URE3 had properly screened and trained the three individuals involved, and although working outside of the established process, all were aware of the security process but misunderstood what it meant to be ‘authorized’. The workstations all had auto-run disabled, and the virus protection enforced an auto-scan of introduced media, which alerted multiple work groups within EMS and security if the scan found any compromised media. SERC_URE3 reviewed its security controls testing reports for the workstations and time periods involved and determined no adverse impacts occurred resulting from the use of the Removable Media. | when SERC_URE3 personnel first installed removable media without proper authorizations | when SERC_URE3 personnel last used unauthorized media on EMS workstations | $220,000 (for SERC2016016029, SERC2016016337, SERC2016016493, SERC2016016697, SERC2017017235, SERC2017017284, SERC2017017644, SERC2017018071, SERC2017018379, SERC2017018690, SERC2018019153, SERC2016016030, SERC2017017669, SERC2017018072, and SERC2017018380) | Self-Report | To mitigate this violation, SERC_URE3: 1) conducted walkthrough of EMS workstations and placed stickers stating “STOP! Attaching a cable or inserting media into this device requires authorization” over uncovered USB ports; 2) added port blockers to USB ports on EMS workstations and covered them with stickers as additional mitigating control. Port blockers can only be removed with a key. Only authorized individuals have access to the key to remove port blockers. Stickers applied over top of the port blockers contain the verbiage “STOP! Attaching a cable or inserting media into this device requires authorization.”; 3) enhanced implementation of CIP-007 Part 1.2 signage by replacing current USB stickers with tamper-evident stickers that will be difficult to remove and leave traces of adhesive if removed; 4) conducted NERC 101 training for the electric transmission system operations engineering team; 5) strengthened alerting control currently providing situational awareness when a USB removable media device is plugged into EMS workstations to help ensure faster response time and prevent overlooking an alert; 6) updated the cyber security - CIP computer-based training course to provide a clear definition of “specifically authorized” and assigned supplemental training reinforcing these same points; and 7) implemented a group policy to logically block USB ports on all EMS workstations. | 2018-04-12 | TBD | Neither Admits nor Denies | SERC reviewed SERC_URE3’s internal compliance program (ICP) and considered it to be a mitigating factor in the penalty determination. SERC considered SERC_URE3’s compliance history and determined that there were no relevant instances of noncompliance.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 3 (SERC_URE3) | NCRXXXXX | SERC2016016337 | Settlement Agreement | SERC_URE3 submitted a Self-Report stating that it was in violation of CIP-006-6 R2, Part 2.2. SERC_URE3 did not document visitor entry into and exit from the Physical Security Perimeter (PSP) for an individual in three separate instances on the same day. While investigating another issue reported under SERC2016016336, SERC_URE3 reviewed alarm reports and discovered two alarms on the rear door of the system operations center (SOC) control room that resulted from three consecutive unauthorized badge swipes. SERC_URE3 reviewed closed circuit television (CCTV) video footage associated with those alarms and found that on one day, over a period of approximately 40 minutes, a SERC_URE3 senior engineer escorted a senior telecommunication technician into the SOC and SOC computer room three separate times without signing the visitor in or out of the PSP on the manual visitor log books. The instances lasted an average of 22 seconds. In the first instance, the senior telecommunication technician attempted to gain access through badge swipes and biometric (fingerprint) reader three times in approximately one minute, but the readers denied access. The three unsuccessful access attempts resulted in a “consecutive denied exceed” alarm, which led to the discovery of these instances. In a second instance nearly twenty minutes later, the technician unsuccessfully attempted to access the front door and then the back door of the SOC, after which the engineer let the technician walk through the SOC without logging the technician’s entry and exit as a visitor. In a third instance shortly thereafter, both employees again entered the rear door of the SOC In all three instances, the technician used the SOC and SOC computer room as a shortcut between unrelated job sites. The technician had approved and authorized unescorted physical access to the emergency SOC, but not to the SOC. Both individuals thought the access lists for both facilities were identical, and that a system problem caused the SOC door lock to malfunction and deny entry. SERC_URE3 reviewed the engineer’s accesses for the month at issue and found that the engineer had only escorted a visitor on one other day in that month and had properly logged it on the manual visitor logbook. SERC_URE3 determined the root-cause of this issue was inadequate training. | CIP-006-6 | R2, P2.2 | Medium | Severe | This violation posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. SERC_URE3’s failure to document visitor presence within the PSP could make any post event forensics difficult and uncertain, since attendance in the PSP would be unclear. However, the PSP visitor had a Personnel Risk Assessment and received annual cyber security training. The visitor was in the PSP for a cumulative total of 66 seconds. An escort accompanied the visitor the entire time within the PSP. Further, the visitor had authorized unescorted physical access to another similar PSP. The individual used the PSP as a shortcut between two job sites and never approached or accessed any Bulk Electric System Cyber Assets, as evidenced by CCTV footage. | when SERC_URE3 first failed to log the visitor's entrance into the PSP | when SERC_URE3 last failed to log the visitor's exit from the PSP | $220,000 (for SERC2016016029, SERC2016016337, SERC2016016493, SERC2016016697, SERC2017017235, SERC2017017284, SERC2017017644, SERC2017018071, SERC2017018379, SERC2017018690, SERC2018019153, SERC2016016030, SERC2017017669, SERC2017018072, and SERC2017018380) | Self-Report | To mitigate this violation, SERC_URE3: 1) corporate security sent an email communication to all employees and contractors with unescorted physical access to PSPs to reinforce security policies and procedures; 2) director of IT enterprise operations (ITEO) sent an email communication to all members of the IT infrastructure operations staff to clearly identify the expectations and requirements that are outlined in SERC_URE3’s security policies and procedures; and 3) senior software systems engineer’s supervisor took additional measures to ensure the senior software systems engineer is aware and understands all policies and procedures required by ITEO employees and/or contractors, as well as SERC_URE3's NERC CIP Program. | 2016-09-26 | 2018-07-25 | Neither Admits nor Denies | SERC reviewed SERC_URE3's internal compliance program (ICP) and considered it to be a mitigating factor in the penalty determination. SERC considered SERC_URE3’s compliance history in determining the penalty. SERC determined SERC_URE3’s compliance history should not serve as a basis for aggravating the penalty.
SERC Reliability Corporation (SERC) | Unidentified Registered Entity 3 (SERC_URE3) | NCRXXXXX | SERC2016016493 | Settlement Agreement | SERC_URE3 submitted a Self-Report stating that it was in violation of CIP-007-6 R2, Part 2.2. SERC_URE3 did not assess three security patches for applicability within 35-days of availability. An operating system vendor made a change to the digital certificate without notifying the users. SERC_URE3 had developed an automated script internally that it used to obtain and compile available security patches from the identified security patch source. When the vendor made the certificate change, the automated pull no longer properly linked to the identified patch source. The vendor had released three security patches that SERC_URE3 did not assess within 35 days of availability. The missed patches affected 2.94% of the entity's High Impact Bulk Electric System Cyber Assets (BCAs) in half of its High Impact Bulk Electric System Cyber Systems (BCSs) and 10% of its Protected Cyber Assets (PCAs). The BCAs were servers, half in the System Operation Center (SOC) and half in the Emergency System Operations Center (ESOC), that processed data and operator controls between the SERC_URE3 energy management system and field devices. The PCAs, half in the SOC and half in the ESOC, ran software used to conduct cyber vulnerability assessments as well as gather and maintain baseline data in support of CIP-010-2. A couple months later, a SERC_URE3 system administrator identified this patching issue when no operating system patches were available for assessment for a second consecutive month. Upon discovery, SERC_URE3 assessed the three missed security patches and subsequently applied the three patches within the next 30 days. SERC_URE3 conducted an extent-of-condition assessment and reviewed all operating systems patches pulled in for assessment using the script. SERC_URE3 did not discover any other instances of missed patches. The root cause of this violation was a combination of operational control failures and human performance. SERC_URE3 did not properly train and communicate expectations and it had insufficiently detailed documented processes and procedures, which led to SERC_URE3 staff not understanding the process. Several months later, SERC_URE3 submitted an expansion of scope to SERC, after it discovered a second instance where it did not assess three security patches for applicability within 35 days of availability. A vendor made a change in the entitlement certificate of a patching source repository, without notifying SERC_URE3. This change caused the patch repository to stop receiving security patch updates. Due to the certificate change, SERC_URE3 did not identify any available patches during its security patch assessments for two consecutive months. SERC_URE3 missed assessing three patches within 35 days of availability. The three patches SERC_URE3 assessed late were applicable to a PCA within a High Impact BCS, and one of the three security patches was also applicable to some BCAs within a High Impact BCS. Two months later, a corporate employee noted the discrepancy between the corporate patch levels and the CIP patch levels and initiated an investigation. The same day as discovery, SERC_URE3 assessed the missed patches and about a week later installed the patches on its impacted servers. The root cause of this violation was organizational weaknesses and a lack of oversight. SERC_URE3 was required to manually update a configuration file when the name changed. Since the vendor did not communicate the change, SERC_URE3 failed to manually update the configuration. Further, SERC_URE3 expected an error message for a failed authorization of a certificate. However, SERC_URE3 had not tested the error message control. | CIP-007-6 | R2, P2.2 | Medium | Moderate | This issue posed a moderate risk and did not pose a serious or substantial risk to the reliability of the bulk power system (BPS). SERC_URE3’s failure to assess security patches could have permitted known vulnerabilities to remain available for exploit, giving bad actors additional time to exploit and potentially degrade local operations or impact the BPS. However, the BCAs and PCAs affected were within an established Electronic Security Perimeter within an established Physical Security Perimeter, both with access controls and real-time monitoring and alerting for anomalous activity. The elapsed time between the vendor patch release and assessment by SERC_URE3 did not exceed 69 days. SERC_URE3 had three layers of firewalls between the affected BCSs and the external networks. There were no direct connections between the affected BCSs and the internet. One missed patch fixed an internet browser vulnerability that would have required a malicious website to exploit, which was inaccessible from inside the ESP where these BCSs resided. One missed patch fixed a vulnerability that would have required direct access to the services, which required a personnel risk assessment, a background check, and training. One missed patch fixed a vulnerability that would have required a compromised time source, while SERC_URE3 protected its time sources behind three layers of firewalls. For the security patches missed under the expansion of scope, two fixed identified access issues and the third fixed a time calibration issue. However, SERC_URE3 did not permit direct access to the system and existing network time clocks were within ESPs. SERC_URE3 managed access to all Cyber Assets within the ESP through Active Directory and firewall controls, eliminating the attack vector to compromise the known vulnerabilities. Even though it assessed the patches late, SERC_URE3 deployed 75% of the patches in less than 70 days and deployed the remaining patches within 30 days of assessing them. | when SERC_URE3 first missed assessing a patch within 35 days of availability | when SERC_URE3 discovered and assessed the three additional missed security patches | $220,000 (for SERC2016016029, SERC2016016337, SERC2016016493, SERC2016016697, SERC2017017235, SERC2017017284, SERC2017017644, SERC2017018071, SERC2017018379, SERC2017018690, SERC2018019153, SERC2016016030, SERC2017017669, SERC2017018072, and SERC2017018380) | Self-Report | To mitigate this violation, SERC_URE3: 1) evaluated the missed security patches and applied those assessed as applicable; 2) set the repository synchronization command within the gathering job (that collects patches for evaluation) to no longer have a quiet flag so the job can be monitored for failures; 3) documented the process in an operating procedure to improve procedural control around the involved patching process. By following an operational procedure there is less opportunity for mistakes; 4) provided training on the operating procedure above to all affected administrators; 5) applied additional alerting controls to ensure patches are evaluated and applied. The patching cron job sends an email to the administrator when the job is complete showing the output; 6) updated server team's CIP-007-6 procedure(s) to add additional detail around the involved patching process and specifically reference the centralized services patching procedure; 7) provided training for the procedural changes to the CIP-007-6 procedure(s); 8) implemented and tested a scheduled macro that verifies that the path in the configuration file and the entitlement certificate match. An email is sent indicating that the verification is complete and any differences. This is an additional technical control to make sure the entitlement certificate is correct; 9) updated the assessment checklist to include verification that the entitlement certificate is the same as the configuration file. This is a procedural control to manually check the entitlement certificate; and 10) moved the patching update process to a dedicated repository server and tested digital certificate changes. This server will automatically detect and accommodate changes in the entitlement certificate. | 2018-06-05 | 2018-07-26 | Neither Admits nor Denies | SERC reviewed SERC_URE3’s internal compliance program (ICP) and considered it to be a mitigating factor in the penalty determination. SERC considered SERC_URE3’s and its affiliate’s compliance history to be an aggravating factor in the penalty determination.
Western Electricity Coordinating Council (WECC) | Unidentified Registered Entity 1 (WECC_URE1) | NCRXXXXX | WECC2017018618 | Settlement Agreement | WECC_URE1 submitted a Self-Report stating that it was in violation of CIP-004-6 R3 Part 3.5. Specifically, WECC_URE1 reported that per its documented procedures, it reviewed a list of personnel due for an updated Personnel Risk Assessment (PRA) and discovered seven personnel with expired PRAs. The seven personnel had authorized electronic and/or authorized unescorted physical access to High Impact Bulk Electric System (BES) Cyber Systems (HIBCS) and Medium Impact BES Cyber Systems (MIBCS). The seven personnel continued to have said access while WECC_URE1 worked on renewing the PRAs. After reviewing all relevant information, WECC determined that WECC_URE1 failed to ensure that personnel with authorized electronic and/or authorized unescorted physical access to its HIBCS and MIBCS had a PRA completed according to CIP-004-6 Part 3.1 to 3.4 within the last seven years The root cause of this violation was a less than adequate process. Specifically, WECC_URE1 did not have a clear process in place to manage and assess data regarding expiring PRAs. WECC determined that this issue began when the first PRA expired, and ended when the last PRA was renewed, for a total of approximately 350 days of noncompliance. | CIP-004-6 | R3: P3.5 | Medium | Severe | This violation posed a minimal risk and did not pose a serious or substantial risk to the reliability of the bulk power system. In this instance, WECC_URE1 failed to ensure that seven personnel with authorized electronic and/or authorized unescorted physical access its HIBCS and MIBCS had a PRA completed according to CIP-004-6 Part 3.5. Such failure could cause WECC_URE1 to miss changes in an individual’s criminal history, an element of potential risk for safety and security. However, all personnel in scope were known to WECC_URE1; were authorized to have either electronic and/or unescorted physical access to the HIBCS and MIBCS; and had an understanding of their roles and responsibilities for protecting these systems. Based on this, WECC determined that the potential harm had a minimal likelihood of occurring. | when the first PRA expired | when the last PRA was renewed | No penalty | Self-Report | To mitigate this violation, WECC_URE1: 1) renewed six of the seven PRAs and revoked CIP access for one personnel who no longer required it; 2) created a desk level procedure to facilitate identification of PRA dates; 3) provided training to its badging and access team on how to evaluate PRAs and the access revocation process; 4) provided training to applicable personnel on the new PRA list capturing process; and 5) provided training during a “lunch and learn” about compliance documentation practices. | 2017-10-18 | 2018-03-23 | Does Not Contest | WECC reviewed WECC_URE1's internal compliance program (ICP) and considered it to be a mitigating factor in the penalty determination. It was through the internal control of monitoring that this issue was discovered.
Western Electricity Coordinating Council (WECC) | Unidentified Registered Entity 2 (WECC_URE2) | NCRXXXXX | WECC2017017928 | Settlement Agreement | During a Compliance Audit, WECC determined that WECC_URE2 was in violation of CIP-010-2 R1 Parts 1.1.1. and 1.1.4. Specifically, regarding CIP-010-2 R1 Part 1.1.1., WECC_URE2 failed to provide evidence demonstrating that it had developed a baseline configuration on one Electronic Access Control or Monitoring Systems (EACMS) associated with a High Impact BES Cyber System (HIBCS) that was decommissioned, after which time baseline evidence was no longer available. Operationally, WECC_URE2 used a real-time security application to actively monitor baseline configurations for the EACMS, BES Cyber Asset (BCA), and Protected Cyber Assets (PCAs) in scope. The monitoring application included an automatic process, then unrecognized by WECC_URE2, to purge data after 90 days for any device to which it was no longer connected. As a result, 90 days after the devices in scope were decommissioned and disconnected from the monitoring application, WECC_URE2 lost its administrative records documenting automatic baseline reviews for these devices. Regarding CIP-010-2 R1 Part 1.1.4, WECC_URE2 failed to properly document all logical network accessible ports in its baseline configurations for a Physical Access Control System (PACS) server and PACS workstations associated with its HIBCS. WECC_URE2 scanned and documented TCP ports only and did not include UDP ports; therefore WECC_URE2 did not develop complete baseline configurations. After reviewing all relevant information, WECC determined that WECC_URE2 failed to provide evidence and completeness of baseline configurations in two instances as required by CIP-010-2 R1 Parts 1.1.1 and 1.1.4. The root cause for both instances of this violation was a less than adequate process--specifically, for appropriately retaining compliance evidence for decommissioned devices and documenting what ports to scan for complete baseline configurations for its PACS. WECC determined that both instances of this violation began when the Standard and Requirement became mandatory and enforceable on WECC_URE2. The first instance ended when WECC_URE2 decommissioned the device, and the second instance ended when WECC_URE2 developed complete baseline configurations for the PACS in scope, for a total of approximately 90 days and 530 days of noncompliance, respectively. | CIP-010-2 | R1: P1.1.1; P1.1.4 | Medium | Moderate | This violation posed a moderate risk and did not pose a serious or substantial risk to the reliability of the Bulk Power System (BPS). Specifically, WECC_URE2 failed to provide evidence and completeness of baseline configurations for two instances related to EACMS and PACS associated with WECC_URE2’s HIBCS. Such failure could lead to unauthorized network device access, which could potentially cause instability, disruption, or complete Electronic Security Perimeter (ESP) network communication outage. Additionally, undocumented ports and services could lead to unauthorized privileged access to the vulnerable systems; thereby potentially providing a malicious actor with the ability to add, change, or remove user physical access rights to allow unauthorized personnel into critical BES operational areas. However, the EACMS was located within the ESP segmented within a Virtual Local Area Network (VLAN). All EACMS traffic had to go through a firewall with restrictive access controls in place and limited to three employees. Additionally, the PACS were deployed behind a firewall with restrictive access controls and were running the local firewall. | when the Standard and Requirement became mandatory and enforceable on WECC_URE2 | when WECC_URE2 developed complete baseline configurations for the eight PACS in scope | $45,000 (for WECC201701792 and WECC2017017930) | Compliance Audit | To mitigate this violation, WECC_URE2: 1) updated its decommissioning process so that each time a planned decommissioning occurs, a copy of the baseline configuration will be manually collected and will be archived for the remainder of the full compliance period; 2) documented the enhanced decommissioning process in its suite of EMS guidebooks and accompanying forms, and developed an additional decommissioning checklist as necessary to ensure practical implementation; 3) revised its PACS baselines process documentation to explicitly identify that port baselines shall, at a minimum, include both UDP and TCP ports; 4) re-scanned each of its PACS devices for all types of ports, and documented each enabled port and its business necessity, or disabled the port and documented that it was disabled; 5) trained its Subject Matter Experts on updated processes and the compliance requirements with CIP-010-2 R1 and had them certify understanding of said requirements; and 6) implemented a new control that will involve a checklist of applicable CIP compliance activities. A copy of the checklist will be reviewed by EMS SMEs and all completed activities documented at each weekly meeting. For each planned new device, the existence of a documented baseline will be checked and verified. | 2018-01-19 | 2018-02-16 | Admits | WECC reviewed WECC_URE2's internal compliance program (ICP) and considered it to be a neutral factor in the penalty determination Although WECC_URE2 does have a documented ICP that has been provided to WECC, WECC determined that WECC_URE2 did not implement effective internal controls to detect or prevent these violations. WECC considered WECC_URE2's compliance history and determined there were no relevant instances of noncompliance.
Western Electricity Coordinating Council (WECC) | Unidentified Registered Entity 2 (WECC_URE2) | NCRXXXXX | WECC2017017930 | Settlement Agreement | During a Compliance Audit, WECC determined that WECC_URE2 was in violation of CIP-010-2 R2 Part 2.1. Specifically, while reviewing WECC_URE2’s manual log for compliance with monitoring baseline configuration at least once every 35 calendar days, WECC discovered six instances in which the monitoring exceeded 35 calendar days for Electronic Access Control or Monitoring Systems (EACMS) and Protected Cyber Assets (PCAs) associated with its High Impact BES Cyber System (HIBCS). For the EACMS and PCAs in scope, WECC_URE2 utilized a manual review process which WECC_URE2 did not complete in a timely manner. Additionally, WECC_URE2 could not provide evidence of performing CIP-010-2 R2 Part 2.1 for EACMS, BES Cyber Asset (BCA), and PCAs associated with its HIBCS that were decommissioned, after which time baseline evidence was no longer available. Operationally, WECC_URE2 used a real-time security application to actively monitor baseline configurations for the EACMS, BCA, and PCAs in scope. The monitoring application included an automatic process, then unrecognized by WECC_URE2, to purge data after 90 days for any device to which it was no longer connected. As a result, 90 days after the devices in scope were decommissioned and disconnected from the monitoring application, WECC_URE2 lost its administrative records documenting automatic baseline reviews for these devices. After reviewing all relevant information, WECC determined that WECC_URE2 failed to monitor at least once every 35 calendar days for changes to the baseline configuration for less than 30 devices, and failed to retain evidence of compliance for less than 10 devices, all associated with its HIBCS, per CIP-010-2 R2 Part 2.1. The root cause of the violation was a lack of internal controls to ensure that manual processes were followed, and a lack of process on how to appropriately retain compliance evidence for decommissioned devices. WECC determined that the first six instances began when the monitoring should have occurred, and ended when monitoring was completed, for a total of approximately five days of noncompliance in each instance. WECC determined that the decommissioned assets violation began when the Standard and Requirement became mandatory and enforceable on WECC_URE2, and ended when WECC_URE2 decommissioned the assets in scope, for a total of approximately 90 days of noncompliance. | CIP-010-2 | R2: P2.1 | Medium | Severe | This violation posed a moderate risk and did not pose a serious or substantial risk to the reliability of the BPS. Specifically, in these instances, WECC_URE2 failed to monitor at least once every 35 calendar days for changes to the baseline configurations and maintain evidence that it had done so. Such failure could potentially result in allowing a malicious actor to change a device’s configuration without WECC_URE2’s awareness in order to gain access to other Cyber Assets and possibly affect generation or limit visibility into WECC_URE2’s operations which could impact the BPS. However, WECC_URE2 implemented strong detective controls by utilizing an automated baseline configuration monitoring tool on applicable assets. However, WECC_URE2 did not implement controls to prevent this violation from occurring. Based on this, WECC determined that the potential harm had a moderate likelihood of occurring. | when the Standard and Requirement became mandatory and enforceable on WECC_URE2 | when WECC_URE2 decommissioned the assets in scope for the last instance | $45,000 (for WECC201701792 and WECC2017017930) | Compliance Audit | To mitigate this violation, WECC_URE2: 1) updated its procedures to decrease its configuration change monitoring interval from 30 days to 15 days; 2) updated its decommissioning processes to include direction to obtain baseline configurations before decommissioning devices and retain data on decommissioned devices for the full compliance period; 3) documented the enhanced decommissioning process in its suite of EMS guidebooks and accompanying forms, and developed an additional decommissioning checklist as necessary to ensure practical implementation; and 4) trained applicable personnel on updated procedures to ensure that they understand the new, shorter time interval for manual change review activities, as well as the new cyber asset disposal processes for all applicable cyber assets. | 2018-01-19 | 2018-02-22 | Admits | WECC reviewed WECC_URE2's internal compliance program (ICP) and considered it to be a neutral factor in the penalty determination Although WECC_URE2 does have a documented ICP that has been provided to WECC, WECC determined that WECC_URE2 did not implement effective internal controls to detect or prevent these violations. WECC considered WECC_URE2's compliance history and determined there were no relevant instances of noncompliance.