Compliance Questionnaire and

Reliability Standard Audit Worksheet

INT-005-3 — Interchange Authority Distributes Arranged Interchange

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Applicable Function(s):  IA

Auditors:

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website at http://www.nerc.com/page.php?cid=2|20.   Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

# Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization and the requirement(s) for which they are responsible. Insert additional lines if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

# Reliability Standard Language

INT-005-3 – Interchange Authority Distributes Arranged Interchange

Purpose:

To ensure that the implementation of Interchange between Source and Sink Balancing Authorities is distributed by an Interchange Authority such that Interchange information is available for reliability assessments.

Applicability:

Interchange Authority

NERC BOT Approval Date: 10/29/2008

FERC Approval Date: 12/17/2009

Reliability Standard Enforcement Date in the United States: 7/1/2010

Requirements:

Prior to the expiration of the time period defined in the timing requirements tables in this standard, Column A, the Interchange Authority shall distribute the Arranged Interchange information for reliability assessment to all reliability entities involved in the Interchange.

  - When a Balancing Authority or Reliability Coordinator initiates a Curtailment to Confirmed or Implemented Interchange for reliability, the Interchange Authority shall distribute the Arranged Interchange information for reliability assessment only to the Source Balancing Authority and the Sink Balancing Authority.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R1 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page and Section, Date and Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to INT-005-3 R1

___Verify the Interchange Authority distributed the Arranged Interchange information for reliability assessment to all reliability entities involved in the Interchange prior to the expiration of the time period defined in the Timing Table, Column A.

___ Verify the Interchange Authority distributed the Arranged Interchange information for reliability assessment only, to the Source BA and the Sink BA, when a BA or RC initiated a Curtailment to Confirmed or Implemented Interchange for reliability.

Auditor Detailed Notes:

# Supplemental Information

Other - The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard. Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response)

# Compliance Findings Summary (to be filled out by auditor)

| Req. | NF | PV | OEA | NA | Statement |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |

Excerpts from FERC Orders -- For Reference Purposes Only

Updated Through September 1, 2010

INT-005-3

Order 693

March 16, 2007

INT-005-1

844. INT-005-1 seeks to ensure the implementation of interchange between source and sink balancing authorities and that interchange information is distributed by an interchange authority to the relevant entities for reliability assessments.

845. The Commission proposed in the NOPR to approve Reliability Standard INT-005- 1 as mandatory and enforceable. The Commission also proposed to direct NERC to submit a modification to INT-005-1 that includes Levels of Non-Compliance. Further, the Commission noted that INT-005-1 is applicable to the “interchange authority” and requested that NERC provide additional information regarding the role of the interchange authority so that the Commission can determine whether it is a user, owner or operator of the Bulk-Power System that is required to comply with mandatory Reliability Standards.

847. The Commission has set forth above its analysis and conclusion on interchange authorities. Our understanding is that, in the interim, source and sink balancing authorities will serve as interchange authorities until the ERO has clarified the role and responsibility of an interchange authority in the modification of the Functional Model and in the registration process.

848. The Commission is satisfied that the Requirements of INT-005-1 are appropriate to ensure that interchange information is distributed timely and available for reliability assessment. Accordingly, the Commission approves Reliability Standard INT-005-1 as mandatory and enforceable. In addition, the Commission directs the ERO to consider adding additional Measures and Levels of Non-Compliance to the Reliability Standard.

Order 713

July 21, 2008

INT-005-2

67. Pursuant to section 215(d) of the FPA, the Commission approves Reliability Standards INT-005-2, INT-006-2, and INT-008-2 as mandatory and enforceable.

Order 730

December 17, 2009

INT-005-3

1. Pursuant to section 215 of the Federal Power Act (FPA), the Commission hereby approves three revised Interchange Scheduling and Coordination (INT) Reliability Standards developed by the North American Electric Reliability Corporation (NERC): INT-005-3, Interchange Authority Distributes Arranged Interchange; INT-006-3, Response to Interchange Authority; and INT-008-3, Interchange Authority Distribution of Information. The approved changes provide consistency in responding to interchange requests by clarifying timing requirements for all affected entities, and facilitate the reliable operation of the Bulk-Power System by providing Western Electricity Coordinating Council (WECC) entities sufficient time to assess and respond to requests for interchange service.

21. Consistent with the NOPR, the Commission finds the revisions to the three revised INT Reliability Standards, INT-005-3, INT-006-3 and INT-008-3, and the associated glossary terms reasonable in providing consistent and clear rules for responding to interchange service requests. The Commission accepts the revised INT Reliability Standards as mandatory and enforceable and the related glossary terms, as discussed.

Revision History

| Version | Date | Reviewers | Revision Description |
| --- | --- | --- | --- |
| 1 | July 2010 | RSAW Working Group | New Document |
| 1 | September 2010 | NERC Legal & NERC Compliance | Added regulatory language & reviewed for formatting consistency. |
| 1.1 | December 2010 | RSAW WG | Revised Findings Table and modified Supporting Evidence Table |
| 1.1 | January 2011 | Craig Struck | Reviewed for format consistency and content. |