Compliance Questionnaire and

Reliability Standard Audit Worksheet

INT-008-3 — Interchange Authority Distributes Status

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Applicable Function(s):  IA

Auditors:

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website at http://www.nerc.com/page.php?cid=2|20.   Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

# Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization and the requirement(s) for which they are responsible. Insert additional lines if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

# Reliability Standard Language

INT-008-3 – Interchange Authority Distributes Status

Purpose:

To ensure that the implementation of Interchange between Source and Sink Balancing Authorities is coordinated by an Interchange Authority

Applicability:

Interchange Authority

NERC BOT Approval Date: 10/29/2008

FERC Approval Date: 12/17/2009

Reliability Standard Enforcement Date in the United States: 7/1/2010

Requirements:

Prior to the expiration of the time period defined in the Timing Table, Column C, the Interchange Authority shall distribute to all Balancing Authorities (including Balancing Authorities on both sides of a direct current tie), Transmission Service Providers and Purchasing-Selling Entities involved in the Arranged Interchange whether or not the Arranged Interchange has transitioned to a Confirmed Interchange.

  - For Confirmed Interchange, the Interchange Authority shall also communicate:

    - Start and stop times, ramps, and megawatt profile to Balancing Authorities.

    - Necessary Interchange information to NERC-identified reliability analysis services.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

# R1 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page and Section, Date and Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to INT-008-3 R1

___Verify that the IA distributed to all BAs, TSPs and PSEs involved in the Arranged Interchange whether or not the Arranged Interchange had transitioned to a Confirmed Interchange prior to the expiration of the time period defined in the Timing Table, Column C.

Verify the IA communicated to BAs the following:

____Start and stop times

____Ramps

____Megawatt profile

____ Necessary Interchange information to NERC-identified reliability analysis services

Auditor Detailed Notes:

# Supplemental Information

Other - The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard. Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response)

# Compliance Findings Summary (to be filled out by auditor)

| Req. | NF | PV | OEA | NA | Statement |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |

Excerpts from FERC Orders -- For Reference Purposes Only

Updated Through September 1, 2010

INT-008-3

Order 693

March 16, 2007

INT-008-1

870. INT-008-1 requires the interchange authority to distribute information to all balancing authorities, transmission service providers and purchasing-selling entities involved in the arranged interchange when the status of the transaction has changed from arranged interchange to confirmed interchange. The Commission proposed in the NOPR to approve INT-008-1 as mandatory and enforceable.

872. The Commission approves Reliability Standard INT-008-1 as mandatory and enforceable. The Commission has set forth above its analysis and conclusion on interchange authorities. Our understanding is that a source and sink balancing authority will serve as the interchange authority until the ERO has clarified the role and responsibility of an interchange authority in the modification of the Functional Model and in the registration process. Finally, we direct the ERO to consider APPA’s suggestions in the Reliability Standards development process.

Order 713

July 21, 2008

INT-008-2

62. Reliability Standards for INT-005-2, INT-006-2, and INT-008-2 increase the timeframe for applicable WECC entities to perform the reliability assessment from five to ten minutes for next hour interchange tags submitted in the first thirty minutes of the hour before. According to NERC, this modification is needed because the majority of next-hour tags in WECC are submitted between xx:00 and xx:30. The existing five minute assessment window makes it nearly impossible for balancing authorities and transmission service providers to review each tag before the five minute assessment time expires. According to NERC, when the time expires, the tags are denied and must be resubmitted.

63. In its December 26, 2007 filing, NERC stated that WECC has experienced numerous instances of transactions being denied because one or more applicable reliability entities did not actively approve the tag. In NERC’s view, the current structure causes frustration and inefficiencies for entities involved in this process, as requestors are required to re-create tags that are denied. Further, NERC stated that there is no reliability basis for a five minute assessment period for tags submitted at least thirty minutes ahead of the ramp-in period.

64. NERC noted that, prior to January 1, 2007, when the new INT group of Reliability Standards was implemented WECC had a ten-minute reliability assessment period for next-hour tags. NERC states that the urgent action request restores assessment times back to ten minutes.

67. Pursuant to section 215(d) of the FPA, the Commission approves Reliability Standards INT-005-2, INT-006-2, and INT-008-2 as mandatory and enforceable.

Order 730

December 17, 2009

INT-008-3

1. Pursuant to section 215 of the Federal Power Act (FPA), the Commission hereby approves three revised Interchange Scheduling and Coordination (INT) Reliability Standards developed by the North American Electric Reliability Corporation (NERC): INT-005-3, Interchange Authority Distributes Arranged Interchange; INT-006-3, Response to Interchange Authority; and INT-008-3, Interchange Authority Distribution of Information. The approved changes provide consistency in responding to interchange requests by clarifying timing requirements for all affected entities, and facilitate the reliable operation of the Bulk-Power System by providing Western Electricity Coordinating Council (WECC) entities sufficient time to assess and respond to requests for interchange service.

14. These version 3 INT Reliability Standards finalize and improve upon the version 2 changes approved in Order No. 713. The Commission agrees that separating the WECC- and Eastern-Interconnection/ERCOT requirements in the timing tables adds clarity for entities operating in the WECC system. In addition, retaining the slightly modified versions of the prior timing tables for the Eastern Interconnection and ERCOT helps to ensure consistency in responding to interchange requests in those areas.

15. Accordingly, the Commission finds that the ERO’s revisions are just, reasonable, not unduly discriminatory or preferential, and in the public interest. Therefore, the Commission approves the revised INT Reliability Standards as mandatory and enforceable, effective as requested. While we are accepting the revised INT Reliability Standards, the Commission will discuss below specific issues, in particular the changes to Reliability Standard INT-006-3 to highlight the effect on reliability.

21. Consistent with the NOPR, the Commission finds the revisions to the three revised INT Reliability Standards, INT-005-3, INT-006-3 and INT-008-3, and the associated glossary terms reasonable in providing consistent and clear rules for responding to interchange service requests. The Commission accepts the revised INT Reliability Standards as mandatory and enforceable and the related glossary terms, as discussed.

Revision History

| Version | Date | Reviewers | Revision Description |
| --- | --- | --- | --- |
| 1 | July 2010 | RSAW Working Group | New Document |
| 1 | September 2010 | NERC Legal & NERC Compliance | Added regulatory language & reviewed for formatting consistency. |
| 1.1 | December 2010 | RSAW WG | Revised Findings Table and modified Supporting Evidence Table |
| 1.1 | January 2011 | Craig Struck | Reviewed for format consistency and content. |