Compliance Questionnaire and

Reliability Standard Audit Worksheet

IRO-005-2 — Reliability Coordination - Current Day Operations

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Applicable Function(s): RC, BA, TOP, TSP, GOP, LSE, PSE

Auditors:

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website at http://www.nerc.com/page.php?cid=2|20.   Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

# Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization and the requirement(s) for which they are responsible. Insert additional lines if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

Reliability Standard Language

IRO-005-2 - Reliability Coordination - Current Day Operations

Purpose:

The Reliability Coordinator must be continuously aware of conditions within its Reliability Coordinator Area and include this information in its reliability assessments. The Reliability Coordinator must monitor Bulk Electric System parameters that may have significant impacts upon the Reliability Coordinator Area and neighboring Reliability Coordinator Areas.

Applicability:

Reliability Coordinator

Balancing Authority

Transmission Operator

Transmission Service Provider

Generator Operator

Load Serving Entity

Purchasing Selling Entity

NERC BOT Approval Date: 11/01/06

FERC Approval Date: 1/22/09

Reliability Standard Enforcement Date in the United States: 1/22/09

Requirements:

R1. 	Each Reliability Coordinator shall monitor its Reliability Coordinator Area parameters, including but not limited to the following:

R1.1. Current status of Bulk Electric System elements (transmission or generation including

critical auxiliaries such as Automatic Voltage Regulators and Special Protection Systems) and system loading.

R1.2. Current pre-contingency element conditions (voltage, thermal, or stability), including any applicable mitigation plans to alleviate SOL or IROL violations, including the plan’s viability and scope.

R1.3. Current post-contingency element conditions (voltage, thermal, or stability), including any applicable mitigation plans to alleviate SOL or IROL violations, including the plan’s viability and scope.

R1.4. System real and reactive reserves (actual versus required).

R1.5. Capacity and energy adequacy conditions.

R1.6. Current ACE for all its Balancing Authorities.

R1.7. Current local or Transmission Loading Relief procedures in effect.

R1.8. Planned generation dispatches.

R1.9. Planned transmission or generation outages.

R1.10. Contingency events.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

R1 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to IRO-005-2 R1

___	Determine if the Reliability Coordinator monitors the following parameters within its

Reliability Coordinator Area at a minimum:

___		Current status of Bulk Electric System elements (transmission or generation including 	critical auxiliaries such as Automatic Voltage Regulators and Special Protection Systems) 	and system loading.

___		Current pre-contingency element conditions (voltage, thermal, or stability), including any 	applicable mitigation plans to alleviate SOL or IROL violations, including the plan’s 	viability and scope.

___		Current post-contingency element conditions (voltage, thermal, or stability), including 	any applicable mitigation plans to alleviate SOL or IROL violations, including the plan’s 	viability and scope.

___	System real and reactive reserves (actual versus required).

___	Capacity and energy adequacy conditions.

___	Current ACE for all its Balancing Authorities.

___	Current local or Transmission Loading Relief procedures in effect.

___	Planned generation dispatches.

___	Planned transmission or generation outages.

___	Contingency events.

Detailed notes:

R2. 	Each Reliability Coordinator shall be aware of all Interchange Transactions that wheel through, source, or sink in its Reliability Coordinator Area, and make that Interchange Transaction information available to all Reliability Coordinators in the Interconnection.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

R2 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to IRO-005-2 R2

___	Determine if the Reliability Coordinator is aware of all Interchange Transactions that wheel through, source, or sink in its Reliability Coordinator Area.

___	Determine if the Reliability Coordinator makes that Interchange Transaction information available to all Reliability Coordinators in the Interconnection.

Detailed notes:

R3. 	As portions of the transmission system approach or exceed SOLs or IROLs, the Reliability Coordinator shall work with its Transmission Operators and Balancing Authorities to evaluate and assess any additional Interchange Schedules that would violate those limits. If a potential or actual IROL violation cannot be avoided through proactive intervention, the Reliability Coordinator shall initiate control actions or emergency procedures to relieve the violation without delay, and no longer than 30 minutes. The Reliability Coordinator shall ensure all resources, including load shedding, are available to address a potential or actual IROL violation.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

R3 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to IRO-005-2 R3

___	Determine if the Reliability Coordinator worked with its Transmission Operators and Balancing Authorities during times when portions of the transmission system approached or exceeded SOLs or IROLs to evaluate and assess any additional Interchange Schedules that would violate those limits.

___	Determine if the Reliability Coordinator initiated control actions or emergency procedures to relieve the violation if one cannot be avoided though proactive intervention.

___	Determine if the Reliability Coordinator initiated these actions within 30 minutes.

___	Determine if the Reliability Coordinator verified that all resources, including load shedding, were available to address a potential or actual IROL violation.

Detailed notes:

R4. 	Each Reliability Coordinator shall monitor its Balancing Authorities’ parameters to ensure that the required amount of operating reserves is provided and available as required to meet the Control Performance Standard and Disturbance Control Standard requirements. If necessary, the Reliability Coordinator shall direct the Balancing Authorities in the Reliability Coordinator Area to arrange for assistance from neighboring Balancing Authorities. The Reliability Coordinator shall issue Energy Emergency Alerts as needed and at the request of its Balancing Authorities and Load-Serving Entities.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

R4 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to IRO-005-2 R4

___	Determine if the Reliability Coordinator monitored its Balancing Authorities’ parameters to ensure the required amount of operating reserves was provided and available.

___	Determine if the Reliability Coordinator directed the Balancing Authorities in the Reliability Coordinator Area to arrange for assistance from neighboring Balancing Authorities if necessary.

___	Determine if the Reliability Coordinator issued Energy Emergency Alerts as needed, and at the request of its Balancing Authorities and Load-Serving Entities.

Detailed notes:

R5. 	Each Reliability Coordinator shall identify the cause of any potential or actual SOL or IROL violations. The Reliability Coordinator shall initiate the control action or emergency procedure to relieve the potential or actual IROL violation without delay, and no longer than 30 minutes. The Reliability Coordinator shall be able to utilize all resources, including load shedding, to address an IROL violation.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

R5 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to IRO-005-2 R5

___	Determine if the Reliability Coordinator had any potential or actual SOL or IROL violations.

___	Determine if the Reliability Coordinator identified the cause of all potential or actual SOL or IROL violations.

___	Determine if the Reliability Coordinator initiated control actions or emergency procedures to relieve the potential or actual IROL violation within 30 minutes.

___	Determine if the Reliability Coordinator used all resources, including load shedding, needed to address an IROL violation.

Detailed notes:

R6. 	Each Reliability Coordinator shall ensure its Transmission Operators and Balancing Authorities are aware of Geo-Magnetic Disturbance (GMD) forecast information and assist as needed in the development of any required response plans.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

R6 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to IRO-005-2 R6

___	Determine if the Reliability Coordinator confirmed its Transmission Operators and Balancing Authorities were aware of Geo-Magnetic Disturbance (GMD) forecast information.

___	Determine if the Reliability Coordinator assisted, as needed, in the development of any required response plans.

Detailed notes:

R7.  	The Reliability Coordinator shall disseminate information within its Reliability Coordinator Area, as required.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

R7 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to IRO-005-2 R7

___	Determine if the Reliability Coordinator disseminated information within its Reliability Coordinator Area as required.

Detailed notes:

R8. 	Each Reliability Coordinator shall monitor system frequency and its Balancing Authorities’ performance and direct any necessary rebalancing to return to CPS and DCS compliance. The Transmission Operators and Balancing Authorities shall utilize all resources, including firm load shedding, as directed by its Reliability Coordinator to relieve the emergent condition.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

R8 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to IRO-005-2 R8

___	Determine if the Reliability Coordinator monitored system frequency and its Balancing Authorities’ performance.

___	Determine if the Reliability Coordinator directed any necessary rebalancing to return to CPS and DCS compliance.

___	Determine if the Transmission Operators and Balancing Authorities utilized all resources, including firm load shedding, as directed by its Reliability Coordinator to relieve emergent conditions.

Detailed notes:

R9. 	The Reliability Coordinator shall coordinate with Transmission Operators, Balancing Authorities, and Generator Operators as needed to develop and implement action plans to mitigate potential or actual SOL, IROL, CPS, or DCS violations. The Reliability Coordinator shall coordinate pending generation and transmission maintenance outages with Transmission Operators, Balancing Authorities, and Generator Operators as needed in both the real time and next-day reliability analysis timeframes.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

R9 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to IRO-005-2 R9

___		Determine if the Reliability Coordinator coordinated with Transmission Operators, Balancing Authorities, and Generator Operators as needed to develop and implement action plans to mitigate potential or actual SOL, IROL, CPS, or DCS violations.

___	Determine if the Reliability Coordinator coordinated pending generation and transmission maintenance outages with Transmission Operators, Balancing Authorities, and Generator Operators as needed in both the real time and next-day reliability analysis timeframes.

Detailed notes:

R10. 	As necessary, the Reliability Coordinator shall assist the Balancing Authorities in its Reliability Coordinator Area in arranging for assistance from neighboring Reliability Coordinator Areas or Balancing Authorities.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

R10 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to IRO-005-2 R10

___	Determine if the Reliability Coordinator assisted the Balancing Authorities in its Reliability Coordinator Area in arranging for assistance from neighboring Reliability Coordinator Areas or Balancing Authorities.

Detailed notes:

R11. 	The Reliability Coordinator shall identify sources of large Area Control Errors that may be contributing to Frequency Error, Time Error, or Inadvertent Interchange and shall discuss corrective actions with the appropriate Balancing Authority. The Reliability Coordinator shall direct its Balancing Authority to comply with CPS and DCS.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

R11 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to IRO-005-2 R11

___	Determine if the Reliability Coordinator identified sources of large Area Control Errors that may be contributing to Frequency Error, Time Error, or Inadvertent Interchange.

___	Determine if the Reliability Coordinator discussed corrective actions with the appropriate Balancing Authority.

___	Determine if the Reliability Coordinator directed its Balancing Authorities to comply with CPS and DCS.

Detailed notes:

R12. 	Whenever a Special Protection System that may have an inter-Balancing Authority, or inter- Transmission Operator impact (e.g., could potentially affect transmission flows resulting in a SOL or IROL violation) is armed, the Reliability Coordinators shall be aware of the impact of the operation of that Special Protection System on inter-area flows. The Transmission Operator shall immediately inform the Reliability Coordinator of the status of the Special Protection System including any degradation or potential failure to operate as expected.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

R12 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to IRO-005-2 R12

___	Determine if there is a Special Protection System that may have an inter-Balancing Authority, or inter-Transmission Operator impact.

___	Determine if the Reliability Coordinator is aware of the status of the Special Protection System.

___	Determine if the Reliability Coordinator is aware of the impact of the operation of the Special Protection System on inter-area flows.

___	Determine if the Transmission Operator immediately informed the Reliability Coordinator of the status of the Special Protection System, including any degradation or potential failure to operate as expected.

Detailed notes:

R13. 	Each Reliability Coordinator shall ensure that all Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities operate to prevent the likelihood that a disturbance, action, or non-action in its Reliability Coordinator Area will result in a SOL or IROL violation in another area of the Interconnection. In instances where there is a difference in derived limits, the Reliability Coordinator and its Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities shall always operate the Bulk Electric System to the most limiting parameter.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

Question: Have you had any instances in which there was a difference in derived limits during the audit period? How was this instance addressed?

Entity Response: (Registered Entity Response Required)

R13 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to IRO-005-2 R13

___	Determine if the Reliability Coordinator verified that all Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities operate to prevent the likelihood that a disturbance, action, or non-action in its Reliability Coordinator Area will result in a SOL or IROL violation in another area of the Interconnection.

___	Determine if the Reliability Coordinator and its Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities always operate the Bulk Electric System to the most limiting parameter in instances where there is a difference in derived limits.

Detailed notes:

R14.  	Each Reliability Coordinator shall make known to Transmission Service Providers within its Reliability 	Coordinator Area, SOLs or IROLs within its wide-area view. The Transmission Service Providers shall 	respect these SOLs or IROLs in accordance with filed tariffs and regional Total Transfer Calculation 	and Available Transfer Calculation processes.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

R14 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to IRO-005-2 R14

___  	Determine if the Reliability Coordinator made known to Transmission Service Providers 			within its Reliability Coordinator Area, SOLs or IROLs within its wide-area view.

___	Determine if the Transmission Service Providers respected these SOLs or IROLs in 			accordance with filed tariffs and regional Total Transfer Calculation and Available 			Transfer Calculation processes.

Detailed notes:

R15. 	Each Reliability Coordinator who foresees a transmission problem (such as an SOL or IROL violation, loss of reactive reserves, etc.) within its Reliability Coordinator Area shall issue an alert to all impacted Transmission Operators and Balancing Authorities in its Reliability Coordinator Area without delay. The receiving Reliability Coordinator shall disseminate this information to its impacted Transmission Operators and Balancing Authorities. The Reliability Coordinator shall notify all impacted Transmission Operators, Balancing Authorities, when the transmission problem has been mitigated.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

R15 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to IRO-005-2 R15

___	Determine if the Reliability Coordinator foresaw a transmission problem within its Reliability Coordinator Area.

If yes to the above:

___	Determine if the Reliability Coordinator issued an alert to all impacted Transmission Operators and Balancing Authorities within its Reliability Coordinator Area without delay.

___	Determine if the receiving Reliability Coordinator disseminated this information to its impacted Transmission Operators and Balancing Authorities.

___	Determine if the Reliability Coordinator notified all impacted Transmission Operators, Balancing Authorities, when the transmission problem had been mitigated.

Detailed notes:

R16. 	Each Reliability Coordinator shall confirm reliability assessment results and determine the effects within its own and adjacent Reliability Coordinator Areas. The Reliability Coordinator shall discuss options to mitigate potential or actual SOL or IROL violations and take actions as necessary to always act in the best interests of the Interconnection at all times.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

R16 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to IRO-005-2 R16

___	Determine if the Reliability Coordinator confirmed the reliability assessment results.

___	Determine if the Reliability Coordinator determined the effects within its own and adjacent Reliability Coordinator Areas.

___	Determine if the Reliability Coordinator discussed options to mitigate potential or actual SOL or IROL violations.

___	Determine if the Reliability Coordinator took the actions necessary.

___	Determine if the Reliability Coordinator acted in the best interests of the Interconnection at all times.

Detailed notes:

R17. 	When an IROL or SOL is exceeded, the Reliability Coordinator shall evaluate the local and wide-area impacts, both real-time and post-contingency, and determine if the actions being taken are appropriate and sufficient to return the system to within IROL in thirty minutes. If the actions being taken are not appropriate or sufficient, the Reliability Coordinator shall direct the Transmission Operator, Balancing Authority, Generator Operator, or Load-Serving Entity to return the system to within IROL or SOL.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

R17 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to IRO-005-2 R17

___	Determine if the Reliability Coordinator evaluated the local and wide-area impacts, both real-time and post-contingency, when an IROL or SOL is exceeded.

___	Verify that the Reliability Coordinator determined the actions being taken to alleviate the condition were appropriate and sufficient to return the system to normal within IROL in 30 minutes.

___	Verify that, if the actions were not appropriate or sufficient, the Reliability Coordinator directed the Transmission Operator, Balancing Authority, Generator Operator, or Load-Serving Entity to return the system to within IROL or SOL.

Detailed notes:

# Supplemental Information

Question: As the Reliability Coordinator, describe the process used to monitor and communicate the real time conditions of your operating area that may have significant impacts upon your area and neighboring Reliability Coordinator areas.

Entity Response: (Registered Entity Response Required)

Other - The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard. Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response)

# Compliance Findings Summary (to be filled out by auditor)

| Req. | NF | PV | OEA | NA | Statement |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |
| 10 |  |  |  |  |  |
| 11 |  |  |  |  |  |
| 12 |  |  |  |  |  |
| 13 |  |  |  |  |  |
| 14 |  |  |  |  |  |
| 15 |  |  |  |  |  |
| 16 |  |  |  |  |  |
| 17 |  |  |  |  |  |

Excerpts From FERC Orders -- For Reference Purposes Only

Updated Through March 31, 2009

IRO-005-1

Order 693

- P 888.  The Interconnection Reliability Operations and Coordination (IRO) group of Reliability Standards detail the responsibilities and authorities of a reliability coordinator.  The IRO Reliability Standards establish requirements for data, tools and wide-area view, all of which are intended to facilitate a reliability coordinator’s ability to perform its responsibilities and ensure the reliable operation of the interconnected grid.

- P 936.  IRO-005-1 ensures energy balance and transmission reliability for the current day by identifying tasks that reliability coordinators must perform throughout the day.

- P 945.  The Commission approves proposed Reliability Standard IRO-005-1 as mandatory and enforceable….

- P 946.  The Commission clarifies the intent of and need for the proposed survey.  We reiterate that the intent is to learn about the operating experiences and practices of operating entities; specifically, how they operate their systems to respect IROLs in the normal system conditions, i.e. prior to a contingency.  The survey results will facilitate future development and modifications of IROL-related Reliability Standards to better clarify and eliminate potential multiple interpretations of respecting IROLs that may exist in the proposed Reliability Standards.  In addition, the survey will identify the reliability risks and the frequency and number of operating practices involving drifting in and out of IROL.  The survey results will also provide guidance on the frequency, duration and magnitude of IROL violations, their causes and whether these IROL violations occur during normal or contingency conditions.

- P 947…we note that the proposed Reliability Standards only require reporting on those violations that have exceeded IROLs for longer than 30 minutes.  The current reporting requirements and results will not provide an adequate assessment of the existing operating practices regarding IROLs and the reliability risks and the extent of drifting in and out of IROLs.

- P 948.  … the Commission believes that operating the system within IROL under normal system condition and exceeding IROL only after a contingency and subsequently returning the system to a secure condition as soon as possible, but no longer than 30 minutes, may be appropriate.  This mode of operation will minimize the system risk of being one contingency away from potential cascading failures.

- P 949.  … Requirement R14 only requires a transmission service provider to use the SOLs and IROLs provided by the reliability coordinator in its tariff, it does not require any action in the operating time frame.

- P 950.  … The appropriate control actions to respect IROLs and SOLs are the responsibilities of a reliability coordinator and transmission operator.  If load shedding is required, it is the responsibility of a reliability coordinator or a transmission operator to direct the appropriate entities including LSEs to carry it out….

- P 951.  Accordingly, the Commission approves Reliability Standard IRO-005-1 as mandatory and enforceable….

Revision History

| Version | Date | Reviewers | Revision Description |
| --- | --- | --- | --- |
| 1 | 5/6/10 | Craig Struck | Added Revision History. Added missing words to R12. |
| 1 | December 2010 | QRSAW WG | Revised Findings Table and modified Supporting Evidence tables. |
| 1 | January 2011 | Craig Struck | Reviewed for format consistency and content. |