Compliance Questionnaire and

Reliability Standard Audit Worksheet

PRC-004-1 - Analysis and Mitigation of Transmission and Generation

Protection System Misoperations

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Applicable Function(s):  TO, DP, GO

Auditors:

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website at http://www.nerc.com/page.php?cid=2|20.   Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization and the requirement(s) for which they are responsible. Insert additional lines if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

# Reliability Standard Language

PRC-004-1 — Analysis and Mitigation of Transmission and Generation Protection System Misoperations

Purpose:

Ensure all transmission and generation Protection System Misoperations affecting the reliability of the Bulk Electric System (BES) are analyzed and mitigated.

Applicability:

Transmission Owner

Distribution Provider that owns a transmission Protection System

Generator Owner

NERC BOT Approval Date: 2/7/2006

FERC Approval Date: 3/16/2007

Reliability Standard Enforcement Date in the United States: 6/18/2007

Requirements:

R1. 	The Transmission Owner and any Distribution Provider that owns a transmission Protection System shall each analyze its transmission Protection System Misoperations and shall develop and implement a Corrective Action Plan to avoid future Misoperations of a similar nature according to the Regional Reliability Organization’s procedures developed for Reliability Standard PRC-003 Requirement 1.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity

Response Required)

Data Request: Provide a list of all Transmission Protection System misoperations during the audit period.

Entity Response: (Registered Entity Response Required)

# R1 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to 	PRC-004-1 R1

___	Verify the entity has a method to determine if a transmission Protection System misoperated.

Note: The method to determine which operations may be misoperations can be informal and does not require a detailed or written process, but an entity needs some way to determine if a Protection System operated correctly or not.

___		Review the evidence provided by the entity to verify that the entity analyzed all transmission Protection System operations and verify if identified misoperations resulted in the development and implementation of Corrective Action Plans to avoid future misoperations of a similar nature.

___	Review the evidence provided by the entity to determine if the entity has had any transmission Protection System misoperations on its transmission Protection System.

___	Review the evidence provided by the entity to verify that the entity has maintained a record of all transmission Protection System misoperations in accordance with Regional Reliability Organization/Regional Entity Procedures specified in Reliability Standards PRC-003-0 R1.

Auditors Detailed notes:

R2. 	The Generator Owner shall analyze its generator Protection System Misoperations, and shall develop and implement a Corrective Action Plan to avoid future Misoperations of a similar nature according to the Regional Reliability Organization’s procedures developed for PRC-003 R1.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity

Response Required)

Data Request: Provide a list of all generator Protection System Misoperations during the audit period.

Entity Response: (Registered Entity Response Required)

# R2 Supporting Evidence and Documentation

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to PRC-004-1 R2.

___	Review the evidence provided by the entity to verify that the entity analyzed all generator Protection System operations and verify if identified misoperations resulted in the development and implementation of Corrective Action Plans to avoid future 	misoperations of a similar nature.

___	Review the evidence provided by the entity to determine if the entity has had any generator Protection System misoperations on its transmission Protection system.

___	Review the evidence provided by the entity to verify that the entity has maintained a record of all generator Protection System misoperations in accordance with Regional 	Reliability Organization/Regional Entity Procedures specified in Reliability Standards PRC-003-0 R1.

___	Verify that the entity has a method to determine if a generator Protection System misoperated.

Note: The method to determine which operations may be misoperations can be informal and does not require a detailed or written process, but an entity needs some way to determine if a Protection System operated correctly or not.

___	Verify if the entity had any misoperations as determined in Requirement 1.

Auditors Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R3. 	The Transmission Owner, any Distribution Provider that owns a transmission Protection System, and the Generator Owner shall each provide to its Regional Reliability Organization, documentation of its Misoperations analyses and Corrective Action Plans according to the Regional Reliability Organization’s procedures developed for PRC-003 R1.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity

Response Required)

# R3 Supporting Evidence and Documentation

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to PRC-004-1 R3.

If the entity had any misoperations and/or corrective action plans as determined in R1:

___	Determine if the entity supplied the required documentation of misoperations analyses and Corrective Action Plans to the Regional Reliability Organization/Regional Entity as per the Regional Reliability Organization’s/Regional Entity’s procedures developed for PRC-003-1.

Auditors Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

# Supplemental Information

PRC-004-1 — Questions

Question: Describe how your company documents transmission and generation protection 	system misoperations, their analyses, and corrective actions taken.

Entity Response: (Registered Entity Response Required)

Question: Describe your process for investigation and analysis of transmission and 	generation protective relay misoperations.  Comment on how your company decides what 	appropriate actions to take to avoid future misoperations (i.e., – development and 	implementation of a Corrective Action Plan).

Entity Response: (Registered Entity Response Required)

Other - The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard. Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response)

# Compliance Findings Summary (to be filled out by auditor)

| Req. | C | PV | NA | Statement |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |

Excerpts from FERC Orders -- For Reference Purposes Only

Updated Through March 31, 2009

PRC-004-1

Order 693

P 1418.  Protection and Control systems (PRC) on Bulk-Power System elements are an integral part of reliable grid operation. Protection systems are designed to detect and isolate faulty elements on a system, thereby limiting the severity and spread of system disturbances, and preventing possible damage to protected elements. The function, settings and limitations of a protection system are critical in establishing SOLs and IROLs. The PRC Reliability Standards apply to transmission operators, transmission owners, generator operators, generator owners, distribution providers and regional reliability organizations and cover a wide range of topics related to the protection and control of power systems.

P 1462.  PRC-004-1 ensures that all transmission and generation protection system misoperations affecting the reliability of the Bulk-Power System are analyzed and mitigated by requiring transmission owners, generator owners and distribution providers that own a transmission protection system to analyze and document protection system misoperations. These entities must also develop corrective action plans in accordance with the regional reliability organization’s procedures.

P 1467.  The Commission approves Reliability Standard PRC-004-1 as mandatory and enforceable.

Revision History

| Version | Date | Reviewers | Revision Description |
| --- | --- | --- | --- |
| 1 | October 2009 | RSAW Working Group | New Document. |
| 1 | December 2010 | QRSAW WG | Revised Findings Table, modified Supporting Evidence tables, and added Revision History. Revised data request to reflect both GO and TO. |
| 1 | January 2011 | Craig Struck | Reviewed for format consistency and content. |