Compliance Questionnaire and

Reliability Standard Audit Worksheet

IRO-006-EAST-1 - Transmission Loading Relief Procedure for the Eastern Interconnection

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Applicable Function(s):  Reliability Coordinators

Auditors:

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website at http://www.nerc.com/page.php?cid=2|20.   Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

# Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization and the requirement(s) for which they are responsible. Insert additional lines if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

# Reliability Standard Language

IRO-006-EAST-1 — Transmission Loading Relief Procedure for the Eastern Interconnection

Purpose:

To provide an Interconnection-wide transmission loading relief procedure (TLR) for the Eastern Interconnection that can be used to prevent and/or mitigate potential or actual System Operating Limit (SOL) and Interconnection Reliability Operating Limit (IROL) exceedances to maintain reliability of the Bulk Electric System (BES).

Applicability:

  - Reliability Coordinators

NERC BOT Approval Date:

FERC Approval Date:

Reliability Standard Enforcement Date in the United States:

Requirements:

R1.  When acting or instructing others to act to mitigate the magnitude and duration of the instance of exceeding an IROL within that IROL’s Tv, each Reliability Coordinator shall initiate, prior to or concurrently with the initiation of the Eastern Interconnection TLR procedure (or continuing management of this procedure if already initiated), one or more of the following actions:

- Inter-area redispatch of generation

- Intra-area redispatch of generation

- Reconfiguration of the transmission system

- Voluntary load reductions (e.g., Demand-side Management)

- Controlled load reductions (e.g., load shedding)

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

# R1 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-006-EAST-1 R1

____Verify that the Reliability Coordinator, when acting or instructing others to act to mitigate the magnitude and duration of the instance of exceeding an IROL within that IROL’s Tv, initiated, prior to or concurrently with the initiation of the Eastern Interconnection TLR procedure (or continuing management of this procedure if already initiated), one or more of the following actions:

Inter-area redispatch of generation

Intra-area redispatch of generation

Reconfiguration of the transmission system

Voluntary load reductions (e.g., Demand-side Management)

Controlled load reductions (e.g., load shedding)

Detailed notes:

R2.   To ensure operating entities are provided with information needed to maintain an awareness of changes to the Transmission System, when initiating the Eastern Interconnection TLR procedure to prevent or mitigate an SOL or IROL exceedance, and at least every clock hour (with the exception of TLR-1, where an hourly update is not required) after initiation up to and including the hour when the TLR level has been identified as TLR Level 0, the Reliability Coordinator shall identify:

2.1. A list of congestion management actions to be implemented, and

2.2. One of the following TLR levels: TLR-1, TLR-2, TLR-3A, TLR-3B, TLR-4, TLR-5A, TLR-5B,

TLR-6, TLR-0 1

1 For more information on TLR levels, please see “Implementation Guideline for Reliability Coordinators: Eastern

Interconnection TLR Levels Reference Document.”

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

# R2 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-006-EAST-1 R2.

Verify the Eastern Interconnection TLR procedure to prevent or mitigate an SOL or IROL exceedance was initiated.

____ If so, verify the RC hourly identified a list of congestion management actions to be implemented, and

Hourly identified one of the following TLR levels: TLR-1, TLR-2, TLR-3A, TLR-3B, TLR-4,

TLR-5A, TLR- 5B, TLR-6, TLR-0

Detailed notes:

R3.  Upon the identification of the TLR level and a list of congestion management actions to be implemented, the Reliability Coordinator initiating this TLR procedure shall:

3.1. Notify all Reliability Coordinators in the Eastern Interconnection of the identified TLR level

3.2. Communicate the list of congestion management actions to be implemented to:

1.)    All Reliability Coordinators in the Eastern Interconnection, and

2.)    Those Reliability Coordinators in other Interconnections responsible for

curtailing Interchange Transactions crossing Interconnection boundaries

identified in the list of congestion management actions.

3.3. Request that the congestion management actions identified in Requirement R2, Part 2.1 be

implemented by:

- Each Reliability Coordinator associated with a Sink Balancing Authority for

which Interchange Transactions are to be curtailed,

- Each Reliability Coordinator associated with a Balancing Authority in the Eastern

Interconnection for which Network Integration Transmission Service or Native

Load is to be curtailed, and

- Each Reliability Coordinator associated with a Balancing Authority in the Eastern

Interconnection for which its Market Flow is to be curtailed.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

# R3 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-006-EAST-1 R3.

___	Verify that upon the identification of the TLR level and a list of congestion management actions to be implemented, the Reliability Coordinator initiating this TLR procedure:

Notified all Reliability Coordinators in the Eastern Interconnection of the identified TLR

level

Communicated the list of congestion management actions to be implemented to:

All Reliability Coordinators in the Eastern Interconnection, and

Those Reliability Coordinators in other Interconnections responsible for

curtailing Interchange Transactions crossing Interconnection boundaries

identified in the list of congestion management actions.

Requested that the congestion management actions identified in Requirement R2, Part 2.1

be implemented by:

Each Reliability Coordinator associated with a Sink Balancing Authority for

which Interchange Transactions are to be curtailed,

Each Reliability Coordinator associated with a Balancing Authority in the Eastern

Interconnection for which Network Integration Transmission Service or Native

Load is to be curtailed, and

Each Reliability Coordinator associated with a Balancing Authority in the Eastern

Interconnection for which its Market Flow is to be curtailed.

Detailed notes:

R4.  Each Reliability Coordinator that receives a request as described in Requirement R3, Part 3.3. shall, within

15 minutes of receiving the request, implement the congestion management actions requested by the issuing

Reliability Coordinator as follows:

- Instruct its Balancing Authorities to implement the Interchange Transaction schedule change requests.

- Instruct its Balancing Authorities to implement the Network Integration Transmission Service and

Native Load schedule changes for which the Balancing Authorities are responsible.

- Instruct its Balancing Authorities to implement the Market Flow schedule changes for which the

Balancing Authorities are responsible.

- If an assessment determines shows that one or more of the congestion management actions communicated in Requirement R3, Part 3.3 will result in a reliability concern or will be ineffective, the Reliability Coordinator may replace those specific actions with alternate congestion management actions, provided that:

- The alternate congestion management actions have been agreed to by the initiating Reliability Coordinator, and

- The assessment shows that the alternate congestion management actions will not adversely affect reliability

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

# R4 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-006-EAST-1 R4.

___   	Verify that the Reliability Coordinator that receives a request as described in Requirement R3,

Part 3.3. did, within 15 minutes of receiving the request, implement the congestion management

actions requested by the issuing Reliability Coordinator as follows:

Instructed its Balancing Authorities to implement the Interchange Transaction schedule

change requests.

Instructed its Balancing Authorities to implement the Network Integration Transmission

Service and Native Load schedule changes for which the Balancing Authorities are

responsible.

Instructed its Balancing Authorities to implement the Market Flow schedule changes for

which the Balancing Authorities are responsible.

If an assessment illustrated that one or more of the congestion management

actions communicated in Requirement R3, Part 3.3 would result in a reliability concern or

would be ineffective, did the Reliability Coordinator replace those specific actions with

alternate congestion management actions, provided that:

The alternate congestion management actions had been agreed to by the initiating

Reliability Coordinator, and

The assessment showed that the alternate congestion management actions would not

adversely affect reliability.

Detailed notes:

# Supplemental Information

Other – The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard. Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response)

# Compliance Findings Summary (to be filled out by auditor)

| Req. | NF | PV | OEA | NA | Statement |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |

Excerpts from FERC Orders -- For Reference Purposes Only

Updated Through October 11, 2011

IRO-006-EAST-1

Order 693

P 888.   “The Interconnection Reliability Operations and Coordination (IRO) group of Reliability Standards detail the responsibilities and authorities of a reliability coordinator. The IRO Reliability Standards establish requirements for data, tools and wide-area view, all of which are intended to facilitate a reliability coordinator’s ability to perform its responsibilities and ensure the reliable operation of the interconnected grid.”

P 952.  IRO-006-3 ensures that a reliability coordinator has a coordinated method to alleviate loadings on the transmission system if it becomes congested to avoid limit violations. IRO-006-3 establishes a detailed Transmission Loading Relief (TLR) process for use in the Eastern Interconnection to alleviate loadings on the system by curtailing or changing transactions based on their priorities and according to different levels of TLR procedures. …

P 960.  The Commission approves IRO-006-3 as mandatory and enforceable. …

P 961.  The Commission remains convinced, based on Blackout Recommendation No. 31, … that proposed directives to include a clear warning that a TLR procedure is an inappropriate and ineffective tool to mitigate IROL violations and to identify the available alternatives to use of the TLR procedure to mitigate an IROL violation are the appropriate improvements to address the deficiencies in using TLR procedures to mitigate actual IROL violations or actual emergency situations. The Commission endorses Blackout Recommendation No. 31.

P 962.  The Commission agrees … that TLR procedures can be an effective mechanism to avoid potential IROL violations and potential emergencies. Regarding this, we reiterate that our concerns have always been on the use of TLR to mitigate actual IROLs or actual emergencies, and not on potential IROLs or emergencies, as indicated in the Blackout Report, Staff Assessment and the NOPR.

July 2, 2008 Order Conditionally Accepting Local Transmission Loading Relief Procedures, Docket No. ER08-928-000

- P 10.  Section 1.5.1 of the applicability provision in Attachment 1 of IRO-006-3 permits a Reliability Coordinator in the Eastern Interconnection to implement a Local TLR or congestion management procedure simultaneously with an Interconnection-wide procedure.  …

Order No. 713

- P 49.  The Commission notes that an entity is not prevented from using the TLR procedure to avoid a potential IROL violation before a violation occurs.  If, while a TLR procedure is in progress, an IROL violation occurs, it is not necessary for the entity to terminate the TLR procedure.  However, the Commission believes that it is inappropriate and ineffective to rely on the TLR procedure, even in conjunction with another tool, to address an actual IROL violation.

North American Electric Reliability Corporation, 135 FERC ¶ 61,043 (2011) (April 21, 2011)

1. The North American Electric Reliability Corporation (NERC) filed a petition requesting approval of Reliability Standards IRO-006-5 (Transmission Loading Relief (TLR)) and IRO-006-EAST-1 (TLR Procedure for the Eastern Interconnection), Violation Risk Factors (VRF) and Violation Severity Levels (VSL) for those Reliability Standards, and inclusion of the term "Market Flow" in the NERC Glossary of Terms. The Reliability Standards specify communication  [*61,265]  and coordination requirements relating to Interconnection-wide congestion management procedures and the transfer of power from one Interconnection to another. They also specify planning, communication and coordination requirements for Interconnection-wide congestion management procedures in the Eastern Interconnection. As discussed in this order, we approve the Reliability Standards, VRFs and VSLs, and inclusion of "Market Flow" in the NERC Glossary of Terms.

5. On January 13, 2011, NERC filed a petition requesting approval of Reliability Standards IRO-006-5 and IRO-006-EAST-1 and their respective VRFs and VSLs, and inclusion of the term "Market Flow" in the NERC Glossary of Terms. NERC states that the new Reliability Standards were developed using the NERC Reliability Standards Development Procedure and approved by the NERC Board of Trustees.

6. NERC states that the current continent-wide Reliability Standard IRO-006-4.1 requires Reliability Coordinators to utilize specific Interconnection-wide procedures. Specifically, IRO-006-4.1 provides details for the Eastern Interconnection procedures in an attachment while only providing hypertext links to the procedures used in the WECC and ERCOT Interconnections.

7. NERC explains that the proposed continent-wide Reliability Standard, IRO-006-5, eliminates the requirements associated with the Interconnection-wide processes and, instead, only references those processes. In doing so, NERC maintains that there is less risk for conflict between the continent-wide standard and the Interconnection (or regional) procedures. In addition, NERC proposes to move all [**5]  key reliability elements of the Eastern Interconnection Transmission Loading Relief procedure, now found in IRO-006-4.1 and Attachment 1 to IRO-006-4.1, into an Interconnection-wide Reliability Standard of its own, IRO-006-EAST-1. Finally, IRO-006-EAST-1 contains the term "Market Flow," which NERC proposes to add to the NERC Glossary of Terms.

8. NERC requests Commission approval of Reliability Standards IRO-006-5 and IRO-006-EAST-1, their VRFs and VSLs, and addition of "Market Flow" to the NERC Glossary of Terms, each with an effective date as "of the first day of the first calendar quarter after the date the standards are approved by the Commission." n5 NERC also requests retirement of IRO-006-4.1 and its Attachment 1, regional differences within IRO-006-4.1, and removal of the term "Reallocation" from the NERC Glossary of Terms, which according to NERC appears only in IRO-006-4.1. NERC requests that the retirement date coincide with the effective date of IRO-006-5 and IRO-006-EAST-1.

10. We approve Reliability Standards IRO-006-5 and IRO-006-EAST-1, the associated VRFs and VSLs, and inclusion of the term "Market Flow" in the NERC Glossary of Terms. We find that the proposed Reliability Standards are just, reasonable, not unduly discriminatory or preferential, and in the public interest. In addition, we approve the implementation plan proposed by NERC.

B. Reliability Standard IRO-006-EAST-1

17. Reliability Standard IRO-006-EAST-1 requires Reliability Coordinators in the Eastern Interconnection to take actions related to Transmission Loading Relief in the Eastern Interconnection to prevent or mitigate potential or actual System Operating Limit and Interconnection Reliability Operating Limit violations. The Reliability Standard allows Reliability Coordinators the flexibility to implement Transmission Loading Relief procedures on a local basis, i.e., using methods that only affect entities in the Reliability Coordinator's area, or on an Interconnection-wide basis, i.e., using methods that affect entities outside [**10]  the Reliability Coordinator's area in the Eastern Interconnection. The methods available to the Reliability Coordinator for Transmission Loading Relief include modifying generation dispatch and system demand and reconfiguring the transmission system.

18. IRO-006-EAST-1, Requirement R1 establishes procedures for the Reliability Coordinator to mitigate the magnitude and duration of an event where the rating of an Interconnection Reliability Operating Limit has been exceeded.

19. IRO-006-EAST-1, Requirement R2 requires Reliability Coordinators to identify a "TLR Level" and a list of congestion management actions when initiating the Eastern Interconnection Transmission Loading Relief procedure. Requirement R2 lists nine "TLR Levels" and references an "Implementation Guideline for Reliability Coordinator: Eastern Interconnection TLR Levels Reference Document" to assist the Reliability Coordinator in determining what "TLR Level" to identify. n7 Requirement R2 also removes business practices from the ambit of IRO-006-EAST-1.

20. IRO-006-EAST-1, Requirement R3 requires the Reliability Coordinator initiating the Transmission Loading Relief procedures to notify all Reliability Coordinators in the Eastern Interconnection of its "TLR Level" and to communicate the list of congestion management actions to be implemented to all Reliability Coordinators in the Eastern Interconnection and to those Reliability Coordinators in other Interconnections that are  [*61,267]  asked to modify specific Interchange Transactions crossing Interconnection boundaries. Requirement R3 eliminates the regional differences previously found in IRO-006-4.1 by allowing Reliability Coordinators in the Eastern Interconnection to have their Balancing Authorities curtail specific Market Flows.

21. IRO-006-EAST-1, Requirement R4 requires a Reliability Coordinator that is asked to implement congestion management actions in its area to implement those actions within 15 minutes of the request by asking its Balancing Authority to take specific actions to modify schedules, Market Flows, loads, and/or transmission services. Alternatively, the responding Reliability Coordinator must indicate that the requested congestion management actions will result [**12]  in a reliability concern or will be ineffective. The responding Reliability Coordinator may then identify and implement alternate congestion management actions provided the alternate actions are agreed to by the initiating Reliability Coordinator and will not adversely affect reliability.

22. IRO-006-EAST-1 incorporates a new term "Market Flow," which is defined as "the total amount of power flowing across a specified Facility or set of Facilities due to a market dispatch of generation internal to the market to serve load internal to the market." This new term, as used in IRO-006-EAST-1, supports reliable congestion management actions required in the Eastern Interconnection.

23. The Commission approves IRO-006-EAST-1 and inclusion of "Market Flow" in the NERC Glossary of Terms. The Commission finds that the procedures for requiring Reliability Coordinators to respond to transmission congestion, i.e., by modifying generation dispatch and system demand, and reconfiguring the transmission system, are just, reasonable, not unduly discriminatory or preferential, and in the public interest.

24. With respect to Requirement R4, we clarify one point. Requirement R4 identifies [**13]  modification of generation and demand as actions that a responding Reliability Coordinator could take to manage congestion. Requirement R4, however, does not identify reconfiguration of the transmission system as an action that a responding Reliability Coordinator could be asked to take. The Commission does not view this omission as precluding an initiating Reliability Coordinator from requesting that the responding Reliability Coordinator reconfigure the transmission system, if possible. The Commission believes that NERC should consider identifying reconfiguration of the transmission system as an option for managing congestion in future versions of IRO-006-EAST-1, Requirement R4.

25. The Commission finds that NERC's VRFs and VSLs for Reliability Standard IRO-006-EAST-1 are consistent with the Commission's established guidelines for review of proposed VRFs and VSLs. We therefore approve NERC's proposed VRFs and VSLs.

26. As requested by NERC, Reliability Standard IRO-006-EAST-1 will be effective on the first day of the first calendar quarter following the date of this order.

Revision History

| Version | Date | Reviewers | Revision Description |
| --- | --- | --- | --- |
| 1 | September 2011 | QRSAW WG | Original Document |
| 1 | October 11, 2011 | NERC Legal | Updated Excerpts from FERC Orders from March 31, 2009 through and including October 11, 2011. |