Compliance Questionnaire and

Reliability Standard Audit Worksheet

IRO–009–1 — Reliability Coordinator Actions to Operate Within IROLs

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

- Applicable Function(s):  Reliability Coordinator

Auditors:

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website at http://www.nerc.com/page.php?cid=2|20.   Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

# Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization, and the requirement(s) for which they are responsible.  Include additional sheets if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

Reliability Standard Language

IRO-009-1 — Reliability Coordinator Operational Analyses and Real-time Assessments

- Purpose:

- To prevent instability, uncontrolled separation, or cascading outages that adversely impact the reliability of the interconnection by ensuring that the Bulk Electric System is assessed during the operations horizon.

- Applicability:

- Reliability Coordinator

NERC BOT Approval Date:

FERC Approval Date:

Reliability Standard Enforcement Date in the United States:

Requirements:

R1.   	   For each IROL (in its Reliability Coordinator Area) that the Reliability Coordinator

identifies one or more days prior to the current day, the Reliability Coordinator shall

have one or more Operating Processes, Procedures, or Plans that identify actions it shall

take or actions it shall direct others to take (up to and including load shedding) that can

be implemented in time to prevent exceeding those IROLs.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

# R1 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-009-1 R1

____ For each IROL (in its Reliability Coordinator Area) that the Reliability Coordinator may identify one or more days prior to the current day, determine if it had one or more Operating Processes, Procedures, or Plans that identify actions to take, or direct others to take (up to and including load shedding) in time to prevent exceeding those IROLs.

Detailed notes:

R2.         For each IROL (in its Reliability Coordinator Area) that the Reliability Coordinator

identifies one or more days prior to the current day, the Reliability Coordinator shall

have one or more Operating Processes, Procedures, or Plans that identify actions it shall

take or actions it shall direct others to take (up to and including load shedding) to

mitigate the magnitude and duration of exceeding that IROL such that the IROL is

relieved within the IROL’s Tv.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

# R2 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-009-1 R2

___For each IROL (in its Reliability Coordinator Area) that the Reliability Coordinator may identify one or more days prior to the current day, determine if it had one or more Operating Processes, Procedures, or Plans that identify actions to take, or direct others to take (up to and including load shedding) to mitigate the magnitude and duration of exceeding that IROL such that the IROL is relieved within the IROL’s Tv.

Detailed notes:

R3.         When an assessment of actual or expected system conditions predicts that an IROL

in its Reliability Coordinator Area will be exceeded, the Reliability Coordinator shall

implement one or more Operating Processes, Procedures or Plans (not limited to the

Operating Processes, Procedures, or Plans developed for Requirements R1) to prevent

exceeding that IROL.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

# R3 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-009-1 R3

____ Determine if an assessment of actual or expected system conditions

predicted that an IROL in its Reliability Coordinator Area would be

exceeded.

____If so, verify the Reliability Coordinator implemented one or more

Operating Processes, Procedures or Plans (not limited to the Operating

Processes, Procedures, or Plans developed for Requirements R1) to

prevent exceeding that IROL.

Detailed notes:

R4.        When actual system conditions show that there is an instance of exceeding an IROL in

its Reliability Coordinator Area, the Reliability Coordinator shall, without delay, act or

direct others to act to mitigate the magnitude and duration of the instance of exceeding

that IROL within the IROL’s Tv.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

# R4 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-009-1 R4

____ If actual system conditions showed that there was an

instance of exceeding an IROL in its Reliability Coordinator Area, verify

the Reliability Coordinator acted, or directed others to act, without delay

to mitigate the magnitude and duration of the instance of exceeding that

IROL within the IROL’s Tv.

Detailed notes:

R5.

If unanimity cannot be reached on the value for an IROL or its Tv, each Reliability Coordinator that monitors that Facility (or group of Facilities) shall, without delay, use the most conservative of the values (the value with the least impact on reliability) under consideration.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

# R5 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-009-1 R5

____If unanimity could not be reached on the value for an IROL or its Tv,

verify each Reliability Coordinator monitoring that Facility (or group of

Facilities) did, without delay, use the most conservative of the values (the

value with the least impact on reliability) under consideration.

Detailed notes:

# Supplemental Information

Other - The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard.  Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response)

# Compliance Findings Summary (to be filled out by auditor)

| Req. | NF | PV | OEA | NA | Statement |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |

Excerpts from FERC Orders -- For Reference Purposes Only

Updated Through October 11, 2011

IRO-009- 1

Order No. 748, 18 CFR Part 40 Mandatory Reliability Standards for Interconnection Reliability Operating Limits, 134 FERC ¶ 61,213 (2011) (March 17, 2011)

7. On December 31, 2009, NERC submitted a petition to the Commission (NERC Petition) n13 seeking approval of proposed Reliability Standards IRO-008-1, IRO-009-1, and IRO-010-1a. Under these Reliability Standards, reliability coordinators must analyze and monitor IROLs within their Wide-Area n14 to prevent instability, uncontrolled separation, or cascading outages that adversely impact the reliability of the interconnection. These Reliability Standards do not require the reliability coordinator to analyze and monitor SOLs other than IROLs or to take preventive action to avoid or mitigate SOL violations within their reliability coordinator area. In developing the proposed IRO Reliability Standards, NERC determined that it was necessary to retire or modify certain requirements from several existing Reliability Standards. Therefore, NERC proposed revisions to Reliability Standards EOP-001-1, n15 IRO-002-2, IRO-004-2, IRO-005-3, TOP-003-1, TOP-005-2, and TOP-006-2, which remove requirements for the reliability coordinator to monitor and analyze SOLs other than IROLs. NERC also requests approval of new definitions "Operational Planning Analysis" and "Real-time Assessment."

2. IRO-009-1

15. As proposed, Reliability Standard, IRO-009-1 is designed to prevent instability, uncontrolled separation, or cascading outages that adversely impact the reliability of the interconnection by "ensuring prompt action to prevent or mitigate instances of exceeding [IROLs]." Proposed Reliability Standard IRO-009-1 applies only to reliability coordinators.

21. The Commission hereby adopts its NOPR proposals and approves new Reliability Standards IRO-008-1, IRO-009-1, and IRO-010-1a; revised Reliability Standards EOP-001-1, IRO-002-2, IRO-004-2, IRO-005-3, TOP-003-1, TOP-005-2, and TOP-006-2; and the two new NERC Glossary terms: "Operational Planning Analysis" and "Real-time Assessment." In approving these Reliability Standards, the Commission concludes that they are just, reasonable, not unduly discriminatory or preferential, and in the public interest. These Reliability Standards serve an important reliability purpose in seeking to prevent instability, uncontrolled separation, or cascading outages that adversely impact the reliability of the interconnection by ensuring that the reliability coordinator has the data necessary to assess its reliability coordinator area during the operations horizon and that it takes prompt action to prevent or mitigate instances of exceeding IROLs. Moreover, they clearly identify the entities to which they apply and contain clear and enforceable requirements. Commenters addressed many of the Commission concerns discussed in the NOPR and in some areas the ERO has indicated that it is continuing to study some issues related to the Commission concerns. The Commission encourages the ERO, applying its technical expertise, to continue such reviews and make any necessary changes to applicable Reliability Standards.

55. The Commission agrees with NERC that requiring both the reliability coordinator and transmission operator to develop action plans for every SOL may add confusion to the process. As a result, the Commission approves IRO-009-1, without modification. However, the Reliability Coordinator Working Group should further study this issue and determine if there is a need for reliability coordinators to have action plans developed and implemented with respect to certain grid-impactive SOLs.

68. NERC proposes a complete set of violation severity levels and violation risk factors for proposed new Reliability Standards IRO-008-1, IRO-009-1, and IRO-010-1a. In addition, NERC proposes to apply the existing set of violation severity levels and violation risk factors assigned to the proposed modified requirements.

70. Separately from NERC's Petition here, on March 5, 2010, NERC submitted the first of two VSL compliance filings (Filing 1) to the Commission's VSL Orders, n40 which contained the VSL assignments for the original set of 83 Reliability Standards approved by the Commission and NUC-001-2. In addition, NERC requested an extension for filing the remaining VSLs until the 3rd quarter of 2010. On July 6, 2010, the Commission issued a Notice of Extension of Time up to and including December 1, 2010, for Filing 2. n41 On December 1, 2010, NERC submitted a compliance filing to the Commission in Docket No. RR08-04-006 (Filing 2). In Filing 2, NERC submitted VSLs both for Reliability Standards that are pending at the Commission and Reliability Standards previously approved by the Commission. Filing 2 includes VSLs to supersede those in NERC's Petition in Docket No. RM10-15-000 for EOP-001-1, IRO-002-2, IRO-004-2, IRO-005-3, IRO-008-1, IRO-009-1, IRO-010-1, IRO-010-1a, TOP-003-1, TOP-005-2, and TOP-006-2. n42

72. Because a determination has not yet been made regarding NERC's "roll-up" approach pending before the Commission in Docket Nos. RR08-4-005 and RR08-4-006, the Commission will defer discussion on the proposed violation risk factors and violation severity levels assigned to IRO-008-1, IRO-009-1, and IRO-010-1a, until after the Commission issues a final order acting on NERC's petition in these proceedings.

74. The Commission approves new Reliability Standards IRO-008-1, IRO-009-1, and  IRO-010-1a; revised Reliability Standards EOP-001-1, IRO-002-2, IRO-004-2, IRO-005-3, TOP-003-1, TOP-005-2, and TOP-006-2; and the two new NERC Glossary terms: "Operational Planning Analysis" and "Real-time Assessment." The three new Reliability Standards (IRO-008-1, IRO-009-1 and IRO-010-1a, governing reliability coordinator analyses, operational actions and data collection) replace parts of the currently-effective Reliability Standards EOP-001-0, IRO-002-1, IRO-004-1, IRO-005-2, TOP-003-0, TOP-005-1 and TOP-006-1 approved by the Commission in Order No. 693.

75. Thus, this final rule does not impose entirely new burdens on the affected entities. With the exception of the addition of Interchange Authority as an applicable entity in IRO-010-1a, the currently-effective standards EOP-001-0, IRO-002-1, IRO-004-1, IRO-005-2, TOP-003-0, TOP-005-1 and TOP-006-1 require actions by the same applicable group of entities. IRO-010-1a clarifies that balancing authorities, generator owners, generator operators, interchange authorities, load-serving entities, reliability coordinators, transmission operators, and transmission owners shall provide data and information, as specified, to the reliability  coordinator(s) with which it has a reliability relationship. n45 The requirements of IRO-008-1 and IRO-009-1 provide clarification from existing requirements, dictating the analysis and operational roles of the reliability coordinator.

Revision History

| Version | Date | Reviewers | Revision Description |
| --- | --- | --- | --- |
| 1 | September 2011 | QRSAW WG | Original Document |
| 1 | October 11, 2011 | NERC Legal | Add Excerpts from FERC Orders through and including October 11, 2011. |