Compliance Questionnaire and

Reliability Standard Audit Worksheet

CIP–003-3 — Cyber Security — Security Management Controls

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Applicable Function(s): RC, BA, IA, TSP, TO, TOP, GO, GOP, LSE, NERC, RE

Auditors:

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website at http://www.nerc.com/page.php?cid=2|20.  Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

# Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization and the requirement(s) for which they are responsible. Insert additional lines if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

# Reliability Standard Language

CIP-003-3 — Cyber Security — Security Management Controls

Purpose:

Standard CIP-003-3 requires that Responsible Entities have minimum security management controls in place to protect Critical Cyber Assets.  Standard CIP-003-3 should be read as part of a group of standards numbered Standards CIP-002-3 through CIP-009-3.

Applicability:

  - Within the text of Standard CIP-003-3, “Responsible Entity” shall mean:

- Reliability Coordinator

- Balancing Authority

- Interchange Authority

- Transmission Service Provider

- Transmission Owner

- Transmission Operator

- Generator Owner

- Generator Operator

- Load Serving Entity

- NERC

- Regional Entity

- The following are exempt from Standard CIP-003-3:

- Facilities regulated by the U.S. Nuclear Regulatory Commission or the Canadian Nuclear Safety Commission.

- Cyber Assets associated with communication networks and data communication links between discrete Electronic Security Perimeters.

Responsible Entities that, in compliance with Standard CIP-002-3, identify that they have no Critical Cyber Assets shall only be required to comply with CIP-003-3 Requirement R2.

NERC BOT Approval Date:  December 16, 2009

FERC Approval Date:  March 31, 2010

Reliability Standard Enforcement Date in the United States:  October 1, 2010

Requirements:

R1.	Cyber Security Policy — The Responsible Entity shall document and implement a cyber security policy that represents management’s commitment and ability to secure its Critical Cyber Assets.  The Responsible Entity shall, at minimum, ensure the following:

R1.1.	The cyber security policy addresses the requirements in Standards CIP-002-3 through CIP-009-3, including provision for emergency situations.

R1.2.	The cyber security policy is readily available to all personnel who have access to, or are responsible for, Critical Cyber Assets.

R1.3.	Annual review and approval of the cyber security policy by the senior manager assigned pursuant to R2.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R1 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to CIP-003-3 R1.

____	Review the Responsible Entities cyber security policy and ensure:

____	The cyber security policy addresses the requirements of CIP-002-3 through CIP-009-3, including emergency situations.

____	The cyber security policy is available to all personnel who have access or are responsible for Critical Cyber Assets.

____	Ensure the senior manager reviews and approves the cyber security policy annually (this validation begins after the Auditably Compliant start date based on registration).

Detailed notes:

R2.	Leadership — The Responsible Entity shall assign a single senior manager with overall responsibility and authority for leading and managing the entity’s implementation of, and adherence to, Standards CIP-002-3 through CIP-009-3. .

R2.1.	The senior manager shall be identified by name, title, and date of designation.

R2.2.	Changes to the senior manager must be documented within thirty calendar days of the effective date.

R2.3.	Where allowed by Standards CIP-002-3 through CIP-009-3, the senior manager may delegate authority for specific actions to a named delegate or delegates. These delegations shall be documented in the same manner as R2.1 and R2.2, and approved by the senior manager.

R2.4	The senior manager or delegate(s), shall authorize and document any exception from the requirements of the cyber security policy.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R2 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

Questions:

To what extent does the assigned senior manager have authority and responsibility for leading and managing the implementation of and adherence to standards CIP-002-3 through CIP-009-3?

Are delegations documented and approved by the assigned senior manager?

Entity Response: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to CIP-003-3 R2.

____	Review the Responsible Entity’s documentation to verify the items below have been addressed and documented:

____	The senior manager’s name, title, and date of designation.

____	Changes to senior manager have been documented within 30 days.

____	Whether the senior manager delegated authority for specific actions; if so:

____	Verify the delegate(s) has been named and documented in the same manner as R2.1 and R2.2

____	Verify exceptions to the requirements of the cyber security policy have been authorized and documented by the senior manager or delegate.

Detailed notes:

R3.	Exceptions — Instances where the Responsible Entity cannot conform to its cyber security policy must be documented as exceptions and authorized by the senior manager or delegate(s).

R3.1.	Exceptions to the Responsible Entity’s cyber security policy must be documented within thirty days of being approved by the senior manager or delegate(s).

R3.2.	Documented exceptions to the cyber security policy must include an explanation as to why the exception is necessary and any compensating measures.

R3.3.	Authorized exceptions to the cyber security policy must be reviewed and approved annually by the senior manager or delegate(s) to ensure the exceptions are still required and valid.  Such review and approval shall be documented.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R3 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

Questions:

How are exceptions to the cyber security policy requested, documented, approved, and, if still required, reviewed and reapproved?

Entity Response: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to CIP-003-3 R3.

____	Review Responsible Entities documentation explaining exceptions to its cyber security policy to ensure the following is covered:

____	Exceptions are documented and approved by the senior manager or delegate within thirty days.

____	Exceptions include an explanation of why the exception is necessary and identify any compensating measures.

____	Exceptions are reviewed annually to ensure they are still required and valid.

____	Reviews and approvals shall be completed by the designated senior manager or delegate(s).

Detailed notes:

R4	Information Protection — The Responsible Entity shall implement and document a program to identify, classify, and protect information associated with Critical Cyber Assets.

R4.1.	The Critical Cyber Asset information to be protected shall include, at a minimum and regardless of media type, operational procedures, lists as required in Standard CIP-002-3, network topology or similar diagrams, floor plans of computing centers that contain Critical Cyber Assets, equipment layouts of Critical Cyber Assets, disaster recovery plans, incident response plans, and security configuration information.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

R4.2.	The Responsible Entity shall classify information to be protected under this program based on the sensitivity of the Critical Cyber Asset information.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

R4.3.	The Responsible Entity shall, at least annually, assess adherence to its Critical Cyber Asset information protection program, document the assessment results, and implement an action plan to remediate deficiencies identified during the assessment.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R4 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to CIP-003-3 R4.

____	Verify that the Responsible Entity has implemented and documented an information protection program to identify, classify, and protect information associated with Critical Cyber Assets.

____	Verify that the information protection program includes at a minimum and regardless of media type

____	operational procedures

____	lists as required in CIP-002,

____	network topology or similar diagrams,

____	floor plans of computer centers that contain CCAs

____	equipment layouts of CCAs

____	disaster recovery plans

____	incident response plans

____	security configuration information

____	Verify that the Responsible Entity has identified, classified, and protected information based on its sensitivity.

____	Verify that the Responsible Entity has assessed adherence to its Critical Cyber Asset information protection program.

____	Verify that the assessment is conducted and the results are documented at least on an annual basis.

____	Verify that the Responsible Entity has implemented action plans to remediate deficiencies identified during the assessment.

Detailed notes:

R5.	Access Control — The Responsible Entity shall document and implement a program for managing access to protected Critical Cyber Asset information.

R5.1. 	The Responsible Entity shall maintain a list of designated personnel who are responsible for authorizing logical or physical access to protected information.

R5.1.1.	Personnel shall be identified by name, title, and the information for which they are responsible for authorizing access.

R5.1.2.	The list of personnel responsible for authorizing access to protected information shall be verified at least annually.

R5.2.	The Responsible Entity shall review at least annually the access privileges to protected information to confirm that access privileges are correct and that they correspond with the Responsible Entity’s needs and appropriate personnel roles and responsibilities.

R5.3.	The Responsible Entity shall assess and document at least annually the processes for controlling access privileges to protected information.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R5 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to CIP-003-3 R5.

____	Review the Responsible Entity’s program for managing access to protected Critical Cyber Asset information.  :

____	Review the list of individuals who are responsible for authorizing logical or physical access to protected information:

____	Verify that the document lists individuals by name, title, and the information for which they are responsible for authorizing access.

____	Verify that the list is verified at least annually.

____	Review documentation that shows that the Responsible Entity, at least annually:

____	Reviews all access privileges to protected information.

____	Confirms that access privileges are correct.

____	Verifies that access privileges correspond with the Responsible Entity’s needs and are assigned to appropriate personnel roles and responsibilities

____	Verify that the Responsible Entity has annually assessed and documented the processes for controlling access privileges to protected information.

Detailed notes:

R6.	Change Control and Configuration Management — The Responsible Entity shall establish and document a process of change control and configuration management for adding, modifying, replacing, or removing Critical Cyber Asset hardware or software, and implement supporting configuration management activities to identify, control and document all entity or vendor-related changes to hardware and software components of Critical Cyber Assets pursuant to the change control process.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R6 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to CIP-003-3 R6.

____	Verify that the Responsible Entity has established and documented a change control and configuration management process that addresses the following circumstances:

____	Adding, modifying, replacing, or removing Critical Cyber Asset hardware or software

____	Implementing supporting configuration management activities to identify, control, and document all entity or vendor related changes to:

____	Hardware components of CCAs pursuant to the change control process.

____	Software components of CCAs pursuant to the change control process.

Detailed notes:

# Supplemental Information

Other - The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard.  Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response)

# Compliance Findings Summary (to be filled out by auditor)

| Req. | NF | PV | OEA | NA | Statement |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |

Excerpts from FERC Orders -- For Reference Purposes Only

Updated Through August 2010

CIP-003-1

Order 706

- P 1.  Pursuant to section 215 of the Federal Power Act (FPA), the Commission approves eight Critical Infrastructure Protection (CIP) Reliability Standards submitted to the Commission for approval by the North American Electric Reliability Corporation (NERC).  The CIP Reliability Standards require certain users, owners, and operators of the Bulk-Power System to comply with specific requirements to safeguard critical cyber assets.  In addition, pursuant to section 215(d)(5) of the FPA, the Commission directs NERC to develop modifications to the CIP Reliability Standards to address specific concerns identified by the Commission.

- P 13.  In the Final Rule, the Commission approves the eight CIP Reliability Standards, finding that they are just and reasonable, not unduly discriminatory or preferential and in the public interest.  Further, the Commission approves NERC’s implementation plan that sets milestones for responsible entities to achieve full compliance with the CIP Reliability Standards … .

- P 24.  The Commission approves the eight CIP Reliability Standards pursuant to section 215(d) of the FPA, as discussed below.  In approving the CIP Reliability Standards, the Commission concludes that they are just, reasonable, not unduly discriminatory or preferential, and in the public interest.  These CIP Reliability Standards, together, provide baseline requirements for the protection of critical cyber assets that support the nation’s Bulk-Power System.  Thus, the CIP Reliability Standards serve an important reliability goal.  Further, as discussed below, the CIP Reliability Standards clearly identify the entities to which they apply, apply throughout the interconnected Bulk-Power System, and provide a reasonable timetable for implementation.

- P 47.  The Commission adopts the CIP NOPR approach regarding NERC and Regional Entity compliance with the CIP Reliability Standards.  The Commission maintains its belief that NERC’s compliance is necessary in light of its interconnectivity with other entities that own and operate critical assets.  Further, we conclude that NERC’s Rules of Procedure, which state that the ERO will comply with each Reliability Standard that identifies the ERO as an applicable entity, provides an adequate means to assure that NERC is obligated to comply with the CIP Reliability Standards.  Likewise, the delegation agreements between NERC and each Regional Entity expressly state that the Regional Entity is committed to comply with approved Reliability Standards.  Based on these provisions, we find that the Commission has authority to oversee the compliance of NERC and the Regional Entities with the CIP Reliability Standards.

- P 48.  … we believe that NERC’s position as overseer of Bulk-Power System reliability provides a level of assurance that it will take compliance seriously.  Moreover, section 215(e)(5) of the FPA provides that the Commission may take such action as is necessary or appropriate against the ERO or a regional entity to ensure compliance with a Reliability Standard or Commission order.

- P 49.  The Commission also adopts its CIP NOPR approach and concludes that reliance on the NERC registration process at this time is an appropriate means of identifying the entities that must comply with the CIP Reliability Standards.  We are concerned … that some small entities that are not identified in the NERC registry may become gateways for cyber attacks.  However, we are not prepared to adopt [the] … approach of requiring that any entity connected to the Bulk-Power System, regardless of size, must comply with the CIP Reliability Standards irrespective of the NERC registry.  We believe this approach is overly-expansive and may raise jurisdictional issues.  Rather, we rely on NERC and the Regional Entities to be vigilant in assuring that all appropriate entities are registered to ensure the security of the Bulk-Power System.

- P 50.  … the NERC registry process is designed to identify and register entities for compliance with Reliability Standards, and not identify lists of assets.  In the CIP NOPR, the Commission explained that it would expect NERC to register the owner or operator of an important asset, such as a blackstart unit, even though the facility may be relatively small or connected at low voltage.  While the facility would not be registered or listed through the registration process, NERC’s or a Regional Entity’s awareness of the critical asset may reasonably result in the registration of the owner or operator of the facility.

- P 51.  Likewise, we believe that NERC should register demand side aggregators if the loss of their load shedding capability, for reasons such as a cyber incident, would affect the reliability or operability of the Bulk-Power System.  EEI and ISO/RTO Council concur that the need for the registration of demand side aggregators may arise, but state that it is not clear whether aggregators fit any of the current registration categories defined by NERC.  We agree with EEI and ISO/RTO Council that NERC should consider whether there is a current need to register demand side aggregators and, if so, to address any related issues and develop criteria for their registration.

- P 52.  The Commission agrees with the many commenters that suggest that the responsibility of a third-party vendor for compliance with the CIP Reliability Standards is a matter that should be addressed in contracts between the registered entity that is responsible for mandatory compliance with the Standards and its vendor.  To the extent that the responsible entity makes a business decision to hire an outside contractor to perform services for it, the responsible entity remains responsible for compliance with the relevant Reliability Standards.  Thus, it is incumbent upon the responsible entity to assure that its third-party vendor acts in compliance with the CIP Reliability Standards.  We agree with ISO/RTO Council’s characterization of the matter:

- . . . when an application is developed and maintained by an outsourced provider, that outsourced provider manages physical and cyber access to the environment on which the application runs and therefore must be contractually obligated to the Responsible Entity to comply with the Reliability Standards.

- While such providers are not registered entities subject to the Reliability Standards, they must perform the services and operate the applications in a manner consistent with the Reliability Standards. . . the Responsible Entity should be charged with incorporating contractual terms and conditions into agreements with third-party service providers that obligate the providers to comply with the requirements of the Reliability Standards.  In that regard, if a Responsible Entity determines that it is necessary to outsource a service that is essential to the reliable operation of a Critical Asset, Critical Cyber Asset, or the bulk electric system, it is clear that the Responsible Entity must be held responsible and accountable for compliance with the Reliability Standards.

- P 53.  Further, it is incumbent upon a responsible entity to conduct vigorous oversight of the activities and procedures followed by the vendors they employ.  Thus, we expect a responsible entity to address in its security policy under CIP-003-1 its policies regarding its oversight of third-party vendors.

- P 86.  The Commission adopts its CIP NOPR proposal and approves NERC’s implementation plan and time frames for responsible entities to achieve auditable compliance.  Responsible entities require a reasonable period of time to purchase and install new cyber software and equipment and develop new programs and procedures to achieve compliance.  Commenters indicate that the implementation plan provides that reasonable period of time.  Further, we agree with commenters that there is an urgent need to move forward without any delays.  Accordingly, we approve NERC’s implementation plan.

- P 88.  The Commission believes that the modifications to the CIP Reliability Standards developed by the NERC Reliability Standards development process should not be audited prior to the conclusion of the approved implementation plan.  EEI and other commenters claim that commencing the development of such modifications prior to the conclusion of the implementation plan would be discouraging to industry.  The Commission, however, finds that it is unacceptable to delay the development of the modifications directed in this Final Rule until after the conclusion of the implementation plan.  Since it is uncertain how long it will take to develop revised CIP Reliability Standards, we believe it is not reasonable to wait until the 2009-2010 time period for the process to start.  Features such as enhanced conditions on technical feasibility exceptions and oversight of critical asset determinations are too important to the protection of the Bulk-Power System to wait that long.

- P 97.  Further, we adopt our CIP NOPR proposals that, while an entity should not be subject to a monetary penalty if it is unable to certify that it is on schedule, such an entity should explain to the ERO the reason it is unable to self-certify.  The ERO and the Regional Entities should then work with such an entity either informally or, if appropriate, by requiring a remedial plan to assist such an entity in achieving full compliance in a timely manner.  Further, we expect the ERO and the Regional Entities to provide informational guidance, upon request, to assist a responsible entity in assessing its progress in reaching “auditably compliant” status.

- P 99.  … we clarify that the goal of a Regional Entity working with a responsible entity that is unable to self-certify is to assist the entity in meeting the NERC time frames for auditable compliance, and not to accelerate compliance ahead of schedule.

- P 105.  The Commission is persuaded by comments regarding the limited reach of readiness reviews and the questionable utility of such reviews prior to the date by which entities are to be compliant; thus, adding the CIP Reliability Standards to the readiness reviews at this time will delay industry’s compliance efforts.  Therefore, the Commission will not require that the CIP Reliability Standards be added to the readiness reviews at this time.

- P 180.  We agree with NERC and other commenters on the underlying rationale for a technical feasibility exception, i.e., that there is long-life equipment in place that is not readily compatible with a modern environment where cyber security issues are an acknowledged concern.  While equipment replacement will often be appropriate to comply with the CIP Reliability Standards, such as in instances where equipment is near the end of its useful life or when alternative or supplemental security measures are not possible, we acknowledge that the possibility of being required to replace equipment before the end of its useful life is a valid concern.

- P 181.  … The justification presented for technical feasibility exceptions is rooted in the problem of long-life legacy equipment and the economic considerations involved in the replacement of such equipment before the end of its useful life. … The Commission neither assumes that technical infeasibility issues will be present only during the transition period, nor does it assume that on a going forward basis there will be only one single means to comply with the CIP Reliability Standards.  It does assume, however, that all responsible entities eventually will be able to achieve full compliance with the CIP Reliability Standards when the legacy equipment that creates the need for the exception is supplemented, upgraded or replaced.

- P 182.  The Commission agrees with various commenters that the implementation of the CIP Reliability Standards should not be permitted to have an adverse effect on reliability and that proper implementation requires that care be taken to avoid unintended consequences.  We thus believe it is important to clarify that the meaning of “technical feasibility” should not be limited simply to whether something is technically possible but also whether it is technically safe and operationally reasonable.

- P 186.  Based on the above considerations, the Commission adopts its proposal in the CIP NOPR that technical feasibility exceptions may be permitted if appropriate conditions are in place.  The term technical feasibility should be interpreted narrowly to not include considerations of business judgment, but we agree with commenters that it should include operational and safety considerations.

- P 192.  With some minor refinements discussed below, the Commission adopts the CIP NOPR proposal for a three step structure to require accountability when a responsible entity relies on technical feasibility as the basis for an exception. …

- P 193.  We also agree … that in some instances remediation can be required only to the extent possible.  For example, in some cases it may never be possible to enclose certain critical cyber assets within a six-sided physical boundary as required under CIP-006-1.  However, such cases need to be sufficiently justified, the mitigation strategies must be ongoing and effective, and the justification must be subject to periodic review.  We also are mindful that accelerated replacement of equipment can be economically wasteful where security is not otherwise compromised.  We thus agree … that where mitigation measures are as or more effective than compliance, and in the case of minor technical or administrative requirements, replacement of certain assets before the end of their useful lives can be wasteful and inefficient.  We also agree with SPP that remediation might not be necessary where compensating measures are equally effective in reducing risk.  However, such cases must be subject to clear criteria and periodic review and, where necessary, updates.

- P 194.  However, in adopting this approach, we do not intend to suggest that it would never be necessary to replace equipment before the end of its useful life to achieve cyber security goals.  Where equipment is near the end of its useful life or if insufficient mitigation measures are available, the equipment should be replaced.  However, such situations must be dealt with on a case-by-case basis.  We emphasize that responsible entities must protect assets that are critical to the reliable operation of the Bulk-Power System.

- P 209.  For the reasons discussed below, the Commission concludes that technical feasibility exceptions should be reported and justified and subject to approval by the ERO or the relevant Regional Entity.  The Commission thus adopts its CIP NOPR proposal that use and implementation of technical feasibility exceptions must be governed by a clear set of criteria.  However, because we are persuaded by the commenters, we have modified certain elements of our original proposal, as discussed below.

- P 211.  With regard to the senior management approval, we continue to believe that internal approval is an important component of an overall framework of accountability with regard to use of the technical feasibility exception.  Therefore, we adopt this aspect of our CIP NIPR proposal … .

- P 213.  The Commission agrees … that Regional Entities should, in the first instance, receive and catalogue notices of technical feasibility exceptions that are claimed.  Such notices must include estimates of the degree to which mitigation measures achieve the goals set by a CIP Reliability Standard and be in sufficient detail to allow verification of whether reliance on exceptions (or the associated mitigation measures) adequately maintains reliability and does not create reliability issues for neighboring systems.  Initial submission of notices should be provided by responsible entities at least by the “Compliant” stage of implementation in order to allow Regional Entities to plan for auditing exceptions, as described in more detail below.

- P 214.  The Commission also agrees … that actual evaluation and approval of technical feasibility exceptions should be performed in the first instance in the audit process.  This would allow assessment of exceptions within their specific context and thus facilitate greater understanding in evaluating individual exceptions, as well as related mitigation steps and remediation plans.  This also would increase the amount of sensitive information that remains on-site and reduces the risk of improper disclosure.  In addition, it will allow the ERO and Regional Entities, informed by the initial notices discussed above, to include personnel in audit teams with sufficient expertise to judge the need for a technical feasibility exception and the sufficiency of preferred mitigation measures.

- P 215.  Given the significance of technical feasibility exceptions, the Commission believes that initial audits of technical feasibility exceptions should be expedited, i.e., performed earlier than otherwise, including moving the audit to an earlier year.  Also, in general, responsible entities claiming such exceptions should receive higher priority when determining which entities to audit, and the more exceptions an entity has, the higher the priority for audit should be.  Further, NERC may provide an appeals process for the review of technical feasibility exceptions, if it determines that this is appropriate.

- P 216.  However, the Commission notes that the audit process is a Regional Entity and ERO process, and audit team findings regarding exceptions are subject to Regional Entity and ERO review.  The Commission believes that the audit report should form the basis for ERO or Regional Entity approval of individual exceptions.  Approval thus represents a determination on compliance with the applicable CIP Reliability Standards, and we disagree with the ISO/RTO Council that approval of technical feasibility exceptions raises any conflict of interest or due process concerns.  The proposed procedures raise no special issues in this respect.

- P 217.  We agree … that approvals and potential appeals should not be allowed to delay implementation, but we believe our revised proposal resolves this problem.  We also agree … that responsible entities should be able to rely on a technical feasibility exception prior to formal approval.

- P 219.  We agree with comments emphasizing the importance of protecting sensitive information relating to technical feasibility exceptions.  We agree … that CEII treatment should be available for any such information.  … we agree that a governmental entity subject to FOIA requirements should not be required to submit sensitive information about critical assets or critical cyber assets that could be deemed a waiver of FOIA protection that is otherwise available.  Nonetheless, a governmental entity’s decision to rely on a technical feasibility exception should also be subject to appropriate oversight and accountability. …

CIP-003-1

P 342.  Reliability Standard CIP-003-1 seeks to ensure that each responsible entity has minimum security management controls in place to protect the critical cyber assets identified pursuant to CIP-002-1. To achieve this goal, a responsible entity must develop a cyber security policy that represents management’s commitment and ability to secure its critical cyber assets. It also must designate a senior manager to direct the cyber security program and to approve any exception to the policy.

343. CIP-003-1, in addition, requires a responsible entity to implement an information protection program to identify, classify, and protect sensitive information concerning critical cyber assets, as well as an access control program to designate who may have access to such information. Finally, a responsible entity must establish a “change control and configuration management” program to oversee changes made to the hardware or software of critical cyber assets.

344. The Commission approves Reliability Standard CIP-003-1 as mandatory and enforceable. In addition, we direct the ERO to develop modifications to this Reliability Standard through its standards development process and to take other actions. These actions pertain to (1) the adequacy of policy guidance; (2) discretion to grant exceptions; (3) leadership; (4) access authorization; (5) change control and configuration management; and (6) interconnected networks.

P 361.  Requirement R3 of CIP-003-1 provides that a responsible entity must document as an exception each instance where it cannot conform to its security policy developed pursuant to Requirement R1. Exceptions need senior manager approval. The documentation must include “an explanation as to why the exception is necessary and any compensating measures, or a statement accepting risk.” An exception to the cyber security policy must be documented within 30 days of senior management approval. An authorized exception must be reviewed and approved annually to ensure that the exception is still required and valid.

373. Requirement R1 of CIP-003-1 requires the development and implementation of a security policy. Requirement R3 provides that a responsible entity must document exceptions to its policy with documentation and senior management approval. The Commission is concerned that, if exceptions mount, there would come a point where the exceptions rather than the rule prevail. In such a situation, it is questionable whether the responsible entity is actually implementing a security policy. We therefore believe that the Regional Entities should perform an oversight role in providing accountability of a responsible entity that excepts itself from compliance with the provisions of its cyber security policy. Further, we believe that such oversight would impose a limited additional burden on a responsible entity because Requirement R3 currently requires documentation of exceptions.

374. That being said, the Commission agrees … that Regional Entity review of exceptions to a responsible entity’s cyber security policy is best accomplished pursuant to the existing Regional Entity audit process where all the relevant facts and circumstances can be considered. Further, review of exceptions to a cyber security policy in the audit process should effectively address commenter concerns regarding disclosure of sensitive information by keeping that data on site.

377. The Requirement to develop and implement a security policy differs from many other Requirements in that it is a means to the end of implementing those Requirements.  Our concern that exceptions be documented and justified is primarily a concern that there be reasoned decision-making, consistency, and subsequent effectiveness in implementing the policy. … As discussed immediately above, the Commission believes that exceptions to a responsible entity’s cyber security policy are appropriately addressed in the course of the Regional Entity’s audit process.  The Commission has also directed that Regional Entities evaluate and approve a responsible entity’s reliance on the technical feasibility exception as part of the audit process. In addition, to provide the Regional Entity with an “upfront” understanding regarding the extent of industry reliance on the technical feasibility exception, as well as to allow the Regional Entity to adequately prepare for an audit, the Commission also required that a responsible entity submit a “notice” to the Regional Entity when the exception is invoked. In contrast, due to the importance of timely verifying that responsible entities have developed accurate cyber asset lists pursuant to CIP-002-1, the Commission has directed the development of an external review separate from the audit process. Thus, the Commission has tailored different review processes to different situations to minimize the burden on industry yet satisfy the goal of assuring adequate

oversight. … We do not believe that an entity’s decision to not follow its cyber security policy in a particular situation should trigger a penalty, as long as no Reliability Standard Requirement (other than Requirement R1 in CIP-003-1) is violated as a result. We do require that the reasoning be documented to ensure that the responsible entity is indeed implementing the security policy as required by Requirement R1 of CIP-003-1.

P 379.  379. Requirement R2 of CIP-003-1 requires that a senior manager be assigned overall responsibility for implementation of the CIP Reliability Standards. In the CIP NOPR, the Commission interpreted this Requirement to require the designation of a single manager who has direct and comprehensive responsibility and accountability for implementation and ongoing compliance with the CIP Reliability Standards.  The Commission noted that Recommendation 43 of the Blackout Report called for clear lines of authority and ownership for security matters, and it proposed to direct that the ERO modify CIP-003-1 to make clear the senior manager’s ultimate responsibility.

P 381.  The Commission adopts its CIP NOPR interpretation that Requirement R2 of CIP-003-1 requires the designation of a single manager who has direct and comprehensive responsibility and accountability for implementation and ongoing compliance with the CIP Reliability Standards. The Commission’s intent is to ensure that there is a clear line of authority and that cyber security functions are given the prominence they deserve. The Commission agrees with commenters that the senior manager, by virtue of his or her position, is not a user, owner or operator of the Bulk-Power System that is personally subject to civil penalties pursuant to section 215 of FPA.

P 382.  Requirement R5 of CIP-003-1 directs the responsible entity to implement a program for managing access to protected critical cyber asset information and requires, among other things, that the list of personnel responsible for authorizing access to protected information be verified at least annually.

386. The Commission adopts its CIP NOPR proposal … .

387. … while we acknowledge that responsible entities are not authorized to enter private homes, we believe that an appropriate cyber security policy will ensure that such information is present in an employee’s home only for legitimate reasons specified in the policy and should require the return of all information upon request.

P 388.  Requirement R6 of CIP-003-1 requires a responsible entity to establish a process of “change control and configuration management” for adding, modifying, replacing, or removing critical cyber asset hardware or software.

Order Approving Revised Reliability Standards for Critical Infrastructure Protection and Requiring Compliance Filing (September 30, 2009)

CIP-003-2

P21. As an initial matter, the Commission finds that consideration of the “single senior manager” language in the requirement is legally ripe. In Order No. 706, we stated our view that the CIP-003-1 Requirement R2 should be interpreted to require the designation of a single manager who has direct and comprehensive responsibility for implementation and ongoing compliance with the CIP Reliability Standards, and directed NERC to make clear the senior manager’s ultimate responsibility. NERC has now proposed language effectuating this suggestion. Therefore, comments and protests to the proposal are ripe.

22. The Commission approves NERC’s proposed changes to CIP-003-2. We reject the ISOs’ arguments that the proposed modification dictates a Responsible Entity’s internal management structure and exceeds NERC’s authority to prescribe Reliability Standards. In Order No. 672, we found that in certain cases, it would be necessary for the ERO to specify “how” something is done as it may be inextricably linked to the Reliability Standard and its subsequent enforcement. In such cases, implementation features were a necessary part of a Reliability Standard if omission of such features sacrificed implementation uniformity, created uncertainty, made enforcement difficult, or complicated Commission oversight and review.16 Accordingly, we stated we would “leave it to the ERO to develop proposed Reliability Standards that appropriately balance reliability principles and implementation features.”

Order on Compliance (March 31, 2010)

CIP-003-3

P20 The Commission rejects the Version 3 CIP Implementation Plan. We understand that NERC intends this Version 3 CIP Implementation Plan to serve as a guide to which CIP Reliability Standards and which implementation plans are in effect at a given time. We find this document unnecessary and confusing, primarily because the Version 3 CIP Implementation Plan is presented as an actionable plan rather than an informational guide. However, the Implementation Plan itself does not determine the effective date, or retirement, of the CIP Reliability Standards. Rather, the functions listed in the document occur as a result of the Commission’s approval of the Reliability Standards themselves.

P21 To provide clarity regarding the effective dates of the CIP Reliability Standards and implementation plans, as well as which entities must be compliant at which time, we provide the following information based on Commission orders to date:

- All responsible entities that registered by March 31, 2008, must become compliant with the CIP Reliability Standards according to the milestones stated in the Version 1 Implementation Plan.10

- All responsible entities that registered on or after April 1, 2008, must become compliant with the CIP Reliability Standards according to the milestones stated in the “Implementation Plan for Newly Identified Critical Cyber Assets and Newly Registered Entities” approved by this order.

- If a responsible entity subsequently identifies a new Critical Cyber Asset, after reaching the “Compliant” milestone for CIP-002 under the applicable Implementation Plan based on its registration date, the responsible entity shall either bring the newly identified Critical Cyber Asset into compliance immediately upon identification or according to the milestones enumerated in the “Implementation Plan for Newly Identified Critical Cyber Assets and Newly Registered Entities” approved by this order.

- The Version 1 Implementation Plan is fully retired for all subject entities as of March 31, 2011, for three reasons: (1) Table 1, Table 2, and Table 3 entities under the Version 1 Implementation Plan are scheduled to reach the “Auditably Compliant” phase by December 31, 2010; (2) the “Implementation Plan for Newly Identified Critical Cyber Assets and Newly Registered Entities” replaces Table 4 of the Version 1 Implementation Plan for any entities that registered on or after April 1, 2008; and (3) an entity registered on the last possible date to be subject to the Version 1 Implementation Plan must reach the “Auditably Compliant” phase by March 31, 2011.11

- The Version 2 CIP Reliability Standards shall be effective as of April 1, 2010 based on the effective date formula contained in each of the standard.12

- The Version 3 CIP Reliability Standards shall be effective as of October 1, 2010 according to the effective date formula contained in each of the standards.

- The two documents filed by NERC on May 22, 2009 to comprise a Version 2 Implementation Plan are not in effect for any entity at any time.

Revision History

| Version | Date | Reviewers | Revision Description |
| --- | --- | --- | --- |
| 1 | December 2010 | QRSAW WG | Revised Findings Table and modified Supporting Evidence tables |
| 1 | January 2011 | Craig Struck | Reviewed for format consistency and content. |
| 1.1 | September 2011 | Craig Struck | Format updates for 2012. |