Compliance Questionnaire and

Reliability Standard Audit Worksheet

CIP–007–3 — Cyber Security — Systems Security Management

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Applicable Function(s): RC, BA, IA, TSP, TO, TOP, GO, GOP, LSE, NERC, RE

Auditors:

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website at http://www.nerc.com/page.php?cid=2|20.  Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

# Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization, and the requirement(s) for which they are responsible.  Include additional sheets if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

# Reliability Standard Language

CIP-007-3 — Cyber Security — Systems Security Management

Purpose:

Standard CIP-007 requires Responsible Entities to define methods, processes, and procedures for securing those systems determined to be Critical Cyber Assets, as well as the other (non-critical) Cyber Assets within the Electronic Security Perimeter(s).  Standard CIP-007-3 should be read as part of a group of standards numbered Standards CIP-002-3 through CIP-009-3.

Applicability:

  - Within the text of Standard CIP-007-3, “Responsible Entity” shall mean:

- Reliability Coordinator

- Balancing Authority

- Interchange Authority

- Transmission Service Provider

- Transmission Owner

- Transmission Operator

- Generator Owner

- Generator Operator

- Load Serving Entity

- NERC

- Regional Entity

- The following are exempt from Standard CIP-007-3:

- Facilities regulated by the U.S. Nuclear Regulatory Commission or the Canadian Nuclear Safety Commission.

- Cyber Assets associated with communication networks and data communication links between discrete Electronic Security Perimeters.

- Responsible Entities that, in compliance with Standard CIP-002-3, identify that they have no Critical Cyber Assets.

NERC BOT Approval Date:  December 16, 2009

FERC Approval Date:  March 31, 2010

Reliability Standard Enforcement Date in the United States:  October 1, 2010

Requirements:

R1.	Test Procedures — The Responsible Entity shall ensure that new Cyber Assets and significant changes to existing Cyber Assets within the Electronic Security Perimeter do not adversely affect existing cyber security controls.  For purposes of Standard CIP-007-3, a significant change shall, at a minimum, include implementation of security patches, cumulative service packs, vendor releases, and version upgrades of operating systems, applications, database platforms, or other third-party software or firmware.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

R1.1.	The Responsible Entity shall create, implement, and maintain cyber security test procedures in a manner that minimizes adverse effects on the production system or its operation.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

R1.2.	The Responsible Entity shall document that testing is performed in a manner that reflects the production environment.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

R1.3.	The Responsible Entity shall document test results.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

# R1 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to CIP-007-3 R1

___	Verify that the Responsible Entity has established and maintains cyber security test procedures to ensure that new Cyber Assets and significant changes to existing Cyber Assets within the Electronic Security Perimeter do not adversely affect existing cyber security controls.

___	Verify that documentation includes:

___	Test procedures that minimize adverse effects on the system or its operation.

___	Evidence that testing is performed in a manner that reflects the production environment.

___	Test results

Detailed notes:

R2.	Ports and Services — The Responsible Entity shall establish, document, and implement a process to ensure that only those ports and services required for normal and emergency operations are enabled.

R2.1.	The Responsible Entity shall enable only those ports and services required for normal and emergency operations.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

R2.2. The Responsible Entity shall disable other ports and services, including those used for testing purposes, prior to production use of all Cyber Assets inside the Electronic Security Perimeter(s).

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

R2.3. In the case where unused ports and services cannot be disabled due to technical limitations, the Responsible Entity shall document compensating measure(s) applied to mitigate risk exposure.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

# R2 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to CIP-007-3 R2

___	Verify that the Responsible Entity has documented and implemented a process to ensure that only those ports and services that are required for normal and emergency operations are enabled.

___	Verify that the Responsible Entity has enabled only those ports and services required for normal and emergency operations.

___	Verify that all other ports and services that are not needed for normal or emergency operations are disabled.

___	Verify that the Responsible Entity has documentation that shows compensating measures for situations where it could not disable ports and services due to technical limitations.

Detailed notes:

R3.	Security Patch Management — The Responsible Entity, either separately or as a component of the documented configuration management process specified in CIP-003-3 Requirement R6, shall establish, document and implement a security patch management program for tracking, evaluating, testing, and installing applicable cyber security software patches for all Cyber Assets within the Electronic Security Perimeter(s).

R3.1.	The Responsible Entity shall document the assessment of security patches and security upgrades for applicability within thirty calendar days of availability of the patches or upgrades.

R3.2.	The Responsible Entity shall document the implementation of security patches.  In any case where the patch is not installed, the Responsible Entity shall document compensating measure(s) applied to mitigate risk exposure.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

# R3 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to CIP-007-3 R3

___	Verify that the Responsible Entity has established a security patch management program for tracking, evaluating, testing, and installing applicable cyber security software patches for all Cyber Assets within the Electronic Security Perimeter.  This process can be conducted separately or as a component of CIP-003-3 R6.

___	Verify that documentation shows that the assessment of security patches and security upgrades occurred within thirty days of availability of patches or upgrades.

___	Verify documentation for the implementation of security patches.  If a patch was not installed for any reason, there must be a documented compensating measure(s) applied to mitigate risk exposure.

Detailed notes:

R4.	Malicious Software Prevention — The Responsible Entity shall use anti-virus software and other malicious software (“malware”) prevention tools, where technically feasible, to detect, prevent, deter, and mitigate the introduction, exposure, and propagation of malware on all Cyber Assets within the Electronic Security Perimeter(s).

R4.1.	The Responsible Entity shall document and implement anti-virus and malware prevention tools.  In the case where anti-virus software and malware prevention tools are not installed, the Responsible Entity shall document compensating measure(s) applied to mitigate risk exposure.

R4.2.	The Responsible Entity shall document and implement a process for the update of anti-virus and malware prevention “signatures.”  The process must address testing and installing the signatures.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

# R4 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to CIP-007-3 R4

___	Verify that the Responsible Entity uses anti-virus software and malicious software prevention tools, where technically feasible, on all Cyber Assets within the Electronic Security Perimeter(s).

___	Verify documentation and implementation of the anti-virus or malware prevention tools.

___	Where anti-virus or malware prevention tools could not be installed, verify that the Responsible Entity has documented compensating measure(s) applied to mitigate risk exposure.

___	Verify that the Responsible Entity has documented and implemented a process for updating anti-virus and malware prevention “signature” files.

___	Verify that the process for updating the “signature” files addresses testing and installation.

Detailed notes:

R5.	Account Management — The Responsible Entity shall establish, implement, and document technical and procedural controls that enforce access authentication of, and accountability for, all user activity, and that minimize the risk of unauthorized system access.

R5.1.	The Responsible Entity shall ensure that individual and shared system accounts and authorized access permissions are consistent with the concept of “need to know” with respect to work functions performed.

R5.1.1.	The Responsible Entity shall ensure that user accounts are implemented as approved by designated personnel.  Refer to Standard CIP-003-3 Requirement R5.

R5.1.2.	The Responsible Entity shall establish methods, processes, and procedures that generate logs of sufficient detail to create historical audit trails of individual user account access activity for a minimum of ninety days.

R5.1.3.	The Responsible Entity shall review, at least annually, user accounts to verify access privileges are in accordance with Standard CIP-003-3 Requirement R5 and Standard CIP-004-3 Requirement R4.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

R5.2.		The Responsible Entity shall implement a policy to minimize and manage the scope and acceptable use of administrator, shared, and other generic account privileges including factory default accounts.

R5.2.1.	The policy shall include the removal, disabling, or renaming of such accounts where possible.  For such accounts that must remain enabled, passwords shall be changed prior to putting any system into service.

R5.2.2.	The Responsible Entity shall identify those individuals with access to shared accounts.

R5.2.3.	Where such accounts must be shared, the Responsible Entity shall have a policy for managing the use of such accounts that limits access to only those with authorization, an audit trail of the account use (automated or manual), and steps for securing the account in the event of personnel changes (for example, change in assignment or termination).

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

R5.3	At a minimum, the Responsible Entity shall require and use passwords, subject to the following, as technically feasible:

R5.3.1.	Each password shall be a minimum of six characters.

R5.3.2.	Each password shall consist of a combination of alpha, numeric, and “special” characters.

R5.3.3.	Each password shall be changed at least annually, or more frequently based on risk.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

# R5 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to CIP-007-3 R5

___	Verify that the Responsible Entity has established, implemented, and documented technical and procedural controls that enforce access authentication of, and accountability for, all user activity, and that minimize the risk of unauthorized system access.

___	Verify that the Responsible Entity ensured that individual and shared system accounts and authorized access permissions were consistent with the concept of “need to know” with respect to work functions performed.

___	Verify that the Responsible Entity has ensured that user accounts were implemented as approved by designated personnel.  Refer to Standard CIP-003-3 Requirement R5.

___	Verify that the Responsible Entity has established methods, processes, and procedures that generate logs of sufficient detail to create historical audit trails of individual user account access activity for a minimum of ninety days.

Note: Review log files for sample set items.

___	Verify that the Responsible Entity has conducted reviews at least annually to ensure that access privileges for user accounts are still appropriate in accordance with CIP-003-3 R5 and CIP-004-3 R4.

___	Verify that the Responsible Entity has implemented a policy to minimize and manage the scope and acceptable use of administrator, shared, and other generic account privileges including factory default accounts.

___	Verify that the policy addresses the removal, disabling, or renaming of such accounts where possible.  For such accounts that must remain enabled, verify that passwords have been changed prior to putting any system into service.

Note: Check date of password change against Change Management records.

___	Verify the Responsible Entity has identified those individuals with access to shared accounts.

___	Where such accounts must be shared, verify that the Responsible Entity has:

___	A policy for managing the use of such accounts that limits access to only those with authorization,

___	An audit trail of the account use (automated or manual),

___	Steps for securing the account in the event of personnel changes (for example, change in assignment or termination).

Note: Review logs as well for sample set items.

___	Verify that the Responsible Entity, at a minimum, requires and uses passwords, subject to the following, as technically feasible:

___	Each password is a minimum of six characters.

___	Each password consists of a combination of alpha, numeric, and “special” characters.

___	Each password is changed at least annually, or more frequently based on risk.

Note:  Review password aging report against policy.

Detailed notes:

R6.	Security Status Monitoring — The Responsible Entity shall ensure that all Cyber Assets within the Electronic Security Perimeter, as technically feasible, implement automated tools or organizational process controls to monitor system events that are related to cyber security.

R6.1.	The Responsible Entity shall implement and document the organizational processes and technical and procedural mechanisms for monitoring for security events on all Cyber Assets within the Electronic Security Perimeter.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

R6.2.	The security monitoring controls shall issue automated or manual alerts for detected Cyber Security Incidents.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

R6.3.	The Responsible Entity shall maintain logs of system events related to cyber security, where technically feasible, to support incident response as required in Standard CIP-008-3.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

R6.4.	The Responsible Entity shall retain all logs specified in Requirement R6 for ninety calendar days.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

R6.5.	The Responsible Entity shall review logs of system events related to cyber security and maintain records documenting review of logs.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

# R6 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to CIP-007-3 R6

___	Verify that the Responsible Entity has implemented automated tools or organizational process controls to monitor system events that are related to cyber security for all Cyber Assets within the Electronic Security Perimeter, as technically feasible.

___	Verify that the Responsible Entity has implemented and documented organizational processes and technical and procedural mechanisms to monitor for security events on all Cyber Assets within the Electronic Security Perimeter.

___	Verify that the security monitoring controls issue automated or manual alerts for detected Cyber Security incidents.

___	Verify the Responsible Entity has maintained system event logs related to cyber security, where technically feasible, to support incident response as required in Standard CIP-008-3.

___	Verify that the logs specified in Requirement R6 have been retained for at least 90 calendar days.

___	Verify that the Responsible Entity has reviewed logs of system events related to cyber security and maintained records to document review of the logs.

Detailed notes:

R7	Disposal or Redeployment — The Responsible Entity shall establish and implement formal methods, processes, and procedures for disposal or redeployment of Cyber Assets within the Electronic Security Perimeter(s) as identified and documented in Standard CIP-005-3.

R7.1.	Prior to the disposal of such assets, the Responsible Entity shall destroy or erase the data storage media to prevent unauthorized retrieval of sensitive cyber security or reliability data.

R7.2.	Prior to redeployment of such assets, the Responsible Entity shall, at a minimum, erase the data storage media to prevent unauthorized retrieval of sensitive cyber security or reliability data.

R7.3.	The Responsible Entity shall maintain records that such assets were disposed of or redeployed in accordance with documented procedures.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

# R7 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to CIP-007-3 R7

___	Verify that the Responsible Entity has established and implemented formal methods, processes, and procedures for disposal or redeployment of Cyber Assets within the Electronic Security Perimeter(s) as identified and documented in Standard CIP-005-3.

___	Verify that the Responsible Entity has destroyed or erased the data storage media prior to the disposal of such assets.

___	Verify that prior to redeployment of such assets; the data storage media have been erased.

___	Verify that documented procedures were followed for assets that were disposed of or redeployed.

Detailed notes:

R8.	Cyber Vulnerability Assessment — The Responsible Entity shall perform a cyber vulnerability assessment of all Cyber Assets within the Electronic Security Perimeter at least annually.  The vulnerability assessment shall include, at a minimum, the following:

R8.1.	A document identifying the vulnerability assessment process;

R8.2. 	A review to verify that only ports and services required for operation of the Cyber Assets within the Electronic Security Perimeter are enabled;

R8.3. 	A review of controls for default accounts; and,

R8.4. 	Documentation of the results of the assessment, the action plan to remediate or mitigate vulnerabilities identified in the assessment, and the execution status of that action plan.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

# R8 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to CIP-007-3 R8

___	Verify that the Responsible Entity has performed a cyber vulnerability assessment of all Cyber Assets within the Electronic Security Perimeter at least annually.  Verify that the vulnerability assessment included, at a minimum, the following:

___	A documented vulnerability assessment process.

___	A review that only the ports and services required for operation of the Cyber Assets within the Electronic Security Perimeter are enabled

___	A review of controls for default accounts

___	A review of the documented results of the assessment

___	The action plan to remediate or mitigate vulnerabilities identified in the assessment

___	The execution status of that action plan

Detailed notes:

R9.	Documentation Review and Maintenance — The Responsible Entity shall review and update the documentation specified in Standard CIP-007-3 at least annually.  Changes resulting from modifications to the systems or controls shall be documented within thirty calendar days of the change being completed.

Describe, in narrative form, how you meet compliance with this requirement:

(Registered Entity Response Required)

# R9 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to CIP-007-3 R9

___	Verify and review that the Responsible Entity has reviewed and updated the documentation specified in Standard CIP-007 at least annually.

___	Verify that changes resulting from 	modifications to the systems or controls are documented within thirty calendar days 	of the change being completed.  .

Detailed notes:

# Supplemental Information

Other - The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard.  Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response)

# Compliance Findings Summary (to be filled out by auditor)

| Req. | NF | PV | OEA | NA | Statement |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |

Excerpts from FERC Orders -- For Reference Purposes Only

Updated Through August 2010

CIP-007-1

Order 706

- P 1.  Pursuant to section 215 of the Federal Power Act (FPA), the Commission approves eight Critical Infrastructure Protection (CIP) Reliability Standards submitted to the Commission for approval by the North American Electric Reliability Corporation (NERC).  The CIP Reliability Standards require certain users, owners, and operators of the Bulk-Power System to comply with specific requirements to safeguard critical cyber assets.  In addition, pursuant to section 215(d)(5) of the FPA, the Commission directs NERC to develop modifications to the CIP Reliability Standards to address specific concerns identified by the Commission.

- P 13.  In the Final Rule, the Commission approves the eight CIP Reliability Standards, finding that they are just and reasonable, not unduly discriminatory or preferential and in the public interest.  Further, the Commission approves NERC’s implementation plan that sets milestones for responsible entities to achieve full compliance with the CIP Reliability Standards … .

- P 24.  The Commission approves the eight CIP Reliability Standards pursuant to section 215(d) of the FPA, as discussed below.  In approving the CIP Reliability Standards, the Commission concludes that they are just, reasonable, not unduly discriminatory or preferential, and in the public interest.  These CIP Reliability Standards, together, provide baseline requirements for the protection of critical cyber assets that support the nation’s Bulk-Power System.  Thus, the CIP Reliability Standards serve an important reliability goal.  Further, as discussed below, the CIP Reliability Standards clearly identify the entities to which they apply, apply throughout the interconnected Bulk-Power System, and provide a reasonable timetable for implementation.

- P 47.  The Commission adopts the CIP NOPR approach regarding NERC and Regional Entity compliance with the CIP Reliability Standards.  The Commission maintains its belief that NERC’s compliance is necessary in light of its interconnectivity with other entities that own and operate critical assets.  Further, we conclude that NERC’s Rules of Procedure, which state that the ERO will comply with each Reliability Standard that identifies the ERO as an applicable entity, provides an adequate means to assure that NERC is obligated to comply with the CIP Reliability Standards.  Likewise, the delegation agreements between NERC and each Regional Entity expressly state that the Regional Entity is committed to comply with approved Reliability Standards.  Based on these provisions, we find that the Commission has authority to oversee the compliance of NERC and the Regional Entities with the CIP Reliability Standards.

- P 48.  … we believe that NERC’s position as overseer of Bulk-Power System reliability provides a level of assurance that it will take compliance seriously.  Moreover, section 215(e)(5) of the FPA provides that the Commission may take such action as is necessary or appropriate against the ERO or a regional entity to ensure compliance with a Reliability Standard or Commission order.

- P 49.  The Commission also adopts its CIP NOPR approach and concludes that reliance on the NERC registration process at this time is an appropriate means of identifying the entities that must comply with the CIP Reliability Standards.  We are concerned … that some small entities that are not identified in the NERC registry may become gateways for cyber attacks.  However, we are not prepared to adopt [the] … approach of requiring that any entity connected to the Bulk-Power System, regardless of size, must comply with the CIP Reliability Standards irrespective of the NERC registry.  We believe this approach is overly-expansive and may raise jurisdictional issues.  Rather, we rely on NERC and the Regional Entities to be vigilant in assuring that all appropriate entities are registered to ensure the security of the Bulk-Power System.

- P 50.  … the NERC registry process is designed to identify and register entities for compliance with Reliability Standards, and not identify lists of assets.  In the CIP NOPR, the Commission explained that it would expect NERC to register the owner or operator of an important asset, such as a blackstart unit, even though the facility may be relatively small or connected at low voltage.  While the facility would not be registered or listed through the registration process, NERC’s or a Regional Entity’s awareness of the critical asset may reasonably result in the registration of the owner or operator of the facility.

- P 51.  Likewise, we believe that NERC should register demand side aggregators if the loss of their load shedding capability, for reasons such as a cyber incident, would affect the reliability or operability of the Bulk-Power System.  EEI and ISO/RTO Council concur that the need for the registration of demand side aggregators may arise, but state that it is not clear whether aggregators fit any of the current registration categories defined by NERC.  We agree with EEI and ISO/RTO Council that NERC should consider whether there is a current need to register demand side aggregators and, if so, to address any related issues and develop criteria for their registration.

- P 52.  The Commission agrees with the many commenters that suggest that the responsibility of a third-party vendor for compliance with the CIP Reliability Standards is a matter that should be addressed in contracts between the registered entity that is responsible for mandatory compliance with the Standards and its vendor.  To the extent that the responsible entity makes a business decision to hire an outside contractor to perform services for it, the responsible entity remains responsible for compliance with the relevant Reliability Standards.  Thus, it is incumbent upon the responsible entity to assure that its third-party vendor acts in compliance with the CIP Reliability Standards.  We agree with ISO/RTO Council’s characterization of the matter:

- . . . when an application is developed and maintained by an outsourced provider, that outsourced provider manages physical and cyber access to the environment on which the application runs and therefore must be contractually obligated to the Responsible Entity to comply with the Reliability Standards.

- While such providers are not registered entities subject to the Reliability Standards, they must perform the services and operate the applications in a manner consistent with the Reliability Standards. . . the Responsible Entity should be charged with incorporating contractual terms and conditions into agreements with third-party service providers that obligate the providers to comply with the requirements of the Reliability Standards.  In that regard, if a Responsible Entity determines that it is necessary to outsource a service that is essential to the reliable operation of a Critical Asset, Critical Cyber Asset, or the bulk electric system, it is clear that the Responsible Entity must be held responsible and accountable for compliance with the Reliability Standards.

- P 53.  Further, it is incumbent upon a responsible entity to conduct vigorous oversight of the activities and procedures followed by the vendors they employ.  Thus, we expect a responsible entity to address in its security policy under CIP-003-1 its policies regarding its oversight of third-party vendors.

- P 86.  The Commission adopts its CIP NOPR proposal and approves NERC’s implementation plan and time frames for responsible entities to achieve auditable compliance.  Responsible entities require a reasonable period of time to purchase and install new cyber software and equipment and develop new programs and procedures to achieve compliance.  Commenters indicate that the implementation plan provides that reasonable period of time.  Further, we agree with commenters that there is an urgent need to move forward without any delays.  Accordingly, we approve NERC’s implementation plan.

- P 88.  The Commission believes that the modifications to the CIP Reliability Standards developed by the NERC Reliability Standards development process should not be audited prior to the conclusion of the approved implementation plan.  EEI and other commenters claim that commencing the development of such modifications prior to the conclusion of the implementation plan would be discouraging to industry.  The Commission, however, finds that it is unacceptable to delay the development of the modifications directed in this Final Rule until after the conclusion of the implementation plan.  Since it is uncertain how long it will take to develop revised CIP Reliability Standards, we believe it is not reasonable to wait until the 2009-2010 time period for the process to start.  Features such as enhanced conditions on technical feasibility exceptions and oversight of critical asset determinations are too important to the protection of the Bulk-Power System to wait that long.

- P 97.  Further, we adopt our CIP NOPR proposals that, while an entity should not be subject to a monetary penalty if it is unable to certify that it is on schedule, such an entity should explain to the ERO the reason it is unable to self-certify.  The ERO and the Regional Entities should then work with such an entity either informally or, if appropriate, by requiring a remedial plan to assist such an entity in achieving full compliance in a timely manner.  Further, we expect the ERO and the Regional Entities to provide informational guidance, upon request, to assist a responsible entity in assessing its progress in reaching “auditably compliant” status.

- P 99.  … we clarify that the goal of a Regional Entity working with a responsible entity that is unable to self-certify is to assist the entity in meeting the NERC time frames for auditable compliance, and not to accelerate compliance ahead of schedule.

- P 105.  The Commission is persuaded by comments regarding the limited reach of readiness reviews and the questionable utility of such reviews prior to the date by which entities are to be compliant; thus, adding the CIP Reliability Standards to the readiness reviews at this time will delay industry’s compliance efforts.  Therefore, the Commission will not require that the CIP Reliability Standards be added to the readiness reviews at this time.

- P 180.  We agree with NERC and other commenters on the underlying rationale for a technical feasibility exception, i.e., that there is long-life equipment in place that is not readily compatible with a modern environment where cyber security issues are an acknowledged concern.  While equipment replacement will often be appropriate to comply with the CIP Reliability Standards, such as in instances where equipment is near the end of its useful life or when alternative or supplemental security measures are not possible, we acknowledge that the possibility of being required to replace equipment before the end of its useful life is a valid concern.

- P 181.  … The justification presented for technical feasibility exceptions is rooted in the problem of long-life legacy equipment and the economic considerations involved in the replacement of such equipment before the end of its useful life. … The Commission neither assumes that technical infeasibility issues will be present only during the transition period, nor does it assume that on a going forward basis there will be only one single means to comply with the CIP Reliability Standards.  It does assume, however, that all responsible entities eventually will be able to achieve full compliance with the CIP Reliability Standards when the legacy equipment that creates the need for the exception is supplemented, upgraded or replaced.

- P 182.  The Commission agrees with various commenters that the implementation of the CIP Reliability Standards should not be permitted to have an adverse effect on reliability and that proper implementation requires that care be taken to avoid unintended consequences.  We thus believe it is important to clarify that the meaning of “technical feasibility” should not be limited simply to whether something is technically possible but also whether it is technically safe and operationally reasonable.

- P 186.  Based on the above considerations, the Commission adopts its proposal in the CIP NOPR that technical feasibility exceptions may be permitted if appropriate conditions are in place.  The term technical feasibility should be interpreted narrowly to not include considerations of business judgment, but we agree with commenters that it should include operational and safety considerations.

- P 192.  With some minor refinements discussed below, the Commission adopts the CIP NOPR proposal for a three step structure to require accountability when a responsible entity relies on technical feasibility as the basis for an exception. …

- P 193.  We also agree … that in some instances remediation can be required only to the extent possible.  For example, in some cases it may never be possible to enclose certain critical cyber assets within a six-sided physical boundary as required under CIP-006-1.  However, such cases need to be sufficiently justified, the mitigation strategies must be ongoing and effective, and the justification must be subject to periodic review.  We also are mindful that accelerated replacement of equipment can be economically wasteful where security is not otherwise compromised.  We thus agree … that where mitigation measures are as or more effective than compliance, and in the case of minor technical or administrative requirements, replacement of certain assets before the end of their useful lives can be wasteful and inefficient.  We also agree with SPP that remediation might not be necessary where compensating measures are equally effective in reducing risk.  However, such cases must be subject to clear criteria and periodic review and, where necessary, updates.

- P 194.  However, in adopting this approach, we do not intend to suggest that it would never be necessary to replace equipment before the end of its useful life to achieve cyber security goals.  Where equipment is near the end of its useful life or if insufficient mitigation measures are available, the equipment should be replaced.  However, such situations must be dealt with on a case-by-case basis.  We emphasize that responsible entities must protect assets that are critical to the reliable operation of the Bulk-Power System.

- P 209.  For the reasons discussed below, the Commission concludes that technical feasibility exceptions should be reported and justified and subject to approval by the ERO or the relevant Regional Entity.  The Commission thus adopts its CIP NOPR proposal that use and implementation of technical feasibility exceptions must be governed by a clear set of criteria.  However, because we are persuaded by the commenters, we have modified certain elements of our original proposal, as discussed below.

- P 211.  With regard to the senior management approval, we continue to believe that internal approval is an important component of an overall framework of accountability with regard to use of the technical feasibility exception.  Therefore, we adopt this aspect of our CIP NIPR proposal … .

- P 213.  The Commission agrees … that Regional Entities should, in the first instance, receive and catalogue notices of technical feasibility exceptions that are claimed.  Such notices must include estimates of the degree to which mitigation measures achieve the goals set by a CIP Reliability Standard and be in sufficient detail to allow verification of whether reliance on exceptions (or the associated mitigation measures) adequately maintains reliability and does not create reliability issues for neighboring systems.  Initial submission of notices should be provided by responsible entities at least by the “Compliant” stage of implementation in order to allow Regional Entities to plan for auditing exceptions, as described in more detail below.

- P 214.  The Commission also agrees … that actual evaluation and approval of technical feasibility exceptions should be performed in the first instance in the audit process.  This would allow assessment of exceptions within their specific context and thus facilitate greater understanding in evaluating individual exceptions, as well as related mitigation steps and remediation plans.  This also would increase the amount of sensitive information that remains on-site and reduces the risk of improper disclosure.  In addition, it will allow the ERO and Regional Entities, informed by the initial notices discussed above, to include personnel in audit teams with sufficient expertise to judge the need for a technical feasibility exception and the sufficiency of preferred mitigation measures.

- P 215.  Given the significance of technical feasibility exceptions, the Commission believes that initial audits of technical feasibility exceptions should be expedited, i.e., performed earlier than otherwise, including moving the audit to an earlier year.  Also, in general, responsible entities claiming such exceptions should receive higher priority when determining which entities to audit, and the more exceptions an entity has, the higher the priority for audit should be.  Further, NERC may provide an appeals process for the review of technical feasibility exceptions, if it determines that this is appropriate.

- P 216.  However, the Commission notes that the audit process is a Regional Entity and ERO process, and audit team findings regarding exceptions are subject to Regional Entity and ERO review.  The Commission believes that the audit report should form the basis for ERO or Regional Entity approval of individual exceptions.  Approval thus represents a determination on compliance with the applicable CIP Reliability Standards, and we disagree with the ISO/RTO Council that approval of technical feasibility exceptions raises any conflict of interest or due process concerns.  The proposed procedures raise no special issues in this respect.

- P 217.  We agree … that approvals and potential appeals should not be allowed to delay implementation, but we believe our revised proposal resolves this problem.  We also agree … that responsible entities should be able to rely on a technical feasibility exception prior to formal approval.

- P 219.  We agree with comments emphasizing the importance of protecting sensitive information relating to technical feasibility exceptions.  We agree … that CEII treatment should be available for any such information.  … we agree that a governmental entity subject to FOIA requirements should not be required to submit sensitive information about critical assets or critical cyber assets that could be deemed a waiver of FOIA protection that is otherwise available.  Nonetheless, a governmental entity’s decision to rely on a technical feasibility exception should also be subject to appropriate oversight and accountability. …

CIP-007-1

P 601.  Requirement R1 of CIP-007-1 requires a responsible entity to ensure that new cyber assets and significant changes to existing cyber assets within the electronic security perimeter do not adversely affect existing cyber security controls. Responsible entities must create, implement, and maintain cyber security test procedures in a manner that minimizes adverse effects on the production system and its operation. They must document that testing is performed in a manner that reflects the production environment and must document test results.

P 609.  The Commission has discussed issues related to testing environments in CIP-005-1.  In that context, the Commission clarifies the CIP NOPR proposal to require differences between the test environment and the production system to be documented.  As stated with respect to CIP-005-1, the Commission understands that test systems do not need to exactly match or mirror the production system in order to provide useful test results. However, to perform active testing, the responsible entities should be required at a minimum to create a “representative system” – one that includes the essential equipment and adequately represents the functioning of the production system. …

P610. Consistent with our action in CIP-005-1, the Commission will not at this time require documentation of each difference between the testing and the production environments and how each such difference is mitigated or otherwise addressed. In using the term mitigation, our goal was to ensure that each responsible entity understands the differences between its representative system and the production system and how those differences might affect its test results. The Commission believes that, as a part of this documentation, the responsible entity should also document how any test results might differ from the testing system to the production system and how the responsible entity accounts for such differences in operating the system. …

P 613.  Requirement R4 of CIP-007-1 requires responsible entities to use antivirus and other malicious software prevention tools where technically feasible, and allowing an acceptance of risk option. The Requirement and its subparts do not provide direction on how to implement this type of protection, where it should be deployed, or what care must be taken to implement and test malicious code protection in order to avoid harm to the production system.

P 614.  The Commission proposed to direct the ERO to eliminate the acceptance of risk language from Requirement R4.2, and also attach the same documentation and reporting requirements to the use of technical feasibility in Requirement R4, pertaining to malicious software prevention, as elsewhere. The Commission discussed the issues of defense in depth, technical feasibility, and risk acceptance elsewhere in the CIP NOPR and applied those conclusions here. The Commission further proposed to direct the ERO to modify Requirement R4 to include safeguards against personnel introducing, either maliciously or unintentionally, viruses or malicious software to a cyber asset within the electronic security perimeter through remote access, electronic media, or other means.

P 619.  The Commission adopts the CIP NOPR proposal with regard to CIP-007-1, Requirement R4. Issues concerning technical feasibility and acceptance of risk are discussed above.

P 620.  The Commission will not adopt … recommendation that every system in an electronic security perimeter does not need antivirus software. Critical cyber assets must be protected, regardless of the operating system being used. Consumers has not provided convincing evidence that any specific operating system is not directly vulnerable to virus attacks. Virus technology changes every day. Therefore we believe it is in the public interest to protect all cyber assets within an electronic security perimeter, regardless of the operating system being used. Further, as Consumers admits, any network infrastructure devices that are not directly targeted can be affected as collateral damage.

P 621.  While we agree that no safeguard will protect against all malicious or unintentional acts, this does not mean that systems should not be protected against such acts. … the Commission believes that details regarding how to safeguard systems against personnel introducing, maliciously or unintentionally, viruses or malicious software to a cyber asset are best developed in the Reliability Standards development process. The revised Reliability Standard does not need to prescribe a single method for protecting against the introduction of viruses or malicious software to a cyber asset by personnel. However, how a responsible entity does this should be detailed in its cyber security policy so that it can be audited for compliance with the Reliability Standard. …

P 623.  Requirement R6 of CIP-007-1 requires responsible entities to ensure that all cyber assets within the electronic security perimeter, as technically feasible, implement automated tools or organizational process controls to monitor system events that are related to cyber security. Among other things, a responsible entity must maintain logs of system events related to cyber security, where technically feasible, to support incident response as required in Reliability Standard CIP-008- 1. Logs must be retained for 90 calendar days, and the responsible entity must review logs of system events related to cyber security and maintain records documenting review of logs.

P 629.  For the reasons discussed in CIP-005-1, in directing manual log review, the Commission does not require that every log be reviewed in its entirety. Instead, the Commission will allow a manual review of a sampling of log entries or sorted or filtered logs. The Commission recognizes that how a responsible entity determines what sample to review may not be the same for all locations. … However, how a responsible entity performs this sample review should be detailed in its cyber security policy so that it can be audited to determine compliance with the Reliability Standards. …

P 631.  Requirement R7 of CIP-007-1 requires the responsible entity to establish formal methods, processes and procedures for disposal or redeployment of cyber assets. …

P 633.  The Commission adopts the CIP NOPR proposal to direct the ERO to clarify what it means to prevent unauthorized retrieval of data from a cyber asset prior to discarding it or redeploying it. …

P 634. The Commission disagrees … that the only way to allow no opportunity to access data on storage media is to destroy the media. As stated in the CIP NOPR, high quality degaussing can adequately protect media from unauthorized access.

P 636. Requirement R8 of CIP-007-1 requires a responsible entity to perform a cyber vulnerability assessment of all cyber assets within the electronic security perimeter at least annually. Requirement R8.4 requires development of an action plan to remediate or mitigate vulnerabilities identified in the assessment, but it does not provide a timeframe for completion of the action plan.

P 646.  Requirement R9 of CIP-007-1 requires the responsible entity to review, update and maintain all documentation needed to support compliance with the Requirements of CIP-007-1 at least annually. Changes resulting from modifications to the systems or controls must be documented within 90 calendar days of the change.

P 647.  The Commission addressed concerns that the 90-day timeframe for updating documentation appears excessively long, especially given the context that this Reliability Standard establishes a significant line of defense for protecting critical cyber assets and that up-to-date documentation is essential in case of an emergency. The Commission proposed to direct the ERO to modify Requirement R9 to state that the changes resulting from modifications to the system or controls shall be documented in a 30-day time period. We stated our belief that the planning and engineering of system and control modifications require sufficient lead time to enable the documentation of such modifications to take place within a 30 calendar day timeframe.

Order Approving Reliability Standard Interpretation

(March 18, 2010)

CIP-007-2

P12. We approve NERC’s interpretation of Requirement R2 of Reliability Standard CIP-007-2, as discussed below.

P13. We agree that NERC’s interpretation represents the language in the Reliability Standard as it is currently worded. However, like NERC, we are concerned that neither CIP-007-2 in particular, nor the CIP Reliability Standards in general, adequately address technical opportunities to mitigate risks associated with unused physical ports. The practice of disabling or otherwise securing unused physical ports is a basic and integral component of sound defense-in-depth cyber security practices, yet it is absent from the current Reliability Standards. The Commission recognizes and encourages NERC’s intention to address physical ports to eliminate the current gap in protection as part of its ongoing CIP Reliability Standards project scheduled for completion by the end of 2010.  Should this effort fail to address the issue, however, the Commission will take appropriate action, which could include directing NERC to produce a modified or new standard that includes security of physical ports. The term “ports and services” is a well-established term of art that refers to logical ports only. Thus, to avoid potential continued confusion and commingling of common and well-established terms of art, the Commission strongly encourages NERC to approach the security of physical ports as a separate provision, apart from the existing logical “ports and services” language, so that the clarity established by this interpretation remains intact.

Order on Compliance (March 31, 2010)

CIP-007-3

P20. The Commission rejects the Version 3 CIP Implementation Plan. We understand that NERC intends this Version 3 CIP Implementation Plan to serve as a guide to which CIP Reliability Standards and which implementation plans are in effect at a given time. We find this document unnecessary and confusing, primarily because the Version 3 CIP Implementation Plan is presented as an actionable plan rather than an informational guide. However, the Implementation Plan itself does not determine the effective date, or retirement, of the CIP Reliability Standards. Rather, the functions listed in the document occur as a result of the Commission’s approval of the Reliability Standards themselves.

P21. To provide clarity regarding the effective dates of the CIP Reliability Standards and implementation plans, as well as which entities must be compliant at which time, we provide the following information based on Commission orders to date:

- All responsible entities that registered by March 31, 2008, must become compliant with the CIP Reliability Standards according to the milestones stated in the Version 1 Implementation Plan.

- All responsible entities that registered on or after April 1, 2008, must become compliant with the CIP Reliability Standards according to the milestones stated in the “Implementation Plan for Newly Identified Critical Cyber Assets and Newly Registered Entities” approved by this order.

- If a responsible entity subsequently identifies a new Critical Cyber Asset, after reaching the “Compliant” milestone for CIP-002 under the applicable Implementation Plan based on its registration date, the responsible entity shall either bring the newly identified Critical Cyber Asset into compliance immediately upon identification or according to the milestones enumerated in the “Implementation Plan for Newly Identified Critical Cyber Assets and Newly Registered Entities” approved by this order.

- The Version 1 Implementation Plan is fully retired for all subject entities as of March 31, 2011, for three reasons: (1) Table 1, Table 2, and Table 3 entities under the Version 1 Implementation Plan are scheduled to reach the “Auditably Compliant” phase by December 31, 2010; (2) the “Implementation Plan for Newly Identified Critical Cyber Assets and Newly Registered Entities” replaces Table 4 of the Version 1 Implementation Plan for any entities that registered on or after April 1, 2008; and (3) an entity registered on the last possible date to be subject to the Version 1 Implementation Plan must reach the “Auditably Compliant” phase by March 31, 2011.

- The Version 2 CIP Reliability Standards shall be effective as of April 1, 2010 based on the effective date formula contained in each of the standard.

- The Version 3 CIP Reliability Standards shall be effective as of October 1, 2010 according to the effective date formula contained in each of the standards.

- The two documents filed by NERC on May 22, 2009 to comprise a Version 2 Implementation Plan are not in effect for any entity at any time.

Revision History

| Version | Date | Reviewers | Revision Description |
| --- | --- | --- | --- |
| 1 | December 2010 | QRSAW WG | Revised Findings Table, modified Supporting Evidence tables and Added Revision History |
| 1 | January 2011 | Craig Struck | Reviewed for format consistency and content. |
| 1.1 | September 2011 | Craig Struck | Format updates for 2012. |