Compliance Questionnaire and

Reliability Standard Audit Worksheet

EOP-008-0 — Plans for Loss of Control Center Functionality

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Applicable Function(s):   TOP, BA, RC

Auditors:

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website at http://www.nerc.com/page.php?cid=2|20.   Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

# Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization and the requirement(s) for which they are responsible. Insert additional lines if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

# Reliability Standard Language

EOP-008-0 — Plans for Loss of Control Center Functionality

Purpose:

Each reliability entity must have a plan to continue reliability operations in the event its control center becomes inoperable.

Applicability:

Transmission Operators

Balancing Authorities

Reliability Coordinators

NERC BOT Approval Date: 2/8/2005

FERC Approval Date: 3/16/2007

Reliability Standard Enforcement Date in the United States: 6/18/2007

Requirements:

R1. 	Each Reliability Coordinator, Transmission Operator and Balancing Authority shall have a plan to continue reliability operations in the event its control center becomes inoperable.  The contingency plan must meet the following requirements:

R1.1. The contingency plan shall not rely on data or voice communication from the primary control facility to be viable.

R1.2. The plan shall include procedures and responsibilities for providing basic tie line control and procedures and for maintaining the status of all inter-area schedules, such that there is an hourly accounting of all schedules.

R1.3. The contingency plan must address monitoring and control of critical transmission facilities, generation control, voltage control, time and frequency control, control of critical substation devices, and logging of significant power system events.  The plan shall list the critical facilities.

R1.4. T	he plan shall include procedures and responsibilities for maintaining basic voice communication capabilities with other areas.

R1.5. The plan shall include procedures and responsibilities for conducting periodic tests, at least annually, to ensure viability of the plan.

R1.6. The plan shall include procedures and responsibilities for providing annual training to ensure that operating personnel are able to implement the contingency plans.

R1.7. The plan shall be reviewed and updated annually.

R1.8. Interim provisions must be included if it is expected to take more than one hour to implement the contingency plan for loss of primary control facility.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R1 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to EOP-008-0 R1

___	Review the evidence provided by the entity to determine if the entity has a documented plan for loss of its primary control center.

___	Review the evidence provided by the entity to determine if the plan noted above contains all of the following items:

___The contingency plan shall not rely on data or voice communication from the primary control facility to be viable.

___	The plan shall include procedures and responsibilities for providing:

___	Basic tie line control

___	Procedures and for maintaining the status of all inter-area schedules, such that there is an hourly accounting of all schedules.

___	The contingency plan must address:

___	Monitoring and control of critical transmission facilities

___	Generation control

___	Voltage control

___	Time and frequency control

___	Control of critical substation devices

___	Logging of significant power system events

___	A list of critical facilities

___	The plan shall include procedures and responsibilities for maintaining basic voice communication capabilities with other areas.

___	The plan shall include procedures and responsibilities for conducting periodic tests, at least annually, to ensure viability of the plan.

___	The plan shall include procedures and responsibilities for providing annual training to ensure that operating personnel are able to implement the contingency plans.

___	The plan shall be reviewed and updated annually.

___	Interim provisions must be included if it is expected to take more than one hour to implement the contingency plan for loss of primary control facility.

Note: The compliance monitoring section states that the audited entity must include a demonstration of the plan by the Reliability Coordinator, Transmission Operator, and Balancing Authority.  The entity can either show records of a valid test of the plan and the results of that test, or it can demonstrate the plan to the audit team during the audit.  A failure to provide the records or demonstration will result in a violation of R1.5.

Detailed notes:

# Supplemental Information

Question: What method was used to test your plan?  Do you take operational control during testing of your backup control center?

Entity Response: (Registered Entity Response Required)

Other - The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard. Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response)

# Compliance Findings Summary (to be filled out by auditor)

| Req. | C | PV | OEA | NA | Statement |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |

Excerpts from FERC Orders -- For Reference Purposes Only

Updated Through March 31, 2009

EOP-008-0

Order 693

P 541  The Emergency Preparedness and Operations (EOP) group of proposed 	Reliability Standards consists of nine Reliability Standards that address 	preparation for emergencies, necessary actions during emergencies and system restoration and reporting following disturbances.

P 659.  As we stated in the NOPR, the goal of the Reliability Standard is the continuation of reliable operations and the maintenance of situational awareness in the event that the primary control center is no longer operational….

P 670.  … Having carefully considered all the issues raised by commenters and taking into account the reliability impacts of loss of primary control centers and the role of reliability coordinators as the highest level of authority responsible for reliability of the Bulk-Power System, the Commission is persuaded that all reliability coordinators must have fully redundant independent backup control centers.

671. In addition, … the Commission requires the primary and backup capabilities to replicate critical reliability functionalities and be independent from the primary control center, including telemetered data and control from remote terminal units. This can be achieved through a variety of design alternatives, e.g, developing a SCADA management platform that will allow telemetered data and control to be shared among SCADA systems so that data and control is not lost during a SCADA or communications failure. The Commission’s focus is on function, not design.

P 672. Accordingly, the Commission approves Reliability Standard EOP-008-0 as mandatory and enforceable….

Order 693-A

P. 90.  EOP-008-0 addresses plans for loss of control center functionality.  It requires each reliability coordinator, transmission operator and balancing authority to have a plan to continue reliable operations and to maintain situational awareness in the event its control center is no longer operable.

P. 93.  The Commission reiterates its direction in Order No. 693 that the goal of this Reliability Standard is to provide the continuation of Reliable Operation and the maintenance of situational awareness in the event that the primary control center is no longer operational….

Revision History

| Version | Date | Reviewers | Revision Description |
| --- | --- | --- | --- |
| 1 | October 2009 | RSAW Working Group | New Document |
| 1 | December 2010 | QRSAW WG | Revised Findings Table, modified Supporting Evidence tables, and added Revision History |
| 1 | January 2011 | Craig Struck | Reviewed for format consistency and content. |
| 1.1 | September 2011 | Craig Struck | Format changes for 2012. |