Compliance Questionnaire and

Reliability Standard Audit Worksheet

IRO-002-2 — Reliability Coordination – Facilities

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Applicable Function(s):  RC

Auditors:

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website.   Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

# Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization and the requirement(s) for which they are responsible. Insert additional lines if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

Reliability Standard Language

IRO-002-2 — Reliability Coordination – Facilities

Purpose:

Reliability Coordinators need information, tools and other capabilities to perform their responsibilities.

Applicability:

Reliability Coordinator

NERC BOT Approval Date:

FERC Approval Date:

Reliability Standard Enforcement Date in the United States:

Requirements:

- Each Reliability Coordinator shall have adequate communications facilities (voice and data links) to appropriate entities within its Reliability Coordinator Area.  These communications facilities shall be staffed and available to act in addressing a real-time emergency condition.

- Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R1 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |  |
| --- | --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

- This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-002-2 R1.

___	Verify the Reliability Coordinator has the following voice facilities between itself and appropriate entities within its Reliability Coordinator area:

___  Voice

___  Data

Detailed notes:

- Each Reliability Coordinator — or its Transmission Operators and Balancing Authorities — shall provide, or arrange provisions for, data exchange to other Reliability Coordinators or Transmission Operators and Balancing Authorities via a secure network.

- Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R2 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |  |
| --- | --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

- This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-002-2 R2.

___Verify the Reliability Coordinator or its TOPs and BAs provide data exchange to other RCs or TOPs and BAs via a secure network

EH

Detailed notes:

- Each Reliability Coordinator shall have multi-directional communications capabilities with its Transmission Operators and Balancing Authorities, and with neighboring Reliability Coordinators, for both voice and data exchange as required to meet reliability needs of the Interconnection.

- Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R3 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |  |
| --- | --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

- This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-002-2 R3.

___	Verify the Reliability Coordinator has multi-directional voice communications capabilities with its 	Transmission Operators and Balancing Authorities as required to meet the reliability needs of the interconnection.

___	Verify the Reliability Coordinator has multi-directional data communications capabilities with its Transmission Operators and Balancing Authorities as required to meet the reliability needs of the interconnection.

Detailed notes:

- Each Reliability Coordinator shall have detailed real-time monitoring capability of its Reliability Coordinator Area and sufficient monitoring capability of its surrounding Reliability Coordinator Areas to ensure that potential or actual System Operating Limit or Interconnection Reliability Operating Limit violations are identified.  Each Reliability Coordinator shall have monitoring systems that provide information that can be easily understood and interpreted by the Reliability Coordinator’s operating personnel, giving particular emphasis to alarm management and awareness systems, automated data transfers, and synchronized information systems, over a redundant and highly reliable infrastructure.

- Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R4 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |  |
| --- | --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

- This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-002-2 R4.

___	Verify the Reliability Coordinator has monitoring systems that provide information that can be easily understood and interpreted by the Reliability Coordinator’s operating personnel.

___	Verify the Reliability Coordinator has sufficient monitoring capability of its surrounding Reliability 	Coordinator Areas to ensure that potential or actual System Operating Limit or Interconnection Reliability Operating Limit violations are identified.

___	Verify the Reliability Coordinator has detailed real-time monitoring capability of its Reliability Coordinator Area.

___	Verify the Reliability Coordinator has:

___	alarm management and awareness systems

___	automated data transfers

___	synchronized information systems

___	Verify the above systems utilize a redundant and highly reliable infrastructure.

Note to Auditor:

Since IRO-002 R4, R5 and R6 do not specify a NERC tool, but entities may rely upon NERC Inter-Regional Security Network (NERC ISN), aka NERCnet, to accomplish the requirements, a CEA is to assess compliance as follows in situations where a NERC tool is unavailable:

Verify the entity used an alternate method or back-up tool and met the requirement of the standard.  CEAs are to look for alternate methods that may include basic processes such as email notifications or phone records that indicate the entity called the applicable party with the required information.

Detailed notes:

- Each Reliability Coordinator shall monitor Bulk Electric System elements (generators, transmission lines, buses, transformers, breakers, etc.) that could result in SOL or IROL violations within its Reliability Coordinator Area.  Each Reliability Coordinator shall monitor both real and reactive power system flows, and operating reserves, and the status of Bulk Electric System elements that are or could be critical to SOLs and IROLs and system restoration requirements within its Reliability Coordinator Area.

- Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R5 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |  |
| --- | --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

- This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-002-2 R5.

___	Verify the Reliability Coordinator monitors BES elements that could result in SOL or IROL violations within its Reliability Coordinator area.  This shall include, but is not limited to:

___	Real and reactive power

___	Operating reserves

___	Generators

___	Transmission lines

___	Buses

___	Transformers

___	Breakers

___	Other critical elements

Note to Auditor:

Since IRO-002 R4, R5 and R6 do not specify a NERC tool, but entities may rely upon NERC Inter-Regional Security Network (NERC ISN), aka NERCnet, to accomplish the requirements, a CEA is to assess compliance as follows in situations where a NERC tool is unavailable:

Verify the entity used an alternate method or back-up tool and met the requirement of the standard.  CEAs are to look for alternate methods that may include basic processes such as email notifications or phone records that indicate the entity called the applicable party with the required information.

Detailed notes:

- Each Reliability Coordinator shall have adequate analysis tools such as state estimation, pre- and post-contingency analysis capabilities (thermal, stability, and voltage), and wide-area overview displays.

- Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R6 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |  |
| --- | --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

- This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-002-2 R6.

___	Verify the adequacy of the Reliability Coordinator’s analysis tools.  These tools could include:

___	state estimation

___	pre- and post-contingency analysis capabilities (thermal, stability, and voltage)

___	wide-area overview displays

Note to Auditor:

Since IRO-002 R4, R5 and R6 do not specify a NERC tool, but entities may rely upon NERC Inter-Regional Security Network (NERC ISN), aka NERCnet, to accomplish the requirements, a CEA is to assess compliance as follows in situations where a NERC tool is unavailable:

Verify the entity used an alternate method or back-up tool and met the requirement of the standard.  CEAs are to look for alternate methods that may include basic processes such as email notifications or phone records that indicate the entity called the applicable party with the required information.

Detailed notes:

- Each Reliability Coordinator shall continuously monitor its Reliability Coordinator Area.  Each Reliability Coordinator shall have provisions for backup facilities that shall be exercised if the main monitoring system is unavailable.  Each Reliability Coordinator shall ensure SOL and IROL monitoring and derivations continue if the main monitoring system is unavailable.

- Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R7 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |  |
| --- | --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

- This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-002-2 R7.

___	Verify that the Reliability Coordinator continuously monitors its Reliability Coordinator area.

___	Verify the Reliability Coordinator has provisions for backup facilities that can be exercised if the main monitoring system is unavailable.

Note: Wording here suggests this relates to the monitoring SYSTEM, not the building…so a fully redundant SYSTEM may suffice.

___	Verify the Reliability Coordinator has a process or procedure to ensure SOLs and IROLs are monitored and derived if the main system is unavailable.

Detailed notes:

- Each Reliability Coordinator shall control its Reliability Coordinator analysis tools, including approvals for planned maintenance.  Each Reliability Coordinator shall have procedures in place to mitigate the effects of analysis tool outages.

- Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R8 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |  |
| --- | --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

- This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to IRO-002-2 R8.

___Verify the Reliability Coordinator has control of its RC analysis tools, including approvals for planned maintenance.

___Verify the Reliability Coordinator has procedures in place to mitigate the effects of analysis tool outages.

EH

Detailed notes:

# Supplemental Information

Other - The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard. Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response)

# Compliance Findings Summary (to be filled out by auditor)

| Req. | NF | PV | OEA | NA | Statement |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

Excerpts From FERC Orders -- For Reference Purposes Only

Updated Through March 31, 2009

IRO-002-2

Order 693

P 888.  The Interconnection Reliability Operations and Coordination (IRO) group of Reliability Standards detail the responsibilities and authorities of a reliability coordinator. The IRO Reliability Standards establish requirements for data, tools and wide-area view, all of which are intended to facilitate a reliability coordinator’s ability to perform its responsibilities and ensure the reliable operation of the interconnected grid.

P 899.  IRO-002-1 establishes the requirements for data, information, monitoring and analytical tools and communication facilities to enable a reliability coordinator to meet the reliability needs of the Interconnection, to act in addressing real-time emergency conditions and to control analysis tools.

P 908.  As we stated in the NOPR, Reliability Standard IRO-002-1 serves an important purpose in ensuring that reliability coordinators have the information, tools and capabilities to perform their functions. The Measures and Levels of Non-Compliance submitted by NERC further enhance the Reliability Standard. Accordingly, the Commission approves Reliability Standard IRO-002-1 as mandatory and enforceable. …

18 CFR Part 40 Mandatory Reliability Standards for Interconnection Reliability Operating Limits, 134 FERC ¶ 61,213 (2011)

March 17, 2011

1. (…) In addition, the Commission approves NERC's proposed revisions to Reliability Standards EOP-001-1, IRO-002-2, IRO-004-2, IRO-005-3, TOP-003-1, TOP-005-2, and TOP-006-2, which remove requirements for the reliability coordinator to monitor and analyze system operating limits (SOL) n4 other than IROLs.

5. With respect to IRO-001-1, the Commission directed the ERO to develop modifications to eliminate the regional reliability organization as an applicable entity. n6 The Commission also directed the ERO to modify IRO-002-1 to require a minimum set of capabilities that must be made available to the reliability coordinator to ensure that a reliability coordinator has the capabilities it needs to perform its functions. n7 With respect to IRO-003-2, the Commission directed the ERO to develop a modification to create criteria to define the term "critical facilities" in a reliability coordinator's area and its adjacent systems. n8 The Commission also directed the ERO to modify IRO-004-1 to require the next-day analysis to identify control actions that can be implemented and effective within 30 minutes after a contingency. In addition, the Commission directed the ERO to consider adding Measures and Levels of Non-Compliance to Reliability Standards IRO-004-1 and IRO-005-1 that are commensurate with the magnitude, duration, frequency and causes of the violations and whether these occur during normal or contingency conditions. n9

14. The proposed term "Real-time Assessment" is defined as "[a]n examination of existing and expected system conditions, conducted by collecting and reviewing immediately available data." NERC states that the purpose of the new term is to assure that the reliability coordinator is required to conduct a real-time assessment, including situations in which the reliability coordinator is operating without its primary analysis facilities and has implemented the work-around requirements of IRO-002-2, Requirement R8.

21. The Commission hereby adopts its NOPR proposals and approves new Reliability Standards IRO-008-1, IRO-009-1, and IRO-010-1a; revised Reliability Standards EOP-001-1, IRO-002-2, IRO-004-2, IRO-005-3, TOP-003-1, TOP-005-2, and TOP-006-2; and the two new NERC Glossary terms: "Operational Planning Analysis" and "Real-time Assessment." In approving these Reliability Standards, the Commission concludes that they are just, reasonable, not unduly discriminatory or preferential, and in the public interest. These Reliability Standards serve an important reliability purpose in seeking to prevent instability, uncontrolled separation, or cascading outages that adversely impact the reliability of the interconnection by ensuring that the reliability coordinator has the data necessary to assess its reliability coordinator area during the operations horizon and that it takes prompt action to prevent or mitigate instances of exceeding IROLs. Moreover, they clearly identify the entities to which they apply and contain clear and enforceable requirements. Commenters addressed many of the Commission concerns discussed in the NOPR and in some areas the ERO has indicated that it is continuing to study some issues related to the Commission concerns. The Commission encourages the ERO, applying its technical expertise, to continue such reviews and make any necessary changes to applicable Reliability Standards.

40. NERC and others suggest that these Reliability Standards are not intended to remove all responsibility for the analysis and monitoring SOLs from the reliability coordinator. We agree. These Reliability Standards generally establish a clear distinction of primary responsibility for SOLs and IROLs between the transmission operator and reliability coordinator respectively. As NERC notes, however, the reliability coordinator will continue to have the ability and the responsibility to analyze and monitor SOLs that could turn into IROLs. For example, Requirements R5 and R6 of Reliability Standard IRO-002-2 require the reliability coordinator to monitor the important elements that could be critical to SOLs and IROLs within the reliability coordinator's area and surrounding reliability coordinator areas. In addition, the proposed IRO Reliability Standards require the reliability coordinator to conduct Operational Planning Analyses and Real-time Assessments of its reliability coordinator area. As NERC explained, the Operational Planning Analyses look at the expected system conditions and potential reliability impacts, with a focus on [**36]  any impacts that affect the Wide-Area. Although a transmission operator lacks the tools to predict the impact on the surrounding transmission operator areas due to any changes in flow between inter-area facilities, a reliability coordinator addresses these facilities in its Wide-Area modeling capabilities.

41. As the Commission noted in its NOPR, Reliability Standard IRO-002-2 continues to require each reliability coordinator to monitor SOLs other than IROLs both within its reliability coordinator area and in surrounding reliability coordinator areas. Specifically, under Requirement R4 of IRO-002-2, each reliability coordinator must have detailed real-time monitoring capability of its reliability coordinator area and sufficient monitoring capability of its surrounding reliability coordinator areas to ensure that potential or actual SOL or IROL violations are identified and analyzed. In addition, under Requirement R5, each reliability coordinator must monitor bulk electric system elements such as generators, transmission lines, buses, transformers and breakers that could result in SOL or IROL violations within its reliability coordinator area. Further, as the Commission noted in [**37]  the NOPR, the reliability coordinator must resolve potential or actual violations of SOL ratings by implementing a local or area-wide transmission loading relief procedure under Reliability Standard IRO-006-4.1.

42. Nevertheless, as noted by NERC and other commenters, there exists a subset of "grid-impactive" SOLs other than IROLs that the Commission believes may warrant closer analysis by the reliability coordinator, in addition to the analysis being conducted by the transmission operator, that focuses on whether these particular "grid-impactive" SOLs could become IROLs. The Commission believes that there can be considerable benefit derived from some overlap in the responsibility for analyzing and monitoring these "grid-impactive" SOLs since, by definition, every IROL emanated from an SOL. While the proposed Reliability Standards continue to commit the reliability coordinator to the analysis and monitoring of SOLs that may become IROLs, a subset of SOLs, such as these "grid-impactive" SOLs, may deserve a more defined analysis and monitoring role on the part of the reliability coordinator.

43. We acknowledge NERC's and industry's continuing efforts to improve the clarity of standard requirements regarding SOLs through the Real-time Operations Standard Drafting Team (Project 2007-03). We believe that the issues concerning the analysis and monitoring of "grid-impactive" SOLs that we note here can be raised and considered in this or other ongoing projects. NERC comments that it is working on Project 2007-03 to develop revisions to the TOP Reliability Standards that require transmission operators to perform operational planning analyses for their local areas. NERC also comments that this project is also considering revisions that would require that SOL limits in adjoining areas be observed. In addition, there are other open projects, such as Project 2006-06 -- Reliability Coordination, which is analyzing appropriate reliability coordinator functions and responsibilities. In consideration of these ongoing efforts, we will not direct specific modifications to these Reliability Standards and, rather, accept NERC's commitment to exercise its technical expertise to study these issues and develop appropriate revisions to applicable Standards as may be necessary.

44. Because the study and monitoring of SOLs and IROLs is an issue at the very core of Bulk-Power [**39]  System reliability, the Commission agrees with EEI that the NERC Reliability Coordinators Working Group should engage the issues raised in this proceeding with NERC stakeholders, including the NERC Planning and Operating committees, to determine whether a need exists to further refine the delineation of responsibilities between the reliability coordinator and transmission operator for analyzing a class of "grid-impactive" SOLs. Depending on the results of that review, we further encourage NERC, working through its standard development process, to develop appropriate modifications to these and any other related Reliability Standards as necessary.

74. The Commission approves new Reliability Standards IRO-008-1, IRO-009-1, and  IRO-010-1a; revised Reliability Standards EOP-001-1, IRO-002-2, IRO-004-2, IRO-005-3, TOP-003-1, TOP-005-2, and TOP-006-2; and the two new NERC Glossary terms: "Operational Planning Analysis" and "Real-time Assessment." The three new Reliability Standards (IRO-008-1, IRO-009-1 and IRO-010-1a, governing reliability coordinator analyses, operational actions and data collection) replace parts of the currently-effective Reliability Standards EOP-001-0, IRO-002-1, IRO-004-1, IRO-005-2, TOP-003-0, TOP-005-1 and TOP-006-1 approved by the Commission in Order No. 693.

Revision History

| Version | Date | Reviewers | Revision Description |
| --- | --- | --- | --- |
| 1 | December 2010 | QRSAW WG | Revised Findings Table, modified Supporting Evidence tables and Added Revision History, added Compliance Assessment Approach to R2, R3 and R9 |
| 1 | January 2011 | Craig Struck | Reviewed for format consistency and content. |
| 2 | September 2011 | QRSAW WG | Deleted R2 |
| 2 | October 5, 2011 | NERC Legal | Updated excerpts from FERC orders from March 31, 2009 through and including October 5, 2011. |
| 2.1 | March 20, 2014 | RSAW Task Force | Updated to include compliance guidance from CAN-0015. |