

# Reliability Standard Audit Worksheet[[1]](#footnote-1)

# IRO-008-2 – Reliability Coordinator Operational Analyses and Real-time Assessments

**This section to be completed by the Compliance Enforcement Authority.**

|  |  |
| --- | --- |
| **Audit ID:** | Audit ID if available; or REG-NCRnnnnn-YYYYMMDD |
| **Registered Entity:** | Registered name of entity being audited |
| **NCR Number:** | NCRnnnnn |
| **Compliance Enforcement Authority:** | Region or NERC performing audit |
| **Compliance Assessment Date(s)[[2]](#footnote-2):** | Month DD, YYYY, to Month DD, YYYY |
| **Compliance Monitoring Method:** | [On-site Audit | Off-site Audit | Spot Check] |
| **Names of Auditors:** | Supplied by CEA |

Applicability of Requirements

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | **BA** | **DP** | **GO** | **GOP** | **IA** | **LSE** | **PA** | **PSE** | **RC** | **RP** | **RSG** | **TO** | **TOP** | **TP** | **TSP** |
| **R1** |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |
| **R2** |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |
| **R3** |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |
| **R4** |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |
| **R5** |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |
| **R6** |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |

Legend:

|  |  |
| --- | --- |
| Text with blue background: | Fixed text – do not edit |
| Text entry area with Green background: | Entity-supplied information |
| Text entry area with white background: | Auditor-supplied information |

Findings

(This section to be completed by the Compliance Enforcement Authority)

|  |  |  |  |
| --- | --- | --- | --- |
| Req. | Finding | Summary and Documentation | Functions Monitored |
| R1 |  |  |  |
| R2 |  |  |  |
| R3 |  |  |  |
| R4 |  |  |  |
| R5 |  |  |  |
| R6 |  |  |  |

|  |  |
| --- | --- |
| Req. | Areas of Concern |
|  |  |
|  |  |
|  |  |

|  |  |
| --- | --- |
| Req. | Recommendations |
|  |  |
|  |  |
|  |  |

|  |  |
| --- | --- |
| Req. | Positive Observations |
|  |  |
|  |  |
|  |  |

Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Registered Entity Response (Required; Insert additional rows if needed):

|  |  |  |  |
| --- | --- | --- | --- |
| SME Name | Title | Organization | Requirement(s) |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

1. Supporting Evidence and Documentation
2. Each Reliability Coordinator shall perform an Operational Planning Analysis that will allow it to assess whether the planned operations for the next-day will exceed System Operating Limits (SOLs) and Interconnection Operating Reliability Limits (IROLs) within its Wide Area.
3. Each Reliability Coordinator shall have evidence of a completed Operational Planning Analysis. Such evidence could include but is not limited to dated power flow study results.

**Compliance Narrative (Required):**

Provide a brief explanation, in your own words, of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page, are recommended.

Evidence Requested[[3]](#endnote-1):

|  |
| --- |
| **Provide the following evidence, or other evidence to demonstrate compliance.** |
| Operational Planning Analysis, including but is not limited to dated power flow study results. |

Registered Entity Evidence (Required):

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked, as appropriate, to identify the exact location where evidence of compliance may be found.** | | | | | |
| **File Name** | **Document Title** | **Revision or Version** | **Document Date** | **Relevant Page(s) or Section(s)** | **Description of Applicability of Document** |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

Audit Team Evidence Reviewed (This section to be completed by the Compliance Enforcement Authority):

|  |
| --- |
|  |
|  |
|  |

Compliance Assessment Approach Specific to IRO-008-2, R1

**This section to be completed by the Compliance Enforcement Authority**

|  |  |
| --- | --- |
|  | (R1) Review a sample of evidence and verify that the entity performs an Operational Planning Analysis, which determines if the planned operations for the next-day will exceed System Operating Limits (SOLs) or Interconnection Operating Reliability Limits (IROLs) within its Wide Area. |
| **Notes to Auditor:**   1. The standard does not specify that a new daily Operational Planning Analysis (OPA) shall be performed. The entity may rely on an existing OPA if it is still valid for projected operating conditions. However, it would be valuable to understand in what situations the entity would not perform a daily “next-day” analysis in order to assess whether planned operations will exceed SOLs or IROLs. 2. For specific next-day analyses selected, consider how previous studies are validated, if used in place of conducting a unique next-day study for the specific next-day analysis selected? | |

Auditor Notes:

1. Supporting Evidence and Documentation
2. Each Reliability Coordinator shall have a coordinated Operating Plan(s) for next-day operations to address potential System Operating Limit (SOL) and Interconnection Reliability Operating Limit (IROL) exceedances identified as a result of its Operational Planning Analysis as performed in Requirement R1 while considering the Operating Plans for the next-day provided by its Transmission Operators and Balancing Authorities.
3. Each Reliability Coordinator shall have evidence that it has a coordinated Operating Plan for next-day operations to address potential System Operating Limit (SOL) and Interconnection Reliability Operating Limit (IROL) exceedances identified as a result of the Operational Planning Analysis performed in Requirement R1 while considering the Operating Plans for the next-day provided by its Transmission Operators and Balancing Authorities. Such evidence could include but is not limited to plans for precluding operating in excess of each SOL and IROL that were identified as a result of the Operational Planning Analysis.

**Compliance Narrative (Required):**

Provide a brief explanation, in your own words, of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page, are recommended.

Evidence Requestedi:

|  |
| --- |
| Provide the following evidence, or other evidence, to demonstrate compliance. |
| Coordinated Operating Plan for next-day operations to address potential System Operating Limit (SOL) and Interconnection Reliability Operating Limit (IROL) exceedances. |
| Operational Planning Analyses performed in Requirement R1. |

Registered Entity Evidence (Required):

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked, as appropriate, to identify the exact location where evidence of compliance may be found.** | | | | | |
| **File Name** | **Document Title** | **Revision or Version** | **Document Date** | **Relevant Page(s) or Section(s)** | **Description of Applicability of Document** |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

Audit Team Evidence Reviewed (This section to be completed by the Compliance Enforcement Authority):

|  |
| --- |
|  |
|  |
|  |

Compliance Assessment Approach Specific to IRO-008-2, R2

**This section to be completed by the Compliance Enforcement Authority**

|  |  |
| --- | --- |
|  | (R2) Review a sample of Operating Planning Analyses and associated Operating Plans provided by the entity to verify that it has a coordinated plan for next-day operations that addresses potential System Operating Limit (SOL) and Interconnection Reliability Operating Limit (IROL) exceedances. |
| **Note to Auditor:** Based on the daily performance frequency of the Requirements R1 – R3 and R5. Sampling would typically be indicated to retrieve a valid sample across requirements R1-R3. | |

Auditor Notes:

1. Supporting Evidence and Documentation
2. Each Reliability Coordinator shall notify impacted entities identified in the Operating Plan(s) cited in Requirement R2 as to their role in those plan(s).
3. Each Reliability Coordinator shall have evidence that it notified impacted entities identified in the Operating Plan(s) cited in Requirement R2 as to their role in the plan(s). Such evidence could include but is not limited to dated operator logs, or e-mail records.

**Compliance (Required):**

Provide a brief explanation, in your own words, of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page, are recommended.

Evidence Requestedi:

|  |
| --- |
| **Provide the following evidence, or other evidence to demonstrate compliance.** |
| Dated operator logs, e-mail records, or other evidence the entity notified impacted entities identified in the Operating Plans cited in Requirement R2 as to their role in the plans. |
| Coordinated Operating Plans for next-day operations to address potential System Operating Limit (SOL) and Interconnection Reliability Operating Limit (IROL) exceedances. (as requested based on sampling) |

Registered Entity Evidence (Required):

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked, as appropriate, to identify the exact location where evidence of compliance may be found.** | | | | | |
| **File Name** | **Document Title** | **Revision or Version** | **Document Date** | **Relevant Page(s) or Section(s)** | **Description of Applicability of Document** |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

Audit Team Evidence Reviewed (This section to be completed by the Compliance Enforcement Authority):

|  |
| --- |
|  |
|  |
|  |

Compliance Assessment Approach Specific to IRO-008-2, R3

**This section to be completed by the Compliance Enforcement Authority**

|  |  |
| --- | --- |
|  | (R3) Review all or a sample of documentary evidence to determine if the entity notified all impacted entities identified in the Operating Plan(s) cited in Requirement R2 as to their role in those plan(s). |
| **Note to Auditor:** Sampling would typically be indicated to retrieve a valid sample for this requirement, but it could also be true that for the audit period there were no impacted entities which required notification. | |

Auditor Notes:

1. Supporting Evidence and Documentation
2. Each Reliability Coordinator shall ensure that a Real-time Assessment is performed at least once every 30 minutes.
3. Each Reliability Coordinator shall have, and make available upon request, evidence to show it ensured that a Real-time Assessment is performed at least once every 30 minutes. This evidence could include but is not limited to dated computer logs showing times the assessment was conducted, dated checklists, or other evidence.

**Compliance Narrative (Required):**

Provide a brief explanation, in your own words, of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page, are recommended.

Evidence Requestedi:

|  |
| --- |
| **Provide the following evidence, or other evidence to demonstrate compliance.** |
| Dated computer logs showing time the assessment was conducted, dated checklists, or other evidence. |

Registered Entity Evidence (Required):

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked, as appropriate, to identify the exact location where evidence of compliance may be found.** | | | | | |
| **File Name** | **Document Title** | **Revision or Version** | **Document Date** | **Relevant Page(s) or Section(s)** | **Description of Applicability of Document** |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

Audit Team Evidence Reviewed (This section to be completed by the Compliance Enforcement Authority):

|  |
| --- |
|  |
|  |
|  |

Compliance Assessment Approach Specific to IRO-008-2, R4

**This section to be completed by the Compliance Enforcement Authority**

|  |  |
| --- | --- |
|  | (R4) For all, or a sample of, BES events selected by the auditor, review evidence (dates and times in the audit period) and determine if the entity ensured a Real-time Assessment was performed at least once every 30 minutes. |
| **Note to Auditor:** Auditors are advised to monitor compliance with Requirement R4 during events, due to the importance of Real-time Assessments in such instances. Auditors can obtain a population of events for sampling from NERC’s, or the Regional Entity’s, records of mandatory event reports, other information available at the Regional Entities, or a query of the entity. Auditors are encouraged to monitor compliance during the most critical events on the entity’s system occurring during the compliance monitoring period. | |

Auditor Notes:

1. Supporting Evidence and Documentation
2. Each Reliability Coordinator shall notify impacted Transmission Operators and Balancing Authorities within its Reliability Coordinator Area, and other impacted Reliability Coordinators as indicated in its Operating Plan, when the results of a Real-time Assessment indicate an actual or expected condition that results in, or could result in, a System Operating Limit (SOL) or Interconnection Reliability Operating Limit (IROL) exceedance within its Wide Area.
3. Each Reliability Coordinator shall make available upon request, evidence that it informed impacted Transmission Operators and Balancing Authorities within its Reliability Coordinator Area, and other impacted Reliability Coordinators as indicated in its Operating Plan, of its actual or expected operations that result in, or could result in, a System Operating Limit (SOL) or Interconnection Reliability Operating Limit (IROL) exceedance within its Wide Area. Such evidence could include but is not limited to dated operator logs, voice recordings or transcripts of voice recordings, electronic communications, or other equivalent evidence. If such a situation has not occurred, the Reliability Coordinator may provide an attestation.

**Compliance (Required):**

Provide a brief explanation, in your own words, of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page, are recommended.

Evidence Requestedi:

|  |
| --- |
| **Provide the following evidence, or other evidence to demonstrate compliance.** |
| Results of a Real-time Assessment indicating an actual or expected condition that results in, or could result in, a System Operating Limit (SOL) or Interconnection Reliability Operating Limit (IROL) exceedance. |
| Dated operator logs, voice recordings or transcripts of voice recordings, electronic communications, or other equivalent evidence demonstrating the entity notified impacted Transmission Operators and Balancing Authorities within its Reliability Coordinator Area, and other impacted Reliability Coordinators as indicated in its Operating Plan when the results of a Real-time Assessment indicate an actual or expected condition that results in, or could result in, a System Operating Limit (SOL) or Interconnection Reliability Operating Limit (IROL) exceedance within its Wide Area. |
| Associated Operating Plans. |
| If the results of a Real-time Assessment do not indicate actual or expected conditions that result in, or could result in, a System Operating Limit (SOL) or Interconnection Reliability Operating Limit (IROL) exceedance, the Reliability Coordinator may provide an attestation. |

Registered Entity Evidence (Required):

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked, as appropriate, to identify the exact location where evidence of compliance may be found.** | | | | | |
| **File Name** | **Document Title** | **Revision or Version** | **Document Date** | **Relevant Page(s) or Section(s)** | **Description of Applicability of Document** |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

Audit Team Evidence Reviewed (This section to be completed by the Compliance Enforcement Authority):

|  |
| --- |
|  |
|  |
|  |

Compliance Assessment Approach Specific to IRO-008-2, R5

This section to be completed by the Compliance Enforcement Authority

|  |  |
| --- | --- |
|  | (R5) Interview entity representatives or review initial evidence to determine (for the compliance monitoring period) whether the entity’s results of its Real-time Assessment(s) indicated an actual or expected condition that resulted in, or could have resulted in, a System Operating Limit (SOL) or Interconnection Reliability Operating Limit (IROL) exceedance within its Wide Area. |
|  | (R5) If the results of the assessment above are negative (no determination of SOL or IROL exceedances for the audit period), attestations may be provided. |
|  | (R5) Review a sample of evidence that supports the entity’s assertion that it informedTransmission Operators and Balancing Authorities within its Reliability Coordinator Area and other impacted Reliability Coordinators of its actual or expected operations that result in, or could have resulted in, a System Operating Limit (SOL) or Interconnection Reliability Operating Limit (IROL) exceedance. |
| **Note to Auditor:** Based on the daily performance frequency of Requirements R1 – R3 and R5, sampling would typically be indicated to retrieve a valid sample across Requirements R1-R3, inclusive of Requirement R5. Alternatively, R5 and R6 could be statistically sampled independent of R1-R3, if it was determined there were multiple instances where Real-time Assessments indicated actual or expected conditions that would or could have resulted in Reliability Coordinator Area SOL or IROL exceedance(s). | |

Auditor Notes:

1. Supporting Evidence and Documentation
2. Each Reliability Coordinator shall notify impacted Transmission Operators and Balancing Authorities within its Reliability Coordinator Area, and other impacted Reliability Coordinators as indicated in its Operating Plan, when the System Operating Limit (SOL) or Interconnection Reliability Operating Limit (IROL) exceedance identified in Requirement R5 has been prevented or mitigated.
3. Each Reliability Coordinator shall make available upon request, evidence that it informed impacted Transmission Operators and Balancing Authorities within its Reliability Coordinator Area, and other impacted Reliability Coordinators as indicated in its Operating Plan, when the System Operating Limit (SOL) or Interconnection Reliability Operating Limit (IROL) exceedance identified in Requirement R5 has been prevented or mitigated. Such evidence could include but is not limited to dated operator logs, voice recordings or transcripts of voice recordings, electronic communications, or other equivalent evidence. If such a situation has not occurred, the Reliability Coordinator may provide an attestation.

**Compliance (Required):**

Provide a brief explanation, in your own words, of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page, are recommended.

Evidence Requestedi:

|  |
| --- |
| **Provide the following evidence, or other evidence to demonstrate compliance.** |
| When the SOL or IROL exceedance has been prevented or mitigated, provide documentation that the entity informed impacted Transmission Operators and Balancing Authorities within its Reliability Coordinator Area and other impacted Reliability Coordinators. Such evidence could include, but is not limited to, dated operator logs, voice recordings or transcripts of voice recordings, electronic communications, or other equivalent evidence. |
| Dated operator logs, voice recordings or transcripts of voice recordings, electronic communications, or other equivalent evidence demonstrating the entity notified impacted Transmission Operators and Balancing Authorities within its Reliability Coordinator Area, and other impacted Reliability Coordinators as indicated in its Operating Plan when the results of a Real-time Assessment indicate an actual or expected condition that results in, or could result in, a System Operating Limit (SOL) or Interconnection Reliability Operating Limit (IROL) exceedance within its Reliability Coordinator Wide Area. |

Registered Entity Evidence (Required):

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked, as appropriate, to identify the exact location where evidence of compliance may be found.** | | | | | |
| **File Name** | **Document Title** | **Revision or Version** | **Document Date** | **Relevant Page(s) or Section(s)** | **Description of Applicability of Document** |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

Audit Team Evidence Reviewed (This section to be completed by the Compliance Enforcement Authority):

|  |
| --- |
|  |
|  |
|  |

Compliance Assessment Approach Specific to IRO-008-2, R6

**This section to be completed by the Compliance Enforcement Authority**

|  |  |
| --- | --- |
|  | (R6) Review submitted documentation to determine if the entity prevented or mitigated System Operating Limit (SOL) or Interconnection Reliability Operating Limit (IROL) exceedance(s) in Requirement R5. If, there were no such instances, review attestation from Requirement R5 asserting this fact. |
|  | (R6) When the SOL or IROL exceedance was prevented or mitigated, review sample(s) of Requirement R5 evidence for supporting documentation that the entity notified impacted Transmission Operators and Balancing Authorities within its Reliability Coordinator Area, and other impacted Reliability Coordinators (if appropriate). |
| **Note to Auditor:** Where Requirement R5 evidence indicates possible SOL or IROL exceedances, the follow-up notification is specific to the condition of prevention or mitigation as indicated in Requirement R6. Meaning, review evidence to assure the entity notified (potentially) impacted entities of possible SOL or IROL exceedances (as identified in R5) that the possible SOL or IROL condition(s) was prevented or mitigated. | |

Auditor Notes:

Additional Information:

Reliability Standard



The full text of IRO-008-2 may be found on the NERC Web Site (www.nerc.com) under “Program Areas & Departments”, “Reliability Standards.”

In addition to the Reliability Standard, there is an applicable Implementation Plan available on the NERC Web Site.

In addition to the Reliability Standard, there is background information available on the NERC Web Site.

Capitalized terms in the Reliability Standard refer to terms in the NERC Glossary, which may be found on the NERC Web Site.

Regulatory Language

[*Transmission Operations Reliability Standards and Interconnection Reliability Operations and Coordination Reliability Standards,* Final Rule, Order No. 817, 153 FERC ¶ 61,178 (2015).](http://www.nerc.com/FilingsOrders/us/FERCOrdersRules/Order%20No.%20817%20Approving%20TOP%20IRO%20Reliability%20Standards.pdf)

5. The Commission approved the initial TOP and IRO Reliability Standards in Order No. 693. On April 16, 2013, in Docket No. RM13-14-000, NERC submitted for Commission approval three revised TOP Reliability Standards to replace the eight currently-effective TOP standards.8 Additionally, on April 16, 2013, in Docket No. RM13-15-000, NERC submitted for Commission approval four revised IRO Reliability Standards to replace six currently-effective IRO Reliability Standards. On November 21, 2013, the Commission issued the Remand NOPR in which the Commission expressed concern that NERC had “removed critical reliability aspects that are included in the currently-effective standards without adequately addressing these aspects in the proposed standards.” The Commission identified two main concerns and asked for clarification and comment on a number of other issues. Among other things, the Commission expressed concern that the proposed TOP Reliability Standards did not require transmission operators to plan and operate within all SOLs, which is a requirement in the currently-effective standards. In addition, the Commission expressed concern that the proposed IRO Reliability Standards did not require outage coordination.

13. Pursuant to section 215(d) of the FPA, we adopt our NOPR proposal and approve NERC’s revisions to the TOP and IRO Reliability Standards, including the associated definitions, violation risk factors, violation severity levels, and implementation plans, as just, reasonable, not unduly discriminatory or preferential and in the public interest.

14. We also determine that the proposed TOP and IRO Reliability Standards should improve reliability by defining an appropriate division of responsibilities between reliability coordinators and transmission operators.

17. Furthermore, the revised definitions of operational planning analysis and real-time assessment are critical components of the proposed TOP and IRO Reliability Standards and, together with the definitions of SOLs, IROLs and operating plans, work to ensure that reliability coordinators, transmission operators and balancing authorities plan and operate the bulk electric system within all SOLs and IROLs to prevent instability, uncontrolled separation, or cascading. In addition, the revised definitions of operational planning analysis and real-time assessment address other concerns raised in the Remand NOPR as well as multiple recommendations in the 2011 Southwest Outage Blackout Report.

19. However, as we discuss below we direct NERC to modify the standards to include transmission operator monitoring of non-BES facilities, and to specify that data exchange capabilities include redundancy and diverse routing; as well as testing of the alternate or less frequently used data exchange capability, within 18 months of the effective date of this Final Rule.

58. We believe that proposed Reliability Standards TOP-002-4 and IRO-008-2 along with NERC’s definition of reliability coordinator address NIPSCO’s concern. Although the transmission operator and balancing authority develop their own operating plans for next-day operations, both the transmission operator and balancing authority notify entities identified in the operating plans as to their role in those plans. Further, each transmission operator and balancing authority must provide its operating plan for next-day operations to its reliability coordinator. In Reliability Standard IRO-008-2, Requirement R2, the reliability coordinator must have a coordinated operating plan for next-day operations to address potential SOL and IROL exceedances while considering the operating plans for the next-day provided by its transmission operators and balancing authorities. Also, Reliability Standard IRO-008-2, Requirement R3 requires that the reliability coordinator notify impacted entities identified in its operating plan as to their role in such plan. Based on the notification and coordination processes of Reliability Standards TOP-002-4 (for the transmission operator and balancing authority) and IRO-008-2 (for the reliability coordinator) for next-day operating plans, as well as the fact that the reliability coordinator is the entity that is the highest level of authority who is responsible for the reliable operation of the bulk electric system, we believe that the reliability coordinator has the authority and necessary next-day operational information to resolve any next-day operational issues within its reliability coordinator area. Accordingly, we deny NIPSCO’s request.

Selected Glossary Terms:

Please refer to the NERC web site for the current enforceable terms.

Specific Glossary terms suggested to be included in this RSAW:

**Operating Instruction** (effective 7/1/2016):

A command by operating personnel responsible for the Real-time operation of the interconnected Bulk Electric System to change or preserve the state, status, output, or input of an Element of the Bulk Electric System or Facility of the Bulk Electric System. (A discussion of general information and of potential options or alternatives to resolve Bulk Electric System operating concerns is not a command and is not considered an Operating Instruction.)

**Operational Planning Analysis** (adopted 3/17/2011):

An analysis of the expected system conditions for the next day’s operation. (That analysis may be performed either a day ahead or as much as 12 months ahead.) Expected system conditions include things such as load forecast(s), generation output levels, and known system constraints (transmission facility outages, generator outages, equipment limitations, etc.).

Revision History for RSAW

|  |  |  |  |
| --- | --- | --- | --- |
| Version | Date | Reviewers | Revision Description |
| 1 | 06/20/2014 | Initial Posting | New Document |
| 2 | 08/29/2014 | NERC Compliance, NERC Standards, RSAWTF | Revisions for updated standard language and comments received during comment period. |
| 3 | 10/16/2014 | NERC Compliance, NERC Standards | Revisions for comments received during second comment period. |
| 4 | 12/05/2014 | NERC Compliance, NERC Standards | Deleted sentence in Compliance Assessment Approach for Requirement R2. |
| 5 | 11/3/2016 | NERC Compliance Assurance, RSAWTF | Revised for consistency with the final approved Standard. |

1. NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard. The NERC RSAW language is written to specific versions of each NERC Reliability Standard. Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed. While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements. In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard. NERC’s Reliability Standards can be found on NERC’s website. Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency. Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard. It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

   The NERC RSAW language contained within this document provides a non‑exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard. A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW. Additionally, this RSAW includes excerpts from applicable FERC orders and other regulatory references. The FERC order cites are provided for ease of reference only, and this document does not necessarily include all applicable order provisions. In the event of a discrepancy between FERC orders, and the language included in this document, FERC orders shall prevail. [↑](#footnote-ref-1)
2. Compliance Assessment Date(s): The date(s) the actual compliance assessment (on-site audit, off-site spot check, etc.) occurs. [↑](#footnote-ref-2)
3. Items in the Evidence Requested section are suggested evidence that may, but will not necessarily, demonstrate compliance. These items are not mandatory and other forms and types of evidence may be submitted at the entity’s discretion. [↑](#endnote-ref-1)