Compliance Questionnaire and

Reliability Standard Audit Worksheet

INT-003-2 — Interchange Transaction Implementation

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Applicable Function(s):	BA

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website at http://www.nerc.com/page.php?cid=2|20.   Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

# Reliability Standard Language

INT-003-2 — Interchange Transaction Implementation

Purpose:

- To ensure Balancing Authorities confirm Interchange Schedules with Adjacent Balancing Authorities prior to implementing the schedules in their Area Control Error (ACE) equations.

Applicability:

- Balancing Authorities

NERC BOT Approval Date: 11/1/2006

FERC Approval Date: 3/16/2007

Reliability Standard Enforcement Date in the United States: 6/18/2007

Requirements:

Each Receiving Balancing Authority shall confirm Interchange Schedules with the Sending Balancing Authority prior to implementation in the Balancing Authority’s ACE equation.

  - The Sending Balancing Authority and Receiving Balancing Authority shall agree on Interchange as received from the Interchange Authority, including:

    - Interchange Schedule start and end time.

    - Energy profile.

  - If a high voltage direct current (HVDC) tie is on the Scheduling Path, then the Sending Balancing Authorities and Receiving Balancing Authorities shall coordinate the Interchange Schedule with the Transmission Operator of the HVDC tie.

Demonstration of Compliance: (Registered Entity Response Required)

Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization and the requirement(s) for which they are responsible.  Include additional sheets if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

INT-003-2 — Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

| Requirement | For each Requirement of this Reliability Standard, provide the following: Document Title and/or File Name Page & Section Date & Version |
| --- | --- |
| 1 |  |

# Compliance Questionnaire

INT-003-2 — Questions

Question: As a Balancing Authority, how do you confirm Interchange schedules with adjacent Balancing Authorities?

Entity Response: (Registered Entity Response Required)

Other - The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard.  Provide additional information here that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response Required)

# Compliance Assessment Worksheet

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to INT-003-2 R1.

___ Determine if the entity confirmed the Interchange Schedules it was receiving with the

Sending Balancing Authority prior to implementation in the Balancing Authority’s ACE

equation.

___ Determine if the Sending and Receiving Balancing Authorities agreed on the

Interchange as received from the Interchange Authority including:

___Interchange Schedule start and end time

___Energy profile

___ Determine if a high voltage direct current (HVDC) tie is on the Scheduling Path.

___ Determine if the Sending Balancing Authorities and Receiving Balancing

Authorities coordinated the Interchange Schedule with the Transmission Operator of the

HVDC tie.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

Excerpts From FERC Orders -- For Reference Purposes Only

Updated Through March 31, 2009

INT-003-2

Order 693

P 795.  The Interchange Scheduling and Coordination (INT) group of Reliability Standards addresses interchange transactions, which occur when electricity is transmitted from a seller to a buyer across the power grid. Specific information regarding each transaction must be identified in an accompanying electronic label, known as a “Tag” or “e-Tag” which is used by affected reliability coordinators, transmission service providers and balancing authorities to assess the transaction for reliability impacts. Communication, submission, assessment and approval of a Tag must be completed for reliability consideration before implementation of the transaction.

829. The purpose of INT-003-1 is to ensure that balancing authorities confirm interchange schedules with adjacent balancing authorities before implementing the schedules in their area control error equations. INT-003-1 contains a Requirement that focuses on ensuring that a sending balancing authority confirms interchange schedules with its receiving balancing authority before implementing the schedules in its control area. The proposed Reliability Standard also requires that, for the instances where a high voltage direct current (HVDC) tie is on the scheduling path, both sending and receiving balancing authorities have to coordinate with the operator of the HVDC tie. The Commission proposed in the NOPR to approve Reliability Standard INT-003-1 as mandatory and enforceable. …

P 833.  INT-003-1 serves an important purpose in requiring receiving and sending balancing authorities to confirm and agree on interchange schedules. … Accordingly, the Commission approves Reliability Standard INT-003-2, as filed with the Commission on November 15, 2006, as mandatory and enforceable.