Compliance Questionnaire and

Reliability Standard Audit Worksheet

BAL-001-0.1a — Real Power Balancing Control Performance

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Applicable Function(s):  BA

Auditors:

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website at http://www.nerc.com/page.php?cid=2|20.   Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

# Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization and the requirement(s) for which they are responsible. Insert additional lines if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

# Reliability Standard Language

BAL-001-0.1a — Real Power Balancing Control Performance

Purpose:

To maintain Interconnection steady-state frequency within defined limits by balancing real power demand and supply in real-time.

Applicability:

Balancing Authorities

NERC BOT Approval Date: 10/29/2008

FERC Approval Date: 5/13/2009

Reliability Standard Enforcement Date in the United States: 5/13/2009

Requirements:

R1. Each Balancing Authority shall operate such that, on a rolling 12-month basis, the average of the clock-minute averages of the Balancing Authority’s Area Control Error (ACE) divided by 10B (B is the clock-minute average of the Balancing Authority Area’s Frequency Bias) times the corresponding clock-minute averages of the Interconnection’s Frequency Error is less than a specific limit. This limit  is a constant derived from a targeted frequency bound (separately calculated for each Interconnection) that is reviewed and set as necessary by the NERC Operating Committee.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R1 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-001-0.1a R1.

Review CPS1 logs, which should be obtained from the Regional Entity prior to

the audit.

Identify calculation used to calculate CPS1

___	Identify the target frequency bound; ɛ 1

___	Identify the Frequency Bias Setting

Detailed notes:

R2. Each Balancing Authority shall operate such that its average ACE for at least 90% of clock ten-minute periods (6 non-overlapping periods per hour) during a calendar month is within a specific limit, referred to as L10.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R2 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-001-0.1a R2.

Review monthly logs for past 12 months

Verify the average ACE was within the BAs L10 for the last 12 months for at least 90%

of the time periods monitored.

Detailed notes:

R3. Each Balancing Authority providing Overlap Regulation Service shall evaluate Requirement R1 (i.e., Control Performance Standard 1 or CPS1) and Requirement R2 (i.e., Control Performance Standard 2 or CPS2) using the characteristics of the combined ACE and combined Frequency Bias Settings.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R3 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-001-0.1a R3.

Determine if the BA provides Overlap Regulation Service

If so, verify the BA has incorporated the combined ACE and combined Frequency

Bias settings into their CPS1 and CPS2 calculations

Detailed notes:

R4. Any Balancing Authority receiving Overlap Regulation Service shall not have its control performance evaluated (i.e. from a control performance perspective, the Balancing Authority has shifted all control requirements to the Balancing Authority providing Overlap Regulation Service).

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

# R4 Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |  |  |
| --- | --- | --- | --- |
| Title |  | Date | Version |  |
| Audit Team: Additional Evidence Reviewed: |  |  |  |  |

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-001-0.1a R4.

Determine if the BA receives Overlap Regulation Service

If so, verify the BA has not incorporated the combined ACE and combined Frequency

Bias settings into their CPS1 and CPS2 calculations

Detailed notes:

# Supplemental Information

Other - The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard. Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response)

# Compliance Findings Summary (to be filled out by auditor)

| Req. | NF | PV | OEA | NA | Statement |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |

Excerpts From FERC Orders -- For Reference Purposes Only

Updated Through November 24, 2008

BAL-001-0

Order 693

http://www.nerc.com/files/order_693.pdf

P313	“…regional differences are permissible if they are either more stringent than the

continent-wide Reliability Standard, or if they are necessitated by a physical

difference in the Bulk-Power System.”

Order 713

http://www.nerc.com/files/Order_713_Modified-INT_and_TLR-Stds-07212008.pdf

P14	"The purpose of Reliability Standard BAL-001-0 is to maintain interconnection

steady-state frequency within defined limits by balancing real power demand and

supply in real-time. It uses two averages, covering the one-minute and

ten-minute area control error (ACE) performance (CPS1 and CPS2,

respectively), as measures for determining compliance with its four

Requirements. Requirement R1 of BAL-001-0 obligates each balancing

authority, on a rolling twelve-month basis, to maintain its clock-minute averages

of ACE, modified by its frequency bias and the interconnection frequency, within

a specific limit based on historic performance."

P16	"In its December 19, 2007 filing, NERC explained that WECC requested the

ERO to provide a formal interpretation whether the use of WECC’s existing

automatic time error correction factor that is applied to the net interchange

portion of the ACE equation violates Requirement R1 of BAL-001-0 or

Requirement R3 of BAL-003-0."

P20	"The Commission approves the ERO’s formal interpretations of Requirement R1

of BAL-001-0 and Requirement R3 of BAL-003-0. The ERO’s interpretation of

BAL-001-0, Requirement R1, is reasonable in that it requires all balancing

authorities in WECC to calculate CPS1 and CPS2 as defined in the

Requirements. Thus, the interpretation upholds the reliability goal to minimize

the frequency deviation of the interconnection by constantly balancing supply

and demand."

Standards NOPR

http://www.nerc.com/files/Standards_NOPR-FERC_Agenda_Item_E-1.pdf

P135	"BAL-001-0 provides for an important function necessary to maintain

Bulk-Power System reliability. Further, the Commission agrees with NERC’s

proposed applicability of this standard to balancing authorities."

Revision History

| Version | Date | Reviewers | Revision Description |
| --- | --- | --- | --- |
| 1.1 | 11/04/10 | QRSAW WG | Revised Findings Table and modified Supporting Evidence tables |
| 1.1 | January 2011 | Craig Struck | Reviewed for format consistency and content. |