Compliance Questionnaire and

Reliability Standard Audit Worksheet

BAL-005-0.1b — Automatic Generation Control

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Applicable Function(s):  BA, GOP, TOP, LSE

Auditors:

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website at http://www.nerc.com/page.php?cid=2|20.   Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

# Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization and the requirement(s) for which they are responsible. Insert additional lines if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

# Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |
| --- | --- |
| R1 |  |
| R2 |  |
| R3 |  |
| R4 |  |
| R5 |  |
| R6 |  |
| R7 |  |
| R8 |  |
| R9 |  |
| R10 |  |
| R11 |  |
| R12 |  |
| R13 |  |
| R14 |  |
| R15 |  |
| R16 |  |
| R17 |  |

# Reliability Standard Language

BAL-005-0.1b — Automatic Generation Control

Purpose:

This standard establishes requirements for Balancing Authority Automatic Generation Control (AGC) necessary to calculate Area Control Error (ACE) and to routinely deploy the Regulating Reserve.  The standard also ensures that all facilities and load electrically synchronized to the Interconnection are included within the metered boundary of a Balancing Area so that balancing of resources and demand can be achieved.

Applicability:

Balancing Authorities

Generator Operators

Transmission Operators

Load Serving Entities

NERC BOT Approval Date: 2/12/2008

FERC Approval Date: 7/21/2008

Reliability Standard Enforcement Date in the United States: 8/28/2008

Requirements:

R1. 	All generation, transmission, and load operating within an Interconnection must be included within the metered boundaries of a Balancing Authority Area.

R1.1. Each Generator Operator with generation facilities operating in an Interconnection shall ensure that those generation facilities are included within the metered boundaries of a Balancing Authority Area.

R1.2. Each Transmission Operator with transmission facilities operating in an Interconnection shall ensure that those transmission facilities are included within the metered boundaries of a Balancing Authority Area.

R1.3. Each Load-Serving Entity with load operating in an Interconnection shall ensure that those loads are included within the metered boundaries of a Balancing Authority Area.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-005-0b R1.

____ Determine if the entity being audited has any generation, transmission, or load that is not included within the boundaries of a Balancing Authority area

____ Determine if the Generator Operator has all generation facilities included within the metered boundaries of a Balancing Authority Area.

____ Determine if the Transmission Operator has all transmission facilities included within the metered boundaries of a Balancing Authority Area.

____ Determine if the Load-Serving Entity has all loads included within the metered boundaries of a Balancing Authority Area.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R2. 	Each Balancing Authority shall maintain Regulating Reserve that can be controlled by AGC to meet the Control Performance Standard.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

Question: (BA) Describe the processes, procedures and equipment used in deployment of

regulating reserves.

Entity Response: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-005-0b R2.

___	Determine if the Balancing Authority maintained the Regulating Reserve that could be controlled by AGC in order to meet the Control Performance Standard;

OR

___	If the Balancing Authority did not meet the Control Performance Standard, determine if the Balancing Authority had maintained the Regulating Reserve that was controllable by AGC, would that have enabled it to meet the Control Performance Standard? – i.e., did the Balancing Authority maintain sufficient reserve to meet normal operating margins?

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R3. 	A Balancing Authority providing Regulation Service shall ensure that adequate metering, communications, and control equipment are employed to prevent such service from becoming a Burden on the Interconnection or other Balancing Authority Areas.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-005-0b R3.

____ Determine if the Balancing Authority provided Regulation Service to another Balancing Authority.

____Determine if the Balancing Authority had adequate:

____Metering

____Communications

____Control Equipment

to prevent such service from becoming a burden on the Interconnection or other Balancing Authority Areas

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R4. 	A Balancing Authority providing Regulation Service shall notify the Host Balancing Authority for whom it is controlling if it is unable to provide the service, as well as any Intermediate Balancing Authorities.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-005-0b R4.

____ Determine if the Balancing Authority is Providing Regulation Service to another Balancing Authority.

If yes to the above:

_____Determine if the Balancing Authority was unable to provide the service to the Host Balancing Authority at any time during the audit period.

If yes to the above:

_____Determine if the Balancing Authority notified the Host Balancing Authority that it was unable to provide the service.

_____ Determine if the Balancing Authority notified any Intermediate Balancing Authorities.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R5.	A Balancing Authority receiving Regulation Service shall ensure that backup plans are in place to provide replacement Regulation Service should the supplying Balancing Authority no longer be able to provide this service.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-005-0b R5.

____ Determine if the Balancing Authority is receiving Regulation Service.

If yes to the above:

_____Determine if the Balancing Authority has backup plans to provide replacement Regulation Service should the supplying Balancing Authority no longer be able to provide the service.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R6. 	The Balancing Authority’s AGC shall compare total Net Actual Interchange to total Net Scheduled Interchange plus Frequency Bias obligation to determine the Balancing Authority’s ACE.  Single Balancing Authorities operating asynchronously may employ alternative ACE calculations such as (but not limited to) flat frequency control.  If a Balancing Authority is unable to calculate ACE for more than 30 minutes it shall notify its Reliability Coordinator.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-005-0b R6.

____ Determine if the Balancing Authority’s AGC compares total Net Actual Interchange to total Net Scheduled Interchange plus Frequency Bias obligation to determine the Balancing Authority’s ACE;

OR

If a single Balancing Authority is operating asynchronously and did not conform to the above:

_____Determine if alternative ACE calculations such as (but not limited to) flat frequency control were used.

_____Determine if a Balancing Authority is unable to calculate ACE for more than 30 minutes.

If yes to the above:

_____Determine if the Balancing Authority notified its Reliability Coordinator of its inability to calculate ACE for more than 30 minutes.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R7.	The Balancing Authority shall operate AGC continuously unless such operation adversely impacts the reliability of the Interconnection.  If AGC has become inoperative, the Balancing Authority shall use manual control to adjust generation to maintain the Net Scheduled Interchange.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-005-0b R7.

____ Determine if the Balancing Authority operated AGC continuously unless such operation impacted the reliability of the Interconnection.

_____Determine if the Balancing Authorities AGC became inoperative at any time during the audit period.

If yes to the above:

_____Did the Balancing Authority use manual control to adjust generation to maintain the Net Scheduled Interchange?

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R8. 	The Balancing Authority shall ensure that data acquisition for and calculation of ACE occur at least every six seconds.

R8.1. Each Balancing Authority shall provide redundant and independent frequency metering equipment that shall automatically activate upon detection of failure of the primary source.  This overall installation shall provide a minimum availability of 99.95%.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-005-0b R8.

____Determine if the Balancing Authority acquires data needed for the calculation of ACE at least every 6 seconds.

_____ Determine if the Balancing Authority has redundant and independent frequency metering equipment.

_____ Determine if the redundant frequency metering equipment will automatically activate upon detection of the failure of the primary frequency metering equipment.

_____ Determine if the overall installation provided a minimum frequency metering availability of 99.95%.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R9. 	The Balancing Authority shall include all Interchange Schedules with Adjacent Balancing Authorities in the calculation of Net Scheduled Interchange for the ACE equation.

R9.1. Balancing Authorities with a high voltage direct current (HVDC) link to another Balancing Authority connected asynchronously to their Interconnection may choose to omit the Interchange Schedule related to the HVDC link from the ACE equation if it is modeled as internal generation or load.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-005-0b R9.

____ Determine if the Balancing Authority included all Interchange Schedules with Adjacent Balancing Authorities in its calculation of Net Scheduled Interchange for the ACE equation.

____ Determine if the Balancing Authority has a high voltage direct current (HVDC) link to another Balancing Authority that is connected asynchronously to their interconnection.

If yes to the above:

____Determine if the Balancing Authority omitted an Interchange Schedule related to the HVDC link in its ACE equation.

If yes to the above:

____Determine if it modeled the Interchange Schedule as internal generation or load.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R10. 	The Balancing Authority shall include all Dynamic Schedules in the calculation of Net Scheduled Interchange for the ACE equation.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-005-0b R10.

_____Determine if the Balancing Authority included all Dynamic Schedules in the calculation 				of Net Scheduled Interchange for the ACE equation.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R11. 	Balancing Authorities shall include the effect of ramp rates, which shall be identical and agreed to between affected Balancing Authorities, in the Scheduled Interchange values to calculate ACE.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

Question: Describe how you coordinate net schedule interchange with adjacent Balancing

Authorities and verify its accuracy including dynamic schedules and effects of ramp rates.

Entity Response: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-005-0b R11.

_____	Determine if the Balancing Authority included the effect of ramp rates in the Scheduled 				Interchange values to calculate ACE.

_____	Determine if the ramp rates of scheduled interchange are identical and agreed to between 			affected Balancing Authorities.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R12. 	Each Balancing Authority shall include all Tie Line flows with Adjacent Balancing Authority Areas in the ACE calculation.

R12.1. Balancing Authorities that share a tie shall ensure Tie Line MW metering is telemetered to both control centers, and emanates from a common, agreed-upon source using common primary metering equipment.  Balancing Authorities shall ensure that megawatt-hour data is telemetered or reported at the end of each hour.

R12.2. Balancing Authorities shall ensure the power flow and ACE signals that are utilized for calculating Balancing Authority performance or that are transmitted for Regulation Service are not filtered prior to transmission, except for the Anti-aliasing Filters of Tie Lines.

12.3. Balancing Authorities shall install common metering equipment where Dynamic Schedules or Pseudo-Ties are implemented between two or more Balancing Authorities to deliver the output of Jointly Owned Units or to serve remote load.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-005-0b R12.

____ Determine if the Balancing Authority included all Tie Line flows with Adjacent Balancing Authority areas in the ACE equation.

____ Determine if the Balancing Authority has Tie Line MW metering that is telemetered to both control centers, and emanates from a common, agreed-upon source using common primary metering equipment on shared ties.

____Determine if the Balancing Authority megawatt-hour data is telemetered or reported at the end of each hour.

____ Determine if the power flow and ACE signals that are used to calculate Balancing Authority performance, or that are transmitted for Regulation Service, are not filtered prior to transmission, except for the Anti-aliasing Filters of Tie Lines.

____ Determine if the Balancing Authority has installed common metering equipment where Dynamic Schedules or Pseudo-Ties are implemented between two or more Balancing Authorities to deliver the output of Jointly Owned Units or to serve remote load.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R13. 	Each Balancing Authority shall perform hourly error checks using Tie Line megawatt-hour meters with common time synchronization to determine the accuracy of its control equipment.  The Balancing Authority shall adjust the component (e.g., Tie Line meter) of ACE that is in error (if known) or use the interchange meter error (IME) term of the ACE equation to compensate for any equipment error until repairs can be made.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-005-0b R13.

____ Determine if the Balancing Authority performs an hourly error check using Tie Line megawatt-hour meters with common time synchronization to determine the accuracy of its control equipment.

____Determine if the Balancing Authority adjusted the component of ACE that is in error if known, or used the interchange meter error term in the ACE equation to compensate for equipment errors until repairs can be made.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R14. 	The Balancing Authority shall provide its operating personnel with sufficient instrumentation and data recording equipment to facilitate monitoring of control performance, generation response, and after-the-fact analysis of area performance.  As a minimum, the Balancing Authority shall provide its operating personnel with real-time values for ACE, Interconnection frequency and Net Actual Interchange with each Adjacent Balancing Authority Area.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-005-0b R14.

Determine if the Balancing Authority has provided its operating personnel with:

____Real time values for ACE

____Interconnection frequency

____Net Actual Interchange with each Adjacent Balancing Authority Area

Using professional judgment, determine if the above is sufficient to provide the operating personnel with enough data to facilitate monitoring of:

____Control performance

____Generation response

____After the fact analysis of area performance

If not:

____ Determine if the Balancing Authority provided its operating personnel with additional tools to provide sufficient instrumentation and data recording equipment to monitor:

____Control performance

____Generation response

____After-the-fact analysis of area performance

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R15. 	The Balancing Authority shall provide adequate and reliable backup power supplies and shall periodically test these supplies at the Balancing Authority’s control center and other critical locations to ensure continuous operation of AGC and vital data recording equipment during loss of the normal power supply.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

Question: Identify the frequency of testing your back-up power supplies.

Entity Response: (Registered Entity Response Required)

Question: Provide a description of your back-up power supply to maintain continuous operation of your Balancing Authority operation.

Entity Response: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-005-0b R15.

____ Determine if the Balancing Authority has provided adequate and reliable backup power supplies.

____Determine if the Balancing Authority has periodically tested these supplies at the Balancing Authority’s control center and other critical locations to ensure the continuous operation of:

_____ AGC

_____ vital data recording equipment during loss of the normal power supply.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R16. 	The Balancing Authority shall sample data at least at the same periodicity with which ACE is calculated.  The Balancing Authority shall flag missing or bad data for operator display and archival purposes.  The Balancing Authority shall collect coincident data to the greatest practical extent, i.e., ACE, Interconnection frequency, Net Actual Interchange, and other data shall all be sampled at the same time.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-005-0b R16.

____ Determine if the Balancing Authority samples the following data with at least the same periodicity with which ACE is calculated:

____ACE

____Interconnection frequency

____Net Actual Interchange

____Determine if the Balancing Authority flags missing or bad data for operator display and archival purposes.

____Determine if the Balancing Authority collects coincident data to the greatest practical extent.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R17. 	Each Balancing Authority shall at least annually check and calibrate its time error and frequency devices against a common reference.  The Balancing Authority shall adhere to the minimum values for measuring devices as listed below:

Device 	Accuracy

Digital frequency transducer 		≤ 0.001 Hz

MW, MVAR, and voltage transducer	≤ 0.25 % of full scale

Remote terminal unit 		≤ 0.25 % of full scale

Potential transformer 				≤ 0.30 % of full scale

Current transformer 		≤ 0.50 % of full scale

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority.

Compliance Assessment Approach Specific to BAL-005-0b R17.

____ Determine if the Balancing Authority annually checked and calibrated its time error and frequency devices against a common reference.

____ Determine if the Balancing Authority adhered to the minimum values for the following:

Device 					Accuracy

____Digital frequency transducer 		≤ 0.001 Hz

____MW, MVAR, and voltage transducer	≤ 0.25 % of full scale

____Remote terminal unit 			≤ 0.25 % of full scale

____Potential transformer 			≤ 0.30 % of full scale

____Current transformer 			≤ 0.50 % of full scale

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

# Supplemental Information

Other - The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard. Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response)

# Compliance Findings Summary (to be filled out by auditor)

| Req. | C | PV | NA | Statement |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |
| 11 |  |  |  |  |
| 12 |  |  |  |  |
| 13 |  |  |  |  |
| 14 |  |  |  |  |
| 15 |  |  |  |  |
| 16 |  |  |  |  |
| 17 |  |  |  |  |

Excerpts From FERC Orders -- For Reference Purposes Only

Updated Through March 31, 2009

BAL-005-0b

Order 693

- P 387.  The goal of this Reliability Standard is to maintain Interconnection frequency by requiring that all generation, transmission, and customer load be within the metered boundaries of a balancing authority area, and establishing the functional requirements for the balancing authority’s regulation service, including its calculation of ACE.

P 397.  As a general matter, the Commission believes that a single entity should establish the level of regulating reserve required based on the generation mix and ramping rates in the region. We disagree with commenters that minimum regulating reserve requirements are not necessary. … The Commission notes that Requirement R2 requires maintenance of a level of regulating reserves in order to prospectively meet the control performance standard but does not provide a calculation for the exact level which would be required. In particular, the Commission believes that, while the control performance standard metric is useful in identifying trends relating to poor regulating practices, specification of minimum reserve requirements to be maintained at all times would complement the control performance standard metrics by providing real-time requirements necessary for proper control.

P 398.  …the Commission agrees that the quality of reserves is relevant in determining if the resource is able to technically qualify as regulation.

P 399.  …The fundamental reason for regulating reserves is to balance load and generation in the short term due to the random variations in the balancing authorities’ loads and to accommodate ramping of transactions. …

P 404.  … this Reliability Standard applies to regulating reserves and not contingency reserves.

P 405.  We disagree that it is not possible to use DSM and direct control load management as a source of regulating reserves or any other type of operating reserves. The Commission notes that, while DSM and direct control load management may not be widely used today as a source of operating reserves, comments received and other evidence suggest that certain types of loads are technically capable of providing this service.

P 406.  Given that most of the commenters’ concerns over the inclusion of DSM as part of regulating reserves relate to the technical requirements, the Commission clarifies that to qualify as regulating reserves, these resources must be technically capable of providing the service. In particular, all resources providing regulation must be capable of automatically responding to real-time changes in load on an equivalent basis to the response of generation equipped with automatic generation control. … the Commission understands that it may be technically possible for DSM to meet equivalent requirements as conventional generators ….

P 408. … the Commission notes that, if regulation is being provided over non-firm transmission service, the entity receiving the regulation should be responsible for having a back-up plan to include loss of the non-firm transmission service as referenced in Requirement R5. The Commission believes that a balancing authority may use non-firm transmission service for procuring regulation, so long as that balancing authority has a back-up plan that it can implement to include loss of non-firm transmission service.

P 416.  … By its terms, BAL-005-0 requires each generator operator with generating facilities operating within an Interconnection to ensure that those generating facilities are included within the metered boundaries of a balancing authority area. Therefore, any generator that is subject to the Reliability Standards, as discussed in the Applicability Issues section of this Final Rule, is subject to the metering requirements in this Reliability Standard. Our conclusion, however, does not determine the appropriate ratemaking treatment.

P 417.  … The Commission finds each Requirement of BAL-005-0 is clear and enforceable. The Requirements provide sufficient guidance for an entity to understand its obligations. When Measures are incorporated into the Reliability Standard, the Measures will provide guidance on assessing non-compliance with the Requirements. For these reasons and as previously addressed in the NOPR, the Commission disagrees that the enforceable obligations set forth in Requirements are unclear absent Measures.

P 418.  … The Commission adopts the NOPR proposal to require the ERO to modify the Reliability Standards to include a Measure that provides for a verification process over the minimum required automatic generation control or regulating reserves a balancing authority maintains….

P 420. The Commission approves Reliability Standard BAL-005-0 as mandatory and enforceable.

Order 713

P 23.  Requirement R17 of Reliability Standard BAL-005-0 is intended to annually check and calibrate the time error and frequency devices under the control of the balancing authority that feed data into automatic generation control necessary to calculate ACE. Requirement R17 mandates that the balancing authority must adhere to an annual calibration program for time error and frequency devices. The requirement states that a balancing authority must adhere to minimum accuracies in terms of ranges specified in Hertz, volts, amps, etc., for various listed devices, such as digital frequency transducers, voltage transducers, remote terminal unit, potential transformers, and current transformers.

P 32.  The Commission approves the ERO’s formal interpretation of Requirement R17 of BAL-005-0 as set forth in the ERO’s April 2008 filing. Based on the comments, we find that this interpretation will not decrease the accuracy of frequency and time error measurements by not requiring calibration of tie-line megawatt metering devices. In addition, we are persuaded by the commenters that the need to calibrate tie-line megawatt metering devices is addressed by other requirements such as Requirement R13 that require hourly checks to ensure continuous accuracy. The Commission notes that the applicable requirement for the accuracy of calibration of tie-line megawatt metering devices is identified in Requirement R17….

P 33. … We note that the interpretation provides that “[s]ome devices used for time error and frequency measurement cannot be calibrated as such. In this case, these devices should be cross-checked against other properly calibrated equipment and replaced if the devices do not meet the required level of accuracy.”…

P 34. The Era’s interpretation of BAL-005-0, Requirement R17 provides that “frequency inputs from other sources that are for reference only are excluded.” The Commission notes that this Reliability Standard establishes requirements concerning the inputs to the ACE equation to correctly operate automatic generation control. Frequency inputs used for other purposes are not covered by this Reliability Standard. Therefore, we understand the ERO’s interpretation to exclude frequency devices that do not provide input into the reporting or compliance with the ACE equation or provide real-time time error or frequency information to the system operator. Any devices that provide reference input from which a balancing authority calibrates other time error and frequency devices, however, do provide real-time time error and frequency information to the system operator and therefore must be calibrated under this requirement.

Revision History

| Version | Date | Reviewers | Revision Description |
| --- | --- | --- | --- |
| 1 | 5/5/10 | Craig Struck | Added Revision History. |