Compliance Questionnaire and

Reliability Standard Audit Worksheet

EOP-002-2.1 — Capacity and Energy Emergencies

Registered Entity: (Must be completed by the Compliance Enforcement Authority)

NCR Number: (Must be completed by the Compliance Enforcement Authority)

Applicable Function(s):  BA, RC, LSE

Auditors:

Disclaimer

NERC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate NERC’s and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The NERC RSAW language is written to specific versions of each NERC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that NERC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard.  NERC’s Reliability Standards can be found on NERC’s website at http://www.nerc.com/page.php?cid=2|20.   Additionally, NERC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The NERC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and NERC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

# Subject Matter Experts

Identify your company’s subject matter expert(s) responsible for this Reliability Standard.  Include the person's title, organization and the requirement(s) for which they are responsible. Insert additional lines if necessary.

Response: (Registered Entity Response Required)

| SME Name | Title | Organization | Requirement |
| --- | --- | --- | --- |

# Supporting Evidence and Documentation

Response: (Registered Entity Response Required)

|  | Provide the following: Document Title and/or File Name, Page & Section, Date & Version |
| --- | --- |
| R1 |  |
| R2 |  |
| R3 |  |
| R4 |  |
| R5 |  |
| R6 |  |
| R7 |  |
| R8 |  |
| R9 |  |

# Reliability Standard Language

EOP-002-2.1 — Capacity and Energy Emergencies

Purpose:

To ensure Reliability Coordinators and Balancing Authorities are prepared for capacity and energy emergencies.

Applicability:

Balancing Authorities

Reliability Coordinators

Load-Serving Entities

NERC BOT Approval Date: 10/29/2008

FERC Approval Date: 5/13/2009

Reliability Standard Enforcement Date in the United States: 5/13/2009

Requirements:

R1.	Each Balancing Authority and Reliability Coordinator shall have the responsibility and clear decision-making authority to take whatever actions are needed to ensure the reliability of its respective area and shall exercise specific authority to alleviate capacity and energy emergencies.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to EOP-002-2.1 R1

___	Determine if the entity’s personnel understand they have the responsibility and clear

decision-making authority to take whatever actions are needed to ensure the reliability of 	its respective area.

Note: If the operators do not understand this, it may not be a violation, but it signals a need for additional training.  This part of the requirement gives them the authority and responsibility.

___	Determine if the entity exercised its authority to alleviate capacity and energy emergencies (if the entity did not do this, this is a violation).

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R2.	Each Balancing Authority shall implement its capacity and energy emergency plan, when required and as appropriate, to reduce risks to the interconnected system.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

Question: Have you implemented your Capacity and Energy Emergency plan during the audit period?  If yes, explain what actions were taken and describe the operating conditions 	that required implementation of your plan.

Entity Response: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to EOP-002-2.1 R2

___	Determine if the Balancing Authority implemented its capacity and energy emergency plans appropriately as required to reduce risks to the interconnected system.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R3.	A Balancing Authority that is experiencing an operating capacity or energy emergency shall communicate its current and future system conditions to its Reliability Coordinator and neighboring Balancing Authorities.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to EOP-002-2.1 R3

___	Determine if the Balancing Authority that experienced an operating capacity or energy emergency communicated its current and future system conditions to its Reliability Coordinator and neighboring Balancing Authorities.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R4.	A Balancing Authority anticipating an operating capacity or energy emergency shall perform all actions necessary including bringing on all available generation, postponing equipment maintenance, scheduling interchange purchases in advance, and being prepared to reduce firm load.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to EOP-002-2.1 R4

___	Determine if a Balancing Authority that anticipated an operating capacity or energy emergency performed all actions necessary, which could include:

___	Bringing on all available generation

___	Postponing equipment maintenance

___	Scheduling interchange purchases in advance

___	Being prepared to reduce firm load

___	Other - The list above is not all inclusive of evidence required to show compliance with the Reliability Standard.  Provide additional information here to demonstrate compliance with this Reliability Standard.

Note:  The Reliability Standard states that the entity shall perform all actions necessary, including the above.  Other actions may need to be taken if the above are not enough, or could be taken instead of the above.  Note that the failure to take one or more of the above actions, or the failure to take additional actions, may or may not constitute a violation of this Requirement.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R5.	A deficient Balancing Authority shall only use the assistance provided by the 	Interconnection’s frequency bias for the time needed to implement corrective actions.  	The Balancing Authority shall not unilaterally adjust generation in an attempt to return 	Interconnection frequency to normal beyond that supplied through frequency bias action 	and Interchange Schedule changes.  Such unilateral adjustment may overload transmission facilities.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to EOP-002-2.1 R5

___	Determine if a Balancing Authority that experienced a deficiency used the assistance provided by the Interconnection’s frequency bias only for the time needed to implement corrective actions.

___	Determine if the Balancing Authority unilaterally adjusted generation in an attempt to return interconnection frequency to normal beyond that supplied through frequency bias action and Interchange Schedule changes.

___	Other - The list above is not all inclusive of evidence required to show compliance with the Reliability Standard.  Provide additional information here that demonstrates compliance with this Reliability Standard.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R6.	If the Balancing Authority cannot comply with the Control Performance and Disturbance 	Control Standards, then it shall immediately implement remedies to do so.  These remedies include, but are not limited to:

R6.1. Loading all available generating capacity.

R6.2. Deploying all available operating reserve.

R6.3. Interrupting interruptible load and exports.

R6.4. Requesting emergency assistance from other Balancing Authorities.

R6.5. Declaring an Energy Emergency through its Reliability Coordinator; and

R6.6. Reducing load, through procedures such as public appeals, voltage reductions, curtailing interruptible loads and firm loads.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

Question: As a Balancing Authority, if you have not met the CPS or the DCS requirements, please explain 	the steps you have taken to bring CPS or DCS into compliance?

Entity Response: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to EOP-002-2.1 R6

___	Determine if the Balancing Authority could not comply with the Control performance and Disturbance Control Standards.

If yes to the above:

___		Determine if it implemented remedies to allow it to do so, including, but not limited to:

___	Loading all available generating capacity

___	Deploying all available operating reserve

___	Interrupting interruptible load and exports

___	Requesting emergency assistance from other Balancing Authorities

___	Declaring an Energy Emergency through its Reliability Coordinator

___	Reducing load, through procedures such as public appeals, voltage reductions, curtailing 	interruptible loads and firm loads

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R7.	Once the Balancing Authority has exhausted the steps listed in Requirement 6, or if these steps cannot be completed in sufficient time to resolve the emergency condition, the 	Balancing Authority shall:

R7.1. Manually shed firm load without delay to return its ACE to zero; and

R7.2. Request the Reliability Coordinator to declare an Energy Emergency Alert in accordance with Attachment 1-EOP-002-0 “Energy Emergency Alert Levels.”

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to EOP-002-2.1 R7

___	Determine if the Balancing Authority exhausted the steps listed in Requirement 6 or if those steps could not be completed in sufficient time to resolve the emergency conditions.

If yes to the above:

___	Determine if the Balancing Authority manually shed firm load without delay to return its

ACE to zero.

___	Determine if the Balancing Authority requested the Reliability Coordinator to declare an Energy Emergency Alert in accordance with Attachment 1-EOP-002-0.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R8.	A Reliability Coordinator that has any Balancing Authority within its Reliability 	Coordinator area experiencing a potential or actual Energy Emergency shall initiate an 	Energy Emergency Alert as detailed in Attachment 1-EOP-002-0 “Energy Emergency 	Alert Levels.”  The Reliability Coordinator shall act to mitigate the emergency condition, including a request for emergency assistance if required.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

Question: As a Reliability Coordinator, have you ever implemented energy emergency alerts?  If yes, please 	list all alerts issued in the last 3 years (or since June 18, 2007), with the associated Balancing Authorities, 	and describe the actions taken.

Entity Response: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to EOP-002-2.1 R8

___	Determine if the Reliability Coordinator had a Balancing Authority within its Reliability

Coordinator area experiencing a potential or actual Energy Emergency.

If yes to the above:

___	Determine if the Reliability Coordinator initiated an Energy Emergency Alert as detailed in Attachment 1-EOP-002-0.

___	Determine if the Reliability Coordinator acted to mitigate the emergency condition, including requesting emergency assistance as required.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

R9.	When a Transmission Service Provider expects to elevate the transmission service 	priority of an Interchange Transaction from Priority 6 (Network Integration 	Transmission Service from Non-designated Resources) to Priority 7 (Network 	Integration Transmission Service from designated Network Resources) as permitted in 	its transmission tariff (See Attachment 1-IRO-006-0 “Transmission Loading Relief 	Procedure” for explanation of Transmission Service Priorities):

R9.1. The deficient Load-Serving Entity shall request its Reliability Coordinator to initiate an Energy Emergency Alert in accordance with Attachment 1-EOP-002-0.

R9.2. The Reliability Coordinator shall submit the report to NERC for posting on the NERC Website, noting the expected total MW that may have its transmission service priority changed.

R9.3. The Reliability Coordinator shall use EEA 1 to forecast the change of the priority of transmission service of an Interchange Transaction on the system from Priority 6 to Priority 7.

R9.4. The Reliability Coordinator shall use EEA 2 to announce the change of the priority of transmission service of an Interchange Transaction on the system from Priority 6 to Priority 7.

Describe, in narrative form, how you meet compliance with this requirement: (Registered Entity Response Required)

This section must be completed by the Compliance Enforcement Authority

Compliance Assessment Approach Specific to EOP-002-2.1 R9

___	Determine if a Transmission Service Provider expected to elevate the transmission service priority of an Interchange Transaction from Priority 6 (Network Integration Transmission Service from Non-designated Resources) to Priority 7 (Network Integration Transmission Service from designated Network Resources) as permitted in its transmission tariff (See Attachment 1-IRO-006-0 “Transmission Loading Relief Procedure” for explanation of Transmission Service Priorities).

If yes to the above:

___	Determine if the deficient Load-Serving Entity requested its Reliability Coordinator to initiate an Energy Emergency Alert in accordance with Attachment 1-EOP-002-0.

___	Determine if the Reliability Coordinator submitted a report to NERC for posting to the NERC website, noting the expected total MW that may have its transmission service priority changed.

___	Determine if the Reliability Coordinator used EEA 1 to forecast the change of the priority of transmission service of an Interchange Transaction on the system from Priority 6 to Priority 7.

___	Determine if the Reliability Coordinator used EEA 2 to announce the change of the priority of transmission service of an Interchange Transaction on the system from Priority 6 to Priority 7.

Note: If the Registered Entity has not experienced an operating capacity or energy emergency event, then this should be taken into consideration when auditing this Reliability Standard.

Detailed notes:

Additional Evidence Reviewed:

| Title | Date | Version |
| --- | --- | --- |

# Supplemental Information

Other - The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard. Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Entity Response: (Registered Entity Response)

# Compliance Findings Summary (to be filled out by auditor)

| Req. | C | PV | NA | Statement |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |

Excerpts from FERC Orders -- For Reference Purposes Only

Updated Through March 31, 2009

EOP-002-2

Order 693

P 541.  The Emergency Preparedness and Operations (EOP) group of proposed Reliability Standards consists of nine Reliability Standards that address preparation for emergencies, necessary actions during emergencies and system restoration and reporting following disturbances.

P 567. EOP-002-2 applies to balancing authorities and reliability coordinators and is intended to ensure that they are prepared for capacity and energy emergencies. The Reliability Standard requires that balancing authorities have the authority to bring all necessary generation on line, communicate about the energy and capacity emergency with the reliability coordinator and coordinate with other balancing authorities. EOP- 002-2 includes an attachment that describes an emergency procedure to be initiated by a reliability coordinator that declares one of four energy emergency alert levels to provide assistance to the LSE.

P571. As we stated in the NOPR, neither EOP-002-2 nor any other Reliability Standard addresses the impact of inadequate transmission during generation emergencies ….

P 583. Accordingly, the Commission approves Reliability Standard EOP-002-2 as mandatory and enforceable. ….

April 22, 2008 Order Conditionally Accepting Emergency Demand Response Filing, Docket No. ER08-404-000.

P 94.  …By definition, emergency alerts only apply during scarce periods when LSEs expect not to be able to meet customers’ energy needs because of a lack of resources or a lack of transmission available to move resources into deficient regions.  Therefore, energy emergencies generally reflect localized energy and reserve shortages.

Revision History

| Version | Date | Reviewers | Revision Description |
| --- | --- | --- | --- |
| 1 | 5/5/10 | Craig Struck | Added Revision History. Minor formatting & typographical error changes. |